Instruction Sheet for the Candidate

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- 5) |
| --- | --- |
| Competency Standard(s) | 0715M&MT27 - Calculate Psychrometric Properties of System Air |
| Purpose of Assessment | Formative |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): 1. Calculate the Psychrometric properties of air. 2. Draw Psychrometric properties of air 3. Calculate the properties of system air |
| Time: 5Hrs | During a practical assessment, under observation by an assessor, you are required to - Calculate the Psychrometric properties of air - Calculate the relative humidity - Calculate the specific humidity - Calculate the specific enthalpy - Calculate the enthalpy - Calculate the specific volume - Calculate the volume of mixture per kg of dry air - Draw Psychrometric properties of air - Draw dry bulb temperature line on Psychrometric chart. - Draw wet bulb temperature line on Psychrometric chart. - Draw dew point temperature line on Psychrometric chart. - Draw relative humidity curve on Psychrometric chart. - Draw specific humidity / humidity ration line on Psychrometric chart. - Draw saturation curve on Psychrometric chart. - Draw enthalpy line on Psychrometric chart. - Determine enthalpy deviation on Psychrometric chart. - Determine specific volume line on Psychrometric chart. - Calculate the properties of system air - Calculate properties of air in heating or cooling process - Calculate the latent heat - Calculate the sensible heat - Calculate sensible heat factor - Calculate the properties of bypass return air - Calculate the properties of air in a duct |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- 5) |
| Competency Standards | 0715M&MT27 - Calculate Psychrometric Properties of System Air |
| Assessment Task | - Calculate the Psychrometric properties of air. - Draw Psychrometric properties of air - Calculate the properties of system air |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Calculate the relative humidity |  |  |
| - Calculate the specific humidity |  |  |
| - Calculate the specific enthalpy |  |  |
| - Calculate the enthalpy |  |  |
| - Calculate the specific volume |  |  |
| - Calculate the volume of mixture per kg of dry air |  |  |
| - Draw dry bulb temperature line on Psychrometric chart. |  |  |
| - Draw wet bulb temperature line on Psychrometric chart. |  |  |
| - Draw dew point temperature line on Psychrometric chart. |  |  |
| - Draw relative humidity curve on Psychrometric chart. |  |  |
| - Draw specific humidity / humidity ration line on Psychrometric chart. |  |  |
| - Draw saturation curve on Psychrometric chart. |  |  |
| - Draw enthalpy line on Psychrometric chart. |  |  |
| - Determine enthalpy deviation on Psychrometric chart. |  |  |
| - Determine specific volume line on Psychrometric chart. |  |  |
| - Calculate properties of air in heating or cooling process |  |  |
| - Calculate the latent heat |  |  |
| - Calculate the sensible heat |  |  |
| - Calculate sensible heat factor |  |  |
| - Calculate the properties of bypass return air |  |  |
| - Calculate the properties of air in a duct |  |  |

Candidate’s Signature___________________Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- 5) |
| --- | --- |
| Competency Standard(s) | 0715M&MT27 - Calculate Psychrometric Properties of System Air |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | - Calculate the Psychrometric properties of air. - Draw Psychrometric properties of air - Calculate the properties of system air |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  | Yes | No | Remarks |
| - Calculate the relative humidity |  |  |  |  |  |
| - Calculate the specific humidity |  |  |  |  |  |
| - Calculate the specific enthalpy |  |  |  |  |  |
| - Calculate the enthalpy |  |  |  |  |  |
| - Calculate the specific volume |  |  |  |  |  |
| - Calculate the volume of mixture per kg of dry air |  |  |  |  |  |
| - Draw dry bulb temperature line on Psychrometric chart. |  |  |  |  |  |
| - Draw wet bulb temperature line on Psychrometric chart. |  |  |  |  |  |
| - Draw dew point temperature line on Psychrometric chart. |  |  |  |  |  |
| - Draw relative humidity curve on Psychrometric chart. |  |  |  |  |  |
| - Draw specific humidity / humidity ration line on Psychrometric chart. |  |  |  |  |  |
| - Draw saturation curve on Psychrometric chart. |  |  |  |  |  |
| - Draw enthalpy line on Psychrometric chart. |  |  |  |  |  |
| - Determine enthalpy deviation on Psychrometric chart. |  |  |  |  |  |
| - Determine specific volume line on Psychrometric chart. |  |  |  |  |  |
| - Calculate properties of air in heating or cooling process |  |  |  |  |  |
| - Calculate the latent heat |  |  |  |  |  |
| - Calculate the sensible heat |  |  |  |  |  |
| - Calculate sensible heat factor |  |  |  |  |  |
| - Calculate the properties of bypass return air |  |  |  |  |  |
| - Calculate the properties of air in a duct |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- 5) |
| --- | --- |
| Competency Standard(s) | 0715M&MT27 - Calculate Psychrometric Properties of System Air |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Describe the necessity of OSH during calculation process. |  |  |
|  | Describe bypass factor. |  |  |
|  | What is saturation point? |  |  |
|  | Define specific enthalpy. |  |  |
|  | Differentiate between Relative and specific humidity. |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________