Instruction Sheet for the Candidate

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- 5) |
| --- | --- |
| Competency Standard(s) | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715M&MT52 – Check and Inspect HVAC Variable Refrigerant Flow (VRF)System |
| Purpose of Assessment | Formative |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - Install Variable Refrigerant Flow (VRF)System by observing OSH - Perform preventive maintenance of Variable Refrigerant Flow (VRF)System |
| Time: 5Hrs | During a practical assessment, under observation by an assessor, you are required to - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place - Observe & maintain safe working environment - Select tools, equipment and related accessories according to job requirements - Mark the location on the site where system to be installed according to Unit Size & Design Drawings meeting all design specifications and client on site requirements. - Make wall / slab opening at the marked area on the wall or floors for this installation fixtures. - Fix pipe runners & conduits in the opening and at entire area meeting drawing route - Install Copper, PVC & Electrical accessories with Proper Insulation according to the instructional manual and standards - Install the Indoor / Outdoor in the framed opening with standard slope so that condensate water drops outside. - Cover / Seal wall, Slab, ceiling to cover air gaps of opening with insulation material. - Fix the fancy decorative grills around the indoor grill as per manufacturer direction - Check leaks by applying pressure method before the joint’s insulation; repair leaks, if any - Plan drain routes & Fix the indoor unit’s condensate drainpipe maintaining levels and put into main drain line firmly with provision of Air Vents. - Arrange power supply with circuit breaker near the Indoor Unit - make sure that all packing materials - Sheets, Styrofoam, Tape and Plastic Film, have been removed from the site after installation - Place Outdoor Unit on Civil Foundations and Bolt it properly - Interconnect Pre-Nitrogen Purged Copper Pipes & Communication between indoor & outdoor Units - Connect Main Power with outdoor units with matching circuit breakers and other safeties to energize outdoor units. - Purge the overall System, Make deep Vacuum for 24-hrs and check for any leakages or vacuum break. Make Controls energize and do jumper setting as per manufacturer instruction. - Switch on the system Heater and after 24 hrs. Turn on Compressor & Indoor Units and check system performance as per capacity and specifications. - Check component or system condition, causing the problem - Ensure the procedure of right voltage supply across each electrical phase & check any abnormality on Connection Tightness or Carbon Presence on contacts. - Check capability of evaporator / condenser ambient sensors & switches and its right values through diagnostic tool at Interface Panel - Check condenser fan flow sensor / switches and to rectify and false error code. Check high and low pressure & temperature cutout switches. - Adopt procedure for accuracy check of thermistors and transducers values with ambient Temperature& communication with Main Panel. - Adopt right procedure for accuracy check of condenser & evaporators side pressure and temperature sensors. - Perform indoor / outdoor tubes & fins combing and periodic cleaning with proper procedure implementation - Conduct checking of programmable operating set points and safety cutouts and assure and assure their correction through outdoor main board for the application - Arrange OEM drawings and manuals for the subject equipment to be attended for diagnosing the fault - Isolate and detail check of the causes of the problem and correct the fault & Start the system to recheck as specified in the manufacturer manual and record the results. - Record & collect daily System operational logs to report any abnormal temperature and system behaviors to implement preventive inspection. |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (DAE - Level- 5) |
| Competency Standards | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715M&MT52 – Check and Inspect HVAC Variable Refrigerant Flow (VRF)System |
| Assessment Task | - Install Variable Refrigerant Flow (VRF)System by observing OSH - Perform preventive maintenance of Variable Refrigerant Flow (VRF)System |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |
| - Observe & maintain safe working environment |  |  |
| - Select tools, equipment and related accessories according to job requirements |  |  |
| - Mark the location on the site where system to be installed according to Unit Size & Design Drawings meeting all design specifications and client on site requirements. |  |  |
| - Make wall / slab opening at the marked area on the wall or floors for this installation fixtures. |  |  |
| - Fix pipe runners & conduits in the opening and at entire area meeting drawing route |  |  |
| - Install Copper, PVC & Electrical accessories with Proper Insulation according to the instructional manual and standards |  |  |
| - Install the Indoor / Outdoor in the framed opening with standard slope so that condensate water drops outside. |  |  |
| - Cover / Seal wall, Slab, ceiling to cover air gaps of opening with insulation material. |  |  |
| - Fix the fancy decorative grills around the indoor grill as per manufacturer direction |  |  |
| - Check leaks by applying pressure method before the joint’s insulation; repair leaks, if any |  |  |
| - Plan drain routes & Fix the indoor unit’s condensate drainpipe maintaining levels and put into main drain line firmly with provision of Air Vents. |  |  |
| - Arrange power supply with circuit breaker near the Indoor Unit |  |  |
| - make sure that all packing materials - Sheets, Styrofoam, Tape and Plastic Film, have been removed from the site after installation |  |  |
| - Place Outdoor Unit on Civil Foundations and Bolt it properly |  |  |
| - Interconnect Pre-Nitrogen Purged Copper Pipes & Communication between indoor & outdoor Units |  |  |
| - Connect Main Power with outdoor units with matching circuit breakers and other safeties to energize outdoor units. |  |  |
| - Purge the overall System, Make deep Vacuum for 24-hrs and check for any leakages or vacuum break. Make Controls energize and do jumper setting as per manufacturer instruction. |  |  |
| - Switch on the system Heater and after 24 hrs. Turn on Compressor & Indoor Units and check system performance as per capacity and specifications. |  |  |
| - Check component or system condition, causing the problem |  |  |
| - Ensure the procedure of right voltage supply across each electrical phase & check any abnormality on Connection Tightness or Carbon Presence on contacts. |  |  |
| - Check capability of evaporator / condenser ambient sensors & switches and its right values through diagnostic tool at Interface Panel |  |  |
| - Check condenser fan flow sensor / switches and to rectify and false error code. Check high and low pressure & temperature cutout switches. |  |  |
| - Adopt procedure for accuracy check of thermistors and transducers values with ambient Temperature& communication with Main Panel. |  |  |
| - Adopt right procedure for accuracy check of condenser & evaporators side pressure and temperature sensors. |  |  |
| - Perform indoor / outdoor tubes & fins combing and periodic cleaning with proper procedure implementation |  |  |
| - Conduct checking of programmable operating set points and safety cutouts and assure and assure their correction through outdoor main board for the application |  |  |
| - Arrange OEM drawings and manuals for the subject equipment to be attended for diagnosing the fault |  |  |
| - Isolate and detail check of the causes of the problem and correct the fault & Start the system to recheck as specified in the manufacturer manual and record the results. |  |  |
| Record & collect daily System operational logs to report any abnormal temperature and system behaviors to implement preventive inspection. |  |  |

Candidate’s Signature___________________Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (DAE - Level- 5) |
| --- | --- |
| Competency Standard(s) | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715M&MT52 – Check and Inspect HVAC Variable Refrigerant Flow (VRF)System |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | - Install Variable Refrigerant Flow (VRF)System by observing OSH - Perform preventive maintenance of Variable Refrigerant Flow (VRF)System |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  | Yes | No | Remarks |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |  |  |  |
| - Observe & maintain safe working environment |  |  |  |  |  |
| - Select tools, equipment and related accessories according to job requirements |  |  |  |  |  |
| - Mark the location on the site where system to be installed according to Unit Size & Design Drawings meeting all design specifications and client on site requirements. |  |  |  |  |  |
| - Make wall / slab opening at the marked area on the wall or floors for this installation fixtures. |  |  |  |  |  |
| - Fix pipe runners & conduits in the opening and at entire area meeting drawing route |  |  |  |  |  |
| - Install Copper, PVC & Electrical accessories with Proper Insulation according to the instructional manual and standards |  |  |  |  |  |
| - Install the Indoor / Outdoor in the framed opening with standard slope so that condensate water drops outside. |  |  |  |  |  |
| - Cover / Seal wall, Slab, ceiling to cover air gaps of opening with insulation material. |  |  |  |  |  |
| - Fix the fancy decorative grills around the indoor grill as per manufacturer direction |  |  |  |  |  |
| - Check leaks by applying pressure method before the joint’s insulation; repair leaks, if any |  |  |  |  |  |
| - Plan drain routes & Fix the indoor unit’s condensate drainpipe maintaining levels and put into main drain line firmly with provision of Air Vents. |  |  |  |  |  |
| - Arrange power supply with circuit breaker near the Indoor Unit |  |  |  |  |  |
| - make sure that all packing materials - Sheets, Styrofoam, Tape and Plastic Film, have been removed from the site after installation |  |  |  |  |  |
| - Place Outdoor Unit on Civil Foundations and Bolt it properly |  |  |  |  |  |
| - Interconnect Pre-Nitrogen Purged Copper Pipes & Communication between indoor & outdoor Units |  |  |  |  |  |
| - Connect Main Power with outdoor units with matching circuit breakers and other safeties to energize outdoor units. |  |  |  |  |  |
| - Purge the overall System, Make deep Vacuum for 24-hrs and check for any leakages or vacuum break. Make Controls energize and do jumper setting as per manufacturer instruction. |  |  |  |  |  |
| - Switch on the system Heater and after 24 hrs. Turn on Compressor & Indoor Units and check system performance as per capacity and specifications. |  |  |  |  |  |
| - Check component or system condition, causing the problem |  |  |  |  |  |
| - Ensure the procedure of right voltage supply across each electrical phase & check any abnormality on Connection Tightness or Carbon Presence on contacts. |  |  |  |  |  |
| - Check capability of evaporator / condenser ambient sensors & switches and its right values through diagnostic tool at Interface Panel |  |  |  |  |  |
| - Check condenser fan flow sensor / switches and to rectify and false error code. Check high and low pressure & temperature cutout switches. |  |  |  |  |  |
| - Adopt procedure for accuracy check of thermistors and transducers values with ambient Temperature& communication with Main Panel. |  |  |  |  |  |
| - Adopt right procedure for accuracy check of condenser & evaporators side pressure and temperature sensors. |  |  |  |  |  |
| - Perform indoor / outdoor tubes & fins combing and periodic cleaning with proper procedure implementation |  |  |  |  |  |
| - Conduct checking of programmable operating set points and safety cutouts and assure and assure their correction through outdoor main board for the application |  |  |  |  |  |
| - Arrange OEM drawings and manuals for the subject equipment to be attended for diagnosing the fault |  |  |  |  |  |
| - Isolate and detail check of the causes of the problem and correct the fault & Start the system to recheck as specified in the manufacturer manual and record the results. |  |  |  |  |  |
| - Record & collect daily System operational logs to report any abnormal temperature and system behaviors to implement preventive inspection. |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- 5) |
| --- | --- |
| Competency Standard(s) | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715M&MT52 – Check and Inspect HVAC Variable Refrigerant Flow (VRF)System |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application. Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Enlist 5 Personal Protective Equipment`s (PPE`s). |  |  |
|  | Define preventive maintenance. |  |  |
|  | Define air washer. |  |  |
|  | Define air filters. |  |  |
|  | Describe use of air washer. |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________