Instruction Sheet for the Candidate

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- 5) |
| --- | --- |
| Competency Standard(s) | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715M&MT54 - Check and Inspect Screw Type HVAC System |
| Purpose of Assessment | Formative |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - 1. Operate Screw type HVAC system according to OSH - Observe accurate working of all parts of system |
| Time: 5Hrs | During a practical assessment, under observation by an assessor, you are required to - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place - Observe & maintain safe working environment - Check Leakages on water & refrigerant circuits with sight glass level verifications. - Check oil leakages, sight glass level for right oil presence - Check Up for Proper operation oil returns valve & its operation - Check Sump Heater & its thermostat. - Perform water analysis for chilled & condenser side. - Procedure for assessment of right voltage across each electrical phase & check of any abnormality on Connection Tightness or Carbon Presence. - Procedure to check Chilled / Condenser Water Sensors & flow switches and its right values presentation on Interface Panel. - Procedure to check Condenser Water Temperature& Flow Sensor / Switches and presentation on interface Panel. - Procedure to check High and Low Press. &Temp. Cutout Switches. - Procedure adoption for accuracy check of thermistors and transducers values with interface. - Adoption of Right Procedure for accuracy check of Condenser Pressure and Temperature Gauges. - Ability to perform eddy current test and inspection of tubes with proper cleaning procedure implementation. - Ability to do Checking Programmable Operating Set points and Safety Cutouts. Assure they are correct and viewable through interface for the application. - inspect Main Bearing, Bolts and Seal wear, repair / replace if necessary - Inspect and Check Superheat on the Evaporator and the Economizer feed to the Compressor and sub cooling on condenser part. - Correct Check for average skin temperatures of Compressor Motor & VFD Temperatures. - Check operating amperage of Chiller on Full & Part Load Scenario. - Determine Oil Supply & Return Filter Clogging state &Replacement Procedure. - Inspect starter, coolant & air filters replace if necessary. - Analyze draining / Purging, Refrigerant and lubrication oil checkups. - Perform different vibration Test for Motor, Bearing and Foundation to avoid abnormal sound & parts breaking. - Inspect and clean evaporator, Condenser & Maintenance Heat Exchanger Baffles. - Inspect and clean evaporator, water Heat Exchanger Chamber & tubes. - Inspect condenser tubes after brushing / cleaning - Check different valve modulation and design flow entering / blocking situation. - Check Glycol concentration on Low Temp or other applications where freezing may be a problem & Change of VSD Glycols. |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (DAE - Level- 5) |
| Competency Standards | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715M&MT54 - Check and Inspect Screw Type HVAC System |
| Assessment Task | - Operate Screw type HVAC system according to OSH - Observe accurate working of all parts of system |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |
| - Observe & maintain safe working environment |  |  |
| - Check Leakages on water & refrigerant circuits with sight glass level verifications. |  |  |
| - Check oil leakages, sight glass level for right oil presence |  |  |
| - Check Up for Proper operation oil returns valve & its operation |  |  |
| - Check Sump Heater & its thermostat. |  |  |
| - Perform water analysis for chilled & condenser side. |  |  |
| - Procedure for assessment of right voltage across each electrical phase & check of any abnormality on Connection Tightness or Carbon Presence. |  |  |
| - Procedure to check Chilled / Condenser Water Sensors & flow switches and its right values presentation on Interface Panel. |  |  |
| - Procedure to check Condenser Water Temperature& Flow Sensor / Switches and presentation on interface Panel. |  |  |
| - Procedure to check High and Low Press. &Temp. Cutout Switches. |  |  |
| - Procedure adoption for accuracy check of thermistors and transducers values with interface. |  |  |
| - Adoption of Right Procedure for accuracy check of Condenser Pressure and Temperature Gauges. |  |  |
| - Ability to perform eddy current test and inspection of tubes with proper cleaning procedure implementation. |  |  |
| - Ability to do Checking Programmable Operating Set points and Safety Cutouts. Assure they are correct and viewable through interface for the application. |  |  |
| - inspect Main Bearing, Bolts and Seal wear, repair / replace if necessary |  |  |
| - Inspect and Check Superheat on the Evaporator and the Economizer feed to the Compressor and sub cooling on condenser part. |  |  |
| - Correct Check for average skin temperatures of Compressor Motor & VFD Temperatures. |  |  |
| - Check operating amperage of Chiller on Full & Part Load Scenario. |  |  |
| - Determine Oil Supply & Return Filter Clogging state &Replacement Procedure. |  |  |
| - Inspect starter, coolant & air filters replace if necessary. |  |  |
| - Analyze draining / Purging, Refrigerant and lubrication oil checkups. |  |  |
| - Perform different vibration Test for Motor, Bearing and Foundation to avoid abnormal sound & parts breaking. |  |  |
| - Inspect and clean evaporator, Condenser & Maintenance Heat Exchanger Baffles. |  |  |
| - Inspect and clean evaporator, water Heat Exchanger Chamber & tubes. |  |  |
| - Inspect condenser tubes after brushing / cleaning |  |  |
| - Check different valve modulation and design flow entering / blocking situation. |  |  |

Candidate’s Signature___________________Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (DAE - Level- 5) |
| --- | --- |
| Competency Standard(s) | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715M&MT54 - Check and Inspect Screw Type HVAC System |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | - 1. Operate Screw type HVAC system according to OSH - Observe accurate working of all parts of system |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  | Yes | No | Remarks |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |  |  |  |
| - Observe & maintain safe working environment |  |  |  |  |  |
| - Check Leakages on water & refrigerant circuits with sight glass level verifications. |  |  |  |  |  |
| - Check oil leakages, sight glass level for right oil presence |  |  |  |  |  |
| - Check Up for Proper operation oil returns valve & its operation |  |  |  |  |  |
| - Check Sump Heater & its thermostat. |  |  |  |  |  |
| - Perform water analysis for chilled & condenser side. |  |  |  |  |  |
| - Procedure for assessment of right voltage across each electrical phase & check of any abnormality on Connection Tightness or Carbon Presence. |  |  |  |  |  |
| - Procedure to check Chilled / Condenser Water Sensors & flow switches and its right values presentation on Interface Panel. |  |  |  |  |  |
| - Procedure to check Condenser Water Temperature& Flow Sensor / Switches and presentation on interface Panel. |  |  |  |  |  |
| - Procedure to check High and Low Press. &Temp. Cutout Switches. |  |  |  |  |  |
| - Procedure adoption for accuracy check of thermistors and transducers values with interface. |  |  |  |  |  |
| - Adoption of Right Procedure for accuracy check of Condenser Pressure and Temperature Gauges. |  |  |  |  |  |
| - Ability to perform eddy current test and inspection of tubes with proper cleaning procedure implementation. |  |  |  |  |  |
| - Ability to do Checking Programmable Operating Set points and Safety Cutouts. Assure they are correct and viewable through interface for the application. |  |  |  |  |  |
| - inspect Main Bearing, Bolts and Seal wear, repair / replace if necessary |  |  |  |  |  |
| - Inspect and Check Superheat on the Evaporator and the Economizer feed to the Compressor and sub cooling on condenser part. |  |  |  |  |  |
| - Correct Check for average skin temperatures of Compressor Motor & VFD Temperatures. |  |  |  |  |  |
| - Check operating amperage of Chiller on Full & Part Load Scenario. |  |  |  |  |  |
| - Determine Oil Supply & Return Filter Clogging state &Replacement Procedure. |  |  |  |  |  |
| - Inspect starter, coolant & air filters replace if necessary. |  |  |  |  |  |
| - Analyze draining / Purging, Refrigerant and lubrication oil checkups. |  |  |  |  |  |
| - Perform different vibration Test for Motor, Bearing and Foundation to avoid abnormal sound & parts breaking. |  |  |  |  |  |
| - Inspect and clean evaporator, Condenser & Maintenance Heat Exchanger Baffles. |  |  |  |  |  |
| - Inspect and clean evaporator, water Heat Exchanger Chamber & tubes. |  |  |  |  |  |
| - Inspect condenser tubes after brushing / cleaning |  |  |  |  |  |
| - Check different valve modulation and design flow entering / blocking situation. |  |  |  |  |  |
| - Check Glycol concentration on Low Temp or other applications where freezing may be a problem & Change of VSD Glycols. |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- 5) |
| --- | --- |
| Competency Standard(s) | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715M&MT54 - Check and Inspect Screw Type HVAC System |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application. Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Enlist 5 Personal Protective Equipment`s (PPE`s). |  |  |
|  | Define screw type compressor. |  |  |
|  | Define variable speed drive. |  |  |
|  | Define purging. |  |  |
|  | Enlist the safety controls for screw type compression system. |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________