Instruction Sheet for the Candidate

| Qualification | National Diploma Level 05 in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715M&MT49 – Check and inspect Air Washer System in respect of Preventive Maintenance |
| Purpose of Assessment | Formative |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): 1. Perform preventive maintenance for air washer by observing OSH |
| Time: 5Hrs | During a practical assessment, under observation by an assessor, you are required to - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place - Observe & maintain safe working environment - Check Visual Traces of Leakages on Water & Refrigerant Circuits with Sight Glass Level verifications. - Visual Traces of Oil Leakages, Sight Glass Level for Right Oil presence - Check Proper operation of oil return valve & its operation during cycle & at Part Load. - Check Sump Heater & its thermostat. - Perform Water Analysis for Chilled & Condenser Side and to choose right water cleaning and softening skills. - Check voltage across each electrical phase & check of any abnormality on Connection Tightness or Carbon Presence. - Check Chilled / Condenser Water Sensors & flow switches and its right values presentation on Interface Panel - Check Condenser Water Temperature& Flow Sensor / Switches and presentation on interface Panel. - Check High and Low Press. & Temp. Cutout Switches. - Adopt procedure for accuracy check of thermistors and transducers values with interface. - Adopt right Procedure for accuracy check of Condenser Pressure and Temperature Gauges - Perform Eddy current test and inspection of tubes with proper cleaning procedure implementation. - Inspect Main Bearing, Bolts and Seal wear - Inspect motor Margining & Tolerance Levels. - Adopt Correct Check for average skin temperatures of Compressor Motor & VFD Temperatures. - Check for operating amperage of Chiller on Full & Part Load Scenario. - Determine Oil Supply & Return Filter Clogging state & Replacement Procedure. - Inspect & Replace starter Coolant & Air Filters. - Check draining / Purge out Refrigerant and Oil for analysis & Lube Oil. - Perform different vibration Test for Motor, Bearing and Foundation to avoid abnormal sound & parts breaking. - Inspect and brush clean evaporator, Condenser & Maintenance Heat Exchanger Baffles. - Inspect and brush clean evaporator, water Heat Exchanger Chamber & tubes. - Perform Eddy current and borescope tests on condenser tubes (after brush cleaning) - Check for different valve modulation and design flow entering / blocking situation |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma Level 05 in HVACR Technology |
| Competency Standards | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715M&MT49 – Check and inspect Air Washer System in respect of Preventive Maintenance |
| Assessment Task | - Perform preventive maintenance for air washer by observing OSH |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |
| - Observe & maintain safe working environment |  |  |
| - Check Visual Traces of Leakages on Water & Refrigerant Circuits with Sight Glass Level verifications. |  |  |
| - Visual Traces of Oil Leakages, Sight Glass Level for Right Oil presence |  |  |
| - Check Proper operation of oil return valve & its operation during cycle & at Part Load. |  |  |
| - Check Sump Heater & its thermostat. |  |  |
| - Perform Water Analysis for Chilled & Condenser Side and to choose right water cleaning and softening skills. |  |  |
| - Check voltage across each electrical phase & check of any abnormality on Connection Tightness or Carbon Presence. |  |  |
| - Check Chilled / Condenser Water Sensors & flow switches and its right values presentation on Interface Panel |  |  |
| - Check Condenser Water Temperature& Flow Sensor / Switches and presentation on interface Panel. |  |  |
| - Check High and Low Press. & Temp. Cutout Switches. |  |  |
| - Adopt procedure for accuracy check of thermistors and transducers values with interface. |  |  |
| - Adopt right Procedure for accuracy check of Condenser Pressure and Temperature Gauges |  |  |
| - Perform Eddy current test and inspection of tubes with proper cleaning procedure implementation. |  |  |
| - Inspect Main Bearing, Bolts and Seal wear |  |  |
| - Inspect motor Margining & Tolerance Levels. |  |  |
| - Adopt Correct Check for average skin temperatures of Compressor Motor & VFD Temperatures. |  |  |
| - Check for operating amperage of Chiller on Full & Part Load Scenario. |  |  |
| - Determine Oil Supply & Return Filter Clogging state & Replacement Procedure. |  |  |
| - Inspect & Replace starter Coolant & Air Filters. |  |  |
| - Check draining / Purge out Refrigerant and Oil for analysis & Lube Oil. |  |  |
| - Perform different vibration Test for Motor, Bearing and Foundation to avoid abnormal sound & parts breaking. |  |  |
| - Inspect and brush clean evaporator, Condenser & Maintenance Heat Exchanger Baffles. |  |  |
| - Inspect and brush clean evaporator, water Heat Exchanger Chamber & tubes. |  |  |
| - Perform Eddy current and borescope tests on condenser tubes (after brush cleaning) |  |  |
| - Check for different valve modulation and design flow entering / blocking situation |  |  |

Candidate’s Signature___________________Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | National Diploma Level 05 in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715M&MT49 – Check and inspect Air Washer System in respect of Preventive Maintenance |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | 1. Operate Direct Fire Absorption Chiller in Right Sequence considering all safety measures 2. Perform Maintenance Direct Fire Absorption Chiller in Right Sequence considering all safety measures |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  | Yes | No | Remarks |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |  |  |  |
| - Observe & maintain safe working environment |  |  |  |  |  |
| - Check Visual Traces of Leakages on Water & Refrigerant Circuits with Sight Glass Level verifications. |  |  |  |  |  |
| - Visual Traces of Oil Leakages, Sight Glass Level for Right Oil presence |  |  |  |  |  |
| - Check Proper operation of oil return valve & its operation during cycle & at Part Load. |  |  |  |  |  |
| - Check Sump Heater & its thermostat. |  |  |  |  |  |
| - Perform Water Analysis for Chilled & Condenser Side and to choose right water cleaning and softening skills. |  |  |  |  |  |
| - Check voltage across each electrical phase & check of any abnormality on Connection Tightness or Carbon Presence. |  |  |  |  |  |
| - Check Chilled / Condenser Water Sensors & flow switches and its right values presentation on Interface Panel |  |  |  |  |  |
| - Check Condenser Water Temperature& Flow Sensor / Switches and presentation on interface Panel. |  |  |  |  |  |
| - Check High and Low Press. & Temp. Cutout Switches. |  |  |  |  |  |
| - Adopt procedure for accuracy check of thermistors and transducers values with interface. |  |  |  |  |  |
| - Adopt right Procedure for accuracy check of Condenser Pressure and Temperature Gauges |  |  |  |  |  |
| - Perform Eddy current test and inspection of tubes with proper cleaning procedure implementation. |  |  |  |  |  |
| - Inspect Main Bearing, Bolts and Seal wear |  |  |  |  |  |
| - Inspect motor Margining & Tolerance Levels. |  |  |  |  |  |
| - Adopt Correct Check for average skin temperatures of Compressor Motor & VFD Temperatures. |  |  |  |  |  |
| - Check for operating amperage of Chiller on Full & Part Load Scenario. |  |  |  |  |  |
| - Determine Oil Supply & Return Filter Clogging state & Replacement Procedure. |  |  |  |  |  |
| - Inspect & Replace starter Coolant & Air Filters. |  |  |  |  |  |
| - Check draining / Purge out Refrigerant and Oil for analysis & Lube Oil. |  |  |  |  |  |
| - Perform different vibration Test for Motor, Bearing and Foundation to avoid abnormal sound & parts breaking. |  |  |  |  |  |
| - Inspect and brush clean evaporator, Condenser & Maintenance Heat Exchanger Baffles. |  |  |  |  |  |
| - Inspect and brush clean evaporator, water Heat Exchanger Chamber & tubes. |  |  |  |  |  |
| - Perform Eddy current and borescope tests on condenser tubes (after brush cleaning) |  |  |  |  |  |
| Check for different valve modulation and design flow entering / blocking situation |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma Level 05 in HVACR Technology |
| --- | --- |
| Competency Standard(s) |  |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Enlist 5 Personal Protective Equipment`s (PPE`s). |  |  |
|  | Define preventive maintenance. |  |  |
|  | Define air washer. |  |  |
|  | Define air filters. |  |  |
|  | Describe use of air washer. |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________