Instruction Sheet for the Candidate

| Qualification | National Diploma Level 05 in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715M&MT50 – Check and inspect Central Air Conditioning System |
| Purpose of Assessment | Formative |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - Start a centrally air conditioning system in right sequence and operate it by observing OSH |
| Time: 5Hrs | During a practical assessment, under observation by an assessor, you are required to - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place - Observe & maintain safe working environment - Check electrical source of supply and supply being within the requirements. - Check and ensure availability of continuous supply of good quality of water to the cooling tower& expansion tank. - Check Cooling tower and water treatment systems and ensure their satisfactory performance - Check Water pumps, cooling towers and condensing units for their satisfactory performance and necessary adjustments done. - Check Compressor and change oil as specified by manufacturer - Clean, service and replace Electrical controls and panels, as necessary, according to instructions of manufacturer. - Check and ensure Control devices and safety devices for operational parameters - Record and interpret Chiller different readings - Follow operational manual and other operational guidelines provided by manufacturer for operating plant. - Check air purge valve and water level of cooling tower. - Start, check and ensure Cooling tower fans operation - Check attend unusual noises and ensure correct performance of cooling tower fans. - Start Condenser cooling water pumps, check their performance and carry out servicing / repairs as necessary - Start Chilled water pumps, check their performance and carry out servicing/or repairs as necessary. - Carry out necessary servicing of air side equipment - Check start up procedure and start chiller - Take and record temperature readings at all places of air-conditioned space. - Check main plant, take readings at regular intervals and record in operational log sheets - Shut down System as recommended by the manufacturer - Provide and interpret instructions on starting operations and other operational guidelines provided by manufacturer. - Follow steps outlined in manufacturer’s guidelines for starting and operating unit as specified. - Start condenser fans, and check their performance to ensure proper performance - Check and inform abnormal noises and vibrations in condenser fans - Start chilled water pumps, check their performance and carry out servicing / or repairs as necessary. - Carry out necessary servicing of air side equipment for correct operational parameters - Take and record temperature readings at all places of air-conditioned space. - Check main plant, take readings at regular intervals and record in operational log sheets - Pump down / stop system as recommended by the manufacture. |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma Level 05 in HVACR Technology |
| Competency Standards | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715M&MT50 – Check and inspect Central Air Conditioning System |
| Assessment Task | - Start a centrally air conditioning system in right sequence and operate it by observing OSH |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |
| - Observe & maintain safe working environment |  |  |
| - Check electrical source of supply and supply being within the requirements. |  |  |
| - Check and ensure availability of continuous supply of good quality of water to the cooling tower& expansion tank. |  |  |
| - Check Cooling tower and water treatment systems and ensure their satisfactory performance |  |  |
| - Check Water pumps, cooling towers and condensing units for their satisfactory performance and necessary adjustments done. |  |  |
| - Check Compressor and change oil as specified by manufacturer |  |  |
| - Clean, service and replace Electrical controls and panels, as necessary, according to instructions of manufacturer. |  |  |
| - Check and ensure Control devices and safety devices for operational parameters |  |  |
| - Record and interpret Chiller different readings |  |  |
| - Follow operational manual and other operational guidelines provided by manufacturer for operating plant. |  |  |
| - Check air purge valve and water level of cooling tower. |  |  |
| - Start, check and ensure Cooling tower fans operation |  |  |
| - Check attend unusual noises and ensure correct performance of cooling tower fans. |  |  |
| - Start Condenser cooling water pumps, check their performance and carry out servicing / repairs as necessary |  |  |
| - Start Chilled water pumps, check their performance and carry out servicing/or repairs as necessary. |  |  |
| - Carry out necessary servicing of air side equipment |  |  |
| - Check start up procedure and start chiller |  |  |
| - Take and record temperature readings at all places of air-conditioned space. |  |  |
| - Check main plant, take readings at regular intervals and record in operational log sheets |  |  |
| - Shut down System as recommended by the manufacturer |  |  |
| - Provide and interpret instructions on starting operations and other operational guidelines provided by manufacturer. |  |  |
| - Follow steps outlined in manufacturer’s guidelines for starting and operating unit as specified. |  |  |
| - Start condenser fans, and check their performance to ensure proper performance |  |  |
| - Check and inform abnormal noises and vibrations in condenser fans |  |  |
| - Start chilled water pumps, check their performance and carry out servicing / or repairs as necessary. |  |  |
| - Carry out necessary servicing of air side equipment for correct operational parameters |  |  |
| - Take and record temperature readings at all places of air-conditioned space. |  |  |
| - Check main plant, take readings at regular intervals and record in operational log sheets |  |  |
| Pump down / stop system as recommended by the manufacture. |  |  |

Candidate’s Signature___________________Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | National Diploma Level 05 in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715M&MT50 – Check and inspect Central Air Conditioning System |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | 1. Start a centrally air conditioning system in right sequence and operate it by observing OSH |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  | Yes | No | Remarks |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |  |  |  |
| - Observe & maintain safe working environment |  |  |  |  |  |
| - Check electrical source of supply and supply being within the requirements. |  |  |  |  |  |
| - Check and ensure availability of continuous supply of good quality of water to the cooling tower& expansion tank. |  |  |  |  |  |
| - Check Cooling tower and water treatment systems and ensure their satisfactory performance |  |  |  |  |  |
| - Check Water pumps, cooling towers and condensing units for their satisfactory performance and necessary adjustments done. |  |  |  |  |  |
| - Check Compressor and change oil as specified by manufacturer |  |  |  |  |  |
| - Clean, service and replace Electrical controls and panels, as necessary, according to instructions of manufacturer. |  |  |  |  |  |
| - Check and ensure Control devices and safety devices for operational parameters |  |  |  |  |  |
| - Record and interpret Chiller different readings |  |  |  |  |  |
| - Follow operational manual and other operational guidelines provided by manufacturer for operating plant. |  |  |  |  |  |
| - Check air purge valve and water level of cooling tower. |  |  |  |  |  |
| - Start, check and ensure Cooling tower fans operation |  |  |  |  |  |
| - Check attend unusual noises and ensure correct performance of cooling tower fans. |  |  |  |  |  |
| - Start Condenser cooling water pumps, check their performance and carry out servicing / repairs as necessary |  |  |  |  |  |
| - Start Chilled water pumps, check their performance and carry out servicing/or repairs as necessary. |  |  |  |  |  |
| - Carry out necessary servicing of air side equipment |  |  |  |  |  |
| - Check start up procedure and start chiller |  |  |  |  |  |
| - Take and record temperature readings at all places of air-conditioned space. |  |  |  |  |  |
| - Check main plant, take readings at regular intervals and record in operational log sheets |  |  |  |  |  |
| - Shut down System as recommended by the manufacturer |  |  |  |  |  |
| - Provide and interpret instructions on starting operations and other operational guidelines provided by manufacturer. |  |  |  |  |  |
| - Follow steps outlined in manufacturer’s guidelines for starting and operating unit as specified. |  |  |  |  |  |
| - Start condenser fans, and check their performance to ensure proper performance |  |  |  |  |  |
| - Check and inform abnormal noises and vibrations in condenser fans |  |  |  |  |  |
| - Start chilled water pumps, check their performance and carry out servicing / or repairs as necessary. |  |  |  |  |  |
| - Carry out necessary servicing of air side equipment for correct operational parameters |  |  |  |  |  |
| - Take and record temperature readings at all places of air-conditioned space. |  |  |  |  |  |
| - Check main plant, take readings at regular intervals and record in operational log sheets |  |  |  |  |  |
| Pump down / stop system as recommended by the manufacture. |  |  |  |  |  |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma Level 05 in HVACR Technology |
| --- | --- |
| Competency Standard(s) |  |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Enlist 5 Personal Protective Equipment`s (PPE`s). |  |  |
|  | Define central air conditioning system. |  |  |
|  | Enlist the parts of central air conditioning system. |  |  |
|  | Define secondary refrigerant. |  |  |
|  | Define air purge valve. |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________