Instruction Sheet for the Candidate

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- 5) |
| --- | --- |
| Competency Standard(s) | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715M&MT51 – Install & Commission Ammonia Refrigeration System, Components & Accessories |
| Purpose of Assessment | Formative |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - Install Ammonia refrigeration system - Commission Ammonia refrigeration system - Write a report about installation and commissioning |
| Time: 5Hrs | During a practical assessment, under observation by an assessor, you are required to - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place - Observe & maintain safe working environment - Identify and obtain OHS procedures for a given work area through established routines and procedures - Follow established OHS risk control measures and procedures in preparation for the work. - Seek advice on risk control measures from the project engineer for safety hazards which have not previously been identified - Obtain the nature of work from documentation or from project engineer to establish the scope of work to be undertaken. - Seek advice from the project engineer to ensure the work is coordinated effectively with others. - Access sources of material that may be required for the work in accordance with established routines and procedures. - Follow established OHS risk control measures and procedures for carrying out the work. - Conduct measuring system operating parameters in strict accordance with OHS requirements and established safety procedures - Install major components and pipe work in compliance with all applicable Standards, Codes and Regulations - Conduct pressure testing at a pressure compatible with Ammonia and in accordance with applicable standards - Take precautions to prevent damage to components while pressure testing the system - Locate and rectify Leaks using testing methods appropriate to the system and in accordance with industry practice - Evacuate system in accordance with industry practices. - Charge system safely with Ammonia and lubricants in accordance with industry practices - Carry out preoperational on all operating and safety controls. - Commission system and make all adjustments to operating and safety controls. - Adjust and setting to all refrigerant flow metering devices and level control devices. - Take caution with temperature reduction of cool rooms and freezers. - Reduce temperatures in accordance with industry practices - Carry out maintenance procedures which include inspection and cleaning of all strainers, filters and collection of oil sample for analysis - Give training to personnel responsible for the operation and maintenance of the refrigeration system. - Clean and make safe work site in accordance with established procedures. - Deal with contaminated refrigerant and lubricant in accordance with legislative/regulatory requirements - Document operational conditions and commissioning figures, including identification of any parameter that is not within the specified range for the system. - Mark all mechanical and electrical documentation to be "As Installed" |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- 5) |
| Competency Standards | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715M&MT51 – Install & Commission Ammonia Refrigeration System, Components & Accessories |
| Assessment Task | - Install Ammonia refrigeration system - Commission Ammonia refrigeration system - Write a report about installation and commissioning |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |
| - Observe & maintain safe working environment |  |  |
| - Identify and obtain OHS procedures for a given work area through established routines and procedures |  |  |
| - Follow established OHS risk control measures and procedures in preparation for the work. |  |  |
| - Seek advice on risk control measures from the project engineer for safety hazards which have not previously been identified |  |  |
| - Obtain the nature of work from documentation or from project engineer to establish the scope of work to be undertaken. |  |  |
| - Seek advice from the project engineer to ensure the work is coordinated effectively with others. |  |  |
| - Access sources of material that may be required for the work in accordance with established routines and procedures. |  |  |
| - Follow established OHS risk control measures and procedures for carrying out the work. |  |  |
| - Conduct measuring system operating parameters in strict accordance with OHS requirements and established safety procedures |  |  |
| - Install major components and pipe work in compliance with all applicable Standards, Codes and Regulations |  |  |
| - Conduct pressure testing at a pressure compatible with Ammonia and in accordance with applicable standards |  |  |
| - Take precautions to prevent damage to components while pressure testing the system |  |  |
| - Locate and rectify Leaks using testing methods appropriate to the system and in accordance with industry practice |  |  |
| - Evacuate system in accordance with industry practices. |  |  |
| - Charge system safely with Ammonia and lubricants in accordance with industry practices |  |  |
| - Carry out preoperational on all operating and safety controls. |  |  |
| - Commission system and make all adjustments to operating and safety controls. |  |  |
| - Adjust and setting to all refrigerant flow metering devices and level control devices. |  |  |
| - Take caution with temperature reduction of cool rooms and freezers. |  |  |
| - Reduce temperatures in accordance with industry practices |  |  |
| - Carry out maintenance procedures which include inspection and cleaning of all strainers, filters and collection of oil sample for analysis |  |  |
| - Give training to personnel responsible for the operation and maintenance of the refrigeration system. |  |  |
| - Clean and make safe work site in accordance with established procedures. |  |  |
| - Deal with contaminated refrigerant and lubricant in accordance with legislative/regulatory requirements |  |  |
| - Document operational conditions and commissioning figures, including identification of any parameter that is not within the specified range for the system. |  |  |
| - Mark all mechanical and electrical documentation to be "As Installed" |  |  |

Candidate’s Signature___________________Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (DAE - Level- 5) |
| --- | --- |
| Competency Standard(s) | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715M&MT51 – Install & Commission Ammonia Refrigeration System, Components & Accessories |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | - 1. Install Ammonia refrigeration system - Commission Ammonia refrigeration system - Write a report about installation and commissioning |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  | Yes | No | Remarks |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |  |  |  |
| - Observe & maintain safe working environment |  |  |  |  |  |
| - Identify and obtain OHS procedures for a given work area through established routines and procedures |  |  |  |  |  |
| - Follow established OHS risk control measures and procedures in preparation for the work. |  |  |  |  |  |
| - Seek advice on risk control measures from the project engineer for safety hazards which have not previously been identified |  |  |  |  |  |
| - Obtain the nature of work from documentation or from project engineer to establish the scope of work to be undertaken. |  |  |  |  |  |
| - Seek advice from the project engineer to ensure the work is coordinated effectively with others. |  |  |  |  |  |
| - Access sources of material that may be required for the work in accordance with established routines and procedures. |  |  |  |  |  |
| - Follow established OHS risk control measures and procedures for carrying out the work. |  |  |  |  |  |
| - Conduct measuring system operating parameters in strict accordance with OHS requirements and established safety procedures |  |  |  |  |  |
| - Install major components and pipe work in compliance with all applicable Standards, Codes and Regulations |  |  |  |  |  |
| - Conduct pressure testing at a pressure compatible with Ammonia and in accordance with applicable standards |  |  |  |  |  |
| - Take precautions to prevent damage to components while pressure testing the system |  |  |  |  |  |
| - Locate and rectify Leaks using testing methods appropriate to the system and in accordance with industry practice |  |  |  |  |  |
| - Evacuate system in accordance with industry practices. |  |  |  |  |  |
| - Charge system safely with Ammonia and lubricants in accordance with industry practices |  |  |  |  |  |
| - Carry out preoperational on all operating and safety controls. |  |  |  |  |  |
| - Commission system and make all adjustments to operating and safety controls. |  |  |  |  |  |
| - Adjust and setting to all refrigerant flow metering devices and level control devices. |  |  |  |  |  |
| - Take caution with temperature reduction of cool rooms and freezers. |  |  |  |  |  |
| - Reduce temperatures in accordance with industry practices |  |  |  |  |  |
| - Carry out maintenance procedures which include inspection and cleaning of all strainers, filters and collection of oil sample for analysis |  |  |  |  |  |
| - Give training to personnel responsible for the operation and maintenance of the refrigeration system. |  |  |  |  |  |
| - Clean and make safe work site in accordance with established procedures. |  |  |  |  |  |
| - Deal with contaminated refrigerant and lubricant in accordance with legislative/regulatory requirements |  |  |  |  |  |
| - Document operational conditions and commissioning figures, including identification of any parameter that is not within the specified range for the system. |  |  |  |  |  |
| Mark all mechanical and electrical documentation to be "As Installed" |  |  |  |  |  |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- 5) |
| --- | --- |
| Competency Standard(s) | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715M&MT51 – Install & Commission Ammonia Refrigeration System, Components & Accessories |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application. Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define Personal Protective Equipment`s (PPE`s) for Ammonia refrigerant. |  |  |
|  | Define commissioning. |  |  |
|  | Define cooling tower. |  |  |
|  | Enlist the properties of Ammonia refrigerant. |  |  |
|  | Describe use secondary refrigerant. |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________