Instruction Sheet for the Candidate

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- 5) |
| --- | --- |
| Competency Standard(s) | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715M&MT55 – Install, Maintain and Repair Industrial Refrigeration Systems |
| Purpose of Assessment | Formative |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - Install an industrial refrigeration system according to drawing and specifications by observing OSH - Repair & maintain an industrial refrigeration system according to drawing and specifications by observing OSH |
| Time: 5Hrs | During a practical assessment, under observation by an assessor, you are required to - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place - Observe & maintain safe working environment - Identify location as per the design. - Select specifications system, check to ensure matching with selected design of the unit. - Prepare a list of equipment / items and material required for the job. - Select components of system according to requirements for the installation. - Prepare and level floor to install industrial refrigeration system according to layout plans. - Install industrial refrigeration system according to specifications, following manufacturer’s specification. - Install refrigeration equipment including piping & electrical wiring following standard practices and safety procedures. - Check and test system before commissioning, as per specifications and manufacturer’s instructions, and under the supervision of the engineer. - Record commissioning data indicating system pressures, electrical data, humidity &temperatures outside and inside cold room, and filed for future use. - Check cold room / freezer room / ice plant and extent of repair / or maintenance ascertained and recorded. - Enlist equipment / items, material and accessories as required for the job. - Check all components of the electrical / electronic circuits according to standard practice and manufacturers specifications to ensure correct performance and rectify defects. - Check and ensure performance of electro - mechanical safety and control devices according to manufacturer’s specifications. - Check for correct performance of all mechanical devices such as drive belts etc. according to manufacturer’s specifications - Check and rectify defects for correct performance of all components of the refrigeration circuit according to manufacturer’s specifications. - Check defrost heaters, drain line, Pan heaters, fan delays, defrost timers, defrost termination devices and temperature controllers, replace where necessary to ensure proper functioning. - Check body mounts and restore to the required condition - Test system pressure, specified test instruments and repair gas leaks - Evacuate system by using vacuum pump and gas re-charge by weight using specified equipment according to specifications. - Check door heaters and door gaskets & door closers; repair where necessary to ensure proper functioning. - Check interior cooler space, cleaned and ensured dust / debris free. - Operate, check and test plant to ensure satisfactory performance according to manufacturer’s specifications. - Perform plant re-commissioning and handed over according to manufactures specifications observing following safety procedures, under the supervision of the superior and recorded readings / data obtained during commissioning of the plant and check against manufacturers specifications. |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (DAE - Level- 5) |
| Competency Standards | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715M&MT55 – Install, Maintain and Repair Industrial Refrigeration Systems |
| Assessment Task | - Install an industrial refrigeration system according to drawing and specifications by observing OSH - Repair & maintain an industrial refrigeration system according to drawing and specifications by observing OSH |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |
| - Observe & maintain safe working environment |  |  |
| - Identify location as per the design. |  |  |
| - Select specifications system, check to ensure matching with selected design of the unit. |  |  |
| - Prepare a list of equipment / items and material required for the job. |  |  |
| - Select components of system according to requirements for the installation. |  |  |
| - Prepare and level floor to install industrial refrigeration system according to layout plans. |  |  |
| - Install industrial refrigeration system according to specifications, following manufacturer’s specification. |  |  |
| - Install refrigeration equipment including piping & electrical wiring following standard practices and safety procedures. |  |  |
| - Check and test system before commissioning, as per specifications and manufacturer’s instructions, and under the supervision of the engineer. |  |  |
| - Record commissioning data indicating system pressures, electrical data, humidity &temperatures outside and inside cold room, and filed for future use. |  |  |
| - Check cold room / freezer room / ice plant and extent of repair / or maintenance ascertained and recorded. |  |  |
| - Enlist equipment / items, material and accessories as required for the job. |  |  |
| - Check all components of the electrical / electronic circuits according to standard practice and manufacturers specifications to ensure correct performance and rectify defects. |  |  |
| - Check and ensure performance of electro - mechanical safety and control devices according to manufacturer’s specifications. |  |  |
| - Check for correct performance of all mechanical devices such as drive belts etc. according to manufacturer’s specifications |  |  |
| - Check and rectify defects for correct performance of all components of the refrigeration circuit according to manufacturer’s specifications. |  |  |
| - Check defrost heaters, drain line, Pan heaters, fan delays, defrost timers, defrost termination devices and temperature controllers, replace where necessary to ensure proper functioning. |  |  |
| - Check body mounts and restore to the required condition |  |  |
| - Test system pressure, specified test instruments and repair gas leaks |  |  |
| - Evacuate system by using vacuum pump and gas re-charge by weight using specified equipment according to specifications. |  |  |
| - Check door heaters and door gaskets & door closers; repair where necessary to ensure proper functioning. |  |  |
| - Check interior cooler space, cleaned and ensured dust / debris free. |  |  |
| - Operate, check and test plant to ensure satisfactory performance according to manufacturer’s specifications. |  |  |
| - Perform plant re-commissioning and handed over according to manufactures specifications observing following safety procedures, under the supervision of the superior and recorded readings / data obtained during commissioning of the plant and check against manufacturers specifications. |  |  |

Candidate’s Signature___________________Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- 5) |
| --- | --- |
| Competency Standard(s) | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715M&MT55 – Install, Maintain and Repair Industrial Refrigeration Systems |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | - Install an industrial refrigeration system according to drawing and specifications by observing OSH - Repair & maintain an industrial refrigeration system according to drawing and specifications by observing OSH |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  | Yes | No | Remarks |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |  |  |  |
| - Observe & maintain safe working environment |  |  |  |  |  |
| - Identify location as per the design. |  |  |  |  |  |
| - Select specifications system, check to ensure matching with selected design of the unit. |  |  |  |  |  |
| - Prepare a list of equipment / items and material required for the job. |  |  |  |  |  |
| - Select components of system according to requirements for the installation. |  |  |  |  |  |
| - Prepare and level floor to install industrial refrigeration system according to layout plans. |  |  |  |  |  |
| - Install industrial refrigeration system according to specifications, following manufacturer’s specification. |  |  |  |  |  |
| - Install refrigeration equipment including piping & electrical wiring following standard practices and safety procedures. |  |  |  |  |  |
| - Check and test system before commissioning, as per specifications and manufacturer’s instructions, and under the supervision of the engineer. |  |  |  |  |  |
| - Record commissioning data indicating system pressures, electrical data, humidity &temperatures outside and inside cold room, and filed for future use. |  |  |  |  |  |
| - Check cold room / freezer room / ice plant and extent of repair / or maintenance ascertained and recorded. |  |  |  |  |  |
| - Enlist equipment / items, material and accessories as required for the job. |  |  |  |  |  |
| - Check all components of the electrical / electronic circuits according to standard practice and manufacturers specifications to ensure correct performance and rectify defects. |  |  |  |  |  |
| - Check and ensure performance of electro - mechanical safety and control devices according to manufacturer’s specifications. |  |  |  |  |  |
| - Check for correct performance of all mechanical devices such as drive belts etc. according to manufacturer’s specifications |  |  |  |  |  |
| - Check and rectify defects for correct performance of all components of the refrigeration circuit according to manufacturer’s specifications. |  |  |  |  |  |
| - Check defrost heaters, drain line, Pan heaters, fan delays, defrost timers, defrost termination devices and temperature controllers, replace where necessary to ensure proper functioning. |  |  |  |  |  |
| - Check body mounts and restore to the required condition |  |  |  |  |  |
| - Test system pressure, specified test instruments and repair gas leaks |  |  |  |  |  |
| - Evacuate system by using vacuum pump and gas re-charge by weight using specified equipment according to specifications. |  |  |  |  |  |
| - Check door heaters and door gaskets & door closers; repair where necessary to ensure proper functioning. |  |  |  |  |  |
| - Check interior cooler space, cleaned and ensured dust / debris free. |  |  |  |  |  |
| - Operate, check and test plant to ensure satisfactory performance according to manufacturer’s specifications. |  |  |  |  |  |
| - Perform plant re-commissioning and handed over according to manufactures specifications observing following safety procedures, under the supervision of the superior and recorded readings / data obtained during commissioning of the plant and check against manufacturers specifications. |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- 5) |
| --- | --- |
| Competency Standard(s) | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715M&MT55 – Install, Maintain and Repair Industrial Refrigeration Systems |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Describe Personal Protective Equipment`s (PPE`s) for industrial refrigeration system. |  |  |
|  | Define preventive maintenance of refrigeration system. |  |  |
|  | Describe commissioning process. |  |  |
|  | Enlist main hazards of industrial refrigeration units. |  |  |
|  | Enlist the parts of industrial refrigeration units. |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________