Instruction Sheet for the Candidate

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- 5) |
| --- | --- |
| Competency Standard(s) | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715 M&MT 48 - Operate & Maintain Absorption Air Conditioning System |
| Purpose of Assessment | Formative |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): 1. Operate Direct Fire Absorption Chiller in Right Sequence considering all safety measures 2. Perform Maintenance of Direct Fire Absorption Chiller in Right Sequence considering all safety measures |
| Time: 5Hrs | During a practical assessment, under observation by an assessor, you are required to - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place - Observe & maintain safe working environment - Check solution chemical analysis (add inhibitors as needed) - Check proper solution levels "adjust quantity & add if required' - Check low refrigerant cut-out switch - Check water flow switches. - Check cut out switches - Check condenser temperature & Pressure Gauge - Check amperage of purge pump for correct operating - Check accuracy of manometer or Vacuum Gauge for Implementation - Check proper steam valve modulation - Perform safety test - Spark Pick-Up - Test Power & Performance of burner fan air proving switch. - Check all Requirements of Combustion air Check to make sure that all sources remain clear and open to ensure safe operation. - Inspect for leakage through pilot and main solenoid or motorized valve(s) - Inspect for wear of main and pilot gas pressure regulators Combustion analysis ratios, combustion efficiency. - Perform test of high pressure and low-pressure gas switches - Inspect oil nozzle wear - Replace Fired Units / nozzle if necessary - Inspect for wear of oil solenoid and main oil modulating valve(s) to conduct performance test - Inspect oil pump unit with Checking for clogging of oil strainer and Leak test of piping (visual observation) - Record oil consumption (Charts or Flow Meter) with performance test of oil pressure cutout switch (Refer to burner documentation) |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (DAE - Level- 5) |
| Competency Standards | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715 M&MT 48 - Operate & Maintain Absorption Air Conditioning System |
| Assessment Task | 1. Operate Direct Fire Absorption Chiller in Right Sequence considering all safety measures 2. Perform Maintenance Direct Fire Absorption Chiller in Right Sequence considering all safety measures |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |
| - Observe & maintain safe working environment |  |  |
| - Check solution chemical analysis (add inhibitors as needed) |  |  |
| - Check proper solution levels "adjust quantity & add if required' |  |  |
| - Check low refrigerant cut-out switch |  |  |
| - Check water flow switches. |  |  |
| - Check cut out switches |  |  |
| - Check condenser temperature & Pressure Gauge |  |  |
| - Check amperage of purge pump for correct operating |  |  |
| - Check accuracy of manometer or Vacuum Gauge for Implementation |  |  |
| - Check proper steam valve modulation |  |  |
| - Perform safety test - Spark Pick-Up |  |  |
| - Test Power & Performance of burner fan air proving switch. |  |  |
| - Check all Requirements of Combustion air Check to make sure that all sources remain clear and open to ensure safe operation. |  |  |
| - Inspect for leakage through pilot and main solenoid or motorized valve(s) |  |  |
| - Inspect for wear of main and pilot gas pressure regulators Combustion analysis ratios, combustion efficiency. |  |  |
| - Perform test of high pressure and low-pressure gas switches |  |  |
| - Inspect oil nozzle wear - Replace Fired Units / nozzle if necessary |  |  |
| - Inspect for wear of oil solenoid and main oil modulating valve(s) to conduct performance test |  |  |
| - Inspect oil pump unit with Checking for clogging of oil strainer and Leak test of piping (visual observation) |  |  |
| - Record oil consumption (Charts or Flow Meter) with performance test of oil pressure cutout switch (Refer to burner documentation) |  |  |

Candidate’s Signature___________________Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (DAE - Level- 5) |
| --- | --- |
| Competency Standard(s) | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment 0715 M&MT 48 - Operate & Maintain Absorption Air Conditioning System |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | 1. Operate Direct Fire Absorption Chiller in Right Sequence considering all safety measures 2. Perform Maintenance Direct Fire Absorption Chiller in Right Sequence considering all safety measures |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place. - Observe & maintain safe working environment. - Check solution chemical analysis (add inhibitors as needed). - Check proper solution levels "adjust quantity & add if required'. - Check low refrigerant cut-out switch. - Check water flow switches.. - Check cut out switches. - Check condenser temperature & Pressure Gauge. - Check amperage of purge pump for correct operating. - Check accuracy of manometer or Vacuum Gauge for Implementation. - Check proper steam valve modulation. - Perform safety test - Spark Pick-Up. - Test Power & Performance of burner fan air proving switch.. - Check all Requirements of Combustion air Check to make sure that all sources remain clear and open to ensure safe operation.. - Inspect for leakage through pilot and main solenoid or motorized valve(s). - Inspect for wear of main and pilot gas pressure regulators Combustion analysis ratios, combustion efficiency.. - Perform test of high pressure and low-pressure gas switches. - Inspect oil nozzle wear - Replace Fired Units / nozzle if necessary. - Inspect for wear of oil solenoid and main oil modulating valve(s) to conduct performance test. - Inspect oil pump unit with Checking for clogging of oil strainer and Leak test of piping (visual observation). - Record oil consumption (Charts or Flow Meter) with performance test of oil pressure cutout switch (Refer to burner documentation). | Yes | No | Remarks |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification |  |
| --- | --- |
| Competency Standard(s) |  |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define Personal Protective Equipment (PPE). |  |  |
|  | Enlist Types of maintenance. |  |  |
|  | Define absorption air conditioning system. |  |  |
|  | Define Combustion analysis. |  |  |
|  | Describe operation of Direct Fire Absorption chillers. |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________