Instruction Sheet for the Candidate

| # Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- I) |
| --- | --- |
| Competency Standard(s) | 0713E&E02 – Connect Load in Electrical Circuit 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Purpose of Assessment | Formative / Developmental Assessment |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame 5Hrs. (for practical demonstration & assessment): - Arrange Tools/Material for Job - Connect loads in series circuit - Connect loads in Parallel circuit - Connect loads in series and Parallel circuit. |
| Time: 5Hrs | During a practical assessment, under observation by an assessor, you are required to - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place - Observe & maintain safe working environment - Identify & Collect tools and material as per job. - Prepare workplace for the job/task. - Prepare Layouts/circuit diagrams for job/task - Arrange backup resources for lighting, power and safety purposes as per job requirement - Connect three loads (light bulbs) and a switch in a series circuit. - Connect two loads (light bulbs) in series using a switch to turn them off and on, - Connect third light in the circuit on continuously. - Connect three loads (light bulbs) in a parallel circuit by using a single-throw switch to control the circuit. - Connect three loads (light bulbs) in parallel using a single-pole single-throw switch to turn two light bulbs off and leave one light bulb on all the time - Connect a series-parallel circuit with six light bulbs - three lights wired in parallel, and three light bulbs wired in series. - Connect a series-parallel circuit with a single-pole single-throw switch controlling the total circuit. - Verify the voltage drop of loads (light bulbs) wired in parallel, - Verify the voltage drop of three loads (light bulbs) wired in series. - Verify the voltage drop of six loads (light bulbs) wired in series-parallel circuit. |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- I) |
| Competency Standards | 0713E&E02 – Connect Load in Electrical Circuit |
|  | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System |
|  | 1022OHS02 - Maintain safe work environment |
| Assessment Task | - Arrange Tools/Material for Job - Connect loads in series circuit - Connect loads in Parallel circuit - Connect loads in series and Parallel circuit. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |
| - Observe & maintain safe working environment |  |  |
| - Identify & Collect tools and material as per job. |  |  |
| - Prepare workplace for the job/task. |  |  |
| - Prepare Layouts/circuit diagrams for job/task |  |  |
| - Arrange backup resources for lighting, power and safety purposes as per job requirement |  |  |
| - Connect three loads (light bulbs) and a switch in a series circuit. |  |  |
| - Connect two loads (light bulbs) in series using a switch to turn them off and on, |  |  |
| - Connect third light in the circuit on continuously. |  |  |
| - Connect three loads (light bulbs) in a parallel circuit by using a single-throw switch to control the circuit. |  |  |
| - Connect three loads (light bulbs) in parallel using a single-pole single-throw switch to turn two light bulbs off and leave one light bulb on all the time |  |  |
| - Connect a series-parallel circuit with six light bulbs - three lights wired in parallel, and three light bulbs wired in series. |  |  |
| - Connect a series-parallel circuit with a single-pole single-throw switch controlling the total circuit. |  |  |
| - Verify the voltage drop of loads (light bulbs) wired in parallel, |  |  |
| - Verify the voltage drop of three loads (light bulbs) wired in series. |  |  |
| - Verify the voltage drop of six loads (light bulbs) wired in series-parallel circuit. |  |  |

Candidate’s Signature___________________	Assessor’s Signature___________________

Date: ________________________

Assessors Judgment Guide

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- I) |
| --- | --- |
| Competency Standard(s) | 0713E&E02 – Connect Load in Electrical Circuit 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | - Arrange Tools/Material for Job - Connect loads in series circuit - Connect loads in Parallel circuit - Connect loads in series and Parallel circuit. |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  | Yes | No | Remarks |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |  |  |  |
| - Observe & maintain safe working environment |  |  |  |  |  |
| - Identify & Collect tools and material as per job. |  |  |  |  |  |
| - Prepare workplace for the job/task. |  |  |  |  |  |
| - Prepare Layouts/circuit diagrams for job/task |  |  |  |  |  |
| - Arrange backup resources for lighting, power and safety purposes as per job requirement |  |  |  |  |  |
| - Connect three loads (light bulbs) and a switch in a series circuit. |  |  |  |  |  |
| - Connect two loads (light bulbs) in series using a switch to turn them off and on, |  |  |  |  |  |
| - Connect third light in the circuit on continuously. |  |  |  |  |  |
| - Connect three loads (light bulbs) in a parallel circuit by using a single-throw switch to control the circuit. |  |  |  |  |  |
| - Connect three loads (light bulbs) in parallel using a single-pole single-throw switch to turn two light bulbs off and leave one light bulb on all the time |  |  |  |  |  |
| - Connect a series-parallel circuit with six light bulbs - three lights wired in parallel, and three light bulbs wired in series. |  |  |  |  |  |
| - Connect a series-parallel circuit with a single-pole single-throw switch controlling the total circuit. |  |  |  |  |  |
| - Verify the voltage drop of loads (light bulbs) wired in parallel, |  |  |  |  |  |
| - Verify the voltage drop of three loads (light bulbs) wired in series. |  |  |  |  |  |
| - Verify the voltage drop of six loads (light bulbs) wired in series-parallel circuit. |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- I) |
| --- | --- |
| Competency Standard(s) | 0713E&E02 – Connect Load in Electrical Circuit 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Enlist 5 Personal Protective Equipment`s (PPE`s). |  |  |
|  | Explain the producer of Record keeping and reporting. |  |  |
|  | Define OHMs law. |  |  |
|  | Define Ammeter, ohmmeter, voltmeter and wattmeter |  |  |
|  | Define Electrical characteristics of both series and parallel circuits. |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________