Instruction Sheet for the Candidate

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- II) |
| --- | --- |
| Competency Standard(s) | 0713E&E04 – Establish Electrical Circuits for Commercial Refrigeration Systems 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Purpose of Assessment | Formative / Devlopmental Assessment |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame 3Hrs. (for practical demonstration & assessment): - Arrange Tools / Material for Job - Draw circuit diagram and install accessories - Dismantle and Re-assemble motors. |
| Time: 3Hrs | During a practical assessment, under observation by an assessor, you are required to - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place - Observe & maintain safe working environment - Identify and collect tools & material as per job. - Prepare workplace for the job/task. - Prepare layouts/circuit diagrams for job/task - Arrange backup resources for lighting, power and safety purposes as per job requirement - Draw the circuit diagram for a commercial refrigerating system. - Install a single pole breaker to control the whole circuit. - Install motor and capacitor in circuit. - Install relay and overload in circuit. - Dismantle capacitor start induction run motor - Identify parts of capacitor start induction run motor - Check automatic motor control circuit of single-phase induction motor according to constructional drawing - Check the speed-regulator switch in motor control circuit. - Re-assemble the capacitor start induction motor. - Test the capacitor start induction motor |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- II) |
| Competency Standards | 0713E&E04 – Establish Electrical Circuits for Commercial Refrigeration Systems |
|  | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System |
|  | 1022OHS02 - Maintain safe work environment |
| Assessment Task | - Arrange Tools / Material for Job - Draw circuit diagram and install accessories - Dismantle and Re-assemble motors. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |
| - Observe & maintain safe working environment |  |  |
| - Identify and collect tools & material as per job. |  |  |
| - Prepare workplace for the job/task. |  |  |
| - Prepare layouts/circuit diagrams for job/task |  |  |
| - Arrange backup resources for lighting, power and safety purposes as per job requirement |  |  |
| - Draw the circuit diagram for a commercial refrigerating system. |  |  |
| - Install a single pole breaker to control the whole circuit. |  |  |
| - Install motor and capacitor in circuit. |  |  |
| - Install relay and overload in circuit. |  |  |
| - Dismantle capacitor start induction run motor |  |  |
| - Identify parts of capacitor start induction run motor |  |  |
| - Check automatic motor control circuit of single-phase induction motor according to constructional drawing |  |  |
| - Check the speed-regulator switch in motor control circuit. |  |  |
| - Re-assemble the capacitor start induction motor. |  |  |
| - Test the capacitor start induction motor |  |  |

Candidate’s Signature___________________      Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- II) |
| --- | --- |
| Competency Standard(s) | 0713E&E04 – Establish Electrical Circuits for Commercial Refrigeration Systems 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | - Arrange Tools / Material for Job - Draw circuit diagram and install accessories - Dismantle and Re-assemble motors. |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  | Yes | No | Remarks |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |  |  |  |
| - Observe & maintain safe working environment |  |  |  |  |  |
| - Identify and collect tools & material as per job. |  |  |  |  |  |
| - Prepare workplace for the job/task. |  |  |  |  |  |
| - Prepare layouts/circuit diagrams for job/task |  |  |  |  |  |
| - Arrange backup resources for lighting, power and safety purposes as per job requirement |  |  |  |  |  |
| - Draw the circuit diagram for a commercial refrigerating system. |  |  |  |  |  |
| - Install a single pole breaker to control the whole circuit. |  |  |  |  |  |
| - Install motor and capacitor in circuit. |  |  |  |  |  |
| - Install relay and overload in circuit. |  |  |  |  |  |
| - Dismantle capacitor start induction run motor |  |  |  |  |  |
| - Identify parts of capacitor start induction run motor |  |  |  |  |  |
| - Check automatic motor control circuit of single-phase induction motor according to constructional drawing |  |  |  |  |  |
| - Check the speed-regulator switch in motor control circuit. |  |  |  |  |  |
| - Re-assemble the capacitor start induction motor. |  |  |  |  |  |
| - Test the capacitor start induction motor |  |  |  |  |  |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | # HEATING VENTILATION AIR CONDITIONING & REFRIGERATION (HVARC) TECHNOLOGY (Level- II) |
| --- | --- |
| Competency Standard(s) | 0713E&E04 – Establish Electrical Circuits for Commercial Refrigeration Systems 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Enlist 5 Personal Protective Equipment`s (PPE`s). |  |  |
|  | What is basics causes and effects for common electrical faults |  |  |
|  | Enlist the different types of drawings (e.g. power, control, single line etc.) |  |  |
|  | Enlist the types of breakers, contactors, relays etc. |  |  |
|  | Enlist the electrical symbols to be used in drawings |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________