Instruction Sheet for the Candidate

| Qualification | HVACR Technician (HVACR Level-5) |
| --- | --- |
| Competency Standard | Service and Maintain Transport Refrigeration Units |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Check and diagnose the defect in the freezer unit - Service / repair refrigerant system of the freezer unit |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to : - Check and diagnose the defect in the freezer unit - Inspect unit and ascertain, record to the extent of repair needed. - Prepare list of material, equipment, manpower and items according to the requirement. - Check / observe all components of refrigerant circuit according to standard practices and manufacturer’s specifications to ensure correct performance. - Check / observe all components of the refrigerant system, electrical system and accessories according to standards practices & manufacturer’s specifications to ensure correct operation. - Test system pressure with dry nitrogen gas and locate leaks using specified equipment and recommended safety procedures. - Service / repair refrigerant system of the freezer unit - Check internal and external electrical / electronic control systems for operations and repair / replace where necessary according to manufacturer’s instructions. - Check electronic climatic controls for smooth operation and replace where necessary according to manufacturer’s instructions. - Check freezer unit for specified /specific performance against manufacturer’s specification |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | HVACR Technician (HVACR Level-5) |
| Competency Standard | Service and Maintain Transport Refrigeration Units |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Check and diagnose the defect in the freezer unit - Service / repair refrigerant system of the freezer unit |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Inspect unit and ascertain, record to the extent of repair needed. |  |  |
| - Prepare list of material, equipment, manpower and items according to the requirement. |  |  |
| - Check / observe all components of refrigerant circuit according to standard practices and manufactures specifications to ensure correct performance. |  |  |
| - Check / observe all components of the refrigerant system, electrical system and accessories according to standards practices & manufactures specifications to ensure correct operation. |  |  |
| - Test system pressure with dry nitrogen gas and locate leaks using specified equipment and recommended safety procedures. |  |  |
| - Check internal and external electrical / electronic control systems for operations and repair / replace where necessary according to manufacturer’s instructions. |  |  |
| - Check electronic climatic controls for smooth operation and replace where necessary according to manufacturer’s instructions. |  |  |
| - Check freezer unit for specified /specific performance against manufacturer’s specification |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | HVACR Technician (HVACR Level-5) |
| --- | --- |
| Competency Standard | Service and Maintain Transport Refrigeration Units |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | . - Check and diagnose the defect in the freezer unit - Service / repair refrigerant system of the freezer unit |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Inspect unit and ascertain, record to the extent of repair needed. |  |  |  |  |  |
|  | Prepare list of material, equipment, manpower and items according to the requirement. |  |  |  |  |  |
|  | Check / observe all components of refrigerant circuit according to standard practices and manufactures specifications to ensure correct performance. |  |  |  |  |  |
|  | Check / observe all components of the refrigerant system, electrical system and accessories according to standards practices & manufactures specifications to ensure correct operation. |  |  |  |  |  |
|  | Test system pressure with dry nitrogen gas and locate leaks using specified equipment and recommended safety procedures. |  |  |  |  |  |
|  | Check internal and external electrical / electronic control systems for operations and repair / replace where necessary according to manufacturer’s instructions. |  |  |  |  |  |
|  | Check electronic climatic controls for smooth operation and replace where necessary according to manufacturer’s instructions. |  |  |  |  |  |
|  | Check freezer unit for specified /specific performance against manufacturer’s specification |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | HVACR Technician (HVACR Level-5) |
| --- | --- |
| Competency Standard | Service and Maintain Transport Refrigeration Units |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define pressure and temperature laws? |  |  |
|  | Define temperature and its units? |  |  |
|  | What are the different types of Refrigerants? |  |  |
|  | What are the different types of compressors? |  |  |
|  | What is the Working principle of refrigerant recovery machine? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________