Instruction Sheet for the Candidate

| Qualification | HVACR Technician (HVACR Level-5) |
| --- | --- |
| Competency Standard | Repair and Service Residential Refrigeration Units |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Diagnose Faults in Residential Refrigeration Units - Repair Window / Split Air Conditioner - Repair / Service Residential Electric Water Cooler / Water Dispenser |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to : - Diagnose Faults in Residential Refrigeration Units - Check for obvious problem to determine which component or system is causing the problem - Select tools, equipment and related accessories according to requirements and standards - Check power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem by using AVO Meter / Gauge manifold as recommended by manufacturer and record the results - Eliminate the causes of the problem according to the manufacturer manual and standards - Isolate and recheck the causes of the problem and rectify the fault - Start the refrigeration unit and recheck as specified in the manufacturer manual and record the results - Repair Window / Split Air Conditioner - Select tools, equipment and related accessories according to job requirements - Disconnect the Refrigerator / Freezer from electric supply and follow the instructions in manufacture manual for rectification - Rectify the diagnosed faults; repair / replace the components, as necessary - Check, wash and restore to the actual condition Refrigerator / Freezer Body / Cabinets - Check, service, and replace if necessary, the proper functioning of Thermostat / Door Gasket / Heaters - Switch on the Refrigerator / Freezer to check the performance of electrical/ electronic and mechanical components as specified in the manufacturer manual and record the results - Repair / Service Residential Electric Water Cooler / Water Dispenser - Select tools, equipment and related accessories according to job requirements - Disconnect the water cooler / dispenser from electric supply and follow the manual instructions for rectification - Rectify the diagnosed faults; repair / replace the components, as necessary - Check, wash and restore to actual condition Water Cooler / Dispenser Body / Mounts - Switch on water cooler / dispenser to check the performance of electrical/ electronic and mechanical components as specified in the manufacturer manual and record the results |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | HVACR Technician (HVACR Level-5) |
| Competency Standard | Repair and Service Residential Refrigeration Units |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Diagnose Faults in Residential Refrigeration Units - Repair Window / Split Air Conditioner - Repair / Service Residential Electric Water Cooler / Water Dispenser |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check for obvious problem to determine which component or system is causing the problem |  |  |
| - Select tools, equipment and related accessories according to requirements and standards |  |  |
| - Check power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem by using AVO Meter / Gauge manifold as recommended by manufacturer and record the results |  |  |
| - Eliminate the causes of the problem according to the manufacturer manual and standards |  |  |
| - Isolate and recheck the causes of the problem and rectify the fault |  |  |
| - Start the refrigeration unit and recheck as specified in the manufacturer manual and record the results |  |  |
| - Select tools, equipment and related accessories according to job requirements |  |  |
| - Disconnect the Refrigerator / Freezer from electric supply and follow the instructions in manufacture manual for rectification |  |  |
| - Rectify the diagnosed faults; repair / replace the components, as necessary |  |  |
| - Check, wash and restore to the actual condition Refrigerator / Freezer Body / Cabinets |  |  |
| - Check, service, and replace if necessary, the proper functioning of Thermostat / Door Gasket / Heaters |  |  |
| - Switch on the Refrigerator / Freezer to check the performance of electrical/ electronic and mechanical components as specified in the manufacturer manual and record the results |  |  |
| - Select tools, equipment and related accessories according to job requirements |  |  |
| - Disconnect the water cooler / dispenser from electric supply and follow the manual instructions for rectification |  |  |
| - Rectify the diagnosed faults; repair / replace the components, as necessary |  |  |
| - Check, wash and restore to actual condition Water Cooler / Dispenser Body / Mounts |  |  |
| - Switch on water cooler / dispenser to check the performance of electrical/ electronic and mechanical components as specified in the manufacturer manual and record the results |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | HVACR Technician (HVACR Level-5) |
| --- | --- |
| Competency Standard | Repair and Service Residential Refrigeration Units |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | . - Diagnose Faults in Residential Refrigeration Units - Repair Window / Split Air Conditioner - Repair / Service Residential Electric Water Cooler / Water Dispenser |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Check for obvious problem to determine which component or system is causing the problem |  |  |  |  |  |
|  | Select tools, equipment and related accessories according to requirements and standards |  |  |  |  |  |
|  | Check power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem by using AVO Meter / Gauge manifold as recommended by manufacturer and record the results |  |  |  |  |  |
|  | Eliminate the causes of the problem according to the manufacturer manual and standards |  |  |  |  |  |
|  | Isolate and recheck the causes of the problem and rectify the fault |  |  |  |  |  |
|  | Start the refrigeration unit and recheck as specified in the manufacturer manual and record the results |  |  |  |  |  |
|  | Select tools, equipment and related accessories according to job requirements |  |  |  |  |  |
|  | Disconnect the Refrigerator / Freezer from electric supply and follow the instructions in manufacture manual for rectification |  |  |  |  |  |
|  | Rectify the diagnosed faults; repair / replace the components, as necessary |  |  |  |  |  |
|  | Check, wash and restore to the actual condition Refrigerator / Freezer Body / Cabinets |  |  |  |  |  |
|  | Check, service, and replace if necessary, the proper functioning of Thermostat / Door Gasket / Heaters |  |  |  |  |  |
|  | Switch on the Refrigerator / Freezer to check the performance of electrical/ electronic and mechanical components as specified in the manufacturer manual and record the results |  |  |  |  |  |
|  | Select tools, equipment and related accessories according to job requirements |  |  |  |  |  |
|  | Disconnect the water cooler / dispenser from electric supply and follow the manual instructions for rectification |  |  |  |  |  |
|  | Rectify the diagnosed faults; repair / replace the components, as necessary |  |  |  |  |  |
|  | Check, wash and restore to actual condition Water Cooler / Dispenser Body / Mounts |  |  |  |  |  |
|  | Switch on water cooler / dispenser to check the performance of electrical/ electronic and mechanical components as specified in the manufacturer manual and record the results |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | HVACR Technician (HVACR Level-5) |
| --- | --- |
| Competency Standard | Repair and Service Residential Refrigeration Units |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Name different types of Lubricants and their properties? |  |  |
|  | What are the Types of Insulation and their applications? |  |  |
|  | What are the types of Refrigerants and their properties? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________