Instruction Sheet for the Candidate

| Qualification | HVACR Technician (HVACR Level-5) |
| --- | --- |
| Competency Standard | Test, Recover, evacuate and charge refrigeration system |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Assess refrigeration system operation - Recover refrigerant and evacuate system - Charge the refrigeration system |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to : - Assess refrigeration system operation - Apply refrigeration system operating principles and terminology to assessment activities. - Obtain all relevant information and interpret correctly prior to the commencement of work on the refrigeration system. - Undertake refrigeration system checks safely in accordance with standard operating procedures, relevant codes and regulations. - Apply appropriate operating procedures as required. - Determine pressures and temperatures correctly and recorded. - Rectify faults - Recover refrigerant and evacuate system - Recover the refrigerant from the system in accordance with standard operating procedures, codes and regulations. - Contain the refrigerant recovered from the refrigeration system in accordance with the relevant codes and regulations of ASHRAE. - Evacuate the refrigeration system in accordance with standard operating procedures, codes and regulations - Charge the refrigeration system - Charge the refrigeration system with the correct refrigerant in accordance with standard operating procedures. - Add the appropriate lubricating oil to the refrigeration system in accordance with standard operating procedures. - Check the refrigeration system for leaks. |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | HVACR Technician (HVACR Level-5) |
| Competency Standard | Test, Recover, evacuate and charge refrigeration system |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Assess refrigeration system operation - Recover refrigerant and evacuate system - Charge the refrigeration system |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Apply refrigeration system operating principles and terminology to assessment activities. |  |  |
| - Obtain all relevant information and interpret correctly prior to the commencement of work on the refrigeration system. |  |  |
| - Undertake refrigeration system checks safely in accordance with standard operating procedures, relevant codes and regulations. |  |  |
| - Apply appropriate operating procedures as required. |  |  |
| - Determine pressures and temperatures correctly and recorded. |  |  |
| - Rectify faults |  |  |
| - Recover the refrigerant from the system in accordance with standard operating procedures, codes and regulations. |  |  |
| - Contain the refrigerant recovered from the refrigeration system in accordance with the relevant codes and regulations of ASHRAE. |  |  |
| - Evacuate the refrigeration system in accordance with standard operating procedures, codes and regulations |  |  |
| - Charge the refrigeration system with the correct refrigerant in accordance with standard operating procedures. |  |  |
| - Add the appropriate lubricating oil to the refrigeration system in accordance with standard operating procedures. |  |  |
| - Check the refrigeration system for leaks. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | HVACR Technician (HVACR Level-5) |
| --- | --- |
| Competency Standard | Test, Recover, evacuate and charge refrigeration system |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | . - Assess refrigeration system operation - Recover refrigerant and evacuate system - Charge the refrigeration system |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Apply refrigeration system operating principles and terminology to assessment activities. |  |  |  |  |  |
|  | Obtain all relevant information and interpret correctly prior to the commencement of work on the refrigeration system. |  |  |  |  |  |
|  | Undertake refrigeration system checks safely in accordance with standard operating procedures, relevant codes and regulations. |  |  |  |  |  |
|  | Apply appropriate operating procedures as required. |  |  |  |  |  |
|  | Determine pressures and temperatures correctly and recorded. |  |  |  |  |  |
|  | Rectify faults |  |  |  |  |  |
|  | Recover the refrigerant from the system in accordance with standard operating procedures, codes and regulations. |  |  |  |  |  |
|  | Contain the refrigerant recovered from the refrigeration system in accordance with the relevant codes and regulations of ASHRAE. |  |  |  |  |  |
|  | Evacuate the refrigeration system in accordance with standard operating procedures, codes and regulations |  |  |  |  |  |
|  | Charge the refrigeration system with the correct refrigerant in accordance with standard operating procedures. |  |  |  |  |  |
|  | Add the appropriate lubricating oil to the refrigeration system in accordance with standard operating procedures. |  |  |  |  |  |
|  | Check the refrigeration system for leaks. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | HVACR Technician (HVACR Level-5) |
| --- | --- |
| Competency Standard | Test, Recover, evacuate and charge refrigeration system |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define Gas welding and parameters set for copper brazing? |  |  |
|  | Name different types of Refrigerant and their properties? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________