Instruction Sheet for the Candidate

| Qualification | HVACR Technician (HVACR Level-5) |
| --- | --- |
| Competency Standard | Maintain and Repair Multistage, Cascade & Ultra low Temperature Refrigeration System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Undertake preventive maintenance checks / adjustment on multi- stage, cascade and/or ultra-cold industrial refrigeration systems - Coordinate an air conditioning system in the production of food products |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to : - Undertake preventive maintenance checks / adjustment on multi- stage, cascade and/or ultra-cold industrial refrigeration systems - Check the temperature, pressure and properties of the multi-stage, cascade and/or ultra-cold refrigeration system for conformance to specification. - Check the noise/vibration levels of the multi- stage, cascade and/or ultra-cold refrigeration system for conformance to specification. - Perform preventative maintenance tasks according to manufacturers' specifications using refrigeration techniques / practices - Coordinate an air conditioning system in the production of food products - Identify common forms of air conditioning systems used in the production of food products - Assess air conditioning requirements for a given situation in the production process - Identify variables on a psychrometric chart - Apply psychrometric charts for the analysis of air conditioning systems in the production process - Monitor the performance of the air conditioning system in the production process - Rectify issues with performance of air conditioner - Monitor energy efficiency to reduce costs and environmental impacts - Report problems to the designated person |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | HVACR Technician (HVACR Level-5) |
| Competency Standard | Maintain and Repair Multistage, Cascade & Ultra low Temperature Refrigeration System |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Undertake preventive maintenance checks / adjustment on multi- stage, cascade and/or ultra-cold industrial refrigeration systems - Coordinate an air conditioning system in the production of food products |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check the temperature, pressure and properties of the multi-stage, cascade and/or ultra-cold refrigeration system for conformance to specification. |  |  |
| - Check the noise/vibration levels of the multi- stage, cascade and/or ultra-cold refrigeration system for conformance to specification. |  |  |
| - Perform preventative maintenance tasks according to manufacturers' specifications using refrigeration techniques / practices |  |  |
| - Identify common forms of air conditioning systems used in the production of food products |  |  |
| - Assess air conditioning requirements for a given situation in the production process |  |  |
| - Identify variables on a psychrometric chart |  |  |
| - Apply psychrometric charts for the analysis of air conditioning systems in the production process |  |  |
| - Monitor the performance of the air conditioning system in the production process |  |  |
| - Rectify issues with performance of air conditioner |  |  |
| - Monitor energy efficiency to reduce costs and environmental impacts |  |  |
| - Report problems to the designated person |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | HVACR Technician (HVACR Level-5) |
| --- | --- |
| Competency Standard | Maintain and Repair Multistage, Cascade & Ultra low Temperature Refrigeration System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | . - Undertake preventive maintenance checks / adjustment on multi- stage, cascade and/or ultra-cold industrial refrigeration systems - Coordinate an air conditioning system in the production of food products |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Check the temperature, pressure and properties of the multi-stage, cascade and/or ultra-cold refrigeration system for conformance to specification. |  |  |  |  |  |
|  | Check the noise/vibration levels of the multi- stage, cascade and/or ultra-cold refrigeration system for conformance to specification. |  |  |  |  |  |
|  | Perform preventative maintenance tasks according to manufacturers' specifications using refrigeration techniques / practices |  |  |  |  |  |
|  | Identify common forms of air conditioning systems used in the production of food products |  |  |  |  |  |
|  | Assess air conditioning requirements for a given situation in the production process |  |  |  |  |  |
|  | Identify variables on a psychrometric chart |  |  |  |  |  |
|  | Apply psychrometric charts for the analysis of air conditioning systems in the production process |  |  |  |  |  |
|  | Monitor the performance of the air conditioning system in the production process |  |  |  |  |  |
|  | Rectify issues with performance of air conditioner |  |  |  |  |  |
|  | Monitor energy efficiency to reduce costs and environmental impacts |  |  |  |  |  |
|  | Report problems to the designated person |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | HVACR Technician (HVACR Level-5) |
| --- | --- |
| Competency Standard | Maintain and Repair Multistage, Cascade & Ultra low Temperature Refrigeration System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What does ASHRAE stands for? |  |  |
|  | Name 5 tools necessary to check multi-stage, cascade and/or ultra-cold industrial refrigeration system? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________