Instruction Sheet for the Candidate

| Qualification | HVACR Technician (HVACR Level-5) |
| --- | --- |
| Competency Standard | Repair and Service Residential Air conditioner |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Diagnose Faults in Residential Air Conditioner - Repair Window / Split Air Conditioner - Service Window Air Conditioner - Service Split Air Conditioner |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to : - Diagnose Faults in Residential Air Conditioner - Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. - Check for obvious problem to determine which component or system is causing the problem - Select tools, equipment and related accessories according to requirements and standards. - Check power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem by using AVO meter / Gauge manifold / flow chart as recommended by manufacturer and record the results - Eliminate the causes of the problem according to the manufacturer’s manual and standards. - Isolate and recheck the causes of the problem and rectify the fault - Start the Air conditioner and recheck the unit as specified in the manufacturer’s manual and record the results - Repair Window / Split Air Conditioner - Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. - Select tools, equipment and related accessories according to job requirements - Disconnect the Air conditioner from electric supply and follow the manual instructions for rectification - Rectify the faults as per diagnosed, repair / replace the components, as necessary - Switch on the Air conditioner to check the performance of electrical/ electronic and mechanical components as specified in the manufacturer’s manual and record the results - Service Window Air Conditioner - Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. - Select tools, equipment and related accessories according to job requirements - Start the Air conditioner, check and record performance by using specified test instruments - Disconnect the Air conditioner from electric supply and remove Air conditioner from the cover - Secure the electric / electronic components with polythene sheet - Clean / wash the all mechanical parts of Window Air conditioner with specified cleaning agents / detergent by using pressure pump. - Fix the Air conditioner in the cover, connect with electric supply, check and record performance - Service Split Air Conditioner - Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. - Select tools, equipment and related accessories according to job requirements - Start the Air conditioner, check and record performance by using specified test instruments - Pump down the split type Air conditioner and dismantle the both indoor and condensing unit - Clean the components of Air conditioner with specified cleaning agents/tools & material. - Re-Install the indoor & outdoor unit, connect with refrigerant pipes, control wires and open the service valves - Switch on the Air conditioner, check and record performance |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | HVACR Technician (HVACR Level-5) |
| Competency Standard | Repair and Service Residential Air conditioner |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Diagnose Faults in Residential Air Conditioner - Repair Window / Split Air Conditioner - Service Window Air Conditioner - Service Split Air Conditioner |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. |  |  |
| - Check for obvious problem to determine which component or system is causing the problem |  |  |
| - Select tools, equipment and related accessories according to requirements and standards. |  |  |
| - Check power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem by using AVO meter / Gauge manifold / flow chart as recommended by manufacturer and record the results |  |  |
| - Eliminate the causes of the problem according to the manufacturer’s manual and standards. |  |  |
| - Isolate and recheck the causes of the problem and rectify the fault |  |  |
| - Start the Air conditioner and recheck the unit as specified in the manufacturer’s manual and record the results |  |  |
| - Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. |  |  |
| - Select tools, equipment and related accessories according to job requirements |  |  |
| - Disconnect the Air conditioner from electric supply and follow the manual instructions for rectification |  |  |
| - Rectify the faults as per diagnosed, repair / replace the components, as necessary |  |  |
| - Switch on the Air conditioner to check the performance of electrical/ electronic and mechanical components as specified in the manufacturer’s manual and record the results |  |  |
| - Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. |  |  |
| - Select tools, equipment and related accessories according to job requirements |  |  |
| - Start the Air conditioner, check and record performance by using specified test instruments |  |  |
| - Disconnect the Air conditioner from electric supply and remove Air conditioner from the cover |  |  |
| - Secure the electric / electronic components with polythene sheet |  |  |
| - Clean / wash the all mechanical parts of Window Air conditioner with specified cleaning agents / detergent by using pressure pump. |  |  |
| - Fix the Air conditioner in the cover, connect with electric supply, check and record performance |  |  |
| - Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. |  |  |
| - Select tools, equipment and related accessories according to job requirements |  |  |
| - Start the Air conditioner, check and record performance by using specified test instruments |  |  |
| - Pump down the split type Air conditioner and dismantle the both indoor and condensing unit |  |  |
| - Clean the components of Air conditioner with specified cleaning agents/tools & material. |  |  |
| - Re-Install the indoor & outdoor unit, connect with refrigerant pipes, control wires and open the service valves |  |  |
| - Switch on the Air conditioner, check and record performance |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | HVACR Technician (HVACR Level-5) |
| --- | --- |
| Competency Standard | Repair and Service Residential Air conditioner |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | . - Diagnose Faults in Residential Air Conditioner - Repair Window / Split Air Conditioner - Service Window Air Conditioner - Service Split Air Conditioner |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. |  |  |  |  |  |
|  | Check for obvious problem to determine which component or system is causing the problem |  |  |  |  |  |
|  | Select tools, equipment and related accessories according to requirements and standards. |  |  |  |  |  |
|  | Check power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem by using AVO meter / Gauge manifold / flow chart as recommended by manufacturer and record the results |  |  |  |  |  |
|  | Eliminate the causes of the problem according to the manufacturer’s manual and standards. |  |  |  |  |  |
|  | Isolate and recheck the causes of the problem and rectify the fault |  |  |  |  |  |
|  | Start the Air conditioner and recheck the unit as specified in the manufacturer’s manual and record the results |  |  |  |  |  |
|  | Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. |  |  |  |  |  |
|  | Select tools, equipment and related accessories according to job requirements |  |  |  |  |  |
|  | Disconnect the Air conditioner from electric supply and follow the manual instructions for rectification |  |  |  |  |  |
|  | Rectify the faults as per diagnosed, repair / replace the components, as necessary |  |  |  |  |  |
|  | Switch on the Air conditioner to check the performance of electrical/ electronic and mechanical components as specified in the manufacturer’s manual and record the results |  |  |  |  |  |
|  | Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. |  |  |  |  |  |
|  | Select tools, equipment and related accessories according to job requirements |  |  |  |  |  |
|  | Start the Air conditioner, check and record performance by using specified test instruments |  |  |  |  |  |
|  | Disconnect the Air conditioner from electric supply and remove Air conditioner from the cover |  |  |  |  |  |
|  | Secure the electric / electronic components with polythene sheet |  |  |  |  |  |
|  | Clean / wash the all mechanical parts of Window Air conditioner with specified cleaning agents / detergent by using pressure pump. |  |  |  |  |  |
|  | Fix the Air conditioner in the cover, connect with electric supply, check and record performance |  |  |  |  |  |
|  | Adopt Occupational Safety and Health (OSH) procedures to avoid hazards and accidents at workplace. |  |  |  |  |  |
|  | Select tools, equipment and related accessories according to job requirements |  |  |  |  |  |
|  | Start the Air conditioner, check and record performance by using specified test instruments |  |  |  |  |  |
|  | Pump down the split type Air conditioner and dismantle the both indoor and condensing unit |  |  |  |  |  |
|  | Clean the components of Air conditioner with specified cleaning agents/tools & material. |  |  |  |  |  |
|  | Re-Install the indoor & outdoor unit, connect with refrigerant pipes, control wires and open the service valves |  |  |  |  |  |
|  | Switch on the Air conditioner, check and record performance |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | HVACR Technician (HVACR Level-5) |
| --- | --- |
| Competency Standard | Repair and Service Residential Air conditioner |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Name few underground cables, their ratings? |  |  |
|  | What is the purpose of Troubleshooting of Residential Air conditioner? |  |  |
|  | Name different types of Motors used in Residential Air conditioners? |  |  |
|  | Name different Types of Refrigerant? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________