Instruction Sheet for the Candidate

| Qualification | HVACR Technician (HVACR Level-5) |
| --- | --- |
| Competency Standard | Overhaul the compressors |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Prepare to dismantle compressor - Dismantle and evaluate compressor and components - Carry out overhaul - Assemble compressor and components - Complete work processes |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to : - Prepare to dismantle compressor - Determine job requirements from workplace instructions - Control and interpret refrigerant gases during installation, servicing or de-commissioning of air conditioners source - Source and interpret dismantling information - Analyze dismantling options and select most appropriate to the circumstances - Identify hazards associated with the work and manage the risks - Select dismantling tools and equipment and check for serviceability - Dismantle and evaluate compressor and components - Dismantle compressor in a logical sequence according to manufacturer, workplace procedures, safety & environmental requirements and without affecting unnecessary damage to components or systems - Clean components for evaluation according to workplace procedures, safety and environmental requirements - Measure and Compare components with manufacturer specifications and serviceability is determine - Determine component repair methods - Identify unserviceable parts and replacement parts sourced - Carry out overhaul - Source and interpret overhaul information - Analyze overhaul options and select those most appropriate to the circumstances - Select and check overhaul tools and equipment for serviceability - Machine the components repair / replace as required - Carryout adjustments according to manufacturer specifications, workplace procedures, safety and environmental requirements - Assemble compressor and components - Assemble compressor according to manufacturer specifications, workplace procedures, and safety & environmental requirements - Measure tolerance and clearances against manufacturer specifications and make necessary adjustments - Complete assembly of compressor within workplace timeframes and without causing damage to other components or systems - Carryout post-assembly testing according to workplace procedures, safety & environmental requirements - Detect and rectify problem(s) as have been introduced during the assembly process - Complete work processes - Ensure final inspection to make work according to workplace expectations and ready compressor for use or storage - Clean work area, dispose of waste and non-recyclable materials and collect recyclable material Check and store tools and equipment or identify any faulty electrical equipment tagged and isolated according to workplace procedures - Process workplace documentation according to workplace procedures |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | HVACR Technician (HVACR Level-5) |
| Competency Standard | Overhaul the compressors |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Prepare to dismantle compressor - Dismantle and evaluate compressor and components - Carry out overhaul - Assemble compressor and components - Complete work processes |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Determine job requirements from workplace instructions |  |  |
| - Control and interpret refrigerant gases during installation, servicing or de-commissioning of air conditioners source |  |  |
| - Source and interpret dismantling information |  |  |
| - Analyze dismantling options and select most appropriate to the circumstances |  |  |
| - Identify hazards associated with the work and manage the risks |  |  |
| - Select dismantling tools and equipment and check for serviceability |  |  |
| - Dismantle compressor in a logical sequence according to manufacturer, workplace procedures, safety & environmental requirements and without affecting unnecessary damage to components or systems |  |  |
| - Clean components for evaluation according to workplace procedures, safety and environmental requirements |  |  |
| - Measure and Compare components with manufacturer specifications and serviceability is determine |  |  |
| - Determine component repair methods |  |  |
| - Identify unserviceable parts and replacement parts sourced |  |  |
| - Source and interpret overhaul information |  |  |
| - Analyze overhaul options and select those most appropriate to the circumstances |  |  |
| - Select and check overhaul tools and equipment for serviceability |  |  |
| - Machine the components repair / replace as required |  |  |
| - Carryout adjustments according to manufacturer specifications, workplace procedures, safety and environmental requirements |  |  |
| - Assemble compressor according to manufacturer specifications, workplace procedures, and safety & environmental requirements |  |  |
| - Measure tolerance and clearances against manufacturer specifications and make necessary adjustments |  |  |
| - Complete assembly of compressor within workplace timeframes and without causing damage to other components or systems |  |  |
| - Carryout post-assembly testing according to workplace procedures, safety & environmental requirements |  |  |
| - Detect and rectify problem(s) as have been introduced during the assembly process |  |  |
| - Ensure final inspection to make work according to workplace expectations and ready compressor for use or storage |  |  |
| - Clean work area, dispose of waste and non-recyclable materials and collect recyclable material Check and store tools and equipment or identify any faulty electrical equipment tagged and isolated according to workplace procedures |  |  |
| - Process workplace documentation according to workplace procedures |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | HVACR Technician (HVACR Level-5) |
| --- | --- |
| Competency Standard | Overhaul the compressors |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | . - Prepare to dismantle compressor - Dismantle and evaluate compressor and components - Carry out overhaul - Assemble compressor and components - Complete work processes |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Determine job requirements from workplace instructions |  |  |  |  |  |
|  | Control and interpret refrigerant gases during installation, servicing or de-commissioning of air conditioners source |  |  |  |  |  |
|  | Source and interpret dismantling information |  |  |  |  |  |
|  | Analyze dismantling options and select most appropriate to the circumstances |  |  |  |  |  |
|  | Identify hazards associated with the work and manage the risks |  |  |  |  |  |
|  | Select dismantling tools and equipment and check for serviceability |  |  |  |  |  |
|  | Dismantle compressor in a logical sequence according to manufacturer, workplace procedures, safety & environmental requirements and without affecting unnecessary damage to components or systems |  |  |  |  |  |
|  | Clean components for evaluation according to workplace procedures, safety and environmental requirements |  |  |  |  |  |
|  | Measure and Compare components with manufacturer specifications and serviceability is determine |  |  |  |  |  |
|  | Determine component repair methods |  |  |  |  |  |
|  | Identify unserviceable parts and replacement parts sourced |  |  |  |  |  |
|  | Source and interpret overhaul information |  |  |  |  |  |
|  | Analyze overhaul options and select those most appropriate to the circumstances |  |  |  |  |  |
|  | Select and check overhaul tools and equipment for serviceability |  |  |  |  |  |
|  | Machine the components repair / replace as required |  |  |  |  |  |
|  | Carryout adjustments according to manufacturer specifications, workplace procedures, safety and environmental requirements |  |  |  |  |  |
|  | Assemble compressor according to manufacturer specifications, workplace procedures, and safety & environmental requirements |  |  |  |  |  |
|  | Measure tolerance and clearances against manufacturer specifications and make necessary adjustments |  |  |  |  |  |
|  | Complete assembly of compressor within workplace timeframes and without causing damage to other components or systems |  |  |  |  |  |
|  | Carryout post-assembly testing according to workplace procedures, safety & environmental requirements |  |  |  |  |  |
|  | Detect and rectify problem(s) as have been introduced during the assembly process |  |  |  |  |  |
|  | Ensure final inspection to make work according to workplace expectations and ready compressor for use or storage |  |  |  |  |  |
|  | Clean work area, dispose of waste and non-recyclable materials and collect recyclable material Check and store tools and equipment or identify any faulty electrical equipment tagged and isolated according to workplace procedures |  |  |  |  |  |
|  | Process workplace documentation according to workplace procedures |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | HVACR Technician (HVACR Level-5) |
| --- | --- |
| Competency Standard | Overhaul the compressors |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Name different types of Motors used in Residential Air conditioners? |  |  |
|  | What are different Compressor types? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________