Instruction Sheet for the Candidate

| Qualification | Principles of Refrigeration (HVACR Level-3) |
| --- | --- |
| Competency Standard | Check and Test Compressors |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): 1. Perform Electrical Test 2. Perform Mechanical Test |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Perform Electrical Test - Prepare meter adjustment and series board - Identify electrical terminals of hermetic compressor - Check continuity and resistance of start & running winding of compressor according to its specifications - Compare Resistance between start & common, start & running and common & running winding terminals according to compressor specifications - Test & Diagnose fault in compressor windings according to manufacturer’s specifications. - Evaluate the problem and report to seniors - Perform Mechanical Test - Start the compressor - Check discharge pressure of air / refrigerant according to its specifications - Check suction / back pressure of compressor according to its specifications - Evaluate and diagnose fault according to manufacturer’s specifications. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Principles of Refrigeration (HVACR Level-3) |
| Competency Standard | Check and Test Compressors |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | 1. Perform Electrical Test 2. Perform Mechanical Test |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Prepare meter adjustment and series board |  |  |
| - Identify electrical terminals of hermetic compressor |  |  |
| - Check continuity and resistance of start & running winding of compressor according to its specifications |  |  |
| - Compare Resistance between start & common, start & running and common & running winding terminals according to compressor specifications |  |  |
| - Test & Diagnose fault in compressor windings according to manufacturer’s specifications. |  |  |
| - Evaluate the problem and report to seniors |  |  |
| - Start the compressor |  |  |
| - Check discharge pressure of air / refrigerant according to its specifications |  |  |
| - Check suction / back pressure of compressor according to its specifications |  |  |
| - Evaluate and diagnose fault according to manufacturer’s specifications |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Principles of Refrigeration (HVACR Level-3) |
| --- | --- |
| Competency Standard | Check and Test Compressors |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | 1. Perform Electrical Test 2. Perform Mechanical Test |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Prepare meter adjustment and series board |  |  |  |  |  |
|  | Identify electrical terminals of hermetic compressor |  |  |  |  |  |
|  | Check continuity and resistance of start & running winding of compressor according to its specifications |  |  |  |  |  |
|  | Compare Resistance between start & common, start & running and common & running winding terminals according to compressor specifications |  |  |  |  |  |
|  | Test & Diagnose fault in compressor windings according to manufacturer’s specifications. |  |  |  |  |  |
|  | Evaluate the problem and report to seniors |  |  |  |  |  |
|  | Start the compressor |  |  |  |  |  |
|  | Check discharge pressure of air / refrigerant according to its specifications |  |  |  |  |  |
|  | Check suction / back pressure of compressor according to its specifications |  |  |  |  |  |
|  | Evaluate and diagnose fault according to manufacturer’s specifications |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Principles of Refrigeration (HVACR Level-3) |
| --- | --- |
| Competency Standard | Check and Test Compressors |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Name the basic types of compressor based on operation? |  |  |
|  | What is wheat stone bridge |  |  |
|  | Describe the difference between compressor and pump? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________