Instruction Sheet for the Candidate

| Qualification | Principles of Refrigeration (HVACR Level-3) |
| --- | --- |
| Competency Standard | Check and Test Electric Motors |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): 1. Test Single Phase Motors 2. Test Three Phase Motors |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Test Single Phase Motors - Identify type of single-phase motors - Identify and clean single-phase motor electric terminals - Check continuity and resistance of windings according to its specifications - Make comparison of resistances with original one mentioned by the manufacturer. - Diagnose fault in the windings of single-phase motor - Test Three Phase Motors - Identify types of three phase motor - Identify and clean three phase motor electric terminals - Check continuity and resistance of Windings according to its specifications - Make comparison of resistances with original one mentioned by the manufacturer. - Check Star delta connections to start three phase motors - Diagnose fault in the windings of three phase motor |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Principles of Refrigeration (HVACR Level-3) |
| Competency Standard | Check and Test Electric Motors |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | 1. Test Single Phase Motors 2. Test Three Phase Motors |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify type of single-phase motors |  |  |
| - Identify and clean single-phase motor electric terminals |  |  |
| - Check continuity and resistance of windings according to its specifications |  |  |
| - Make comparison of resistances with original one mentioned by the manufacturer. |  |  |
| - Diagnose fault in the windings of single-phase motor |  |  |
| - Identify types of three phase motor |  |  |
| - Identify and clean three phase motor electric terminals |  |  |
| - Check continuity and resistance of Windings according to its specifications |  |  |
| - Make comparison of resistances with original one mentioned by the manufacturer. |  |  |
| - Check Star delta connections to start three phase motors |  |  |
| - Diagnose fault in the windings of three phase motor |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Principles of Refrigeration (HVACR Level-3) |
| --- | --- |
| Competency Standard | Check and Test Electric Motors |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | 1. Test Single Phase Motors 2. Test Three Phase Motors |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify type of single-phase motors |  |  |  |  |  |
|  | Identify and clean single-phase motor electric terminals |  |  |  |  |  |
|  | Check continuity and resistance of windings according to its specifications |  |  |  |  |  |
|  | Make comparison of resistances with original one mentioned by the manufacturer. |  |  |  |  |  |
|  | Diagnose fault in the windings of single-phase motor |  |  |  |  |  |
|  | Identify types of three phase motor |  |  |  |  |  |
|  | Identify and clean three phase motor electric terminals |  |  |  |  |  |
|  | Check continuity and resistance of Windings according to its specifications |  |  |  |  |  |
|  | Make comparison of resistances with original one mentioned by the manufacturer. |  |  |  |  |  |
|  | Check Star delta connections to start three phase motors |  |  |  |  |  |
|  | Diagnose fault in the windings of three phase motor |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Principles of Refrigeration (HVACR Level-3) |
| --- | --- |
| Competency Standard | Check and Test Electric Motors |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define single Phase Motors |  |  |
|  | Define three Phase Motors |  |  |
|  | How much torque developed by a single-phase motor at starting? |  |  |
|  | The shaft of an induction motor is made of? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________