Instruction Sheet for the Candidate

| Qualification | Principles of Refrigeration (HVACR Level-3) |
| --- | --- |
| Competency Standard | Check and Test Electrical Accessories |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): 1. Prepare for Test Equipment 2. Apply check and test methods 3.Check the Accessories |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Prepare for Test Equipment - Calibrate test instruments and prepare test series board - Identify and clean the electric terminals / points - Select the meter to check the continuity & resistance between electric terminals - Apply check and test methods - Apply pressure heat or relevant conditions according to its rating - Check results of such component according to manufacturer’s specifications - Diagnose fault and report to his supervisor 3.Check the Accessories - Perform the method to check overloads - Perform the method to check different relays - Perform the method to check thermostats - Perform the method to check capacitors - Perform the method to check defrost heaters - Perform the method to check defrosting timer - Perform the method to check Thermal Disc with Fuse |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Principles of Refrigeration (HVACR Level-3) |
| Competency Standard | Check and Test Electrical Accessories |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | 1. Prepare for Test Equipment 2. Apply check and test methods 3.Check the Accessories |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Calibrate test instruments and prepare test series board |  |  |
| - Identify and clean the electric terminals / points |  |  |
| - Select the meter to check the continuity & resistance between electric terminals |  |  |
| - Apply pressure heat or relevant conditions according to its rating |  |  |
| - Check results of such component according to manufacturer’s specifications |  |  |
| - Diagnose fault and report to his supervisor |  |  |
| - Perform the method to check overloads |  |  |
| - Perform the method to check different relays |  |  |
| - Perform the method to check thermostats |  |  |
| - Perform the method to check capacitors |  |  |
| - Perform the method to check defrost heaters |  |  |
| - Perform the method to check defrosting timer |  |  |
| - Perform the method to check Thermal Disc with Fuse |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Principles of Refrigeration (HVACR Level-3) |
| --- | --- |
| Competency Standard | Check and Test Electrical Accessories |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | 1. Prepare for Test Equipment 2. Apply check and test methods 3.Check the Accessories |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Calibrate test instruments and prepare test series board |  |  |  |  |  |
|  | Identify and clean the electric terminals / points |  |  |  |  |  |
|  | Select the meter to check the continuity & resistance between electric terminals |  |  |  |  |  |
|  | Apply pressure heat or relevant conditions according to its rating |  |  |  |  |  |
|  | Check results of such component according to manufacturer’s specifications |  |  |  |  |  |
|  | Diagnose fault and report to his supervisor |  |  |  |  |  |
|  | Perform the method to check overloads |  |  |  |  |  |
|  | Perform the method to check different relays |  |  |  |  |  |
|  | Perform the method to check thermostats |  |  |  |  |  |
|  | Perform the method to check capacitors |  |  |  |  |  |
|  | Perform the method to check defrost heaters |  |  |  |  |  |
|  | Perform the method to check defrosting timer |  |  |  |  |  |
|  | Perform the method to check Thermal Disc with Fuse |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Principles of Refrigeration (HVACR Level-3) |
| --- | --- |
| Competency Standard | Check and Test Electrical Accessories |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define series circuits |  |  |
|  | Define parallel circuits |  |  |
|  | Define Ohms Law |  |  |
|  | Define the unit of current in S.I system |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________