Instruction Sheet for the Candidate

| Qualification | Principles of Refrigeration (HVACR Level-2) |
| --- | --- |
| Competency Standard | Use of Pressure Gauges and Meters for Measuring Refrigerants |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Apply Compound Pressure Gauge - Apply High Pressure Gauge - Apply Gauge Manifold |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Apply Compound Pressure Gauge - Identify the color of compound pressure gauge - Read gauge Pressure from 1 to 250 PSIG - Read vacuum reading from 1 inches of Hg to 30 inches of Hg. - Measure the suction pressure of different refrigerants. - Identify & use of different port for different purpose - Apply High Pressure Gauge - Identify the color of high-pressure gauge. - Read gauge pressure from 1 to 500 PSIG. - Measure the discharge pressure of different refrigerants. - Identify & use of different port for different purpose - Apply Gauge Manifold - Differentiate between low pressure and high-pressure gauge. - Access port that will be used for vacuuming and charging of refrigerant. - Check a flow and condition of refrigerant during recovering and charging |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Principles of Refrigeration (HVACR Level-2) |
| Competency Standard | Use of Pressure Gauges and Meters for Measuring Refrigerants |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Apply Compound Pressure Gauge - Apply High Pressure Gauge - Apply Gauge Manifold |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify the color of compound pressure gauge |  |  |
| - Read gauge Pressure from 1 to 250 PSIG |  |  |
| - Read vacuum reading from 1 inches of Hg to 30 inches of Hg. |  |  |
| - Measure the suction pressure of different refrigerants. |  |  |
| - Identify & use of different port for different purpose |  |  |
| - Identify the color of high-pressure gauge. |  |  |
| - Read gauge pressure from 1 to 500 PSIG. |  |  |
| - Measure the discharge pressure of different refrigerants. |  |  |
| - Identify & use of different port for different purpose |  |  |
| - Differentiate between low pressure and high-pressure gauge. |  |  |
| - Access port that will be used for vacuuming and charging of refrigerant. |  |  |
| - Check a flow and condition of refrigerant during recovering and charging |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Principles of Refrigeration (HVACR Level-2) |
| --- | --- |
| Competency Standard | Use of Pressure Gauges and Meters for Measuring Refrigerants |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Apply Compound Pressure Gauge - Apply High Pressure Gauge - Apply Gauge Manifold |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify the color of compound pressure gauge |  |  |  |  |  |
|  | Read gauge Pressure from 1 to 250 PSIG |  |  |  |  |  |
|  | Read vacuum reading from 1 inches of Hg to 30 inches of Hg. |  |  |  |  |  |
|  | Measure the suction pressure of different refrigerants. |  |  |  |  |  |
|  | Identify & use of different port for different purpose |  |  |  |  |  |
|  | Identify the color of high-pressure gauge. |  |  |  |  |  |
|  | Read gauge pressure from 1 to 500 PSIG. |  |  |  |  |  |
|  | Measure the discharge pressure of different refrigerants. |  |  |  |  |  |
|  | Identify & use of different port for different purpose |  |  |  |  |  |
|  | Differentiate between low pressure and high-pressure gauge. |  |  |  |  |  |
|  | Access port that will be used for vacuuming and charging of refrigerant. |  |  |  |  |  |
|  | Check a flow and condition of refrigerant during recovering and charging |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Principles of Refrigeration (HVACR Level-2) |
| --- | --- |
| Competency Standard | Use of Pressure Gauges and Meters for Measuring Refrigerants |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the type of pressure gauges |  |  |
|  | Why pressure gauges are colored |  |  |
|  | Name the unit of pressure in S.I system |  |  |
|  | - Difference between Bourdon and Diaphragm gauges. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________