Instruction Sheet for the Candidate

| Qualification | Principles of Refrigeration (HVACR Level-2) |
| --- | --- |
| Competency Standard | Joint Copper Tubes |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): 1. Perform Permanent Copper Joints 2. Perform Temporary Copper Joints |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Perform Permanent Copper Joints - Measure and Cut the tubes according to drawing - Ream of tubes end inside and outside to clean debars. - Prepare the neutral flame - Apply flux at joints. - Assembly and support to join of copper tubes - Heat the joints by using neutral flame - Apply solder rod at joints - Cool and clean the joints - Leak testing the joints - Perform Temporary Copper Joints - Measure and cut the tubes according to drawing - Cut the tubes squarely by using a tube cutter with sharp wheel. - Ream of tube ends inside and outside to clean burrs - Place the flare nut once the tubing is flared, the nut would have to be placed from the far end - Match the tube diameter to the hole in the block and insert the tubing into the flaring block - Tight the nearest nut first and then tight the far nut - Ensure that the block holds the tubing tightly - Slip the yoke on the flaring block, slots in the yoke engage the flaring block and center the anvil cone over the tubing - Tighten the mandrel screw, then loosen and retighten once or twice to fully seat and flare the copper - Hold the flared end on the fitting, and tighten the nut - Snug it but don’t over-tighten - Snug it up more if an air test reveals a leak |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Principles of Refrigeration (HVACR Level-2) |
| Competency Standard | Joint Copper Tubes |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | 1. Perform Permanent Copper Joints 2. Perform Temporary Copper Joints |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Measure and Cut the tubes according to drawing |  |  |
| - Ream of tubes end inside and outside to clean debars. |  |  |
| - Prepare the neutral flame |  |  |
| - Apply flux at joints. |  |  |
| - Assembly and support to join of copper tubes |  |  |
| - Heat the joints by using neutral flame |  |  |
| - Apply solder rod at joints |  |  |
| - Cool and clean the joints |  |  |
| - Leak testing the joints |  |  |
| - Measure and cut the tubes according to drawing |  |  |
| - Cut the tubes squarely by using a tube cutter with sharp wheel. |  |  |
| - Ream of tube ends inside and outside to clean burrs |  |  |
| - Place the flare nut once the tubing is flared, the nut would have to be placed from the far end |  |  |
| - Match the tube diameter to the hole in the block and insert the tubing into the flaring block |  |  |
| - Tight the nearest nut first and then tight the far nut |  |  |
| - Ensure that the block holds the tubing tightly |  |  |
| - Slip the yoke on the flaring block, slots in the yoke engage the flaring block and center the anvil cone over the tubing |  |  |
| - Tighten the mandrel screw, then loosen and retighten once or twice to fully seat and flare the copper |  |  |
| - Hold the flared end on the fitting, and tighten the nut |  |  |
| - Snug it but don’t over-tighten |  |  |
| - Snug it up more if an air test reveals a leak |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Principles of Refrigeration (HVACR Level-2) |
| --- | --- |
| Competency Standard | Joint Copper Tubes |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | 1. Perform Permanent Copper Joints 2. Perform Temporary Copper Joints |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Measure and Cut the tubes according to drawing |  |  |  |  |  |
|  | Ream of tubes end inside and outside to clean debars. |  |  |  |  |  |
|  | Prepare the neutral flame |  |  |  |  |  |
|  | Apply flux at joints. |  |  |  |  |  |
|  | Assembly and support to join of copper tubes |  |  |  |  |  |
|  | Heat the joints by using neutral flame |  |  |  |  |  |
|  | Apply solder rod at joints |  |  |  |  |  |
|  | Cool and clean the joints |  |  |  |  |  |
|  | Leak testing the joints |  |  |  |  |  |
|  | Measure and cut the tubes according to drawing |  |  |  |  |  |
|  | Cut the tubes squarely by using a tube cutter with sharp wheel. |  |  |  |  |  |
|  | Ream of tube ends inside and outside to clean burrs |  |  |  |  |  |
|  | Place the flare nut once the tubing is flared, the nut would have to be placed from the far end |  |  |  |  |  |
|  | Match the tube diameter to the hole in the block and insert the tubing into the flaring block |  |  |  |  |  |
|  | Tight the nearest nut first and then tight the far nut |  |  |  |  |  |
|  | Ensure that the block holds the tubing tightly |  |  |  |  |  |
|  | Slip the yoke on the flaring block, slots in the yoke engage the flaring block and center the anvil cone over the tubing |  |  |  |  |  |
|  | Tighten the mandrel screw, then loosen and retighten once or twice to fully seat and flare the copper |  |  |  |  |  |
|  | Hold the flared end on the fitting, and tighten the nut |  |  |  |  |  |
|  | Snug it but don’t over-tighten |  |  |  |  |  |
|  | Snug it up more if an air test reveals a leak |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Principles of Refrigeration (HVACR Level-2) |
| --- | --- |
| Competency Standard | Joint Copper Tubes |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the difference between tube and pie |  |  |
|  | Describe the method of Swaging, |  |  |
|  | Describe the flaring processes |  |  |
|  | Difference between permanent copper joints and temporary copper joint |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________