Instruction Sheet for the Candidate

| Qualification | Water & Air Distribution (HVACR Level-4) |
| --- | --- |
| Competency Standard | Attenuate Noise and Vibration Encounter in HVAC Applications |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Prepare to determine noise and vibration encountered in HVAC applications - Determine noise and vibration encountered in HVAC applications - Document noise and vibration measurements in HVAC applications |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Prepare to determine noise and vibration encountered in HVAC applications - Obtain the nature of the problem from documentation or from work supervisor to establish the scope of work to be undertaken. - Establish procedures, sources of equipment and products that may be required for the work accordingly - Carry out tools, equipment and testing devices needed to the work are obtained and check for correct operation and safety - Determine noise and vibration encountered in HVAC applications - Select methods to determine noise and vibration measurements encountered in HVAC/R application - Deal unexpected situations safely with the approval of an authorized person. - Take measures without damage to apparatus, circuits, the surrounding environment or services and using sustainable energy practices with the minimum waste and rework. - 3. Document noise and vibration measurements in HVAC applications - Determine noise and vibration to justify alternative approach - Document the work completion and an appropriate person or persons notified in accordance with established procedures. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Water & Air Distribution (HVACR Level-4) |
| Competency Standard | Attenuate Noise and Vibration Encounter in HVAC Applications |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Prepare to determine noise and vibration encountered in HVAC applications - Determine noise and vibration encountered in HVAC applications - Document noise and vibration measurements in HVAC applications |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Obtain the nature of the problem from documentation or from work supervisor to establish the scope of work to be undertaken. |  |  |
| - Establish procedures, sources of equipment and products that may be required for the work accordingly |  |  |
| - Carry out tools, equipment and testing devices needed to the work are obtained and check for correct operation and safety |  |  |
| - Select methods to determine noise and vibration measurements encountered in HVAC/R application |  |  |
| - Deal unexpected situations safely with the approval of an authorized person. |  |  |
| - Take measures without damage to apparatus, circuits, the surrounding environment or services and using sustainable energy practices with the minimum waste and rework. |  |  |
| - Determine noise and vibration to justify alternative approach |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Water & Air Distribution (HVACR Level-4) |
| --- | --- |
| Competency Standard | Attenuate Noise and Vibration Encounter in HVAC Applications |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | . - Prepare to determine noise and vibration encountered in HVAC applications - Determine noise and vibration encountered in HVAC applications - Document noise and vibration measurements in HVAC applications |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Obtain the nature of the problem from documentation or from work supervisor to establish the scope of work to be undertaken. |  |  |  |  |  |
|  | Establish procedures, sources of equipment and products that may be required for the work accordingly |  |  |  |  |  |
|  | Carry out tools, equipment and testing devices needed to the work are obtained and check for correct operation and safety |  |  |  |  |  |
|  | Select methods to determine noise and vibration measurements encountered in HVAC/R application |  |  |  |  |  |
|  | Deal unexpected situations safely with the approval of an authorized person. |  |  |  |  |  |
|  | Take measures without damage to apparatus, circuits, the surrounding environment or services and using sustainable energy practices with the minimum waste and rework. |  |  |  |  |  |
|  | Determine noise and vibration to justify alternative approach |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Water & Air Distribution (HVACR Level-4) |
| --- | --- |
| Competency Standard | Attenuate Noise and Vibration Encounter in HVAC Applications |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Define vibration? |  |  |
|  | Noise and vibration is useful for HVAC or not? |  |  |
|  | How noise is controlled in HVAC? |  |  |
|  | Which components of HVAC produce noise? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________