Instruction Sheet for the Candidate

| Qualification | Water & Air Distribution (HVACR Level-4) |
| --- | --- |
| Competency Standard | Perform Water Treatment in HVAC System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Prepare the water treatment process for operation - Operate and monitor the water treatment process - Analyze and respond to abnormal performance - Hand over water treatment system - Shut down the water treatment system |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Prepare the water treatment process for operation - Confirm chemicals and test equipment readiness for use - Confirm services are available and ready for operation - Select, fit and use personal protective equipment according to workplace safety procedures - Conduct pre-operational checks according to operating procedures - Calibrate instrumentation and test equipment according to operating specifications - Identify and report health and safety hazards and maintenance requirements according to workplace safety procedures - Operate and monitor the water treatment process - Start the water treatment system according to operating procedures - Confirm operating condition is maintained within operating requirements - Monitor, test and adjust wastewater quality according to operating procedures - Operate first flush systems during rainfall events - Ensure the work area is maintained to workplace cleaning standards - Analyze and respond to abnormal performance - Analyze water condition and plant operating conditions according to workplace procedures and manufacturer s guidelines - Take corrective action in response to hazards, out-of-specification test results and / plant performance - Implement emergency procedures according to workplace safety procedures - Hand over water treatment system - Maintain workplace records according to workplace procedures - Carry out handover according to workplace procedures - Ensure operators are aware of system status and related equipment at completion of handover |
|  | - Shut down the water treatment system - Safely shut down the system according to operating procedures - Prepare the system for storage in shutdown mode according to operating procedures - Identify and report operational maintenance requirements according to workplace procedures |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Water & Air Distribution (HVACR Level-4 |
| Competency Standard | Perform Water Treatment in HVAC System |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Prepare the water treatment process for operation - Operate and monitor the water treatment process - Analyze and respond to abnormal performance - Hand over water treatment system - Shut down the water treatment system |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Confirm chemicals and test equipment readiness for use |  |  |
| - Confirm services are available and ready for operation |  |  |
| - Select, fit and use personal protective equipment according to workplace safety procedures |  |  |
| - Conduct pre-operational checks according to operating procedures |  |  |
| - Calibrate instrumentation and test equipment according to operating specifications |  |  |
| - Identify and report health and safety hazards and maintenance requirements according to workplace safety procedures |  |  |
| - Start the water treatment system according to operating procedures |  |  |
| - Confirm operating condition is maintained within operating requirements |  |  |
| - Monitor, test and adjust wastewater quality according to operating procedures |  |  |
| - Operate first flush systems during rainfall events |  |  |
| - Ensure the work area is maintained to workplace cleaning standards |  |  |
| - Analyze water condition and plant operating conditions according to workplace procedures and manufacturer s guidelines |  |  |
| - Take corrective action in response to hazards, out-of-specification test results and / plant performance |  |  |
| - Implement emergency procedures according to workplace safety procedures |  |  |
| - Maintain workplace records according to workplace procedures |  |  |
| - Carry out handover according to workplace procedures |  |  |
| - Ensure operators are aware of system status and related equipment at completion of handover |  |  |
| - Safely shut down the system according to operating procedures |  |  |
| - Prepare the system for storage in shutdown mode according to operating procedures |  |  |
| - Identify and report operational maintenance requirements according to workplace procedures |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Water & Air Distribution (HVACR Level-4) |
| --- | --- |
| Competency Standard | Perform Water Treatment in HVAC System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | . - Prepare the water treatment process for operation - Operate and monitor the water treatment process - Analyze and respond to abnormal performance - Hand over water treatment system - Shut down the water treatment system |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Confirm chemicals and test equipment readiness for use |  |  |  |  |  |
|  | Confirm services are available and ready for operation |  |  |  |  |  |
|  | Select, fit and use personal protective equipment according to workplace safety procedures |  |  |  |  |  |
|  | Conduct pre-operational checks according to operating procedures |  |  |  |  |  |
|  | Calibrate instrumentation and test equipment according to operating specifications |  |  |  |  |  |
|  | Identify and report health and safety hazards and maintenance requirements according to workplace safety procedures |  |  |  |  |  |
|  | Start the water treatment system according to operating procedures |  |  |  |  |  |
|  | Confirm operating condition is maintained within operating requirements |  |  |  |  |  |
|  | Monitor, test and adjust wastewater quality according to operating procedures |  |  |  |  |  |
|  | Operate first flush systems during rainfall events |  |  |  |  |  |
|  | Ensure the work area is maintained to workplace cleaning standards |  |  |  |  |  |
|  | Analyze water condition and plant operating conditions according to workplace procedures and manufacturer s guidelines |  |  |  |  |  |
|  | Take corrective action in response to hazards, out-of-specification test results and / plant performance |  |  |  |  |  |
|  | Implement emergency procedures according to workplace safety procedures |  |  |  |  |  |
|  | Maintain workplace records according to workplace procedures |  |  |  |  |  |
|  | Carry out handover according to workplace procedures |  |  |  |  |  |
|  | Ensure operators are aware of system status and related equipment at completion of handover |  |  |  |  |  |
|  | Safely shut down the system according to operating procedures |  |  |  |  |  |
|  | Prepare the system for storage in shutdown mode according to operating procedures |  |  |  |  |  |
|  | Identify and report operational maintenance requirements according to workplace procedures |  |  |  |  |  |
|  | Confirm chemicals and test equipment readiness for use |  |  | P1. Confirm chemicals and test equipment readiness for use P2. Confirm services are available and ready for operation P3. Select, fit and use personal protective equipment according to workplace safety procedures P4. Conduct pre-operational checks according to operating procedures P5. Calibrate instrumentation and test equipment according to operating specifications P6. Identify and report health and safety hazards and maintenance requirements according to workplace safety procedures P1. Start the water treatment system according to operating procedures P2. Confirm operating condition is maintained within operating requirements P3. Monitor, test and adjust wastewater quality according to operating procedures P4. Operate first flush systems during rainfall events P5. Ensure the work area is maintained to workplace cleaning standards P1. Analyze water condition and plant operating conditions according to workplace procedures and manufacturer s guidelines P2. Take corrective action in response to hazards, out-of-specification test results and / plant performance P3. Implement emergency procedures according to workplace safety procedures P1. Maintain workplace records according to workplace procedures P2. Carry out handover according to workplace procedures P3. Ensure operators are aware of system status and related equipment at completion of handover P1. Safely shut down the system according to operating procedures P2. Prepare the system for storage in shutdown mode according to operating procedures P3. Identify and report operational maintenance requirements according to workplace procedures |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Water & Air Distribution (HVACR Level-4) |
| --- | --- |
| Competency Standard | Perform Water Treatment in HVAC System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Name any two chemicals which are used in water treatment process? |  |  |
|  | Define flush system? |  |  |
|  | Name two methods of water treatments processes? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________