| Panel: Azhar Waheed Instructor (PVTC) VTI Rawalpindi Shamshad Ali Instructor (GATTC) Hayat Abad, KPK TEVTA Muhammad Waqas Instructor (GTVC) Yar Hussain, KPK TEVTA Yasir Ali Instructor (HVACR) GCT Railway Road, Lahore Punjab TEVTA Engr. Syed Umar Bukhari Laboratory Engineer (HVACR) KFUEIT Rahim Yar Khan Mr. Zahid Razzaq HOD Mechanical SOS Multan Amanat Ali Instructor (GTTI) Punjab TEVTA M. Shahid Saeed Sr. Instructor (GATC) Punjab TEVTA Syed Shahzaib Shah Instructor (IST) Punjab TEVTA Syed Kazim Ali MS Technology Abbottabad DACUM Facilitator Engr. Inayat ur Rehman Islamabad NAVTTC conveners Muhammad Ishaq Deputy Director NAVTTC HQ Islamabad Humza Nadeem Assistant. Director NAVTTC HQ Islamabad | Assessment Evidence Guide For HVACR Technician (Industrial) Level-4 Summative Assessment Activity-1 |
| --- | --- |
|  | Date 1-5 December, 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | HVACR Technician (Industrial) Level-4 |
| --- | --- |
| Competency Standards | - Operate Tools, Instruments and Equipment - Install Industrial HVACR Systems - Maintain and Service HVACR Systems - Diagnose and Repair Faults - Commission HVACR Systems - Comply Safety, and Documentation - Perform System Testing and Troubleshooting - Install and Maintain Chillers and Cooling Towers - Work on Heating Systems - Install and Service Ventilation Systems - Manage Refrigerants and Environmental Practices - Supervise and Train Junior Technicians - Manage Spare Parts and Inventory Overview - Apply Quality Assurance Practices - Apply Workplace Communication and Reporting |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |

Section A1: Guidance for Candidate

| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 hrs. time frame (for practical demonstration & assessment): Activity-1: Test and commission an industrial HVACR system as per SOP, including ducting, piping, electrical controls, refrigerant pressure, TAB and performance verification documentation of all work performed. |
| --- | --- |
| Time: 04Hrs | During a practical assessment, under observation by an assessor, you are required to demonstrate the following criteria: |
| Minimum Evidence Required | - Follow health, safety & environment procedure as per standard. - Interpret system installation against design specifications. - Inspect ducting layout and sealing as per specifications. - Inspect piping installation (supports, insulation, routing). - Verify electrical connections are safe and correctly wired. - Confirm correct installation of sensors and control devices. - Check refrigerant pressures as per specifications. - Check compressor operation for correct start-up and running. - Check operations of HVACR system. - Test, Adjust and Balance of air distribution system. - Test, Adjust and Balance of chilled/hot water system. - Start-up the HVACR system as per sequence. - Measure system performance parameters (Change in Temperature, flow rates, energy consumption). - Montier the operation of control and safety devices. - Record all test data in the commissioning log. - Confirm system meets design performance criteria. |

(Bold Statements in the above performance Criteria are critical)

Section A2: Self-Assessment Checklist

| Assessment Task | Activity-1: Test and commission an industrial HVACR system as per SOP, including ducting, piping, electrical controls, refrigerant pressure, TAB and performance verification documentation of all work performed. |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Follow health, safety & environment procedure as per standard. |  |  |
| - Interpret system installation against design specifications. |  |  |
| - Inspect ducting layout and sealing as per specifications. |  |  |
| - Inspect piping installation (supports, insulation, routing). |  |  |
| - Verify electrical connections are safe and correctly wired. |  |  |
| - Confirm correct installation of sensors and control devices. |  |  |
| - Check refrigerant pressures as per specifications. |  |  |
| - Check compressor operation for correct start-up and running. |  |  |
| - Check operations of HVACR system. |  |  |
| - Test, Adjust and Balance of air distribution system. |  |  |
| - Test, Adjust and Balance of chilled/hot water system. |  |  |
| - Start-up the HVACR system as per sequence. |  |  |
| - Measure system performance parameters (Change in Temperature, flow rates, energy consumption). |  |  |
| - Montier the operation of control and safety devices. |  |  |
| - Record all test data in the commissioning log. |  |  |
| - Confirm system meets design performance criteria. |  |  |

(Bold Statements in the above performance Criteria are critical)

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | HVACR Technician (Industrial) Level-4 |
| --- | --- |
| Competency Standards | - Operate Tools, Instruments and Equipment - Install Industrial HVACR Systems - Maintain and Service HVACR Systems - Diagnose and Repair Faults - Commission HVACR Systems - Comply Safety, and Documentation - Perform System Testing and Troubleshooting - Install and Maintain Chillers and Cooling Towers - Work on Heating Systems - Install and Service Ventilation Systems - Manage Refrigerants and Environmental Practices - Supervise and Train Junior Technicians - Manage Spare Parts and Inventory Overview - Apply Quality Assurance Practices. - Apply Workplace Communication and Reporting |
| Candidate Details | Name: ______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ___________________ Signature: _____________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity-1: Test and commission an industrial HVACR system as per SOP, including ducting, piping, electrical controls, refrigerant pressure, TAB and performance verification documentation of all work performed. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Follow health, safety & environment procedure as per standard. |  |  |  |  |  |
|  | Interpret system installation against design specifications. |  |  |  |  |  |
|  | Inspect ducting layout and sealing as per specifications. |  |  |  |  |  |
|  | Inspect piping installation (supports, insulation, routing). |  |  |  |  |  |
|  | Verify electrical connections are safe and correctly wired. |  |  |  |  |  |
|  | Confirm correct installation of sensors and control devices. |  |  |  |  |  |
|  | Check refrigerant pressures as per specifications. |  |  |  |  |  |
|  | Check compressor operation for correct start-up and running. |  |  |  |  |  |
|  | Check operations of HVACR system. |  |  |  |  |  |
|  | Test, Adjust and Balance of air distribution system. |  |  |  |  |  |
|  | Test, Adjust and Balance of chilled/hot water system. |  |  |  |  |  |
|  | Start-up the HVACR system as per sequence. |  |  |  |  |  |
|  | Measure system performance parameters (Change in Temperature, flow rates, energy consumption). |  |  |  |  |  |
|  | Montier the operation of control and safety devices. |  |  |  |  |  |
|  | Record all test data in the commissioning log. |  |  |  |  |  |
|  | Confirm system meets design performance criteria. |  |  |  |  |  |
| Competent |  |  | Not yet Competent |  |  |  |

(Bold Statements in the above performance Criteria are critical)

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
| 1 | What is the purpose of commissioning an HVACR system? |  |  |
| 2 | Which safety procedure must be applied before starting HVACR system testing? |  |  |
| 3 | During commissioning, refrigerant pressures should be compared against what? |  |  |
| 4 | What does TAB stand for in HVACR commissioning? |  |  |
| 5 | Which PPE is essential during commissioning? |  |  |
| 6 | Why is leak detection performed during commissioning? |  |  |
| 7 | Name three ducting components that must be inspected. |  |  |
| 8 | What is the significance of Δ T measurement in performance verification? |  |  |
| 9 | Describe one method to verify electrical control functionality. |  |  |
| 10 | Name two instruments used to measure airflow during TAB. |  |  |
| 11 | What steps should be taken if refrigerant pressure is higher than the design value? |  |  |
| 12 | How would you correct airflow that is below design specifications during TAB? |  |  |
| 13 | How would you troubleshoot a compressor that fails to start during testing? |  |  |
| 14 | What actions should be taken when a minor leak is detected in a piping joint? |  |  |
| 15 | Identify two common causes of insufficient airflow in ducting systems. |  |  |
| 16 | How can electrical control faults affect overall system performance? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________