| Panel: Azhar Waheed Instructor (PVTC) VTI Rawalpindi Shamshad Ali Instructor (GATTC) Hayat Abad, KPK TEVTA Muhammad Waqas Instructor (GTVC) Yar Hussain, KPK TEVTA Yasir Ali Instructor (HVACR) GCT Railway Road, Lahore Punjab TEVTA Engr. Syed Umar Bukhari Laboratory Engineer (HVACR) KFUEIT Rahim Yar Khan Mr. Zahid Razzaq HOD Mechanical SOS Multan Amanat Ali Instructor (GTTI) Punjab TEVTA M. Shahid Saeed Sr. Instructor (GATC) Punjab TEVTA Syed Shahzaib Shah Instructor (IST) Punjab TEVTA Syed Kazim Ali MS Technology Abbottabad DACUM Facilitator Engr. Inayat ur Rehman Islamabad NAVTTC conveners Muhammad Ishaq Deputy Director NAVTTC HQ Islamabad Humza Nadeem Assistant. Director NAVTTC HQ Islamabad | Assessment Evidence Guide For HVACR Technician (Industrial) Level-4 Summative Assessment Activity-2 |
| --- | --- |
|  | Date 1-5 December, 2024 Lahore |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | HVACR Technician (Industrial) Level-4 |
| --- | --- |
| Competency Standards | - Operate Tools, Instruments and Equipment - Install Industrial HVACR Systems - Maintain and Service HVACR Systems - Diagnose and Repair Faults - Commission HVACR Systems - Comply Safety, and Documentation - Perform System Testing and Troubleshooting - Install and Maintain Chillers and Cooling Towers - Work on Heating Systems - Install and Service Ventilation Systems - Manage Refrigerants and Environmental Practices - Supervise and Train Junior Technicians - Manage Spare Parts and Inventory Overview - Apply Quality Assurance Practices - Apply Workplace Communication and Reporting |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |

Section A1: Guidance for Candidate

| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 hrs. time frame (for practical demonstration & assessment): Activity-2: Diagnose and rectify HVACR system faults by identifying refrigeration system, electrical, airflow, and mechanical issues, performing repairs, and restoring full operation and record service history in log book. |
| --- | --- |
| Time: 04Hrs | During a practical assessment, under observation by an assessor, you are required to demonstrate the following criteria: |
| Minimum Evidence Required | - Follow Health, safety & environment procedures as per standards. - Identify refrigeration system faults by checking pressures, temperatures, superheat, and sub-cooling according to specifications. - Inspect electrical circuits, wiring, voltage, continuity, and current draw using appropriate electrical testing tools. - Measure airflow parameters such as static pressure, air velocity, and duct conditions to detect airflow deficiencies. - Check mechanical components including compressors, motors, fans, and belts for noise, vibration, wear, and misalignment. - Interpret diagnostic readings and system data to determine the root cause of performance issues. - Check refrigerant charge pressure and identify leaks. - Recover refrigerant safely in compliance with environmental and workplace regulations before repair work. - Evacuate and recharge the system to the manufacturer’s recommendations. - Repair electrical faults by correcting loose connections, replacing damaged wires, and servicing faulty control components. - Rectify airflow issues by cleaning or replacing filters, adjusting dampers, repairing duct leaks, and restoring fan performance. - Service mechanical components by lubricating, aligning, tightening, or replacing faulty parts as required. - Verify the correct functioning of all safety devices such as overloads, pressure switches, thermostats, and fuses. - Restart and Test the HVACR system after repairs to confirm stable and correct operation. - Confirm system performance complies with manufacturer specifications. - Record all repair activities and prepare a final service report outlining the fault causes, repair work completed, and recommendations for future maintenance. |

(Bold Statements in the above performance Criteria are critical)

Section A2: Self-Assessment Checklist

| Assessment Task | Activity-2: Diagnose and rectify HVACR system faults by identifying refrigeration system, electrical, airflow, and mechanical issues, performing repairs, and restoring full operation and documentation of all work performed. |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Follow Health, safety & environment procedures as per standards. |  |  |
| - Identify refrigeration system faults by checking pressures, temperatures, superheat, and sub-cooling according to specifications. |  |  |
| - Inspect electrical circuits, wiring, voltage, continuity, and current draw using appropriate electrical testing tools. |  |  |
| - Measure airflow parameters such as static pressure, air velocity, and duct conditions to detect airflow deficiencies. |  |  |
| - Check mechanical components including compressors, motors, fans, and belts for noise, vibration, wear, and misalignment. |  |  |
| - Interpret diagnostic readings and system data to determine the root cause of performance issues. |  |  |
| - Check refrigerant charge pressure and identify leaks. |  |  |
| - Recover refrigerant safely in compliance with environmental and workplace regulations before repair work. |  |  |
| - Evacuate and recharge the system to the manufacturer’s recommendations. |  |  |
| - Repair electrical faults by correcting loose connections, replacing damaged wires, and servicing faulty control components. |  |  |
| - Rectify airflow issues by cleaning or replacing filters, adjusting dampers, repairing duct leaks, and restoring fan performance. |  |  |
| - Service mechanical components by lubricating, aligning, tightening, or replacing faulty parts as required. |  |  |
| - Verify the correct functioning of all safety devices such as overloads, pressure switches, thermostats, and fuses. |  |  |
| - Restart and Test the HVACR system after repairs to confirm stable and correct operation. |  |  |
| - Confirm system performance complies with manufacturer specifications. |  |  |
| - Record all repair activities and prepare a final service report outlining the fault causes, repair work completed, and recommendations for future maintenance. |  |  |

(Bold Statements in the above performance Criteria are critical)

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | HVACR Technician (Industrial) Level-4 |
| --- | --- |
| Competency Standards | - Operate Tools, Instruments and Equipment - Install Industrial HVACR Systems - Maintain and Service HVACR Systems - Diagnose and Repair Faults - Commission HVACR Systems - Comply Safety, and Documentation - Perform System Testing and Troubleshooting - Install and Maintain Chillers and Cooling Towers - Work on Heating Systems - Install and Service Ventilation Systems - Manage Refrigerants and Environmental Practices - Supervise and Train Junior Technicians - Manage Spare Parts and Inventory Overview - Apply Quality Assurance Practices. - Apply Workplace Communication and Reporting |
| Candidate Details | Name: ______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ___________________ Signature: _____________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity-2: Diagnose and rectify HVACR system faults by identifying refrigeration system, electrical, airflow, and mechanical issues, performing repairs, and restoring full operation and documentation of all work performed. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Follow Health, safety & environment procedures as per standards. |  |  |  |  |  |
|  | Identify refrigeration system faults by checking pressures, temperatures, superheat, and sub-cooling according to specifications. |  |  |  |  |  |
|  | Inspect electrical circuits, wiring, voltage, continuity, and current draw using appropriate electrical testing tools. |  |  |  |  |  |
|  | Measure airflow parameters such as static pressure, air velocity, and duct conditions to detect airflow deficiencies. |  |  |  |  |  |
|  | Check mechanical components including compressors, motors, fans, and belts for noise, vibration, wear, and misalignment. |  |  |  |  |  |
|  | Interpret diagnostic readings and system data to determine the root cause of performance issues. |  |  |  |  |  |
|  | Check refrigerant charge pressure and identify leaks. |  |  |  |  |  |
|  | Recover refrigerant safely in compliance with environmental and workplace regulations before repair work. |  |  |  |  |  |
|  | Evacuate and recharge the system to the manufacturer’s recommendations. |  |  |  |  |  |
|  | Repair electrical faults by correcting loose connections, replacing damaged wires, and servicing faulty control components. |  |  |  |  |  |
|  | Rectify airflow issues by cleaning or replacing filters, adjusting dampers, repairing duct leaks, and restoring fan performance. |  |  |  |  |  |
|  | Service mechanical components by lubricating, aligning, tightening, or replacing faulty parts as required. |  |  |  |  |  |
|  | Verify the correct functioning of all safety devices such as overloads, pressure switches, thermostats, and fuses. |  |  |  |  |  |
|  | Restart and Test the HVACR system after repairs to confirm stable and correct operation. |  |  |  |  |  |
|  | Confirm system performance complies with manufacturer specifications. |  |  |  |  |  |
|  | Record all repair activities and prepare a final service report outlining the fault causes, repair work completed, and recommendations for future maintenance. |  |  |  |  |  |
| Competent |  |  | Not Competent |  |  |  |

(Bold Statements in the above performance Criteria are critical)

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
| 1. | What is the first step in diagnosing a refrigeration system fault |  |  |
| 2. | What tool is used to measure system pressures? |  |  |
| 3. | What does superheat indicate in a refrigeration system? |  |  |
| 4. | How do you check electrical continuity? |  |  |
| 5. | What is the purpose of a clamp meter? |  |  |
| 6. | Why is airflow important in HVAC systems? |  |  |
| 7. | Name one method to detect refrigerant leaks. |  |  |
| 8. | What is the normal vacuum level needed before charging refrigerant? |  |  |
| 9. | Why is refrigerant recovery necessary? |  |  |
| 10. | What symptoms indicate a faulty compressor? |  |  |
| 11. | How do you identify a clogged air filter? |  |  |
| 12. | What does high head pressure usually indicate? |  |  |
| 13. | What causes low suction pressure? |  |  |
| 14. | How do you test capacitor health? |  |  |
| 15. | What is the purpose of a thermostat in HVAC systems? |  |  |
| 16. | Why must safety devices be checked after repairs? |  |  |
| 17. | What are the signs of a loose electrical connection? |  |  |
| 18. | What tool measures airflow velocity? |  |  |
| 19. | Why is documentation important after performing repairs? |  |  |
| 20. | What happens if refrigerant charge is too low? |  |  |
| 21. | How do you confirm the system is running correctly after repair? |  |  |
| 22. | What must you check before replacing an electrical component? |  |  |
| 23. | What does unusual vibration in an HVAC unit indicate? |  |  |
| 24. | Why is proper lubrication important for mechanical components? |  |  |
| 25. | What information should be included in the final service report? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________