| Panel: Azhar Waheed Instructor (PVTC) VTI Rawalpindi Shamshad Ali Instructor (GATTC) Hayat Abad, KPK TEVTA Muhammad Waqas Instructor (GTVC) Yar Hussain, KPK TEVTA Yasir Ali Instructor (HVACR) GCT Railway Road, Lahore Punjab TEVTA Engr. Syed Umar Bukhari Laboratory Engineer (HVACR) KFUEIT Rahim Yar Khan Mr. Zahid Razzaq HOD Mechanical SOS Multan Amanat Ali Instructor (GTTI) Punjab TEVTA M. Shahid Saeed Sr. Instructor (GATC) Punjab TEVTA Syed Shahzaib Shah Instructor (IST) Punjab TEVTA Syed Kazim Ali MS Technology Abbottabad DACUM Facilitator Engr. Inayat ur Rehman Islamabad NAVTTC conveners Muhammad Ishaq Deputy Director NAVTTC HQ Islamabad Humza Nadeem Assistant. Director NAVTTC HQ Islamabad | Assessment Evidence Guide For HVACR Technician (Industrial) Level-4 Summative Assessment Activity-3 |
| --- | --- |
|  | Date 1-5 December, 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | HVACR Technician (Industrial) Level-4 |
| --- | --- |
| Competency Standards | - Operate Tools, Instruments and Equipment - Install Industrial HVACR Systems - Maintain and Service HVACR Systems - Diagnose and Repair Faults - Commission HVACR Systems - Comply Safety, and Documentation - Perform System Testing and Troubleshooting - Install and Maintain Chillers and Cooling Towers - Work on Heating Systems - Install and Service Ventilation Systems - Manage Refrigerants and Environmental Practices - Supervise and Train Junior Technicians - Manage Spare Parts and Inventory Overview - Apply Quality Assurance Practices - Apply Workplace Communication and Reporting |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |

Section A1: Guidance for Candidate

| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 hrs. time frame (for practical demonstration & assessment): Activity-3: Service chiller, AHU/FCU, cooling tower, and air flow system, including cleaning, lubrication, leak repair, refrigerant charging and TAB, also record service history. |
| --- | --- |
| Time: 04Hrs | During a practical assessment, under observation by an assessor, you are required to demonstrate the following criteria: |
| Minimum Evidence Required | - Follow health, safety & environment procedures as per standard. - Confirm service request, maintenance schedule, and scope of work. - Inspect mechanical and electrical components for wear, abnormal noise, or vibration. - Check coils, heat exchangers, filters, fans, pumps, belts, dampers, and piping connections. - Verify refrigerant pressure, condenser condition, water quality, and air distribution. - Identify leaks, blockage or system performance deviations. - Record findings according to inspection standards. - Clean condenser coils, AHU/FCU filters, and cooling tower fins using service techniques. - Remove sludge, scale, and dust from piping, sumps, coils, and grills. - Repair leaks by suitable techniques. - Evacuate the system and charge refrigerant as per system specification. - Adjust dampers, valves, fans, and VFDs to achieve design air flow. - Perform water balancing for cooling tower/chilled water circuits if applicable. - Restart system and check operational behavior (noise, vibration, temperature, pressure). - Confirm equipment performance according to manufacturer standards. - Record and submit service report all. |

(Bold Statements in the above performance Criteria are critical)

Section A2: Self-Assessment Checklist

| Assessment Task | Activity-3: Service chiller, AHU/FCU, cooling tower, and air flow system, including cleaning, lubrication, leak repair, gas charging, TAB and documentation of all work performed. |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Follow health, safety & environment procedures as per standard. |  |  |
| - Confirm service request, maintenance schedule, and scope of work. |  |  |
| - Inspect mechanical and electrical components for wear, abnormal noise, or vibration. |  |  |
| - Check coils, heat exchangers, filters, fans, pumps, belts, dampers, and piping connections. |  |  |
| - Verify refrigerant pressure, condenser condition, water quality, and air distribution. |  |  |
| - Identify leaks, blockage or system performance deviations. |  |  |
| - Record findings according to inspection standards. |  |  |
| - Clean condenser coils, AHU/FCU filters, and cooling tower fins using service techniques. |  |  |
| - Remove sludge, scale, and dust from piping, sumps, coils, and grills. |  |  |
| - Repair leaks by suitable techniques. |  |  |
| - Evacuate the system and charge refrigerant as per system specification. |  |  |
| - Adjust dampers, valves, fans, and VFDs to achieve design air flow. |  |  |
| - Perform water balancing for cooling tower/chilled water circuits if applicable. |  |  |
| - Restart system and check operational behavior (noise, vibration, temperature, pressure). |  |  |
| - Confirm equipment performance according to manufacturer standards. |  |  |
| - Record and submit service report all. |  |  |

(Bold Statements in the above performance Criteria are critical)

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | HVACR Technician (Industrial) Level-4 |
| --- | --- |
| Competency Standards | - Operate Tools, Instruments and Equipment - Install Industrial HVACR Systems - Maintain and Service HVACR Systems - Diagnose and Repair Faults - Commission HVACR Systems - Comply Safety, and Documentation - Perform System Testing and Troubleshooting - Install and Maintain Chillers and Cooling Towers - Work on Heating Systems - Install and Service Ventilation Systems - Manage Refrigerants and Environmental Practices - Supervise and Train Junior Technicians - Manage Spare Parts and Inventory Overview - Apply Quality Assurance Practices. - Apply Workplace Communication and Reporting |
| Candidate Details | Name: ______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ___________________ Signature: _____________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity-3: Service chiller, AHU/FCU, cooling tower, and air flow system, including cleaning, lubrication, leak repair, gas charging, TAB and documentation of all work performed. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Follow health, safety & environment procedures as per standard. |  |  |  |  |  |
|  | Confirm service request, maintenance schedule, and scope of work. |  |  |  |  |  |
|  | Inspect mechanical and electrical components for wear, abnormal noise, or vibration. |  |  |  |  |  |
|  | Check coils, heat exchangers, filters, fans, pumps, belts, dampers, and piping connections. |  |  |  |  |  |
|  | Verify refrigerant pressure, condenser condition, water quality, and air distribution. |  |  |  |  |  |
|  | Identify leaks, blockage or system performance deviations. |  |  |  |  |  |
|  | Record findings according to inspection standards. |  |  |  |  |  |
|  | Clean condenser coils, AHU/FCU filters, and cooling tower fins using service techniques. |  |  |  |  |  |
|  | Remove sludge, scale, and dust from piping, sumps, coils, and grills. |  |  |  |  |  |
|  | Repair leaks by suitable techniques. |  |  |  |  |  |
|  | Evacuate the system and charge refrigerant as per system specification. |  |  |  |  |  |
|  | Adjust dampers, valves, fans, and VFDs to achieve design air flow. |  |  |  |  |  |
|  | Perform water balancing for cooling tower/chilled water circuits if applicable. |  |  |  |  |  |
|  | Restart system and check operational behavior (noise, vibration, temperature, pressure). |  |  |  |  |  |
|  | Confirm equipment performance according to manufacturer standards. |  |  |  |  |  |
|  | Record and submit service report all. |  |  |  |  |  |
| Competent |  |  | Not Competent |  |  |  |

(Bold Statements in the above performance Criteria are critical)

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the function of a chiller in an HVAC system? |  |  |
| 2. | Which component in an AHU filters the air before distribution? |  |  |
| 3. | What is the purpose of a cooling tower? |  |  |
| 4. | Which instrument is used to measure airflow velocity? |  |  |
| 5. | What is the correct sequence for refrigerant charging? |  |  |
| 6. | What happens if refrigerant is overcharged in a chiller? |  |  |
| 7. | Which chemical hazard is associated with refrigerants? |  |  |
| 8. | What is the primary cause of reduced heat transfer in condenser or evaporator coils? |  |  |
| 9. | What does a differential pressure reading across an air filter indicate? |  |  |
| 10. | Which document provides manufacturer-approved service procedures for HVAC equipment? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________