Instruction Sheet for the Candidate

| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0715M&MT17 – Perform Refrigerant Recovery 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Purpose of Assessment | Formative / Devlopmental Assessment |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame 1Hrs. (for practical demonstration & assessment): - Couple the recovery unit to the equipment - Recover Refrigerant |
| Time: 1Hrs | During a practical assessment, under observation by an assessor, you are required to - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place - Observe & maintain safe working environment - Identify type of refrigerant to be recovered according to available information. - Select appropriate system for connection of charging hoses, either with piercing valve or charging valve according to requirements. - Ensure recovery unit to be free of any other type of refrigerant. - Transfer refrigerant in unit to a separate recovery cylinder; ensure that no refrigerant escapes to atmosphere. - Connect gauge manifold to system, according to standard color codes of hoses of manifold gauge. - Couple recovery unit to equipment, following standard procedure for connections. - Connect overfill protection device and ensure safety of operation. - Start recovery unit, monitor process and ensure full recovery of Refrigerant. - Stop recovery unit - Disconnect system according to standard procedure - Ensure no refrigerant escapes to atmosphere |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| Competency Standards | 0715M&MT17 – Perform Refrigerant Recovery |
|  | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System |
|  | 1022OHS02 - Maintain safe work environment |
| Assessment Task | 1. Couple the recovery unit to the equipment 2. Recover Refrigerant |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |
| - Observe & maintain safe working environment |  |  |
| - Identify type of refrigerant to be recovered according to available information. |  |  |
| - Select appropriate system for connection of charging hoses, either with piercing valve or charging valve according to requirements. |  |  |
| - Ensure recovery unit to be free of any other type of refrigerant. |  |  |
| - Transfer refrigerant in unit to a separate recovery cylinder; ensure that no refrigerant escapes to atmosphere. |  |  |
| - Connect gauge manifold to system, according to standard color codes of hoses of manifold gauge. |  |  |
| - Couple recovery unit to equipment, following standard procedure for connections. |  |  |
| - Connect overfill protection device and ensure safety of operation. |  |  |
| - Start recovery unit, monitor process and ensure full recovery of Refrigerant. |  |  |
| - Stop recovery unit |  |  |
| - Disconnect system according to standard procedure |  |  |
| - Ensure no refrigerant escapes to atmosphere |  |  |

Candidate’s Signature___________________   Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0715M&MT17 – Perform Refrigerant Recovery 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | 1. Couple the recovery unit to the equipment 2. Recover Refrigerant |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  | Yes | No | Remarks |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |  |  |  |
| - Observe & maintain safe working environment |  |  |  |  |  |
| - Identify type of refrigerant to be recovered according to available information. |  |  |  |  |  |
| - Select appropriate system for connection of charging hoses, either with piercing valve or charging valve according to requirements. |  |  |  |  |  |
| - Ensure recovery unit to be free of any other type of refrigerant. |  |  |  |  |  |
| - Transfer refrigerant in unit to a separate recovery cylinder; ensure that no refrigerant escapes to atmosphere. |  |  |  |  |  |
| - Connect gauge manifold to system, according to standard color codes of hoses of manifold gauge. |  |  |  |  |  |
| - Couple recovery unit to equipment, following standard procedure for connections. |  |  |  |  |  |
| - Connect overfill protection device and ensure safety of operation. |  |  |  |  |  |
| - Start recovery unit, monitor process and ensure full recovery of Refrigerant. |  |  |  |  |  |
| - Stop recovery unit |  |  |  |  |  |
| - Disconnect system according to standard procedure |  |  |  |  |  |
| - Ensure no refrigerant escapes to atmosphere |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0715M&MT17 – Perform Refrigerant Recovery 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Enlist 5 Personal Protective Equipment`s (PPE`s). |  |  |
|  | Explain the basic mechanical refrigeration and air conditioning Cycle? |  |  |
|  | Explain the working principles of the recovery machine? |  |  |
|  | Explain the refrigerant recovery process? |  |  |
|  | Types of Refrigerants, their properties and applications |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________