Instruction Sheet for the Candidate

| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0715M&MT18 – Install Residential Air Conditioner 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Purpose of Assessment | Formative / Devlopmental Assessment |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame 4Hrs. (for practical demonstration & assessment): - Install Window Air Conditioner - Install Split Air Conditioner |
| Time: 4Hrs | During a practical assessment, under observation by an assessor, you are required to - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place - Observe & maintain safe working environment - Install Window Air Conditioner - Select tools, equipment and related accessories according to job requirements - Mark the location on the wall where Window Air Conditioner to be installed according to Unit specifications and client requirements - Make opening at the marked area on the wall - Fix Iron / wooden frame in the opening firmly and insert in it the Air Conditioner cover according to the instructional manual and standards - Install the Air conditioner in the framed opening with standard slope so that condensate water drops outside - Cover / Seal side air gaps of opening with insulation material - Fix the fancy wooden border / frame around the Air conditioner grill as per client’s requirement - Fix the Air Conditioner condensate drainpipe and put it into main sewerage line - Install power supply with circuit breaker near the Air Conditioner - Remove all packing material - Cardboard, Styrofoam, Tape and Plastic Film from the site after the installation - Switch on the Air Conditioner and check Air Conditioner performance as per capacity and specifications - Install Split Air Conditioner (Wall Mounted) - Select tools, equipment and related accessories according to job requirements - Select and mark the areas on the walls where Indoor and Outdoor units are to be installed according to specifications and client requirements - Perform physical inspection of indoor and outdoor unit according to unit specifications - Make opening for the refrigerant pipes, condensate pipe and control wires to pass through - Mount the Indoor unit wall mounting plate according to manufacturer specifications and install the Indoor unit on it - Prepare base for the fixing of Outdoor unit according to manufacturer specifications and fix the Outdoor unit there - Make electric supply connection at outer unit. - Connect the refrigerant pipes amongst/ to both indoor and outdoor units, supply and control wires according to manufacturer manual - Add additional refrigerant for additional piping according to manufacturer recommendations - Make oil trap in copper pipe as per site requirement Perform leak test, evacuation procedure, charge refrigerant and open the service valves - Insulate the joints and refrigerant pipes according to standards and manufacturer installation manual - Remove all packing material - Cardboard, Styrofoam, Tape and Plastic film - Switch on the Air Conditioner and check performance as per capacity and specifications |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| Competency Standards | 0715M&MT18 – Install Residential Air Conditioner |
|  | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System |
|  | 1022OHS02 - Maintain safe work environment |
| Assessment Task | 1. Install Window Air Conditioner 2. Install Split Air Conditioner |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |
| - Observe & maintain safe working environment |  |  |
| - Install Window Air Conditioner |  |  |
| - Select tools, equipment and related accessories according to job requirements |  |  |
| - Mark the location on the wall where Window Air Conditioner to be installed according to Unit specifications and client requirements |  |  |
| - Make opening at the marked area on the wall |  |  |
| - Fix Iron / wooden frame in the opening firmly and insert in it the Air Conditioner cover according to the instructional manual and standards |  |  |
| - Install the Air conditioner in the framed opening with standard slope so that condensate water drops outside |  |  |
| - Cover / Seal side air gaps of opening with insulation material |  |  |
| - Fix the fancy wooden border / frame around the Air conditioner grill as per client’s requirement |  |  |
| - Fix the Air Conditioner condensate drainpipe and put it into main sewerage line |  |  |
| - Install power supply with circuit breaker near the Air Conditioner |  |  |
| - Remove all packing material - Cardboard, Styrofoam, Tape and Plastic Film from the site after the installation |  |  |
| - Switch on the Air Conditioner and check Air Conditioner performance as per capacity and specifications |  |  |
| - Install Split Air Conditioner (Wall Mounted) |  |  |
| - Select tools, equipment and related accessories according to job requirements |  |  |
| - Select and mark the areas on the walls where Indoor and Outdoor units are to be installed according to specifications and client requirements |  |  |
| - Perform physical inspection of indoor and outdoor unit according to unit specifications |  |  |
| - Make opening for the refrigerant pipes, condensate pipe and control wires to pass through |  |  |
| - Mount the Indoor unit wall mounting plate according to manufacturer specifications and install the Indoor unit on it |  |  |
| - Prepare base for the fixing of Outdoor unit according to manufacturer specifications and fix the Outdoor unit there |  |  |
| - Make electric supply connection at outer unit. |  |  |
| - Connect the refrigerant pipes amongst/ to both indoor and outdoor units, supply and control wires according to manufacturer manual |  |  |
| - Add additional refrigerant for additional piping according to manufacturer recommendations |  |  |
| - Make oil trap in copper pipe as per site requirement Perform leak test, evacuation procedure, charge refrigerant and open the service valves |  |  |
| - Insulate the joints and refrigerant pipes according to standards and manufacturer installation manual |  |  |

Candidate’s Signature___________________     Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0715M&MT18 – Install Residential Air Conditioner 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | 1. Install Window Air Conditioner 2. Install Split Air Conditioner |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  | Yes | No | Remarks |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |  |  |  |
| - Observe & maintain safe working environment |  |  |  |  |  |
| Install Window Air Conditioner |  |  |  |  |  |
| - Select tools, equipment and related accessories according to job requirements |  |  |  |  |  |
| - Mark the location on the wall where Window Air Conditioner to be installed according to Unit specifications and client requirements |  |  |  |  |  |
| - Make opening at the marked area on the wall |  |  |  |  |  |
| - Fix Iron / wooden frame in the opening firmly and insert in it the Air Conditioner cover according to the instructional manual and standards |  |  |  |  |  |
| - Install the Air conditioner in the framed opening with standard slope so that condensate water drops outside |  |  |  |  |  |
| - Cover / Seal side air gaps of opening with insulation material |  |  |  |  |  |
| - Fix the fancy wooden border / frame around the Air conditioner grill as per client’s requirement |  |  |  |  |  |
| - Fix the Air Conditioner condensate drainpipe and put it into main sewerage line |  |  |  |  |  |
| - Install power supply with circuit breaker near the Air Conditioner |  |  |  |  |  |
| - Remove all packing material - Cardboard, Styrofoam, Tape and Plastic Film from the site after the installation |  |  |  |  |  |
| - Switch on the Air Conditioner and check Air Conditioner performance as per capacity and specifications |  |  |  |  |  |
| Install Split Air Conditioner (Wall Mounted) |  |  |  |  |  |
| - Select tools, equipment and related accessories according to job requirements |  |  |  |  |  |
| - Select and mark the areas on the walls where Indoor and Outdoor units are to be installed according to specifications and client requirements |  |  |  |  |  |
| - Perform physical inspection of indoor and outdoor unit according to unit specifications |  |  |  |  |  |
| - Make opening for the refrigerant pipes, condensate pipe and control wires to pass through |  |  |  |  |  |
| - Mount the Indoor unit wall mounting plate according to manufacturer specifications and install the Indoor unit on it |  |  |  |  |  |
| - Prepare base for the fixing of Outdoor unit according to manufacturer specifications and fix the Outdoor unit there |  |  |  |  |  |
| - Make electric supply connection at outer unit. |  |  |  |  |  |
| - Connect the refrigerant pipes amongst/ to both indoor and outdoor units, supply and control wires according to manufacturer manual |  |  |  |  |  |
| - Add additional refrigerant for additional piping according to manufacturer recommendations |  |  |  |  |  |
| - Make oil trap in copper pipe as per site requirement Perform leak test, evacuation procedure, charge refrigerant and open the service valves |  |  |  |  |  |
| - Insulate the joints and refrigerant pipes according to standards and manufacturer installation manual |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0715M&MT18 – Install Residential Air Conditioner 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Enlist 5 Personal Protective Equipment`s (PPE`s). |  |  |
|  | Explain the types of Refrigerant, its properties, Recycling, Recovery and Reclaiming? |  |  |
|  | Explain the methods of Pressurizing/ Evacuation / Purging / Refrigerant charging? |  |  |
|  | Explain the types of Insulation and their applications? |  |  |
|  | Explain the compressor types and their applications? |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________