Instruction Sheet for the Candidate

| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0715M&MT19 – Repair Refrigerator, deep freezer, display unit, bottle cooler & Water cooler 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Purpose of Assessment | Formative / Devlopmental Assessment |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame 5Hrs. (for practical demonstration & assessment): - Check and identify defects in window type & split type Air Conditioners - Repair window type & split type Air Conditioners |
| Time: 5Hrs | During a practical assessment, under observation by an assessor, you are required to - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place - Observe & maintain safe working environment - Check unit for the extent of repair needed ascertain and recorded. - Enlist equipment / items, material main power and accessories as required for job. - Check all components of the electrical / electronic circuit according to standard / practices and manufacturers specifications to ensure correct performance. - Check all components of the refrigerant circuit according to standard / practices and manufactures specifications to ensure correct performance. - Check all components of the Air-flow system according to standards / practices and manufactures specifications to ensure correct performance. - Test system pressure with dry nitrogen and locate gas leaks by using specified equipment following safety procedures. - Identify defects and repair / replace the relevant component(s). - Perform brazing and test system for leakages - Evacuate the system using vacuum pump and test according to manufacturer’s specifications - Recharge refrigerant using specified type of refrigerant and recharging equipment, to required specification following safety practices. - Check filters clean / replace if necessary. - Check corrosion in outer cover / base plate and restore required conditions. - Operate and check unit to ensure satisfactory performance |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| Competency Standards | 0715M&MT19 – Repair Refrigerator, deep freezer, display unit, bottle cooler & Water cooler |
|  | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System |
|  | 1022OHS02 - Maintain safe work environment |
| Assessment Task | 1. Check and identify defects in window type & split type Air Conditioners 2. Repair window type & split type Air Conditioners |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check unit for the extent of repair needed ascertain and recorded. |  |  |
| - Enlist equipment / items, material main power and accessories as required for job. |  |  |
| - Check all components of the electrical / electronic circuit according to standard / practices and manufacturers specifications to ensure correct performance. |  |  |
| - Check all components of the refrigerant circuit according to standard / practices and manufactures specifications to ensure correct performance. |  |  |
| - Check all components of the Air-flow system according to standards / practices and manufactures specifications to ensure correct performance. |  |  |
| - Test system pressure with dry nitrogen and locate gas leaks by using specified equipment following safety procedures. |  |  |
| - Identify defects and repair / replace the relevant component(s). |  |  |
| - Perform brazing and test system for leakages |  |  |
| - Evacuate the system using vacuum pump and test according to manufacturer’s specifications |  |  |
| - Recharge refrigerant using specified type of refrigerant and recharging equipment, to required specification following safety practices. |  |  |
| - Check filters clean / replace if necessary. |  |  |
| - Check corrosion in outer cover / base plate and restore required conditions. |  |  |
| Operate and check unit to ensure satisfactory performance |  |  |
| - Check unit for the extent of repair needed ascertain and recorded. |  |  |
| - Enlist equipment / items, material main power and accessories as required for job. |  |  |

Candidate’s Signature___________________       Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0715M&MT19 – Repair Refrigerator, deep freezer, display unit, bottle cooler & Water cooler 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | 1. Check and identify defects in window type & split type Air Conditioners 2. Repair window type & split type Air Conditioners |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  | Yes | No | Remarks |
| - Check unit for the extent of repair needed ascertain and recorded. |  |  |  |  |  |
| - Enlist equipment / items, material main power and accessories as required for job. |  |  |  |  |  |
| - Check all components of the electrical / electronic circuit according to standard / practices and manufacturers specifications to ensure correct performance. |  |  |  |  |  |
| - Check all components of the refrigerant circuit according to standard / practices and manufactures specifications to ensure correct performance. |  |  |  |  |  |
| - Check all components of the Air-flow system according to standards / practices and manufactures specifications to ensure correct performance. |  |  |  |  |  |
| - Test system pressure with dry nitrogen and locate gas leaks by using specified equipment following safety procedures. |  |  |  |  |  |
| - Identify defects and repair / replace the relevant component(s). |  |  |  |  |  |
| - Perform brazing and test system for leakages |  |  |  |  |  |
| - Evacuate the system using vacuum pump and test according to manufacturer’s specifications |  |  |  |  |  |
| - Recharge refrigerant using specified type of refrigerant and recharging equipment, to required specification following safety practices. |  |  |  |  |  |
| - Check filters clean / replace if necessary. |  |  |  |  |  |
| - Check corrosion in outer cover / base plate and restore required conditions. |  |  |  |  |  |
| - Operate and check unit to ensure satisfactory performance |  |  |  |  |  |
| - Check unit for the extent of repair needed ascertain and recorded. |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0715M&MT19 – Repair Refrigerator, deep freezer, display unit, bottle cooler & Water cooler 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Enlist 5 Personal Protective Equipment`s (PPE`s). |  |  |
|  | Explain the technical Operations of Non-Frost refrigerators? |  |  |
|  | Enlist the types of Lubricants and their properties? |  |  |
|  | Enlist the methods of Copper Tube Cutting? |  |  |
|  | Enlist the methods of Copper Tube Bending? |  |  |
|  | Enlist the methods of Copper Tube Swaging and Flaring? |  |  |
|  | Enlist the methods of Copper Tube Brazing and Jointing Fixing? |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________