Instruction Sheet for the Candidate

| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0715M&MT20 – Repair & Service Residential Air Conditioner 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Purpose of Assessment | Formative / Devlopmental Assessment |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame 5Hrs. (for practical demonstration & assessment): - Diagnose Faults in Residential Air Conditioner - Repair Window / Split Air Conditioner - Service Window Air Conditioner - Service Split Air Conditioner |
| Time: 5Hrs | During a practical assessment, under observation by an assessor, you are required to - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place - Observe & maintain safe working environment - Check for obvious problem to determine which component or system is causing the problem - Select tools, equipment and related accessories according to requirements and standards. - Check power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem by using AVO meter / Gauge manifold / flow chart as recommended by manufacturer and record the results - Eliminate the causes of the problem according to the standards. - Isolate and recheck the causes of the problem and rectify the fault - Start the Air conditioner and recheck the unit as specified and record the results - Disconnect the Air conditioner from electric supply and follow the manual instructions for rectification - Rectify the faults as per diagnosed, repair / replace the components, as necessary - Switch on the Air conditioner to check the performance of electrical/ electronic and mechanical components as specified and record the results - Window Air Conditioner - Select tools, equipment and related accessories according to job requirements - Start the Air conditioner, check and record performance by using specified test instruments - Disconnect the Air conditioner from electric supply and remove Air conditioner from the cover - Secure the electric / electronic components with polythene sheet - Clean / wash the all mechanical parts of Window Air conditioner with specified cleaning agents / detergent by using pressure pump. - Fix the Air conditioner in the cover, connect with electric supply, check and record performance - Split Air Conditioner - Select tools, equipment and related accessories according to job requirements - Start the Air conditioner, check and record performance by using specified test instruments - Pump down the split type Air conditioner and dismantle the both indoor and condensing unit - Clean the components of Air conditioner with specified cleaning agents/tools & material. - Re-Install the indoor & outdoor unit, connect with refrigerant pipes, control wires and open the service valves - Switch on the Air conditioner, check and record performance |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| Competency Standards | 0715M&MT20 – Repair & Service Residential Air Conditioner |
|  | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System |
|  | 1022OHS02 - Maintain safe work environment |
| Assessment Task | 1. Diagnose Faults in Residential Air Conditioner 2. Repair Window / Split Air Conditioner 3. Service Window Air Conditioner 4. Service Split Air Conditioner |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |
| - Observe & maintain safe working environment |  |  |
| - Check for obvious problem to determine which component or system is causing the problem |  |  |
| - Select tools, equipment and related accessories according to requirements and standards. |  |  |
| - Check power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem by using AVO meter / Gauge manifold / flow chart as recommended by manufacturer and record the results |  |  |
| - Eliminate the causes of the problem according to the standards. |  |  |
| - Isolate and recheck the causes of the problem and rectify the fault |  |  |
| - Start the Air conditioner and recheck the unit as specified and record the results |  |  |
| - Disconnect the Air conditioner from electric supply and follow the manual instructions for rectification |  |  |
| - Rectify the faults as per diagnosed, repair / replace the components, as necessary |  |  |
| - Switch on the Air conditioner to check the performance of electrical/ electronic and mechanical components as specified and record the results |  |  |
| - Window Air Conditioner |  |  |
| - Select tools, equipment and related accessories according to job requirements |  |  |
| - Start the Air conditioner, check and record performance by using specified test instruments |  |  |
| - Disconnect the Air conditioner from electric supply and remove Air conditioner from the cover |  |  |
| - Secure the electric / electronic components with polythene sheet |  |  |
| - Clean / wash the all mechanical parts of Window Air conditioner with specified cleaning agents / detergent by using pressure pump. |  |  |
| - Fix the Air conditioner in the cover, connect with electric supply, check and record performance |  |  |
| - Split Air Conditioner |  |  |
| - Select tools, equipment and related accessories according to job requirements |  |  |
| - Start the Air conditioner, check and record performance by using specified test instruments |  |  |
| - Pump down the split type Air conditioner and dismantle the both indoor and condensing unit |  |  |
| - Clean the components of Air conditioner with specified cleaning agents/tools & material. |  |  |
| - Re-Install the indoor & outdoor unit, connect with refrigerant pipes, control wires and open the service valves |  |  |
| - Switch on the Air conditioner, check and record performance |  |  |

Candidate’s Signature___________________    Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0715M&MT20 – Repair & Service Residential Air Conditioner 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | 1. Diagnose Faults in Residential Air Conditioner 2. Repair Window / Split Air Conditioner 3. Service Window Air Conditioner 4. Service Split Air Conditioner |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  | Yes | No | Remarks |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |  |  |  |
| - Observe & maintain safe working environment |  |  |  |  |  |
| - Check for obvious problem to determine which component or system is causing the problem |  |  |  |  |  |
| - Select tools, equipment and related accessories according to requirements and standards. |  |  |  |  |  |
| - Check power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem by using AVO meter / Gauge manifold / flow chart as recommended by manufacturer and record the results |  |  |  |  |  |
| - Eliminate the causes of the problem according to the standards. |  |  |  |  |  |
| - Isolate and recheck the causes of the problem and rectify the fault |  |  |  |  |  |
| - Start the Air conditioner and recheck the unit as specified and record the results |  |  |  |  |  |
| - Disconnect the Air conditioner from electric supply and follow the manual instructions for rectification |  |  |  |  |  |
| - Rectify the faults as per diagnosed, repair / replace the components, as necessary |  |  |  |  |  |
| - Switch on the Air conditioner to check the performance of electrical/ electronic and mechanical components as specified and record the results |  |  |  |  |  |
| - Window Air Conditioner |  |  |  |  |  |
| - Select tools, equipment and related accessories according to job requirements |  |  |  |  |  |
| - Start the Air conditioner, check and record performance by using specified test instruments |  |  |  |  |  |
| - Disconnect the Air conditioner from electric supply and remove Air conditioner from the cover |  |  |  |  |  |
| - Secure the electric / electronic components with polythene sheet |  |  |  |  |  |
| - Clean / wash the all mechanical parts of Window Air conditioner with specified cleaning agents / detergent by using pressure pump. |  |  |  |  |  |
| - Fix the Air conditioner in the cover, connect with electric supply, check and record performance |  |  |  |  |  |
| - Split Air Conditioner |  |  |  |  |  |
| - Select tools, equipment and related accessories according to job requirements |  |  |  |  |  |
| - Start the Air conditioner, check and record performance by using specified test instruments |  |  |  |  |  |
| - Pump down the split type Air conditioner and dismantle the both indoor and condensing unit |  |  |  |  |  |
| - Clean the components of Air conditioner with specified cleaning agents/tools & material. |  |  |  |  |  |
| - Re-Install the indoor & outdoor unit, connect with refrigerant pipes, control wires and open the service valves |  |  |  |  |  |
| - Switch on the Air conditioner, check and record performance |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0715M&MT20 – Repair & Service Residential Air Conditioner 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Enlist 5 Personal Protective Equipment`s (PPE`s). |  |  |
|  | Enlist the Types of Motors used in Residential Air conditioners? |  |  |
|  | Enlist the compressor types/ Specifications and applications? |  |  |
|  | Enlist the types of Lubricants and their properties? |  |  |
|  | Enlist the process of gas welding (Soldering and Brazing)? |  |  |
|  | Enlist the pump down operation in split type air conditioner? |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________