Instruction Sheet for the Candidate

| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0715M&MT21 – Overhaul the Compressors 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Purpose of Assessment | Formative / Devlopmental Assessment |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - Prepare to dismantle compressor - Dismantle and evaluate compressor and components - Carry out overhaul - Assemble compressor and components - Complete work processes |
| Time: 5Hrs | During a practical assessment, under observation by an assessor, you are required to - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place - Observe & maintain safe working environment - Select tools, equipment and related accessories according to requirements and standards. - Determine job requirements from workplace instructions - Control and interpret refrigerant gases during installation, servicing or de-commissioning of air conditioners source - Analyze dismantling options and select most appropriate to the circumstances - Dismantle compressor in a logical sequence according to manufacturer, workplace procedures, safety & environmental requirements and without affecting unnecessary damage to components or systems - Clean components for evaluation according to workplace procedures, safety and environmental requirements - Measure and Compare components with manufacturer specifications and serviceability is determine - Identify unserviceable parts and replacement parts sourced - Analyze overhaul options and select those most appropriate to the circumstances - Machine the components repair / replace as required - Assemble compressor according to specifications, workplace procedures & environmental requirements - Measure tolerance and clearances against specifications and make necessary adjustments - Complete assembly of compressor within workplace timeframes and without causing damage to other components or systems - Carryout post-assembly testing according to workplace procedures & environmental requirements - Detect and rectify problem(s) as have been introduced during the assembly process - Ensure final inspection to make work according to workplace expectations and ready compressor for use or storage - Clean work area, dispose of waste and non-recyclable materials and collect recyclable material Check and store tools and equipment or identify any faulty electrical equipment tagged and isolated according to workplace procedures |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| Competency Standards | 0715M&MT21 – Overhaul the Compressors |
|  | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System |
|  | 1022OHS02 - Maintain safe work environment |
| Assessment Task | - Prepare to dismantle compressor - Dismantle and evaluate compressor and components - Carry out overhaul - Assemble compressor and components - Complete work processes |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |
| - Observe & maintain safe working environment |  |  |
| - Select tools, equipment and related accessories according to requirements and standards. |  |  |
| - Determine job requirements from workplace instructions |  |  |
| - Control and interpret refrigerant gases during installation, servicing or de-commissioning of air conditioners source |  |  |
| - Analyze dismantling options and select most appropriate to the circumstances |  |  |
| - Dismantle compressor in a logical sequence according to manufacturer, workplace procedures, safety & environmental requirements and without affecting unnecessary damage to components or systems |  |  |
| - Clean components for evaluation according to workplace procedures, safety and environmental requirements |  |  |
| - Measure and Compare components with manufacturer specifications and serviceability is determine |  |  |
| - Identify unserviceable parts and replacement parts sourced |  |  |
| - Analyze overhaul options and select those most appropriate to the circumstances |  |  |
| - Machine the components repair / replace as required |  |  |
| - Assemble compressor according to specifications, workplace procedures & environmental requirements |  |  |
| - Measure tolerance and clearances against specifications and make necessary adjustments |  |  |
| - Complete assembly of compressor within workplace timeframes and without causing damage to other components or systems |  |  |
| - Carryout post-assembly testing according to workplace procedures & environmental requirements |  |  |
| - Detect and rectify problem(s) as have been introduced during the assembly process |  |  |
| - Ensure final inspection to make work according to workplace expectations and ready compressor for use or storage |  |  |
| - Clean work area, dispose of waste and non-recyclable materials and collect recyclable material Check and store tools and equipment or identify any faulty electrical equipment tagged and isolated according to workplace procedures |  |  |

Candidate’s Signature___________________    Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0715M&MT21 – Overhaul the Compressors 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | - Prepare to dismantle compressor - Dismantle and evaluate compressor and components - Carry out overhaul - Assemble compressor and components - Complete work processes |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  | Yes | No | Remarks |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |  |  |  |
| - Observe & maintain safe working environment |  |  |  |  |  |
| - Select tools, equipment and related accessories according to requirements and standards. |  |  |  |  |  |
| - Determine job requirements from workplace instructions |  |  |  |  |  |
| - Control and interpret refrigerant gases during installation, servicing or de-commissioning of air conditioners source |  |  |  |  |  |
| - Analyze dismantling options and select most appropriate to the circumstances |  |  |  |  |  |
| - Dismantle compressor in a logical sequence according to manufacturer, workplace procedures, safety & environmental requirements and without affecting unnecessary damage to components or systems |  |  |  |  |  |
| - Clean components for evaluation according to workplace procedures, safety and environmental requirements |  |  |  |  |  |
| - Measure and Compare components with manufacturer specifications and serviceability is determine |  |  |  |  |  |
| - Identify unserviceable parts and replacement parts sourced |  |  |  |  |  |
| - Analyze overhaul options and select those most appropriate to the circumstances |  |  |  |  |  |
| - Machine the components repair / replace as required |  |  |  |  |  |
| - Assemble compressor according to specifications, workplace procedures & environmental requirements |  |  |  |  |  |
| - Measure tolerance and clearances against specifications and make necessary adjustments |  |  |  |  |  |
| - Complete assembly of compressor within workplace timeframes and without causing damage to other components or systems |  |  |  |  |  |
| - Carryout post-assembly testing according to workplace procedures & environmental requirements |  |  |  |  |  |
| - Detect and rectify problem(s) as have been introduced during the assembly process |  |  |  |  |  |
| - Ensure final inspection to make work according to workplace expectations and ready compressor for use or storage |  |  |  |  |  |
| - Clean work area, dispose of waste and non-recyclable materials and collect recyclable material Check and store tools and equipment or identify any faulty electrical equipment tagged and isolated according to workplace procedures |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0715M&MT21 – Overhaul the Compressors 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Enlist 5 Personal Protective Equipment`s (PPE`s). |  |  |
|  | Enlist the operations of split air conditioners? |  |  |
|  | Enlist the types of Motors used in Residential Air conditioners compressors? |  |  |
|  | Enlist the components of electrical circuit diagrams of outdoor unit? |  |  |
|  | Enlist the types of Lubricants and their properties? |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________