Instruction Sheet for the Candidate

| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0715M&MT23 – Test, Recover, evacuate and charge refrigeration system 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Purpose of Assessment | Formative / Devlopmental Assessment |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame 2Hrs. (for practical demonstration & assessment): - Assess refrigeration system operation - Recover refrigerant and evacuate system - Charge the refrigeration system |
| Time: 2Hrs | During a practical assessment, under observation by an assessor, you are required to - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place - Observe & maintain safe working environment - Apply refrigeration system operating principles and terminology to assessment activities. - Obtain all relevant information and interpret correctly prior to the commencement of work on the refrigeration system. - Undertake refrigeration system checks safely in accordance with standard operating procedures, relevant codes and regulations. - Apply appropriate operating procedures as required. - Determine pressures and temperatures correctly and recorded. - Rectify faults - Recover the refrigerant from the system in accordance with standard operating procedures, codes and regulations. - Contain the refrigerant recovered from the refrigeration system in accordance with the relevant codes and regulations of ASHRAE. - Evacuate the refrigeration system in accordance with standard operating procedures, codes and regulations - Charge the refrigeration system with the correct refrigerant in accordance with standard operating procedures. - Add the appropriate lubricating oil to the refrigeration system in accordance with standard operating procedures. - Check the refrigeration system for leaks |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| Competency Standards | 0715M&MT23 – Test, Recover, evacuate and charge refrigeration system |
|  | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System |
|  | 1022OHS02 - Maintain safe work environment |
| Assessment Task | - Assess refrigeration system operation - Recover refrigerant and evacuate system - Charge the refrigeration system |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |
| - Observe & maintain safe working environment |  |  |
| - Apply refrigeration system operating principles and terminology to assessment activities. |  |  |
| - Obtain all relevant information and interpret correctly prior to the commencement of work on the refrigeration system. |  |  |
| - Undertake refrigeration system checks safely in accordance with standard operating procedures, relevant codes and regulations. |  |  |
| - Apply appropriate operating procedures as required. |  |  |
| - Determine pressures and temperatures correctly and recorded. |  |  |
| - Rectify faults |  |  |
| - Recover the refrigerant from the system in accordance with standard operating procedures, codes and regulations. |  |  |
| - Contain the refrigerant recovered from the refrigeration system in accordance with the relevant codes and regulations of ASHRAE. |  |  |
| - Evacuate the refrigeration system in accordance with standard operating procedures, codes and regulations |  |  |
| - Charge the refrigeration system with the correct refrigerant in accordance with standard operating procedures. |  |  |
| - Add the appropriate lubricating oil to the refrigeration system in accordance with standard operating procedures. |  |  |
| - Check the refrigeration system for leaks |  |  |

Candidate’s Signature___________________      Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0715M&MT23 – Test, Recover, evacuate and charge refrigeration system 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | - Assess refrigeration system operation - Recover refrigerant and evacuate system - Charge the refrigeration system |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  | Yes | No | Remarks |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |  |  |  |
| - Observe & maintain safe working environment |  |  |  |  |  |
| - Apply refrigeration system operating principles and terminology to assessment activities. |  |  |  |  |  |
| - Obtain all relevant information and interpret correctly prior to the commencement of work on the refrigeration system. |  |  |  |  |  |
| - Undertake refrigeration system checks safely in accordance with standard operating procedures, relevant codes and regulations. |  |  |  |  |  |
| - Apply appropriate operating procedures as required. |  |  |  |  |  |
| - Determine pressures and temperatures correctly and recorded. |  |  |  |  |  |
| - Rectify faults |  |  |  |  |  |
| - Recover the refrigerant from the system in accordance with standard operating procedures, codes and regulations. |  |  |  |  |  |
| - Contain the refrigerant recovered from the refrigeration system in accordance with the relevant codes and regulations of ASHRAE. |  |  |  |  |  |
| - Evacuate the refrigeration system in accordance with standard operating procedures, codes and regulations |  |  |  |  |  |
| - Charge the refrigeration system with the correct refrigerant in accordance with standard operating procedures. |  |  |  |  |  |
| - Add the appropriate lubricating oil to the refrigeration system in accordance with standard operating procedures. |  |  |  |  |  |
| - Check the refrigeration system for leaks |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0715M&MT23 – Test, Recover, evacuate and charge refrigeration system 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Enlist 5 Personal Protective Equipment`s (PPE`s). |  |  |
|  | Define the recovery of refrigerant from HVACR equipment. |  |  |
|  | Define the leak testing process. |  |  |
|  | Define the leaks repair process in condenser area. |  |  |
|  | Describe evacuate (Vacuum) process. |  |  |
|  | Describe the purging and charging of refrigerant in HVACR system. |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________