Instruction Sheet for the Candidate

| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0715M&MT22 – Repair & Service Residential Refrigeration Units 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Purpose of Assessment | Formative / Devlopmental Assessment |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame 5Hrs. (for practical demonstration & assessment): - Diagnose Faults in Residential Refrigeration Units - Repair Window / Split Air Conditioner - Repair / Service Residential Electric Water Cooler / Water Dispenser |
| Time: 5Hrs | During a practical assessment, under observation by an assessor, you are required to - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place - Observe & maintain safe working environment - Check for obvious problem to determine which component or system is causing the problem - Select tools, equipment and related accessories according to requirements and standards - Check power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem by using AVO Meter / Gauge manifold as recommended by manufacturer and record the results - Eliminate the causes of the problem according to the manufacturer manual and standards - Isolate and recheck the causes of the problem and rectify the fault - Start the refrigeration unit and recheck as specified in the manufacturer manual and record the results - Disconnect the refrigeration unit from electric supply and follow the procedure for rectification - Rectify the diagnosed faults; repair / replace the components, as necessary - Check, wash and restore to the actual condition of refrigeration units - Check, service, and replace if necessary, the proper functioning of Thermostat / Gasket / Heaters - Disconnect the water cooler / dispenser from electric supply and follow the manual instructions for rectification - Switch on the Refrigeration unit to check the performance of electrical/ electronic and mechanical components as specified in the manufacturer manual and record the results |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| Competency Standards | 0715M&MT22 – Repair & Service Residential Refrigeration Units |
|  | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System |
|  | 1022OHS02 - Maintain safe work environment |
| Assessment Task | 1. Diagnose Faults in Residential Refrigeration Units 2. Repair Window / Split Air Conditioner 3. Repair / Service Residential Electric Water Cooler / Water Dispenser |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |
| - Observe & maintain safe working environment |  |  |
| - Check for obvious problem to determine which component or system is causing the problem |  |  |
| - Select tools, equipment and related accessories according to requirements and standards |  |  |
| - Check power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem by using AVO Meter / Gauge manifold as recommended by manufacturer and record the results |  |  |
| - Eliminate the causes of the problem according to the manufacturer manual and standards |  |  |
| - Isolate and recheck the causes of the problem and rectify the fault |  |  |
| - Start the refrigeration unit and recheck as specified in the manufacturer manual and record the results |  |  |
| - Disconnect the refrigeration unit from electric supply and follow the procedure for rectification |  |  |
| - Rectify the diagnosed faults; repair / replace the components, as necessary |  |  |
| - Check, wash and restore to the actual condition of refrigeration units |  |  |
| - Check, service, and replace if necessary, the proper functioning of Thermostat / Gasket / Heaters |  |  |
| - Disconnect the water cooler / dispenser from electric supply and follow the manual instructions for rectification |  |  |
| - Switch on the Refrigeration unit to check the performance of electrical/ electronic and mechanical components as specified in the manufacturer manual and record the results |  |  |

Candidate’s Signature___________________    Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0715M&MT22 – Repair & Service Residential Refrigeration Units 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | 1. Diagnose Faults in Residential Refrigeration Units 2. Repair Window / Split Air Conditioner 3. Repair / Service Residential Electric Water Cooler / Water Dispenser |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  | Yes | No | Remarks |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |  |  |  |
| - Observe & maintain safe working environment |  |  |  |  |  |
| - Check for obvious problem to determine which component or system is causing the problem |  |  |  |  |  |
| - Select tools, equipment and related accessories according to requirements and standards |  |  |  |  |  |
| - Check power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem by using AVO Meter / Gauge manifold as recommended by manufacturer and record the results |  |  |  |  |  |
| - Eliminate the causes of the problem according to the manufacturer manual and standards |  |  |  |  |  |
| - Isolate and recheck the causes of the problem and rectify the fault |  |  |  |  |  |
| - Start the refrigeration unit and recheck as specified in the manufacturer manual and record the results |  |  |  |  |  |
| - Disconnect the refrigeration unit from electric supply and follow the procedure for rectification |  |  |  |  |  |
| - Rectify the diagnosed faults; repair / replace the components, as necessary |  |  |  |  |  |
| - Check, wash and restore to the actual condition of refrigeration units |  |  |  |  |  |
| - Check, service, and replace if necessary, the proper functioning of Thermostat / Gasket / Heaters |  |  |  |  |  |
| - Disconnect the water cooler / dispenser from electric supply and follow the manual instructions for rectification |  |  |  |  |  |
| - Switch on the Refrigeration unit to check the performance of electrical/ electronic and mechanical components as specified in the manufacturer manual and record the results |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocation Certificate Level 03 Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0715M&MT22 – Repair & Service Residential Refrigeration Units 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Enlist 5 Personal Protective Equipment`s (PPE`s). |  |  |
|  | Define the methods of Copper Tube cutting / Bending /Swaging / Flaring / Brazing / Jointing / fixing? |  |  |
|  | Define the procedure of replacing PCB Card? |  |  |
|  | Define methods of Pressurizing/ Evacuation / Purging / Refrigerant charging |  |  |
|  | Describe Types of Insulation and their applications? |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________