Instruction Sheet for the Candidate

| Qualification | National Vocation Certificate Level 02 Assistant Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0713E&E01 - Make PVC Cable Joints and Construct Electrical Test Box 1022OHS01 - Apply Occupational Health and Safety on HVAC Systems 1022OHS02 - Maintain Safe Work Environment |
| Purpose of Assessment | Formative / Developmental Assessment |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame 5Hrs. (for practical demonstration & assessment): - Recognize occupational health and safety on HVAC systems - Apply safety in on-job Make PVC Cable Joints and Construct Electrical Test Box - Arrange Tools/Material for Job - Make different types of joints - Construct an electrical Test Box |
| Time: 5Hrs. | During a practical assessment, under observation by an assessor, you are required to 1. Identify & report OHS Hazards expected to be occurred during operation and maintenance at workplace 2. Observe and maintain safe working environment 3. Identify & collect tools and material as per job. 4. Prepare workplace for the job/task 5. Prepare layouts/drawing for job/task 6. Arrange backup resources for lighting, power and safety purposes as per job requirement 7. Remove and Clean the insulation from conductors 8. Twist and over lay the conductors 9. Make simple twist joint of PVC cable No.1/0.044 10. Make married joint of PVC cable No 7/0.036 or 7/0.029 11. Make pigtail joint of PVC Cable No 1/0.044. 12. Make "tee" joint of PVC Cable No 7/0.036 or 7/.029 13. Splice the conductors smoothly & properly 14. Solder the splice in a way so that there is no space remaining between splice conductors. 15. Insulate (Taping) the splice. 16. Prepare the lay-out/circuit diagram for making test board 17. Install series-parallel circuit on test board by using two pin socket, lamp holder & single way switch 18. Install AVO-Meter on test board to check the voltage, current and resistance of the circuit. 19. Make test lamp (Single phase, three phase) for checking the presence of electricity 20. Make a continuity tester to check the different kind of series-Parallel circuits. |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocation Certificate Level 02 Assistant Technician in HVACR Technology |
| Competency Standards | 0713E&E01 - Make PVC Cable Joints and Construct Electrical Test Box |
|  | 1022OHS01 - Apply Occupational Health and Safety on HVAC Systems |
|  | 1022OHS02 - Maintain Safe Work Environment |
| Assessment Task | - Recognize occupational health and safety on HVAC systems - Apply safety in on-job Make PVC Cable Joints and Construct Electrical Test Box - Arrange Tools/Material for Job - Make different types of joints - Construct an electrical Test Box |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify & report OHS Hazards expected to be occurred during operation and maintenance at workplace |  |  |
| - Observe and maintain safe working environment |  |  |
| - Identify & Collect tools and material as per job. |  |  |
| - Prepare workplace for the job/task. |  |  |
| - Prepare Layouts/Drawing for job/task |  |  |
| - Arrange backup resources for lighting, power and safety purposes as per job requirement |  |  |
| - Remove and Clean the insulation from conductors |  |  |
| - Twist and over lay the conductors |  |  |
| - Make simple twist joint of PVC cable No.1/0.044 |  |  |
| - Make married joint of PVC cable No 7/0.036 or 7/0.029 |  |  |
| - Make pigtail joint of PVC Cable No 1/0.044. |  |  |
| - Make "tee" joint of PVC Cable No 7/0.036 or 7/.029 |  |  |
| - Splice the conductors smoothly & properly |  |  |
| - Solder the splice in a way so that there is no space remaining between splice conductors. |  |  |
| - Insulate (Taping) the splice. |  |  |
| - Prepare the lay-out/circuit diagram for making test board |  |  |
| - Install series-parallel circuit on test board by using two pin socket, lamp holder & single way switch. |  |  |
| - Install AVO-Meter on test board to check the voltage, current and resistance of the circuit. |  |  |
| - Make test lamp (Single phase, three phase) for checking the presence of electricity |  |  |
| - Make a continuity tester to check the different kind of series-Parallel circuits. |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | National Vocation Certificate Level 02 Assistant Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0713E&E01 - Make PVC Cable Joints and Construct Electrical Test Box 1022OHS01 - Apply Occupational Health and Safety on HVAC Systems 1022OHS02 - Maintain Safe Work Environment |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Recognize occupational health and safety on HVAC systems - Apply safety in on-job Make PVC Cable Joints and Construct Electrical Test Box - Arrange Tools/Material for Job - Make different types of joints - Construct an electrical Test Box |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify & report OHS Hazards expected to be occurred during operation and maintenance at workplace |  |  |  |  |  |
|  | Observe and maintain safe working environment |  |  |  |  |  |
|  | Identify & Collect tools and material as per job. |  |  |  |  |  |
|  | Prepare workplace for the job/task. |  |  |  |  |  |
|  | Prepare Layouts/Drawing for job/task |  |  |  |  |  |
|  | Arrange backup resources for lighting, power and safety purposes as per job requirement |  |  |  |  |  |
|  | Remove and Clean the insulation from conductors |  |  |  |  |  |
|  | Twist and over lay the conductors |  |  |  |  |  |
|  | Make simple twist joint of PVC cable No.1/0.044 |  |  |  |  |  |
|  | Make married joint of PVC cable No 7/0.036 or 7/0.029 |  |  |  |  |  |
|  | Make pigtail joint of PVC Cable No 1/0.044. |  |  |  |  |  |
|  | Make "tee" joint of PVC Cable No 7/0.036 or 7/.029 |  |  |  |  |  |
|  | Splice the conductors smoothly & properly |  |  |  |  |  |
|  | Solder the splice in a way so that there is no space remaining between splice conductors. |  |  |  |  |  |
|  | Insulate (Taping) the splice. |  |  |  |  |  |
|  | Prepare the lay-out/circuit diagram for making test board |  |  |  |  |  |
|  | Install series-parallel circuit on test board by using two pin socket, lamp holder & single way switch. |  |  |  |  |  |
|  | Install AVO-Meter on test board to check the voltage, current and resistance of the circuit. |  |  |  |  |  |
|  | Make test lamp (Single phase, three phase) for checking the presence of electricity |  |  |  |  |  |
|  | Make a continuity tester to check the different kind of series-Parallel circuits. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Heating Ventilation Air-conditioning and Refrigeration (HVACR) Level I |
| --- | --- |
| Competency Standard(s) | 0713E&E01 - Make PVC Cable Joints and Construct Electrical Test Box 1022OHS01 - Apply Occupational Health and Safety on HVAC Systems 1022OHS02 - Maintain Safe Work Environment |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Enlist any 5 PPE? |  |  |
|  | Enlist the lock out and tag out process about Health and safety standards according to workplace and OSH law? |  |  |
|  | Make Twist, married, pigtail, and tee joint of PVC Cable No 7/0.036 or 7/.029? |  |  |
|  | Enlist tools and material as per job standards. |  |  |
|  | Sketch out series-parallel circuit, on test board by using two pin socket, lamp holder and single way switch? |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________