Instruction Sheet for the Candidate

| Qualification | National Vocation Certificate Level 02 Assistant Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0713E&E05 – Evaluate Transformer & Verify Kirchhoff's Law 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Purpose of Assessment | Formative / Devlopmental Assessment |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame 2Hrs. (for practical demonstration & assessment): - Arrange Tools/Material for Job - Evaluate the transformer - Control circuit of transformer - Verify Kirchhoff’s Law |
| Time: 2Hrs | During a practical assessment, under observation by an assessor, you are required to - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place - Observe & maintain safe working environment - Identify & Collect tools and material as per job. - Prepare workplace for the job/task. - Prepare Layouts/circuit diagrams for job/task - Arrange backup resources for lighting, power and safety purposes as per job requirement - Check resistance of transformer with an ohm meter. - Check transformer primary and secondary voltage using voltmeter. - Verify current and voltage transformation ratios of transformer. - Connect a step-down transformer to a relay contactor - Check a relay contactor with voltmeter. - Check a relay contactor with ohm meter. - Control two loads using switching relay into the circuit. - Draw a series-parallel circuit using resistors - Install voltmeters in the circuit. - Install ampere meters in the circuits at total input and individually with all the circuit resistors. - Connect circuit to the power source - Get readings of all meters and verify the Kirchhoff’s Law. - Verify that sum of all voltage drop in the circuit is equal to the total input voltage. - Verify that sum of all currents is equal to zero. |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocation Certificate Level 02 Assistant Technician in HVACR Technology |
| Competency Standards | 0713E&E05 – Evaluate Transformer & Verify Kirchhoff's Law |
|  | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System |
|  | 1022OHS02 - Maintain safe work environment |
| Assessment Task | - Arrange Tools/Material for Job - Evaluate the transformer - Control circuit of transformer - Verify Kirchhoff’s Law |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |
| - Observe & maintain safe working environment |  |  |
| - Identify & Collect tools and material as per job. |  |  |
| - Prepare workplace for the job/task. |  |  |
| - Prepare Layouts/circuit diagrams for job/task |  |  |
| - Arrange backup resources for lighting, power and safety purposes as per job requirement |  |  |
| - Check resistance of transformer with an ohm meter. |  |  |
| - Check transformer primary and secondary voltage using voltmeter. |  |  |
| - Verify current and voltage transformation ratios of transformer. |  |  |
| - Connect a step-down transformer to a relay contactor |  |  |
| - Check a relay contactor with voltmeter. |  |  |
| - Check a relay contactor with ohm meter. |  |  |
| - Control two loads using switching relay into the circuit. |  |  |
| - Draw a series-parallel circuit using resistors |  |  |
| - Install voltmeters in the circuit. |  |  |
| - Install ampere meters in the circuits at total input and individually with all the circuit resistors. |  |  |
| - Connect circuit to the power source |  |  |
| - Get readings of all meters and verify the Kirchhoff’s Law. |  |  |
| - Verify that sum of all voltage drop in the circuit is equal to the total input voltage. |  |  |
| - Verify that sum of all currents is equal to zero. |  |  |

Candidate’s Signature___________________       Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | National Vocation Certificate Level 02 Assistant Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0713E&E05 – Evaluate Transformer & Verify Kirchhoff's Law 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | - 1. Arrange Tools/Material for Job - Evaluate the transformer - Control circuit of transformer - Verify Kirchhoff’s Law |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |  |  |  |  |
| - Observe & maintain safe working environment |  |  |  |  |  |  |
| - Identify & Collect tools and material as per job. |  |  |  |  |  |  |
| - Prepare workplace for the job/task. |  |  |  |  |  |  |
| - Prepare Layouts/circuit diagrams for job/task |  |  |  |  |  |  |
| - Arrange backup resources for lighting, power and safety purposes as per job requirement |  |  |  |  |  |  |
| - Check resistance of transformer with an ohm meter. |  |  |  |  |  |  |
| - Check transformer primary and secondary voltage using voltmeter. |  |  |  |  |  |  |
| - Verify current and voltage transformation ratios of transformer. |  |  |  |  |  |  |
| - Connect a step-down transformer to a relay contactor |  |  |  |  |  |  |
| - Check a relay contactor with voltmeter. |  |  |  |  |  |  |
| - Check a relay contactor with ohm meter. |  |  |  |  |  |  |
| - Control two loads using switching relay into the circuit. |  |  |  |  |  |  |
| - Draw a series-parallel circuit using resistors |  |  |  |  |  |  |
| - Install voltmeters in the circuit. |  |  |  |  |  |  |
| - Install ampere meters in the circuits at total input and individually with all the circuit resistors. |  |  |  |  |  |  |
| - Connect circuit to the power source |  |  |  |  |  |  |
| - Get readings of all meters and verify the Kirchhoff’s Law. |  |  |  |  |  |  |
| - Verify that sum of all voltage drop in the circuit is equal to the total input voltage. |  |  |  |  |  |  |
| - Verify that sum of all currents is equal to zero. |  |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocation Certificate Level 02 Assistant Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0713E&E05 – Evaluate Transformer & Verify Kirchhoff's Law 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application. Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Enlist 5 Personal Protective Equipment`s (PPE`s). |  |  |
|  | Explain working principle of transformer? |  |  |
|  | Calculate current & volts of primary and secondary windings? |  |  |
|  | Verify the Kirchhoff’s Law? |  |  |
|  | Explain the measuring procedure of input & output at primary and secondary windings? |  |  |
|  | Explain the procedure of connecting of power source with transformer? |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________