Instruction Sheet for the Candidate

| Qualification | National Vocation Certificate Level 02 Assistant Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0715M&MT05 – Perform Sheet metal Process 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Purpose of Assessment | Formative / Devlopmental Assessment |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame 5Hrs. (for practical demonstration & assessment): - Plan and prepare for work - Lay out rectangular duct on sheet metal - Fabricate sheet metal - Complete the work |
| Time: 5Hrs | During a practical assessment, under observation by an assessor, you are required to - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place - Observe & maintain safe working environment - Identify work requirements - Identify tools and material required in accordance with work plan - Plan appropriate sequence of procedural steps to complete the work - Prepare work area in accordance with work requirements - Select appropriate material in accordance with work plan - Establish datum points to ensure efficient use of material in accordance with the work plan - Lay out and develop the sheet metal in accordance with the work plan - Check the layout to ensure the work specification - Mark the metal sheet according to required sizes - Cut the metal sheet according to required sizes - Bend the metal sheet according to required sizes - Fold the edges for double hemmed edge seam joint - Join the edges of sheet in the shape of double hammed edge seam joint. - Complete the work in accordance with work requirements - Clean and clear the work area. |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocation Certificate Level 02 Assistant Technician in HVACR Technology |
| Competency Standards | 0715M&MT05 – Perform Sheet metal Process |
|  | 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System |
|  | 1022OHS02 - Maintain safe work environment |
| Assessment Task | - Plan and prepare for work - Lay out rectangular duct on sheet metal - Fabricate sheet metal - Complete the work |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |
| - Observe & maintain safe working environment |  |  |
| - Identify work requirements |  |  |
| - Identify tools and material required in accordance with work plan |  |  |
| - Plan appropriate sequence of procedural steps to complete the work |  |  |
| - Prepare work area in accordance with work requirements |  |  |
| - Select appropriate material in accordance with work plan |  |  |
| - Establish datum points to ensure efficient use of material in accordance with the work plan |  |  |
| - Lay out and develop the sheet metal in accordance with the work plan |  |  |
| - Check the layout to ensure the work specification |  |  |
| - Mark the metal sheet according to required sizes |  |  |
| - Cut the metal sheet according to required sizes |  |  |
| - Bend the metal sheet according to required sizes |  |  |
| - Fold the edges for double hemmed edge seam joint |  |  |
| - Join the edges of sheet in the shape of double hammed edge seam joint |  |  |
| - Complete the work in accordance with work requirements |  |  |
| - Clean and clear the work area |  |  |

Candidate’s Signature___________________   Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | National Vocation Certificate Level 02 Assistant Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0715M&MT05 – Perform Sheet metal Process 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:______________________________________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task | 1. Plan and prepare for work 2. Lay out rectangular duct on sheet metal 3. Fabricate sheet metal 4. Complete the work |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
| - Identify & Report OHS Hazards expected to be occurred during operation & maintenance at work place |  |  |  |  |  |  |
| - Observe & maintain safe working environment |  |  |  |  |  |  |
| - Identify work requirements |  |  |  |  |  |  |
| - Identify tools and material required in accordance with work plan |  |  |  |  |  |  |
| - Plan appropriate sequence of procedural steps to complete the work |  |  |  |  |  |  |
| - Prepare work area in accordance with work requirements |  |  |  |  |  |  |
| - Select appropriate material in accordance with work plan |  |  |  |  |  |  |
| - Establish datum points to ensure efficient use of material in accordance with the work plan |  |  |  |  |  |  |
| - Lay out and develop the sheet metal in accordance with the work plan |  |  |  |  |  |  |
| - Check the layout to ensure the work specification |  |  |  |  |  |  |
| - Mark the metal sheet according to required sizes |  |  |  |  |  |  |
| - Cut the metal sheet according to required sizes |  |  |  |  |  |  |
| - Bend the metal sheet according to required sizes |  |  |  |  |  |  |
| - Fold the edges for double hemmed edge seam joint |  |  |  |  |  |  |
| - Join the edges of sheet in the shape of double hammed edge seam joint |  |  |  |  |  |  |
| - Complete the work in accordance with work requirements |  |  |  |  |  |  |
| - Clean and clear the work area |  |  |  |  |  |  |
| Competent |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocation Certificate Level 02 Assistant Technician in HVACR Technology |
| --- | --- |
| Competency Standard(s) | 0715M&MT05 – Perform Sheet metal Process 1022OHS01 - Apply Occupational Health and Safety (OHS) in HVAC System 1022OHS02 - Maintain safe work environment |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Enlist 5 Personal Protective Equipment`s (PPE`s). |  |  |
|  | Enlist the types of ductwork and fittings? |  |  |
|  | Enlist the different types of connections? |  |  |
|  | Enlist the measuring and hand tools? |  |  |
|  | What is Tin snips left, right and straight? |  |  |
|  | Enlist the marking and lay out tools? |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________