| DACUM Panel Arshad Iqbal Lecturer GCT Peshawar Zahid Razzaq HOD, Mechanical SOS children Village Eng. Syed Umar Bukhari Lab Engineer HVACR, KFUEIT Rahim Yar Khan Eng. Muzammil Idrees Service Manager HVACR Bestway Engineering Multan Syed Shahzeb Iftikhar Instructor GIST Sialkot Hafiz M. Saqib Assistant Manager Dynamic Tooling Service Umair Bin Zahid Instructor GCT Rawalpindi Ahmad Wesal Asst XEN Tarbela Dam Wapda DACUM Facilitator Engr Inayat Ur Rahman Islamabad NAVTTC Conveners Muhammad Ishaq Deputy Director NAVTTC HQ Islamabad Muhammad Asim Deputy Director NAVTTC HQ Islamabad | Occupational Profile Chart Of “HVACR Technician (Industrial)” Level-4 |
| --- | --- |
|  | Date August, 2025 |
|  | NAVTTC HQ, Islamabad, Pakistan |
|  | National Vocational & Technical Training Commission |

| DUTIES and TASKS |  |  |  |  |
| --- | --- | --- | --- | --- |
| HVAC Technician (Industrial) Level-4 |  |  |  |  |
| A: Operate Tools, Instruments and Equipment |  |  |  |  |
| Operate hand and power tools | Operate electrical measuring instruments | Operate pressure gauges and manifolds | Operate vacuum pumps and recovery units | Calibrate instruments |
| B: Install Industrial HVACR Systems |  |  |  |  |
| Interpret installation drawings and specifications | Assemble HVACR components | Install ducting systems | Install HVACR piping | Connect electrical wiring and controls |
| C: Maintain and Service HVACR Systems |  |  |  |  |
| Perform routine inspection of systems | Clean and replace air filters | Service HVACR units | Lubricate moving parts | Test safety and control devices |
| D: Diagnose and Repair Faults |  |  |  |  |
| Identify refrigeration system faults | Repair electrical faults | Rectify air distribution issues | Replace defective compressors | Repair leaks in HVACR system |
| Restore system after repair |  |  |  |  |
| E: Commission HVACR Systems |  |  |  |  |
| Perform pre-commissioning checks | Perform Visual and Mechanical Inspection | Adjust control systems | Conduct performance test | Handover system to client |
| F: Comply Safety, and Documentation |  |  |  |  |
| Follow occupational health and safety | Handle refrigerants safely | Maintain service records | Comply with industry codes | Participate in workplace audits |
| G: Perform System Testing and Troubleshooting |  |  |  |  |
| Conduct pressure test | Perform vacuum and dehydration of system | Conduct electrical system tests | Test airflow and duct integrity | Verify system efficiency |
| H: Install and Maintain Chillers and Cooling Towers |  |  |  |  |
| Install chiller systems | Install cooling tower | Service chiller units | Service cooling towers | Test water quality in cooling tower |
| Repair defective chiller components |  |  |  |  |
| I: Work on Heating Systems |  |  |  |  |
| Install heaters for chiller system | Maintain water heater | Service heat exchanger | Test reverse cycle heating system | Repair defective heating equipment |
| J: Install and Service Ventilation Systems |  |  |  |  |
| Install fans and blowers | Service air handling units (AHU) | Clean duct work systems | Install exhaust systems | Repair defective ventilation components |
| K: Manage Refrigerants and Environmental Practices |  |  |  |  |
| Recover refrigerants | Perform Recycling of refrigerant | Dispose refrigerants safely | Perform Green- house practices |  |
| L: Supervise and Train Junior Technicians |  |  |  |  |
| Assign daily tasks | Monitor performance of juniors | Provide on-the-job training | Maintain discipline at worksite | Report team performance to supervisors |
| M: Manage Spare Parts and Inventory Overview |  |  |  |  |
| Identify spare part requirements | Maintain spare parts inventory | Issue spare parts | Receive spare parts | Dispose obsolete parts |
| N: Apply Quality Assurance Practices |  |  |  |  |
| Follow quality procedures | Conduct internal inspections | Verify system performance | Participate in external audits | Implement continuous improvement |
| O: Apply Workplace Communication and Reporting |  |  |  |  |
| Communicate with clients | Prepare technical reports | Implement digital communication tools | Coordinate with team members | Report emergencies and incidents |