National Competency Standards Level-4 for

HVACR Technician (Industrial)

National Vocational and Technical Training Commission (NAVTTC),

Government of Pakistan

FOREWORDS

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Diploma Qualification for HVACR Technician (Industrial) Level 4. This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the experts of Industry, Academia and TVET experts of TEVTAs, BTEs and PVTC work diligently for making this qualification worthy and error free for which all credit goes to them. However, NAVTTC accepts the responsibility of all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards needs periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director   (NAVTTC)

Table of Contents

1.	Introduction	4

1.1. Date of development:	4

1.2. Date of review & validation:	4

1.3. Entry requirement:	4

2.	Code of Qualification	4

3.	Summary Of Competency Standards	5

4.	Detail of Competency Standarsd	6

0713A&R41	Operate Tools, Instruments, and Equipment	6

0713A&R42	Install Industrial HVACR Systems	7

0713A&R43	Maintain and Service HVACR Systems	10

0713A&R44	Diagnose and Repair Faults	12

0713A&R45	Commission HVACR Systems	14

0713A&R46	Comply Safety, and Documentation	15

0713A&R47	Perform System Testing and Troubleshooting	17

0713A&R48	Install and Maintain Chillers and Cooling Tower	19

0713A&R49	Work on Heating Systems	21

0713A&R410	Install and Service Ventilation Systems	23

0713A&R411	Manage Refrigerants and Environmental Practices	25

0713A&R412	Supervise and Train Junior Technicians	27

0713A&R413	Manage Spare Parts and Inventory Overview 	29

0713A&R414	Apply Quality Assurance Practices: -	30

0713A&R415	Apply Workplace Communication and Reporting	32

5.	List of Tools and Equipment	35

6.	Consumable Materials List (For 25 Students)	35

7.	Members of Qualification Development	36

# Introduction

HVACR is an acronym for Heating, Ventilation, Air Conditioning, and Refrigeration. It refers to the integrated systems and technologies used in residential, commercial, and industrial settings to control indoor temperature, humidity, and air quality for comfort, safety, and the preservation of perishables. The addition of "R" for refrigeration signifies the systems' capacity to handle applications beyond simple heating and cooling, such as commercial freezers and cold storage units in Industries.

| ## 1.1. Date of development: | August, 2025 |
| --- | --- |
| ## 1.2. Date of review & validation: |  |
| ## 1.3. Entry requirement: | The entry requirement for National Diploma Certificate in HVACR Technician (Industrial) Level-4 is a Person having Level-3 Certificate of HVACR Technician (Commercial) |

# Code of Qualification

The International Standard Classification of Education (ISCED) is a framework for assembling, compiling and analyzing cross-nationally comparable statistics on education and training. ISCED codes for these qualifications are assigned as follows:

| Code | Qualification Title |
| --- | --- |
| 0713A&R2 | National Vocational Certificate Level-2 in HVACR Technician Domestic |
| 0713A&R3 | National Vocational Certificate Level-3 in HVACR Technician Commercial |
| 0713A&R4 | National Diploma Certificate Level-4 in HVACR Technician Industrial. |

# Summary Of Competency Standards

| Code | Competency Standards | Category | Comp. Level | Th | Pr | Total | Credit |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Operate Tools and Equipment | Technical | 3 | 5 | 48 | 53 | 3 |
|  | Install Industrial HVACR Systems | Technical | 4 | 10 | 60 | 70 | 4 |
|  | Maintain and Service HVACR Systems | Technical | 4 | 5 | 54 | 59 | 3 |
|  | Diagnose and Repair Faults | Technical | 4 | 5 | 54 | 59 | 3 |
|  | Commission HVACR Systems | Technical | 4 | 5 | 48 | 53 | 3 |
|  | Comply Safety, and Documentation | Generic | 3 | 5 | 45 | 50 | 3 |
|  | Perform System Testing and Troubleshooting | Technical | 4 | 5 | 54 | 59 | 3 |
|  | Install and Maintain Chillers and Cooling Towers | Technical | 4 | 5 | 54 | 59 | 3 |
|  | Work on Heating Systems | Technical | 4 | 5 | 54 | 59 | 3 |
|  | Install and Service Ventilation Systems | Technical | 4 | 5 | 54 | 59 | 3 |
|  | Manage Refrigerants and Environmental Practices | Technical | 4 | 5 | 45 | 50 | 3 |
|  | Supervise and Train Junior Technicians | Technical | 4 | 5 | 45 | 50 | 3 |
|  | Manage Spare Parts and Inventory Overview | Technical | 3 | 5 | 45 | 50 | 3 |
|  | Apply Quality Assurance Practices | Generic | 4 | 5 | 30 | 35 | 2 |
|  | Apply Workplace Communication and Reporting | Generic | 3 | 5 | 30 | 35 | 2 |
| On Job Training (OJT) |  |  |  | 0 | 240 | 240 | 6 |
| Total |  |  |  | 80 | 960 | 1040 | 50 |

# Detail of Competency Standards

## Operate Tools, Instruments, and Equipment

Overview: - This competency standard covers the skills and knowledge required to operate hand and power tools operate electrical measuring instruments, operate pressure gauges and manifolds, operate vacuum pumps and recovery units and calibrate instruments.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Operate hand and power tools | - Select Correct tools for the job. - Check Tools for safe condition. - Follow Proper techniques. - Clean Tools after use. - Store Tools properly |
| CU2. Operate electrical measuring instruments | - Calibrate Multimeters before use. - Take Readings safely. - Interpret Test results correctly. - Handle Instruments carefully. - Recorded Data clearly. |
| CU3. Operate pressure gauges and manifolds | - Connect Gauges correctly. - Take Readings at proper intervals. - Verify Gauge accuracy. - Store Gauges properly. - Document the Results. |
| CU4. Operate vacuum pumps and recovery units | - Set up Equipment as per procedure. - Check Connections for leaks. - Monitor Pumping for stability. - Clean Equipment after use. - Logg all the operations. |
| CU5. Calibrate instruments | - Follow Calibration schedules. - Adjust Instruments against standards. - Report Faulty instruments. - Updated Calibration stickers. - Maintain Records. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Types of tools and their specific uses.

- Identification of damage Tools

- Safety procedures of hand and power tools.

- Routine maintenance of cleaning tools.

- Techniques to store tools

- Importance of calibrating

- Safety procedures during electrical measurements.

- Techniques to take readings on multimeter.

- Safe handling and maintenance techniques of test instruments.

- Maintaining accurate records of measurement data.

- Procedures for connecting pressure gauges.

- Protocols to take readings at specified intervals.

- Verification and calibration check to ensure gauge accuracy.

- Handling and storage techniques to protect gauges.

- Equipment setup procedures

- Inspection Techniques to detect leakage.

- Stable and efficient pumping.

- Techniques of cleaning and maintenance of equipment.

- Introduction to calibration schedules.

- Instrument adjustments to meet calibration standards accurately.

- Identification of faulty instruments.

- Importance of calibration stickers

- Maintaining records of calibration activities

Critical Evidence(s)

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard

- To use hand and power tools safely.

- To operate instruments for accurate system diagnostics.

- To carry out pressure gauges, manifolds and vacuum pump operations.

- To make records of instrument calibration.

Tools & Equipment

  - Pipe cutters

  - Tube benders

  - Flaring and swaging tools

  - Wrenches and spanners

  - Screwdrivers and pliers

  - Drills and drill bits

  - Measuring tape and spirit level

  - Manifold gauge set

  - Vacuum pump

  - Refrigerant recovery unit

  - Leak detector

  - Multimeter

  - Ladders and scaffolding

  - Safety equipment (PPE)

- Install Industrial HVACR Systems

Overview: - This competency standard covers the skills and knowledge required to Interpret installation drawings and specifications, assemble HVACR components, install ducting systems, install refrigeration piping and connect electrical wiring and controls.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Interpret installation drawings and specifications | - Interpret Drawings, blueprints, layout and requirements. - Check Specifications against project scope and client needs. - Report Potential discrepancies to supervisors. - Identify Relevant tools and instruments before starting work. - Follow Work sequence according to site conditions. |
| CU2. Assemble HVACR components | - Assemble Components according to manufacturer’s guidelines. - Check Alignment and positioning before fastening. - Install Correct fittings and connectors. - Follow Safety procedures during assembly. - Complete Work within allotted timeframes. |
| CU3. Install ducting systems | - Interpret ducting drawings - Marke Duct layouts as per drawings. - Cut and joint Ducts without leaks. - fixe Supports and hangers securely. - Apply Insulation materials correctly. - Confirm final installation meets industry standards |
| CU4. Install HVACR Piping | - Plan Piping routes are as per system design. - Check Correct pipe sizes and materials. - Seal properly brazed Joints. - Test pressure Piping for leaks. - Comply safety codes during Installation. |
| CU5. Connect electrical wiring and controls | - Identify Power supply requirements. - Select Correct wire gauges and circuit protection. - Complete Control wiring properly. - Confirm Earthing and grounding. - Test Electrical connections for continuity. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Types of symbols on drawings.

- Introduction to scale and dimensions.

- Introduction to drawing views and layouts.

- Construction drawings standards.

- Introduction to HVACR components.

- Basic safety procedures during handling and assembly.

- Standard assembly steps and sequence of operations.

- Installation techniques of HVACR components.

- Effects of incorrect alignment, fastening and assembly

- Introduction to ducting.

- Importance of accuracy in layout.

- Ducting tools and equipment.

- Introduction to support and hangers.

- Installation techniques of ducting.

- Leak testing techniques for duct.

- Introduction to insulation and types.

- Insulation techniques of installation.

- Introduction to HVACR piping and fittings.

- Installation techniques for HVACR piping.

- Introduction to pipe joints and techniques.

- Leak testing techniques for piping.

- Introduction to wire and cables.

- Introduction to controls used in HVACR system.

- Technique for selection of wires and cables.

- Safety precautions during connections.

- Electrical Connection techniques.

- Importance of earthing and testing

Critical Evidence(s)

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard

- Interpret Drawings, blueprints, layout and requirements.

- Check Specifications against project scope and client needs

- Assemble Components according to manufacturer’s guidelines.

- Check Alignment and positioning before fastening.

- Install Correct fittings and connectors.

- Follow Safety procedures during assembly

- Cut and joint Ducts without leaks

- Seal and test brazed Joints properly for leak.

- Select Correct wire gauges and circuit protection

- Complete Control wiring and earthing properly

- Test Electrical connections for continuity

Tools & Equipment

  - Pipe cutters

  - Tube benders

  - Flaring and swaging tools

  - Wrenches and spanners

  - Screwdrivers and pliers

  - Drills and drill bits

  - Measuring tape and spirit level

  - Manifold gauge set

  - Vacuum pump

  - Refrigerant recovery unit

  - Leak detector

  - Multimeter

  - Ladders and scaffolding

  - Safety equipment (PPE)

## Maintain and Service HVACR Systems

Overview: - This competency standard covers the skills and knowledge required to Perform routine inspection of systems, Clean and replace air filters, Service refrigeration and cooling units, Lubricate moving parts, Test safety and control devices.

| Competency Unit | Performance Criteria |
| --- | --- |
| CU1 Perform routine inspection of systems | - Visual inspection covers all major components. - Filters, coils, and belts are checked for wear. - Abnormal sounds and vibrations are noted. - Inspection records are updated accurately. - Maintenance schedule is followed strictly. |
| CU2 Clean and replace air filters | - Clean or replace air filter without any damage. - Select correct type of filter - Check air flow after replacement. - Follow safety procedure as per SOP - Dispose old filters as per environmental guidelines. |
| CU3 Service HVACR units | - Check refrigerant pressure as per specifications - Verify oil level in compressor - Clean and wash evaporator and condensing unit - Align all the moving parts - Check all the nuts and bolts - Record temperature and pressure reading. - Restore System performance to optimal levels. |
| CU4 Lubricate moving parts | - Select lubricants as per standard - Lubricate bearings, shafts and bushes. - Remove extra lubricant to prevent damage. - Check system operation after lubrication. - Update maintenance log. |
| CU-5 Test safety and control devices | - Adjust pressure and temperature (PT) devices. - Test safety ranges (cut-in & cut-outs) for desired load. - Adjust sensors as per standards. - Replace faulty control components. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Introduction of inspection

- Importance of inspection

- Abnormal sounds and vibrations

- Inspection data recording

- Introduction to maintenance schedule.

- Filters cleaning and replacing techniques

- Selection of filters

- HSE during cleaning filters

- Disposing techniques of old filters

- Refrigerant pressure gauges

- Importance of Oil levels in compressors

- Units of Temperature and pressure

- Cleaning and washing techniques of evaporator and condenser

- Introduction and importance to lubrication

- Importance of removing extra lubricant

- Techniques of lubrication method

- Documentation and record keeping

- Types of pressure and temperature (PT) devices.

- Importance of safety for controlling devices

- Adjustment techniques

- Replacement techniques of faulty controls

- Importance of accurate documentation

Critical Evidence(s)

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- To document routine inspection reports for HVACR systems.

- To clean and replace air filters.

- To record servicing of refrigeration and cooling units.

- To test safety and control devices.

Tool & Equipment

- Inspection lamp

- Screwdriver set

- Multimeter

- Brush

- Vacuum cleaner

- Wrench set

- Manifold gauge

- Leak detector

- Spanner set

- Grease gun

- Oil can

- Cleaning cloth

- Clamp meter

- Pressure gauge

## Diagnose and Repair Faults

Overview:  This Competency Standard covers the competencies required to Identify refrigeration system faults, Repair electrical faults, rectify air distribution issues, air and replace defective compressors and Restore system after repair.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Identify refrigeration system faults | - Match Fault symptoms with system behavior. - Compare Pressure and temperature readings with standards. - Detect Leak with correct tools. - Carried out Fault diagnosis systematically. - Prepare Accurate fault report. |
| CU2: Repair electrical faults | - Trace Faulty wiring with testing instruments. - Identify Defective switches, relays, or contactors. - Replace Faulty parts with correct ratings. - Follow Safety lockout procedures. - Retest System for proper operation |
| CU3. Rectify air distribution issues | - Take Airflow measurements at outlets. - Identify Blockages or leaks in ducting. - Adjust Dampers and diffusers correctly. - Check alignment of Fans and blowers. - Balance Air distribution as per design |
| CU4. Replace defective compressors | - Disconnect Faulty compressor safely. - Select Correct replacement unit. - Recover and stored Refrigerant safely. - Install and connect new compressor. - Test System for correct operation |
| CU5 Repair leaks in HVACR system | - Arrange tools and equipment - Detect leak in HVACR system - Repair leak in HVACR system - Test leaks in HVACR system - Evacuate and charge refrigerant in HVACR system - Conduct performance test |
| CU6. Restore system after repair | - Recharge System with refrigerant. - Check Oil and lubrication levels. - Perform Test run for stable operation. - Record and compare Parameters with standards. - Submit Final report to supervisor. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Common refrigeration system faults

- Fault detection techniques

- Diagnostic tools and equipment

- Fault reporting, safety, and documentation

- Common electrical faults in HVACR system

- Electric fault detection techniques

- Electrical testing tools and their applications

- Procedures for trouble shooting

- Introduction to air distribution in HVACR system

- Air distribution issues

- Tools for airflow measurement

- Adjusting, repairing, or replacing faulty components in air distribution systems.

- Introduction to compressors.

- Causes and symptoms of compressor failure

- Replacement techniques for compressor

- Safe procedures for refrigerant recovery, evacuation, and recharging.

- Safety measurements during leak repairing

- Leaks detection techniques

- Pump up and down techniques

- Leak testing methods

- Leak repairing techniques

- Procedures for reassembly, system evacuation, and recharging after repair.

- Methods of system performance testing (temperature, pressure, current, airflow).

- Safety practices for restoring HVAC systems, including use of PPE.

- Workplace documentation and reporting requirements after system restoration

Critical Evidences

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- To identify refrigeration faults using diagnostic tools.

- To repair electrical faults ensuring functionality and safety.

- To rectify air distribution issues effectively.

- To replace compressor and complete system restoration.

Tools & Equipment

- Anemometer

- Smoke pen

- Screwdrivers

- Wrenches

- Spirit level

- Laser alignment tool

- Manifold gauge set

- Refrigerant recovery machine

- Vacuum pump

- Replacement compressor

- Refrigerant scale

- Oil level gauge

- Sight glass

- Multimeter

- Clamp meter

- Thermometers

- Pressure sensors

- Personal Protective Equipment (PPE)

- Laptop

- Notepad

## Commission HVACR Systems

Overview: The competency standard covers knowledge and skills to Perform pre-commissioning checks, Charge refrigerant into system, calibrate control systems, Conduct performance testing and Handover system to client

| Competency Units | Performance Criteria |
| --- | --- |
| CU1 Perform pre commissioning checks | - Verify system installation is against drawings. - Inspect all connections and joints - Check electrical continuity - Perform pressurizing and leak testing - Complete Pre-commissioning checklist. |
| CU2 Perform Visual and Mechanical Inspection | - Inspect fan, blowers, compressors, pumps, for correct rotation and alignment - Inspect filters, stainers and air dampers - Confirm oil level ang Gas pressure - Check belt tension and pulley alignment - Inspect tightness of fasteners and supports. |
| CU3 Adjust control systems | - Set thermostats to correct parameters. - Adjust positioning of sensors required standard. - Configure control panels as per design. - Test alarms and cut-outs. - Update documentation of adjustment data |
| CU4 Conduct performance test | - Measure Airflow and compared with design. - Verify cooling and heating loads - Record Energy consumption. - Assess Noise and vibration levels - Prepare System performance report. |
| CU5 Handover system to client | - Provide Operating manual to client. - Interpret Safety procedures. - Brief Maintenance requirements - Communicate Warranty terms. - Fill, Sign and handover documents. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Introduction to Commissioning and pre commissioning

- Techniques of commissioning

- Inspection of HVACR unit for commissioning

- Importance of record keeping for commissioning

- Inspection of HVACR Units

- Techniques for inspection of HVACR units

- Importance of Visual inspection

- Introduction to Control system

- Importance of adjustment

- Techniques for adjustment in controls system

- Techniques of initial startup of system

- Testing & Balancing (TAB) in HVACR System

- Importance of TAB

- Techniques for TAB in HVACR Systems

- Introduction to Safety measures of system operation

- Introduction to operation manual

- Procedure for handing over HVACR system

Critical Evidences

- To perform pre-commissioning checks ensuring readiness.

- To record refrigerant charging with leak testing verification.

- To calibrate control system.

- To record performance testing.

- To record proper client handover.

Tools and Equipment

- Vacuum pump

- Refrigerant cylinder

- Electronic weighing scale

- Leak detector

- Digital thermometer

- Pressure gauge

- Clamp meter

- Multimeter

- Flow meter

- Psychrometer

- Data logger

- Torque wrench

## Comply Safety, and Documentation

Overview: - This competency standard covers the skills and knowledge required to Ensure Safety, compliance and documentation, handle refrigerants safely, maintain service records, ensure compliance with industry codes and participate in workplace audits.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Follow occupational health and safety | - Wear PPE at all times. - Identify and minimize Worksite hazards. - Handle Tools and equipment safely. - Follow Safety signage strictly. - Observe Emergency procedures. |
| CU2. Handle refrigerants safely | - Arrange tool and equipment - Confirm correct recovery units. - Store Refrigerants in approved containers. - Prevent Leakage during transfer. - Follow Environmental regulations. - Maintain Records of refrigerant usage. |
| CU3. Maintain service records | - Fill Work orders accurately. - Updated Maintenance schedules. - Fill Spare parts usage is registered. - Submit Records to management. |
| CU4. Comply with industry codes | - Comply ASHRAE/ISO standard during HVACR works. - Follow National safety codes during HVACR works. - Meet energy & efficiency conversation. - Perform System labeling properly. - Prepare compliance documentation. |
| CU5. Participate in workplace audits | - Present Relevant documents on request. - Report non-conformities promptly. - Take Corrective actions on time. - Document Audit findings for follow-up. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Introduction to occupational health and safety

- Introduction of PPE’s, Purpose and correct use

- workplace hazards (physical, chemical and biological

- Safe handling, operation, and storage of tools and equipment.

- Workplace emergency response technique.

- Types of refrigerants and their properties.

- Recovery units and their application.

- Safe transfer methods to prevent leakage and contamination.

- National and international environmental regulations on refrigerants.

- Introduction to record-keeping procedures for refrigerant usage, recovery, and disposal.

- Types of service records and documentation used in the workplace.

- Procedure to update and maintenance schedules.

- Introduction to spare parts registers/logs and ability to record usage correctly.

- Introduction to ASHRAE/ISO standards.

- National safety codes and workplace regulations.

- System labeling procedures according to industry codes.

- Documentation processes for compliance.

- Workplace audit procedures, objectives, and requirements.

- Organize and present relevant documents during audits.

- Types of non-conformities and procedures for reporting them promptly.

- Corrective action processes and timelines for implementation.

- Audit documentation methods and follow-up reporting requirements.

Critical Evidence(s)

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- To demonstrate adherence to health and safety.

- To handle refrigerant storage, recovery and disposal.

- To maintain accurate service records and documentation.

- To participate in workplace audits and compliance with codes.

Tools & Equipment

- Safety PPE

- Fire safety kit

- First aid kit

- Manifold gauge set

- Recovery machine

- Vacuum pump

- Leak detector

- Cylinder scale

- Charging hoses

- Identifier

- Service logs

- MSDS

- Labels & tags

- Stationery

## Perform System Testing and Troubleshooting

Overview: - This competency standard covers the skills and knowledge required to conduct pressure testing, perform vacuum and dehydration of system, conduct electrical system tests, test airflow and duct integrity and Verify system efficiency of HVACR.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Conduct pressure test | - Connect and Test equipment correctly. - Pressurized System gradually to the required level. - Monitor Pressure for stability. - Detect and rectify Leaks. - Record Test results. |
| CU2. Perform vacuum and dehydration of system | - Set up Vacuum pump correctly. - Evacuate System to the required micron level. - Check Moisture levels. - Detain Vacuum to confirm tightness. - Document Dehydration results |
| CU3. Conduct electrical system tests | - Check Continuity with a multimeter. - Measure Insulation resistance accurately. - Perform Load tests safely. - Compare Voltage and current readings with standards. - Record Results in test sheets. |
| CU4. Test airflow and duct integrity | - Measure airflow by Anemometer. - Record Static and dynamic pressures. - Identify Leaks in ducts. - Confirm Air distribution balance. - Prepare Test report. |
| CU5. Verify system efficiency | - Calculate Coefficient of Performance (COP). - Measured Energy consumption. - Check Temperature differential across coils. - Compare Efficiency against design standards. - Provide Recommendations for improvement. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Connection procedures for testing equipment.

- Procedures for pressure monitoring and leak detection

- Common signs and causes of system leaks.

- Technics to accurately record test results for future reference.

- Purpose of vacuuming

- Single stage and two stages vacuum pumps

- Importance of micron gauge for vacuum

- Confirmation of no leaks and moisture remain

- Initial micron reading after pump shutdown

- Continuity testing in electrical systems.

- Load testing in electrical

- Insulation resistance testing

- Measuring voltage and current in HVACR system.

- Importance of record keeping

- airflow measurement in HVAC systems

- types of anemometers

- concepts of static pressure, dynamic pressure, and total pressure in HVAC systems.

- duct leak testing

- air distribution balancing in HVAC system

- Importance of record keeping

- Introduction to Coefficient of Performance (COP).

- cooling/heating output and energy input to determine system efficiency.

- Techniques to Measured Energy consumption

- System efficiency with design standards

- Recommendations for improving chiller performance

Critical Evidence(s)

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- To conduct pressure testing and detecting leaks.

- To verify vacuum, dehydration ensuring moisture-free operation.

- To records electrical testing, successful fault troubleshooting.

- To verify airflow, duct testing and efficiency.

Tools & Equipment

- Pressure gauges

- Vacuum pump with micron gauge

- Refrigerant manifold set

- Electrical multimeter

- Clamp meter

- Insulation tester

- Anemometer

- Manometer

- Flow hood

- Wattmeter

- Thermometer

- Efficiency analyzer

## Install and Maintain Chillers and Cooling Tower

Overview:  This Competency Standard covers the knowledge required to Install chiller systems, Service chiller units, Maintain cooling towers, Test water quality in cooling tower and Repair defective chiller components.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Install chiller systems | - Interpret layout drawing of chiller - Prepare Foundation as per specifications. - Position Chiller with lifting equipment safely. - Perform levelling and align - Perform piping connection. - Install compression tank. - Perform leak test in piping - Perform electrical/electronic connections. - Perform charging of refrigerant - Check performance of chiller as per design and standard. |
| CU2. Install cooling tower | - Interpret layout drawing of cooling tower. - Prepare Foundation as per specifications. - Position cooling tower with lifting equipment safely. - Perform levelling and align - Perform leak test in piping. - Perform piping connection. - Perform electrical/electronic connections. - Check performance of cooling tower as per design. |
| CU3. Service chiller units | - Clean Condenser tubes. - Check Oil and refrigerant levels. - Lubricate moving parts of chiller. - Check all Safety controls. - Add chemicals to avoid scaling. - Inspect leakages. - Update Service log. |
| CU4. Service cooling towers | - Clean Basin to prevent scale and algae. - Apply chemicals for Water treatment. - Inspect Fans and drives. - Service Drift eliminators. - Record Water flow and temperature. |
| CU5. Test water quality in cooling tower | - Collect Water samples properly. - Measure pH and conductivity. - Identify Scaling and corrosion indicators. - Adjust Treatment dosage accordingly. - Document Test results. |
| CU6. Repair defective chiller components | - Disconnect Faulty chiller components - Select standard spare parts. - Carried out Repairs as per manufacturer’s instructions. - Test pressure of the System after repair. - Perform post-commissioning of Chiller |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Introduction to chiller

- Foundation and leveling for chiller system

- Installation techniques for piping/electrical connection

- Importance of compression tank.

- Refrigerant charging techniques.

- Performance standard of chiller.

- Introduction to cooling tower

- Foundation and leveling for cooling system

- introduction to positioning and alignment

- Importance of connections and installation

- Verification of design

- Techniques for internal cleaning of tubes.

- Introduction to lubrication.

- Testing safety controls and maintaining service logs

- Basin cleaning and water treatment knowledge

- Fan, drive, and drift eliminator inspection

- Recording and monitoring water flow and temperature

- Water sample collection and measurement

- Identification of water quality indicators

- Importance of record keeping

- Techniques of disconnecting faulty components

- Identification of spare parts and repair procedures

- Post-commissioning of Chiller

Critical Evidences

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- To install chillers according to specifications.

- To verify servicing records ensuring reliable operation.

- To maintain cooling tower and operational checks.

- To repair defective component.

List of Tools, Equipment and Machinery

- Wrenches (pipe, torque, spanners)

- Screwdrivers set

- Tube cutter

- Vacuum pump

- Refrigerant recovery unit

- Manifold gauge set

- Multimeter / Clamp meter

- Water testing kit

- Pressure gauges

- Thermometer

- Flow meter

- Ladders & PPE

## Work on Heating Systems

Overview: - This Competency Standard covers the knowledge required to Install boilers and heaters, Maintain boilers, Service heating coils and radiators, Test combustion efficiency.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Install heaters for chiller system | - Interpret drawings of heater. - Mount heater securely. - Make Water connections. - Install and test Safety valves. - Encounter Installation code requirements. |
| CU2. Maintain water heater | - Check Water control level. - Clean water pipes - Test Safety Valves. - Monitor Ph level of water for efficiency. - Keep Maintenance record. |
| CU3. Service heat exchanger | - Drain Air vents properly. - Clean Coils for unrestricted heat transfer. - Inspect Flow valves. - Monitor Pressure levels. - Keep Servicing Record. |
| CU4. Test reverse cycle heating system | - Arrange tools and equipment for safe testing. - Inspect system components for correct installation and condition. - Operate the reverse cycle heating system in heating mode. - Measure and record pressures, temperatures, and electrical parameters. - Analyze results and report findings according to specifications. |
| CU5. Repair defective heating components | - Identify Faulty pumps, burners, or valves. - Apply Lockout/tag-out procedures. - Perform Repairs safely. - Retest System for reliability. - Maintain Repair records. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Installation Drawings

- Introduction to Heaters.

- Water Connection as per standard.

- Functions and Regulations of Safety Valves

- Installation Codes for heaters

- Water Control in heater

- Types of heater and Adjustment Techniques

- Safety Valve Operation and Testing Procedures

- Water intensity and Efficiency Indicators

- Maintenance Record Keeping

- Introduction to Air Vents in heat ex-changer

- Heat Transfer Principles and Coil Maintenance

- Types and Operation of Flow Valves

- Pressure Measurement and Monitoring Techniques

- Tools, equipment, and workplace preparation

- System components and connections inspection

- System operation and performance parameters

- Results analysis and documentation

- Heating components

- Faults in Pumps, coils and Valves

- Safety Protocols during repairing

- Techniques for System Reliability Testing

Critical Evidences

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- To install boilers and heaters.

- To maintain boiler records.

- To service heating coils and radiators.

- To repair defective equipment.

Tools & Equipment

- Wrenches

- Screwdrivers

- Pipe cutters

- Threading tools

- Welding machine

- Gauges

- Thermometers

- Analyzers

- Multimeter

- Cleaning tools

- Lubrication tools

- Safety gear

## Install and Service Ventilation Systems

Overview: - This competency standard covers the skills and knowledge required to Install fans and blowers, Service air handling units (AHU), Clean ductwork systems, Install exhaust systems and Repair defective ventilation components.

| Competency Unit | Performance Criteria |
| --- | --- |
| CU1 Install fans and blowers | - Select Correct fan type. - Align and mount Fans securely. - Connect Electrical wiring properly. - Fit Vibration isolators. - Verify Fan performance. |
| CU2 Service air handling units (AHU) | - Clean or replace Filters. - Wash Coils with approved chemicals. - Check Drain pans for clogging. - Inspect Motors and belts. - Keep Balance Airflow. |
| CU3 Clean ductwork systems | - Open Access panels safely. - Remove Dust and debris thoroughly. - Brush HEPA vacuums. - Inspect Duct insulation. - Keep record for Cleaning. |
| CU4 Install exhaust systems | - Position Exhaust fans as per design. - Route Ducting with minimal bends. - Install Dampers where required. - Take measures to control Noise. - Verify Exhaust performance. |
| CU5 Repair defective ventilation components | - Identify Faulty motors or impellers. - Replace Bearings as required. - Rectify Electrical faults. - Rebalance System after repair. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- fan types and their applications.

- balance and stability for safe operation.

- Electrical safety procedures

- installation techniques for isolators.

- airflow and static pressure

- types of filters used in AHU/FCU systems

- coil cleaning for efficiency,

- types of approved cleaning chemicals

- importance of keeping drain pans clean to avoid leakage

- preventive maintenance requirements for motors and belts

- principles of air distribution and system balancing

- lockout/tagout (LOTO) safety procedures.

- health and performance risks caused by dust buildup.

- function of HEPA filters.

- importance of proper insulation for energy efficiency.

- Drawings and design specifications.

- Support and alignment of ducts

- Procedure for balancing airflow.

- Noise and vibration in ducting systems.

- Performance with design requirements.

- symptoms of faulty motors, noise, overheating, vibration, low speed.

- Inspection techniques of impellers for cracks, imbalance.

- Bearing types and their functions

- Techniques for balancing shafts.

- Importance of documentation for reliability and compliance.

Critical Evidence(s)

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- To installing fans, blowers, heaters, exhaust system.

- To make service records of air handling unit.

- To maintain airflow hygiene through ductwork cleaning.

- To make records of repairing defective ventilation components

Tool & Equipment

- Screwdrivers

- Spanners

- Wrenches

- Pliers

- Drill machine

- Rivet gun

- Measuring tape

- Spirit level

- Duct cutter

- Sheet metal tools

- Multimeter

- Manometer

- Anemometer

- Vacuum cleaner

- Ladder

- Safety gear (gloves, goggles, helmet)

## Manage Refrigerants and Environmental Practices

Overview: - This competency standard covers the skills and knowledge required to Recover refrigerants, recycle refrigerants, dispose refrigerants safely, Implement energy-saving practices and Compliance with environmental regulations

| Competency Unit | Performance Criteria |
| --- | --- |
| CU1 Recover refrigerants | - Set up Recovery units correctly. - Recover Refrigerant in approved cylinders. - Label refrigerant recovery cylinder - Confirm No leakage occurs during process. - Confirm Recovery is done as per regulations. - Updated the Record. |
| CU2 Perform Recycling of refrigerant | - Recover refrigerant form the unit - Reclaim refrigerant - Perform leak test - Charge refrigerant - Check performance |
| CU3 Dispose refrigerants safely | - Transfer Refrigerants to destruction facility. - Confirm Handling of Refrigerants is as per environmental laws. - Avoid Spillage or leakage. - Prepare Documentation correctly. - Obtain Disposal certificates |
| CU4 Perform Greenhouse practices | - Interpret refrigerant properties - Recover the refrigerant in cylinder - Perform flushing of HVACR unit - Charge refrigerant - Record performance of HVACR system |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Environmentally friendly techniques

- Introduction to Refrigerant Recovery machine

- Introduction to recovery methods

- Refrigerant recovery techniques

- Types of refrigerants and their properties.

- Introduction to reclaiming process

- Importance of reclaiming

- Techniques for reclaiming

- Techniques for recycling

- Environmental laws and regulations governing refrigerant disposal.

- Transportation of refrigerants for dispose

- Prevent spillage or leakage

- documentation for obtaining disposal certificates

- introduction to greenhouse effect

- importance of greenhouse effect

- introduction to refrigerant and their groups

- Introduction to ozone friendly refrigerant

- Introduction to retro fitting

- Techniques for retro fitting

- Impact of HVACR unit after retro fitting

- Record keeping and report writing about retro fit unit

Critical Evidence(s)

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- To recover refrigerants safely using recovery equipment.

- To make recycle records of refrigerants for reuse.

- To carry out documented safe disposal of refrigerants.

- To implement energy-saving practices.

Tool & Equipment

- Refrigerant recovery machine

- Recovery cylinders

- Manifold gauge set

- Refrigerant recycling unit

- Leak detector

- Weighing scale

- Vacuum pump

- Cylinder tags and labels

- Personal protective equipment (PPE)

- MSDS sheets

- Energy audit tools

- Documentation and logbooks

## Supervise and Train Junior Technicians

Overview: - This competency standard covers the skills and knowledge required to assign daily tasks, monitor performance of juniors, provide on-the-job training, confirm discipline at worksite and report team performance to supervisors

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Assign daily tasks | - Allocate Tasks as per skill level. - Give Clear instructions. - Monitor Work progress. - Highlight Safety procedures. - Provide Feedback. |
| CU2. Monitor performance of juniors | - Check Work quality regularly. - Correct Mistakes constructively. - Encourage Juniors for improvement. - Ensure Safety compliance. - Keep performance Records. |
| CU3. Provide on-the-job training | - Identify Training needs. - Give Practical demonstration. - Supervise Junior trainees. - Perform Swat analysis - Evaluate Progress of Juniors - Maintain OJT book of trainee |
| CU4. Maintain discipline at worksite | - Monitor Attendance. - Maintain Workplace behavior. - Encourage Team cooperation. - Report Misconduct. - Maintain Discipline records. |
| CU5: Report team performance to supervisors | - Prepare Daily reports. - Summarize Work progress. - Highlight Issues and challenges. - Report Team achievements. - Give Recommendations |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Introduction to tasks requirement

- Work progress requirements

- Instructions of safety procedures

- Feedback procedure

- Performance report of complete work of trainee and maintain its records

- Introduction to quality control assurance procedure

- Importance of Teamwork

- Introduction to communication skills

- Introduction to OHS

- report of performance and maintaining its records

- Training need analysis

- industry requirements

- demonstration skills

- project management tools

- importance of leadership skills

- Workplace Attendance and Discipline Management

- Behavior and Team Cooperation in the Workplace

- Reporting, Misconduct Handling, and Record Keeping

- Workplace Reporting and Documentation

- Communication of Work Progress and Challenges

- Professional Reporting and Recommendations

Critical Evidence(s)

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard

- To use hand and power tools safely.

- To operate instruments for accurate system diagnostics.

- To carry out pressure gauges, manifolds and vacuum pump operations.

- To make records of instrument calibration.

Tools & Equipment

  - Computer / Laptop

  - Projector / Multimedia

  - Whiteboard / Flip chart

  - Markers and stationery

  - Training manuals

  - Standard operating procedures (SOPs)

  - Safety posters / charts

  - Personal protective equipment (PPE) samples

  - Communication devices (phone, intercom, radio)

  - Recording devices

  - Assessment sheets / checklists

  - Report formats and logbooks

  - HVACR system manuals

  - Manufacturer’s guidelines

  - Relevant codes and standards

## Manage Spare Parts and Inventory Overview

Overview: - This competency standard covers the skills and knowledge required to Identify spare part requirements, Maintain spare parts inventory, Issue spare parts, Receive spare parts and dispose obsolete parts.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Identify spare part requirements | - Verify Part numbers. - Check Compatibility between parts. - Control Urgency of requirement. - Submit Requests formally. - Updated Records |
| CU2. Maintain spare parts inventory | - Labell Parts properly. - Improve Storage conditions to prevent damage. - Updated Inventory records. - Report Shortage Records |
| CU3. Issue spare parts | - Verify Requests. - Issue Parts as per requests. - Keep record of Issued parts. - Ensure Return of unused parts. - Update the Records. |
| CU4: Receive spare parts | - Check Delivery documents. - Inspect Part quality. - Verify Quantities. - Assign Storage location. - Updated Records |
| CU5. Dispose obsolete parts | - Identify Obsolete parts. - Follow Disposal procedure. - Maintain Records of disposal. - Recover Reusable parts. - Submit Report to management. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Introduction to machine parts

- Importance of compatibility of parts

- Maintain log book of parts replacement

- Machine parts specifications

- Importance of labeling of parts

- Introduction to inventory system

- software for inventory system

- store requisition system

- inventory system

- stock management system

- Verification of parts specifications received from store

- Store inventory system

- Record maintenance in store system

- Introduction to obsolete parts

- Techniques for dispose off obsolete pats

- Recovery system of reuseable parts

Critical Evidence(s)

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard

- To identify spare part requirements from equipment and specifications.

- To maintain and update spare parts inventory accurately.

- To issue and receive spare parts with proper procedures.

- To dispose obsolete parts safely.

Tools and Equipment

  - Computer / Inventory software

  - Barcode scanner

  - Label printer

  - Storage racks / bins

  - Stock register / logbook

  - Trolley / pallet jack

  - Weighing scale

  - Packaging materials

  - Disposal bins

  - PPE (gloves, safety gear)

## Apply Quality Assurance Practices: -

Overview:  This competency standard covers the skills and knowledge required to Follow quality procedures, conduct internal inspections, verify system performance, participate in external audit and implement continuous improvement

| Competency Units | Performance Criteria |
| --- | --- |
| CU1 Follow quality procedures | - Perform Work as per SOPs. - Interpret Standards before starting work. - Report Nonconformities. - Applied Corrective actions. - Keep Records |
| CU2. Conduct internal inspections | - Prepare Inspection checklist. - Note Non-compliance. - Report Defects. - Take Immediate corrective measures. - Submit Report |
| CU3 Verify system performance | - Compare Test results with standards. - Record Parameters accurately. - Identify Non-conformance. - Take Corrective steps. - Perform Document Verification. |
| CU4 Participate in external audits | - Present Records. - Answer Queries correctly. - Address non-conformities. - Follow Audit recommendations. - Update Reports |
| CU5 Implement continuous improvement | - Collect Feedback. - Suggest Improvements. - Apply New techniques. - Encourage Team for innovation. - Monitor Results. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Introduction to work performance

- Importance of SOP

- Techniques to Quality assurance procedures, standards and compliance requirements.

- Report writing and record keeping

- Introduction to Inspection Method

- Importance of Inspection

- Methods for conducting internal inspections.

- Introduction to System performance and system standards

- Verification of system performance against standards.

- Introduction to external audit

- Importance of external audit

- Factors involved in external audit

- Audit report

- Introduction and Importance of continuous improvement in performance

- Continuous improvement practices.

- Corrective action processes.

Critical Evidence(s)

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard

- To follow quality assurance procedures.

- To record internal inspections.

- To verify system performance.

- To implement continuous improvement actions.

Tools and Equipment

- Quality manuals

- Inspection checklists

- Measuring instruments

- Calibration tools

- Audit reports

- Computer/software

- Data loggers

- PPE

## Apply Workplace Communication and Reporting

Overview:  This Competency Standard covers the competencies required to Communicate with clients, use digital communication tools, Use digital communication tools, Coordinate with team members, Report emergencies and incidents

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Communicate with clients | - Listen Client requirements carefully. - Interpret Technical information simply. - Provide Service updates. - Handle Complaints politely. - Keep Records of communication. |
| CU2: Prepare technical reports | - Write Reports clearly. - Present Data accurately. - Highlight Faults and solutions. - Submit Reports on time. - Follow Reports on organizational format. |
| CU3. Implement digital communication tools | - Write Emails professionally. - Follow Online reporting systems. - Update Mobile apps for work orders. - Send Attachments correctly. - Keep backed up Records. |
| CU4. Coordinate with team members | - Convey Instructions clearly. - Exchange Feedback respectfully. - Attend Meetings regularly. - Resolve Work conflicts. - Document Coordination. |
| CU5. Report emergencies and incidents | - Report Incidents immediately. - Follow Correct reporting channel. - Record Details accurately. - Follow Safety procedures. - Archive Reports. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Principles of effective communication (verbal, non-verbal, written, and digital).

- Workplace protocols, ethics, and confidentiality in client interactions.

- Techniques for handling client feedback, conflicts, and complaints.

- Documentation and reporting methods for client communications.

- Principles of technical writing, including clarity, accuracy, and objectivity.

- Standard report formats, structures, and workplace documentation.

- Methods of data collection, analysis, and presentation (tables, charts, graphs).

- proofreading, reviewing, and distributing technical reports.

- Types and functions of digital communication tools

- Workplace policies, ethics, and data security in digital communication.

- Basic troubleshooting of digital communication tools.

- Methods of maintaining digital records, files, and communication history.

- Principles of teamwork, collaboration, and interpersonal communication.

- Roles, responsibilities, and dynamics within workplace teams.

- Methods for handling conflicts, giving feedback, and supporting team performance.

- Workplace protocols, ethics, and reporting structures when coordinating tasks.

- Types of workplace emergencies (fire, electrical faults, chemical spills, equipment failure, accidents).

- Emergency reporting protocols, contact points, and communication channels.

- Standard incident reporting formats and documentation requirements.

- Importance of timely, accurate, and factual reporting in emergencies.

Critical Evidence

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- To communicate with clients.

- To prepare technical service reports.

- To use digital communication tools.

- To report emergencies and incidents.

Tools & Equipment

- Smartphone

- Computer/laptop

- Email software

- Messaging apps

- Video conferencing tools

- Headset with microphone

- Internet connection

- Two-way radio

- Incident reporting forms

- Notepad and pen

# List of Tools and Equipment (for 25 Trainees)

| S# | Tools and Equipment | Quantity |
| --- | --- | --- |
|  | Manifold gauge set (R-22, R-410A, R-134a) | 12 sets |
|  | Refrigerant recovery machine | 5 units |
|  | Refrigerant charging scale | 8 units |
|  | Leak detector (electronic/sniffer) | 10 units |
|  | Digital thermometer | 13 units |
|  | Psychrometer | 8 units |
|  | Combustion analyzer | 4 units |
|  | Anemometer | 10 units |
|  | Pressure testing kit | 8 kits |
|  | Core removal tool | 8 units |
|  | Valve depressor tool | 8 units |
|  | Multimeter (digital) | 15 units |
|  | Clamp meter | 10 units |
|  | Megohmmeter | 5 units |
|  | Voltage tester (non-contact) | 15 units |
|  | Continuity tester | 10 units |
|  | Phase rotation meter | 5 units |
|  | Measuring tape | 25 units |
|  | Spirit level | 10 units |
|  | Laser level | 5 units |
|  | Chalk line | 8 units |
|  | Calipers | 5 units |
|  | Thermocouple thermometer | 8 units |
|  | Micron gauge (for vacuum level) | 8 units |
|  | Ladder | 5 units |
|  | Work light / headlamp | 15 units |
|  | Extension cords | 10 units |
|  | Tool bag/toolbox | 25 units |
|  | Lockout/tag-out kit | 10 kits |

# List of Consumable Materials (for 25 Trainees)

| S. # | Consumables Material | Quantity |
| --- | --- | --- |
|  | Galvanized sheet metal (various gauges) | 25 sheets |
|  | Aluminum foil tape | 30 rolls |
|  | Duct insulation (foam or fiberglass) | 10 rolls |
|  | Cable ties (assorted sizes) | 200 pcs |
|  | Mastic sealant | 15 cans |
|  | Copper tubing (¼”, ⅜”, ½”, ⅝”) | 500 ft total |
|  | Flux and brazing rods | 100 rods each |
|  | Nitrogen gas cylinders | 3 cylinders |
|  | Leak detector spray | 10 bottles |
|  | Pipe insulation sleeves | 200 ft |
|  | Electrical wire (14 AWG, 12 AWG, etc.) | 4 rolls each |
|  | Wire nuts, terminals, lugs | 500 pcs total |
|  | Electrical tape | 25 rolls |
|  | Control fuses and relays | 50 pcs each |
|  | Air filters (disposable) | 50 pcs |
|  | Compressor oil (quart) | 10 quarts |
|  | Cleaning solvents (coil cleaner) | 15 bottles |
|  | Degreasers / Detergents | 10 bottles |
|  | Nitrile gloves | 1000 pcs |
|  | Safety goggles | 25 pcs |
|  | Face masks (dust/fume) | 100 pcs |
|  | Hearing plugs | 100 pairs |
|  | Refrigerant cylinders (R-134a / R-410A | 6 cylinders (mixture) |
|  | Vacuum pump oil | 5 liters |
|  | Calibration gases (for sensors) | 2 sets |
|  | Colored dye for leak detection | 10 bottles |
|  | Water treatment chemicals | 5 kits |
|  | pH test strips / water test kits | 10 kits |
|  | Burner cleaner / soot remover | 5 bottles |
|  | Gaskets and seals (misc.) | 50 pcs |
|  | Marker pens, chalks, pencils | 100 pcs |
|  | Sandpaper and emery cloth | 50 sheets |
|  | Fasteners (screws, bolts, rivets) | 1000 pcs |
|  | Anchors/hangers for ducting | 150 pcs |
|  | Heat shrinks tubing | 100 ft |
|  | Work order forms | 500 sheets |
|  | System checklists | 200 sheets |
|  | Maintenance logbooks | 25 books |
|  | Inspection/audit report templates | 100 sheets |

# Members of Qualification Development

The Qualifications Development Committees consisted of following members:

| S# | Name | Designation | Organization |
| --- | --- | --- | --- |
| 1 | Arshad Iqbal | Lecturer | GCT Peshawar |
| 2 | Zahid Razzaq | HOD, Mechanical | SOS children Village |
| 3 | Eng. Syed Umar Bukhari | Lab Engineer HVACR | KFUEIT Rahim Yar Khan |
| 4 | Eng. Muzammil Idrees | Service Manager HVACR | Bestway Engineering Multan |
| 5 | Syed Shahzeb Iftikhar | Instructor | GIST Sialkot |
| 6 | Hafiz M. Saqib | Assistant Manager | Dynamic Tooling Service |
| 7 | Umair Bin Zahid | Instructor | GCT Rawalpindi |
| 8 | Ahmad Wesal | Asst XEN | Tarbela Dam WAPDA |
| 9 | Engr Inayat Ur Rahman | DACUM Facilitator | Islamabad |
| 10. | Muhammad Ishaq | Deputy Director | NAVTTC HQ Islamabad |
| 11 | Muhammad Asim | Deputy Director | NAVTTC HQ Islamabad |