List of Tools and Equipment (for 25 Trainees)

| Name of Trade |  | 0713A&R400. HVACR Technician (Industrial) Level-4 |  |  |
| --- | --- | --- | --- | --- |
| Duration of Course |  |  | 1 Year |  |
| S# | Tools and Equipment |  |  | Quantity |
|  | Manifold gauge set (R-22, R-410A, R-134a) |  |  | 12 sets |
|  | Refrigerant recovery machine |  |  | 5 units |
|  | Refrigerant charging scale |  |  | 8 units |
|  | Leak detector (electronic/sniffer) |  |  | 10 units |
|  | Digital thermometer |  |  | 13 units |
|  | Psychrometer |  |  | 8 units |
|  | Combustion analyzer |  |  | 4 units |
|  | Anemometer |  |  | 10 units |
|  | Pressure testing kit |  |  | 8 kits |
|  | Core removal tool |  |  | 8 units |
|  | Valve depressor tool |  |  | 8 units |
|  | Multimeter (digital) |  |  | 15 units |
|  | Clamp meter |  |  | 10 units |
|  | Megohmmeter |  |  | 5 units |
|  | Voltage tester (non-contact) |  |  | 15 units |
|  | Continuity tester |  |  | 10 units |
|  | Phase rotation meter |  |  | 5 units |
|  | Measuring tape |  |  | 25 units |
|  | Spirit level |  |  | 10 units |
|  | Laser level |  |  | 5 units |
|  | Chalk line |  |  | 8 units |
|  | Calipers |  |  | 5 units |
|  | Thermocouple thermometer |  |  | 8 units |
|  | Micron gauge (for vacuum level) |  |  | 8 units |
|  | Ladder |  |  | 5 units |
|  | Work light / headlamp |  |  | 15 units |
|  | Extension cords |  |  | 10 units |
|  | Tool bag/toolbox |  |  | 25 units |
|  | Lockout/tag-out kit |  |  | 10 kits |

Consumable Materials List (For 25 Trainees)

| S. # | Consumables Material | Quantity |
| --- | --- | --- |
|  | Galvanized sheet metal (various gauges) | 25 sheets |
|  | Aluminum foil tape | 30 rolls |
|  | Duct insulation (foam or fiberglass) | 10 rolls |
|  | Cable ties (assorted sizes) | 200 pcs |
|  | Mastic sealant | 15 cans |
|  | Copper tubing (¼”, ⅜”, ½”, ⅝”) | 500 ft total |
|  | Flux and brazing rods | 100 rods each |
|  | Nitrogen gas cylinders | 3 cylinders |
|  | Leak detector spray | 10 bottles |
|  | Pipe insulation sleeves | 200 ft |
|  | Electrical wire (14 AWG, 12 AWG, etc.) | 4 rolls each |
|  | Wire nuts, terminals, lugs | 500 pcs total |
|  | Electrical tape | 25 rolls |
|  | Control fuses and relays | 50 pcs each |
|  | Air filters (disposable) | 50 pcs |
|  | Compressor oil (quart) | 10 quarts |
|  | Cleaning solvents (coil cleaner) | 15 bottles |
|  | Degreasers / Detergents | 10 bottles |
|  | Nitrile gloves | 1000 pcs |
|  | Safety goggles | 25 pcs |
|  | Face masks (dust/fume) | 100 pcs |
|  | Hearing plugs | 100 pairs |
|  | Refrigerant cylinders (R-134a / R-410A | 6 cylinders (mixture) |
|  | Vacuum pump oil | 5 liters |
|  | Calibration gases (for sensors) | 2 sets |
|  | Colored dye for leak detection | 10 bottles |
|  | Water treatment chemicals | 5 kits |
|  | pH test strips / water test kits | 10 kits |
|  | Burner cleaner / soot remover | 5 bottles |
|  | Gaskets and seals (misc.) | 50 pcs |
|  | Marker pens, chalks, pencils | 100 pcs |
|  | Sandpaper and emery cloth | 50 sheets |
|  | Fasteners (screws, bolts, rivets) | 1000 pcs |
|  | Anchors/hangers for ducting | 150 pcs |
|  | Heat shrinks tubing | 100 ft |
|  | Work order forms | 500 sheets |
|  | System checklists | 200 sheets |
|  | Maintenance logbooks | 25 books |
|  | Inspection/audit report templates | 100 sheets |