Trade Registration Form

- Title of the Qualification.

0713A&R44 National Diploma Certificate Level-4 (HVACR Technician- Industrial)

- Organogram / Pathway / Equivalencies.

| Entry Level | Vocational Qualification | Next Progression |
| --- | --- | --- |
| Level-3 | Level-4 HVACR Technician (Industrial) | Level-5 |
| Level-4 | Level-5 | Bachelor’s/Level 6 |

- Daily Contact Hours (For Reference)

| Daily Contact Hours adopt by Institute | Duration |
| --- | --- |
| 4 | 11 months |
| 5 | 09 months |
| 6 | 08 months |
| 8 | 06 months |
| Note: - For institute offering 6 days in a week. The Weekend institute may use formula: Credit hours/Daily hours = Duration in Months |  |

- List of Competencies/Modules

| Code | Competency Standards/ Modules |
| --- | --- |
|  | Operate Tools, Instruments and Equipment |
|  | Install Industrial HVACR Systems |
|  | Maintain and Service HVACR Systems |
|  | Diagnose and Repair Faults |
|  | Commission HVACR Systems |
|  | Comply Safety, and Documentation |
|  | Perform System Testing and Troubleshooting |
|  | Install and Maintain Chillers and Cooling Towers |
|  | Work on Heating Systems |
|  | Install and Service Ventilation Systems |
|  | Manage Refrigerants and Environmental Practices |
|  | Supervise and Train Junior Technicians |
|  | Manage Spare Parts and Inventory Overview |
|  | Apply Quality Assurance Practices |
|  | Apply Workplace Communication and Reporting |

- Class / Workshop Size/ Dimension (25 Students Capacity)

| Place | Requirement | Size/Dimensions(feet) |
| --- | --- | --- |
| Classroom size | Yes | as per NAVTTC & TTB Standards) |
| Workshop/Laboratory size | Yes | as per NAVTTC & TTB Standards) |
| Any other Requirement | NA | NA |

- Machinery / Lab Equipment (For 25 Trainees)

| S # | Description | Quantity |
| --- | --- | --- |
|  | Manifold gauge set (R-22, R-410A, R-134a) | 5 sets |
|  | Refrigerant recovery machine | 5 units |
|  | Refrigerant charging scale | 8 units |
|  | Leak detector (electronic/sniffer) | 5 units |
|  | Digital thermometer | 10 units |
|  | Psychrometer | 5 units |
|  | Combustion analyser | 2 units |
|  | Anemometer | 5 units |
|  | Pressure testing kit | 5 kits |
|  | Core removal tool | 5 units |
|  | Valve depressor tool | 5 units |
|  | Multi-meter (digital) | 10 units |
|  | Clamp meter | 10 units |
|  | Megohmmeter | 5 units |
|  | Voltage tester (non-contact) | 10 units |
|  | Continuity tester | 10 units |
|  | Phase rotation meter | 5 units |
|  | Measuring tape | 5 units |
|  | Spirit level | 5 units |
|  | Laser level | 5 units |
|  | Chalk line | 5 units |
|  | Callipers | 5 units |
|  | Thermocouple thermometer | 5 units |
|  | Micron gauge (for vacuum level) | 5 units |
|  | Ladder | 5 units |
|  | Work light / headlamp | 5 units |
|  | Extension cords | 10 units |
|  | Tool bag/toolbox | 5 units |
|  | Lockout/tag-out kit | 5 kits |

- Consumable (For 25 Trainees)

| S.# | Consumable | Quantity |
| --- | --- | --- |
|  | Galvanized sheet metal (various gauges) | 10 sheets |
|  | Aluminium foil tape | 20 rolls |
|  | Duct insulation (foam or fiberglass) | 10 rolls |
|  | Cable ties (assorted sizes) | 50 pcs |
|  | Mastic sealant | 10 cans |
|  | Copper tubing (¼”, ⅜”, ½”, ⅝”) | 25 ft each |
|  | Flux and brazing rods | 100 rods each |
|  | Nitrogen gas cylinders | 3 cylinders |
|  | Leak detector spray | 10 bottles |
|  | Pipe insulation sleeves | 200 ft |
|  | Electrical wire (14 AWG, 12 AWG, etc.) | 2 rolls each |
|  | Wire nuts, terminals, lugs | 100 pcs total |
|  | Electrical tape | 25 rolls |
|  | Control fuses and relays | 25 pcs each |
|  | Air filters (disposable) | 50 pcs |
|  | Compressor oil (quart) | 10 quarts |
|  | Cleaning solvents (coil cleaner) | 10 bottles |
|  | Degreasers / Detergents | 10 bottles |
|  | Nitrile gloves | 100 pcs |
|  | Safety goggles | 25 pcs |
|  | Face masks (dust/fume) | 100 pcs |
|  | Hearing plugs | 100 pairs |
|  | Refrigerant cylinders (R-134a / R-410A | 6 cylinders (mixture) |
|  | Vacuum pump oil | 5 Liters |
|  | Calibration gases (for sensors) | 2 sets |
|  | Coloured dye for leak detection | 10 bottles |
|  | Water treatment chemicals | 5 kits |
|  | pH test strips / water test kits | 5 kits |
|  | Burner cleaner / soot remover | 5 bottles |
|  | Gaskets and seals (misc.) | 50 pcs |
|  | Marker pens, chalks, pencils | 25 pcs each |
|  | Sandpaper and emery cloth | 25 sheets |
|  | Fasteners (screws, bolts, rivets) | 1000 pcs |
|  | Anchors/hangers for ducting | 150 pcs |
|  | Heat shrinks tubing | 100 ft |
|  | Work order forms | 500 sheets |
|  | System checklists | 200 sheets |
|  | Maintenance logbooks | 25 books |
|  | Inspection/audit report templates | 100 sheets |

- Student Teacher Ratio: 		25:1

- Teacher Qualification:

- BSc Engg. / B.E./ B-Tech (4 Years) (HVACR/Mechanical) with 3 years’ experience in the field of HVACR.

OR

- DAE Level 5 (HVACR/Mechanical) with 5 years’ experience in the field of HVACR.

- Duration / Credit Hours / Contact Hours

| NVQF Level | Contact/Learning Hours | Credit Hours |
| --- | --- | --- |
| Level-2 | 600 | 30 |
| Level-3 | 600 | 30 |
| Level-4 | 1040 | 50 |

- Any other co-curricular activities

| Activity | Requirement |
| --- | --- |
| Playgrounds | Optional (Preferable) |
| Industry linkage | Yes |
| Teacher training | Yes |