National Curriculum Level -5 in HVACR Technology

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

Contents

1.	Introduction	9

2.	Purpose of the Qualification:	9

3.	Overall objectives of training program	10

4.	Date of Validation	10

5.	Entry level of trainees	10

6.	Minimum qualification for teachers	11

7.	Duration of the course:	11

8.	Description and structure of the course	12

9.	Detail of Modules	23

0713E&E-1.	Apply Occupational Health and Safety on HVAC Systems	23

0713E&E-2.	Maintain Safe Work Environment	25

0713E&E-3.	Make PVC Cable Joints and Construct Electrical Test Box	28

0713E&E-4.	Connect Loads in Electrical Circuit	32

0713E&E-5.	Measure Electrical Quantities in Electric Circuits	38

0713E&E-6.	Establish Electrical Circuits for Commercial Refrigeration Systems	43

0713E&E-7.	Evaluate Transformer & Verify Kirchhoff’s Law	47

0713E&E-8.	Apply Basics of Drawing	53

0713E&E-9.	Draw Pictorial Drawing	55

0713E&E-10.	Apply Basic Dimensioning System in Working Drawing	56

0713E&E-11.	Draw Sectioning Drawing	57

0713E&E-12.	Draw Auxiliary Drawing	59

0713E&E-13.	Identify and Use HVAC Tools	60

0713E&E-14.	Joint Copper Tubes	62

0713E&E-15.	Use of Pressure Gauges and Meters for Measuring Refrigerants Pressure	64

0713E&E-16.	Check and Test Compressors	67

0713E&E-17.	Check and Test Electrical Accessories	69

0713E&E-18.	Check and Test Electric Motors	72

0713E&E-19.	Perform Sheet Metal Processes.	74

0713E&E-20.	Perform Threading with Tap & Die	77

0713E&E-21.	Perform Machining Operation	80

0713E&E-22.	Perform Taper Turning, Drilling and Thread Cutting by Lathe Machine	83

0713E&E-23.	Perform Welding Process	86

0713E&E-24.	Analyse Thermodynamic performance of HVACR System	90

0713E&E-25.	Prepare Low Pressure Boiler for Smooth Operation	92

0713E&E-26.	Perform Water Treatment	95

0713E&E-27.	Service and Maintain Transport / Mobile Refrigeration Units	99

0713E&E-28.	Apply principles of refrigeration in Cold Storage Technology	102

0713E&E-29.	Maintain and Repair Multi-Stage, Cascade & Ultra-Low Temperature Refrigeration System	106

0713E&E-30.	Monitor Refrigeration in Food Processing	110

0713E&E-31.	Perform Refrigerant Recovery	114

0713E&E-32.	Install Residential Air Conditioner	116

0713E&E-33.	Repair Refrigerator, Deep Freezer, Display Unit, Bottle Cooler and Water Cooler	119

0713E&E-34.	Repair and Service Residential Air Conditioner	122

0713E&E-35.	Overhaul the compressors	128

0713E&E-36.	Repair and Service Residential Refrigeration Units	133

0713E&E-37.	Test, recover, evacuate and charge refrigeration system	138

0713E&E-38.	Calculate Fundamental Properties of Gasses	144

0713E&E-39.	Calculate Psychrometric Processes of Air	149

0713E&E-40.	Calculate Psychrometric Properties of System Air	152

0713E&E-41.	Analyze Psychrometric Performance of HVAC Systems	156

0713E&E-42.	Develop Geometrical Solids	159

0713E&E-43.	Draw Projection of Pipes	161

0713E&E-44.	Draw Building Drawings	163

0713E&E-45.	Prepare Computer Added Drawings File (Auto CAD)	164

0713E&E-46.	Contribute to the Design of Commercial Refrigeration system	166

0713E&E-47.	Design HVAC System and Select Components	169

0713E&E-48.	Develop specifications and prepare drawings for HVAC Systems	172

0713E&E-49.	Calculate Cooling Load of Commercial Buildings	175

0713E&E-50.	Design and Select Fans for HVAC system	178

0713E&E-51.	Design Piping for Commercial HVAC System	180

0713E&E-52.	Design & Select Pumps for HVAC system	182

0713E&E-53.	Design Duct system for Commercial HVAC system	183

0713E&E-54.	Attenuate Noise and Vibration Encounter in HVAC Applications	186

0713E&E-55.	Perform Water Treatment in HVAC System	188

0713E&E-56.	Analyse the operation of HVAC Air and Hydronic system	191

0713E&E-57.	Calculate Quantity of Heat Transfer for Different Applications	194

0713E&E-58.	Plot Refrigeration Cycle on PH Chart	197

0713E&E-59.	Calculate Different Process on PH Chart	198

0713E&E-60.	Calculate the Quantity of Gasses in a flue gas Sample	200

0713E&E-61.	Make Circuits Using Electronic Components.	202

0713E&E-62.	Make Temperature Control & Sensing Devices	205

0713E&E-63.	Connect the Accessories in Control Circuits	207

0713E&E-64.	Make Opto-Coupler Devices	208

0713E&E-65.	Install Commercial Refrigeration System.	212

0713E&E-66.	Install, Maintain & Repair Industrial Refrigeration System.	220

0713E&E-67.	Install, Maintain & Repair Commercial Refrigeration System.	228

0713E&E-68.	Install, Maintain & Repair Package Type Air Conditioning System.	234

0713E&E-69.	Install Central Air Conditioning System.	245

0713E&E-70.	Repair and Service Central Air Conditioning System.	269

0713E&E-71.	Service and Maintain Ceiling Mounted Cassette Type Air Conditioner	277

0713E&E-72.	Service and Maintain Cooling Tower.	286

0713E&E-73.	Perform Preventive Maintenance.	298

0713E&E-74.	Diagnose faults in complex HVAC control system	302

0713E&E-75.	Service and Maintain Automobile Air Conditioner.	308

0713E&E-76.	Perform Commissioning of HVAC Systems	316

0713E&E-77.	Install and Commission Carbon Dioxide Refrigeration Systems, Components and Accessories	322

0713E&E-78.	Operate & Maintain Absorption Air Conditioning System	329

0713E&E-79.	Check and Inspect Air Washer System in Respect of Preventive Maintenance	336

0713E&E-80.	Check and Inspect Central Air Conditioning system	340

0713E&E-81.	Install and Commission Ammonia Refrigeration System, Components & Accessories	345

0713E&E-82.	Check and Inspect HVAC Variable Refrigerant Flow (VRF) System	349

0713E&E-83.	Check and Inspect Centrifugal HVAC system	355

0713E&E-84.	Check and Inspect Screw Type HVAC system	359

0713E&E-85.	Install, Maintain and Repair Industrial Refrigeration System	366

0713E&E-86.	Service and Maintain Air Handling Unit (AHU)	372

0713E&E-87.	Check and Connect Basic Controls used in HVAC	377

0713E&E-88.	Prepare Control Circuits	379

0713E&E-89.	Measure Air Velocity	382

0713E&E-90.	Produce HVAC Control System Drawings	385

0713E&E-91.	Adjust and Balance HVAC Controls	387

0713E&E-92.	Operate HVAC Building Management System (BMS)	389

0713E&E-93.	Develop Entrepreneurial Skills	392

0713E&E-94.	Apply project information management and communications techniques	395

0713E&E-95.	Apply Project Human Resources Management Approaches	397

0713E&E-96.	Direct Human Resources Management Of A Project Program	400

0713E&E-97.	Develop A Project Management Plan	404

0713E&E-98.	Maintain Business Resources	407

0713E&E-99.	Develop A Sales Plan	409

0713E&E-100.	Plan And Implement Business-To-Business Marketing	412

0713E&E-101.	Address Customer Needs	414

0713E&E-102.	Manage Personal Finances	418

0713E&E-103.	Solve Problems Which Jeopardize Safety And Security	420

0713E&E-104.	Coordinate a Work Team	425

0713E&E-105.	Lead Small Teams	428

0713E&E-106.	Plan and organize work	432

0713E&E-107.	Develop teams and individuals	435

0713E&E-108.	Apply problem solving techniques in the workplace using critical thinking	438

0713E&E-109.	Manage Human Resource Services	441

0713E&E-110.	Develop workplace policy and procedures for sustainability.	445

0713E&E-111.	Manage meetings	447

0713E&E-112.	Manage recruitment selection and induction processes	449

0713E&E-113.	Manage personal work priorities and professional development	452

0713E&E-114.	Manage workforce planning	455

0713E&E-115.	Undertake project work	458

0713E&E-116.	Identify and communicate trends in career development	461

0713E&E-117.	Apply specialist interpersonal and counseling interview skills	463

0713E&E-118.	Work safely in an office environment	469

0713E&E-119.	Develop workplace documents	472

0713E&E-120.	Prepare and implement negotiation	476

0713E&E-121.	Maintain professionalism in the workplace	480

0713E&E-122.	Maintain professional development and career professionalism	482

0713E&E-123.	Organize schedules	484

0713E&E-124.	Perform word-processing applications	486

0713E&E-125.	Operate Basics Computer Functions	490

0713E&E-126.	Develop Computer Application skills	493

0713E&E-127.	Operate Presentation Packages	497

0713E&E-128.	Operate Spreadsheet Application	501

0713E&E-129.	Install computer operating systems and hardware	504

0713E&E-130.	Perform writing and editing skills	507

10.	Members of Curriculum Development Committee	510

# Introduction

The HVACR Industry is a worldwide enterprise, having role including operation, maintenance, system design, construction, equipment manufacturing, sales, education and research. The HVACR industry is being regulated by the manufacturers of HVACR equipment, but organizations such as HARDI, ASHRAE, SMACNA, ACCA, etc. have been established to support the industry and to encourage high standards of achievements.

HVACR is a necessity of the day for personal comfort, medical health, food preservation, water supply and work productivity. In fact, all human activities rely on HVACR in one way or the other. This industry produces thousands of jobs in the market for its products.

The HVACR experts plan, install and maintain the climate control system that makes our environment more comfortable and functional. The areas mentioned above continuously upgrading existing system for economical cost and environment efficiency.

The HVACR field also offers variety of jobs and opportunities to grow for obtaining better bread and butter and its professionals can use their skills at any place in the world.

Homes, Office Buildings, Industries such as Chemical, Food Preservation, Medical & Textile, Airplanes, Railways, Vehicles, Mobile Refrigerating Units and Electronic Equipment, all rely on HVACR systems for their better working. Hence the HVACR technology/industry provides huge employment opportunities for HVACR professionals in the field of Designing, Manufacturing, Erection, Operation & Maintenance throughout Pakistan and abroad.

# Purpose of the Qualification:

The purpose of this qualification is to set high professional standards for HVACR industry. The specific objectives for developing this qualification are as under:

- Improve the professional competence of the trainees

- Provide opportunities for the recognition of skills attained by a person through formal or informal pathways

- Improve the quality & effectiveness of training and assessment for HVACR industry

- Enable the existing workforce to capacitate themselves in new techniques and methods

# Overall objectives of training program

The HVACR qualification of level 5 consists of both the theoretical and practical details and having the following Occupations

| HVACR Electrician | Level 2 |
| --- | --- |
| HVACR Draftsman | Level 2 |
| Assistant Machinist | Level 2 |
| Assistant Technician Refrigeration | Level 3 |
| HVACR Technician | Level 3 |
| HVACR System Designer I | Level 4 |
| HVACR Service Technician | Level 4 |
| HVACR Installer | Level 4 |
| HVACR System Designer II | Level 5 |
| HVACR BMS Technician | Level 5 |
| Industrial HVACR Technician | Level 5 |

# Date of Validation

The level 5 of National qualification on HVACR Technology has been validated by the Qualifications Development Committee (QDC) members on 04-08-2020 to 08-08-2020 and will remain valid for 10 years

# Entry level of trainees

The entry for D.A. E National Diploma level 5, in HVACR Technology are

- A person having National Vocational Certificate level 4, in HVACR Technology for entry into level 5.

- A person having Matric certificate with Science subjects for entry into level 2.

# Minimum qualification for teachers

- B. Tech in RAC/Mechanical 4 Years

- B.Sc. / B.E. in Mechanical Engineering 4 Years

- D. A. E. in HVACR with 3 Years teaching experience

- Must be able to communicate effectively

Medium of instruction

English, and Urdu.

# Duration of the course:

The proposed curriculum is composed of 130 modules that will be covered in 3592 Learning hours. Duration of the course is proposed to be Three years. The total weightage for technical modules is 3600 hours. A total of 1200 hours have been reserved for allied subject i.e. Islamic studies, English, Mathematics, Physics and Chemistry.

The details of technical modules are given as under:

Level - 2 = 6 months. (Single Semester)

Level - 3 = 6 months. (Single Semester)

Level - 4 = 1 Year. (Two Semesters)

Level - 5 = 1 Year. (Two Semesters)

The overall distribution of contact hours and Credit Hours is given below:

Total.		3592 hours. & 359.2 Credits

The distribution of contact hours and credit hours in each level is given below:

Level - 2 = 6 months (16 weeks)

Total.		600 hours. & 60 Credits

Theory.	110hours (18.24%)

Practical.	490 hours (81.75%)

Level - 3 = 6 months (16 weeks)

Total.		599 hours. & 59.9 Credits

Theory.	126 hours (21 %)

Practical.	473 hours (79 %)

Level - 4 = 1 Year (16 weeks + 16 Weeks)

Total.		1200 hours. & 120 Credits

Theory.	315 hours (26.25 %)

Practical.	885 hours (73.75 %)

Level - 5 = 1 Year (16 weeks + 16 Weeks)

Total.		1190 hours. & 119 Credits

Theory.	472 hours (39.7 %)

Practical.	718hours (60.3 %)

# Description and structure of the course

Following is the structure of the course:

(National Qualification Certificate in HVACRTechnology Level 2)

| Module Code | Name of Competency | Category | Level | Contact Hour |  |  | Credit |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th | Pr | Total |  |
|  | HVACR Electrician |  |  |  |  | 600 | 60 |
| 0713E&E-5 | Measure Electrical Quantities in Electrical Circuits | Technical | 2 | 10 | 30 | 40 | 4 |
| 0713E&E-6 | Prepare Electrical Circuits for Commercial Refrigeration Systems | Technical | 2 | 7 | 33 | 40 | 4 |
| 0713E&E-7 | Evaluate Transformer & Verify Kirchhoff’s Law | Technical | 2 | 9 | 21 | 30 | 3 |
|  | HVACR Draftsman |  |  |  |  |  |  |
| 0713E&E-11 | Draw Sectioning Drawing | Technical | 2 | 3 | 27 | 30 | 3 |
| 0713E&E-12 | Draw Auxiliary Drawing | Technical | 2 | 3 | 27 | 30 | 3 |
|  | Assistant Technician Refrigeration |  |  |  |  |  |  |
| 0713E&E-14 | Joint Copper tubes | Technical | 2 | 19 | 51 | 70 | 7 |
| 0713E&E-15 | Use of Pressure gauges & Meters for measuring System Parameters | Technical | 2 | 6 | 24 | 30 | 3 |
| 0713E&E-16 | Check and Test compressors | Technical | 2 | 19 | 51 | 70 | 7 |
| 0713E&E-17 | Check and Test electrical accessories | Technical | 2 | 10 | 30 | 40 | 4 |
| 0713E&E-18 | Check and Test Electric Motors | Technical | 2 | 4 | 16 | 20 | 2 |
|  | Assistant Machinist |  |  |  |  |  |  |
| 0713E&E-20 | Perform Threading with Tap & Die | Technical | 2 | 9 | 21 | 30 | 3 |
| 0713E&E-21 | Perform Machining Operation | Technical | 2 | 7 | 33 | 40 | 4 |
| 0713E&E-22 | Perform Taper turning, Drilling and Thread Cutting by Lathe Machine | Technical | 2 | 4 | 36 | 40 | 4 |
| 0713E&E-23 | Perform Welding Process | Technical | 3 | 9 | 51 | 60 | 6 |
|  | Generic |  |  |  |  |  |  |
| 0713E&E-2. | Maintain Safe Work Environment | Generic | 2 | 12 | 18 | 30 | 30 |
|  | Total of Level 2 |  |  | 110 | 490 | 600 | 60 |

- Detail of Modules

## Maintain Safe Work Environment

Objective: This module covers the knowledge and  skills required to this learning module is designed to provide skills and knowledge to Identify Hazards at Workplace, Observe Occupational Health and Safety (OHS).

Duration:  30 Hours			                             Theory: 12 Hours				                  Practice: 	18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU 1. Identify Hazards at Workplace | Trainee will be able to: - Read and interpret work processes and procedures correctly to identify risk of hazards at workplace - Recognize engineering processes, tools, equipment and consumable materials that have the potential to cause harm - Identify any potential hazards at workplace - Take appropriate action to minimize the risk / hazards | - Types of hazards that are most likely to cause harm to health and safety - Health and safety precautions - Techniques and methods to identify the risks of hazards at workplace - Dealing with hazard to avoid any accident or injury Practical Activity: - Use personal protective equipment - Identify potential hazards and risk. - Take actions to eliminate the potential hazards | Theory-6Hrs. Practical-09Hrs. Total- 15 Hrs. | - Self-contained breathing apparatus - Fall protection (such as personal fall arrest systems, harnesses and lanyards) - Head protection (such as hard hats) - Hearing Protection Equipment (earplugs and earmuffs) - Foot protection (such as boots with metatarsal guards and puncture-resistant soles) - Hand protection (such as gloves and barrier creams) - Body Protection (such as high-visibility vests, coveralls, welding | Class Room and workshop |
| LU 2. Observe Occupational Health and Safety (OHS) | Trainee will be able to: - Work safely while complying with health and safety precautions, regulations and other relevant guidelines - Identify health and safety hazards in the workplace, so that the potential for personal injury, damage to equipment or workplace is prevented, and corrective action is taken - Deal with problems which are within your control, and report those that cannot be resolved to safety officer - Wear, adjust, and maintain Personal Protective Equipment to ensure correct fit and optimum protection in compliance with company procedures - Keep work area clean and clear of obstructions, and storing tools or equipment, so that the potential for accident or injury is prevented | - Dealing with hazards to avoid any accident or injury - Safety reporting procedures and documentation - Personal Protective Equipment use - Fire-fighting methods Practical Activity: - Perform work safely - Report potential hazard and improvements - Ensure housekeeping in order to remove the obstructions and storing tools to minimize the slip trip and fall hazard. | Theory-06Hrs. Practical-09Hrs. Total- 15 Hrs. | - Self-contained breathing apparatus - Fall protection (such as personal fall arrest systems, harnesses and lanyards) - Head protection (such as hard hats) - Hearing Protection Equipment (earplugs and earmuffs) - Foot protection (such as boots with metatarsal guards and puncture-resistant soles) - Hand protection (such as gloves and barrier creams) Body Protection (such as high-visibility vests, coveralls, welding , torque wrench) • Engine Petrol | Class Room, workshop and field visit |

## Measure Electrical Quantities in Electric Circuits

Objective: This module covers the knowledge and  skills required to this learning module is designed to provide skills and knowledge to Arrange Tools / Material for Job, Measure Resistance,	Measure Voltage & Current in Series and Parallel circuits

Duration:  40 Hours			                             Theory: 	10Hours				       Practice: 	30 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Arrange Tools / Material for Job | Trainee will be able to: - Identify & Collect tools and material as per job. - Prepare workplace for the job/task. - Prepare Layouts/circuit diagrams for job/task - Arrange backup resources for lighting, power and safety purposes as per job requirement | - Hazards that are most likely to cause harm - Identification and use of Personal Protective Equipment (PPE) - PVC cables With Standard cable numbers as well as type of insulation. - Interpretation of cable Ampacity chart - Electrical tools specially electrician knife to remove insulation from the conductor. - Watts, ohms, volts, and amps - Electrical characteristics of both series and parallel circuits - Calculate resistance in a parallel and series circuit - Define the equivalent capacitance in a parallel and series circuit - Drawings related to joints type to make them properly. - Different types of insulations and sheaths - Testing devices present in electrician test box. - Interpretation of drawings, symbols, cable number according to load - Record keeping and reporting Practical Activity: - Identify tools to measure voltage in parallel circuit | Theory-2Hrs. Practical-10 Hrs. Total- 12 Hrs. | - Personal Protective Equipment (PPE) - Combination Plier - Power Supply - Electrician Knife - Lamps - Lamp Holders - Single way switches - AVO Meter (Multi Meter) - Two Pin Socket - Wooden Board | Class Room and workshop |
| - Measure Resistance | Trainee will be able to: - Measure resistance using Ohm's law. formula V=I/R - Measure resistance of a given wire with the help of ampere, volt, ohm (AVO) meter - Measure the resistance in a series circuit with an Ohmmeter | - Hazards that are most likely to cause harm - Identification and use of Personal Protective Equipment (PPE) - Types of cable joints - PVC cables With Standard cable numbers as well as type of insulation. - Interpretation of cable Ampacity chart - Electrical tools specially electrician knife to remove insulation from the conductor. - Watts, ohms, volts, and amps - Electrical characteristics of both series and parallel circuits - Drawings related to joints type to make them properly. - Different types of insulations and sheaths - Testing devices present in electrician test box. - Interpretation of drawings, symbols, cable number according to load - Record keeping and reporting Practical Activity: - Measure resistance of cable using multimeter | Theory-4 Hrs. Practical-10 Hrs. Total- 14 Hrs. | - Personal Protective Equipment (PPE) - Power Supply - Combination Plier - Electrician Knife Lamps - Lamp Holders - Single way switches - AVO Meter (Multi Meter) - Two Pin Socket - Cables - Insulation tape | Class Room and workshop |
| - Measure Voltage & Current in Series and Parallel circuits | Trainee will be able to: - Measure voltage drop in a series circuit using Voltmeter. - Measure voltage drop in a parallel circuit using Voltmeter. - Measure current in a series circuit using clamp-on ammeter. - Measure current in a parallel circuit using clamp-on ammeter. - Measure an in-line amperage reading with AVO meter. | - Hazards that are most likely to cause harm - Ohm’s law - Identification and use of Personal Protective Equipment (PPE) - Identification of tools according to their use/range - Types of cable joints - PVC cables With Standard cable numbers as well as type of insulation. - Interpretation of cable Ampacity chart - Electrical tools specially electrician knife to remove insulation from the conductor. - Watts, ohms, volts, and amps - Electrical characteristics of both series and parallel circuits - Drawings related to joints type to make them properly. - Different types of insulations and sheaths - Testing devices present in electrician test box. - Interpretation of drawings, symbols, cable number according to load - Record keeping and reporting Practical Activity: Measure voltage. Current and resistance in a complex circuit. | Theory-4 Hrs. Practical-10 Hrs. Total- 14 Hrs | - Personal Protective Equipment (PPE) - Power Supply - Combination Plier - Electrician Knife Lamps - Lamp Holders - Single way switches - AVO Meter (Multi Meter) - Two Pin Socket - Cables - Insulation tape - Series/parallel test bench | Class Room and workshop |

## prepare Electrical Circuits for Commercial Refrigeration Systems

Objective: This module covers the knowledge and  skills required to Arrange Tools / Material for Job, Draw circuit diagram and install accessories and Dismantle and Re-assemble motors.

Duration:  40 Hours			                             Theory: 	7Hours				      Practice: 	 33Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Arrange Tools / Material for Job | Trainee will be able to: - Identify and Collect tools & material as per job. - Prepare workplace for the job/task. - Prepare Layouts/circuit diagrams for job/task - Arrange backup resources for lighting, power and safety purposes as per job requirement | - Hazards that are most likely to cause harm - Identification and use of Personal Protective Equipment (PPE) - Watts, ohms, volts, and amps - Ammeter, ohmmeter, voltmeter and wattmeter use - Electrical characteristics of both series and parallel circuits - Electrical functioning of different machines and equipment - Basics causes and effects for common electrical faults - Electrical working job - Different types of drawings (e.g. power, control, single line etc.) - How to prepare drawing if not available - Types of breakers, contactors, relays etc. - Electrical symbols to be used in drawings - Record keeping and reporting Practical Activity: - Identify tools to disassemble motor. | Theory-1Hrs. Practical-9Hrs. Total- 10 Hrs. | - Personal Protective Equipment (PPE) - Single pole Breaker - Capacitor start induction run motor - Overload relay - Speed-regulator Switch - Screwdriver set - Combination Plier - Adjustable Wrench - Allen Key Set - Pulley Puller - Three Pole Breaker - Electric Line Tester | Class Room and workshop |
| - Draw circuit diagram and install accessories | Trainee will be able to: - Draw the circuit diagram for a commercial refrigerating system. - Install a single pole breaker to control the whole circuit. - Install motor and capacitor in circuit. - Install relay and overload in circuit. | - Hazards that are most likely to cause harm - Identification and use of Personal Protective Equipment (PPE) - Watts, ohms, volts, and amps - Ammeter, ohmmeter, voltmeter and wattmeter use - Electrical characteristics of both series and parallel circuits - Electrical functioning of different machines and equipment - Basics causes and effects for common electrical faults - Electrical working job - Different types of drawings (e.g. power, control, single line etc.) - How to prepare drawing if not available - Types of breakers, contactors, relays etc. - Electrical symbols to be used in drawings - Record keeping and reporting Practical Activity: - Draw a circuit diagram for commercial refrigeration system and install electrical components. | Theory-3 Hrs. Practical-12 Hrs. Total- 15 Hrs. | - Personal Protective Equipment (PPE) - Single pole Breaker - Capacitor start induction run motor - Overload relay - Speed-regulator Switch - Screwdriver set - Combination Plier - Adjustable Wrench - Allen Key Set - Pulley Puller - Three Pole Breaker - Electric Line Tester | Class Room and workshop |
| - Dismantle and Re-assemble motors. | Trainee will be able to: - Dismantle capacitor start induction run motor - Identify parts of capacitor start induction run motor - Check automatic motor control circuit of single-phase induction motor according to constructional drawing - Check the speed-regulator switch in motor control circuit. - Re-assemble the capacitor start induction motor. - Test the capacitor start induction motor | - Hazards that are most likely to cause harm - Identification and use of Personal Protective Equipment (PPE) - Watts, ohms, volts, and amps - Ammeter, ohmmeter, voltmeter and wattmeter use - Electrical characteristics of both series and parallel circuits - Electrical functioning of different machines and equipment - Basics causes and effects for common electrical faults - Electrical working job - Different types of drawings (e.g. power, control, single line etc.) - How to prepare drawing if not available - Types of breakers, contactors, relays etc. - Electrical symbols to be used in drawings - Record keeping and reporting Practical Activity: Replace the bearing of induction motor. | Theory-3 Hrs. Practical-12 Hrs. Total- 15 Hrs | - Personal Protective Equipment (PPE) - Single pole Breaker - Capacitor start induction run motor - Overload relay - Speed-regulator Switch - Screwdriver set - Combination Plier - Adjustable Wrench - Allen Key Set - Pulley Puller - Three Pole Breaker - Electric Line Tester | Class Room and workshop |

## Evaluate Transformer & Verify Kirchhoff’s Law

Objective: This module covers the knowledge and  skills required to Arrange Tools/Material for Job, Evaluate the transformer, Control circuit of transformer and Verify Kirchhoff’s Law.

Duration:  30 Hours			                             Theory: 	9Hours				      Practice: 	 21Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Arrange Tools/Material for Job | Trainee will be able to: - Identify & Collect tools and material as per job. - Prepare workplace for the job/task. - Prepare Layouts/circuit diagrams for job/task - Arrange backup resources for lighting, power and safety purposes as per job requirement | - Hazards that are most likely to cause harm - Identification and use of Personal Protective Equipment (PPE) - American Society of Heating, Refrigeration and Air Conditioning Engineers (ASHRAE) - Watts, ohms, volts, and amps - Ammeter, ohmmeter, voltmeter and wattmeter use - Electrical characteristics of both series and parallel circuits - Calculate resistance in a parallel and series circuit - Calculate capacitance in a parallel and series circuit - Electrical functioning of different machines and equipment - Inspection procedure for electrical equipment (e.g. motors, transformers, switch gears, valves and sensors) - Overloads relays, Current, Capacitor - Types of breakers, contactors, relays etc. - Electrical symbols to be used in drawings - Record keeping and reporting | Theory-1Hrs. Practical-3 Hrs. Total- 4 Hrs. | - Personal Protective Equipment (PPE) - Transformer - Relay contactor - Voltmeter - Switching relay - Ohmmeter - Ampere meters - Resistors (Assorted Range) - Screwdriver set - Combination Plier - Electrician Test Box - Electric Line Tester | Class Room and workshop |
| - Evaluate the transformer | Trainee will be able to: - Check resistance of transformer with an ohm meter. - Check transformer primary and secondary voltage using voltmeter. - Verify current and voltage transformation ratios of transformer. | - Hazards that are most likely to cause harm - Identification and use of Personal Protective Equipment (PPE) - American Society of Heating, Refrigeration and Air Conditioning Engineers (ASHRAE) - Watts, ohms, volts, and amps - Ammeter, ohmmeter, voltmeter and wattmeter use - Electrical characteristics of both series and parallel circuits - Calculate resistance in a parallel and series circuit - Calculate capacitance in a parallel and series circuit - Electrical functioning of different machines and equipment - Inspection procedure for electrical equipment (e.g. motors, transformers, switch gears, valves and sensors) - Overloads relays, Current, Capacitor - Types of breakers, contactors, relays etc. - Electrical symbols to be used in drawings - Record keeping and reporting Practical Activity: - Verify the specification of transformer | Theory-1 Hrs. Practical-3 Hrs. Total- 4Hrs. | - Personal Protective Equipment (PPE) - Transformer - Relay contactor - Voltmeter - Switching relay - Ohmmeter - Ampere meters - Resistors (Assorted Range) - Screwdriver set - Combination Plier - Electrician Test Box - Electric Line Tester | Class Room and workshop |
| - Control circuit of transformer | Trainee will be able to: - Connect a step-down transformer to a relay contactor - Check a relay contactor with voltmeter. - Check a relay contactor with ohm meter. - Control two loads using switching relay into the circuit. | - Hazards that are most likely to cause harm - Identification and use of Personal Protective Equipment (PPE) - American Society of Heating, Refrigeration and Air Conditioning Engineers (ASHRAE) - Watts, ohms, volts, and amps - Ammeter, ohmmeter, voltmeter and wattmeter use - Electrical characteristics of both series and parallel circuits - Calculate resistance in a parallel and series circuit - Calculate capacitance in a parallel and series circuit - Electrical functioning of different machines and equipment - Inspection procedure for electrical equipment (e.g. motors, transformers, switch gears, valves and sensors) - Overloads relays, Current, Capacitor - Types of breakers, contactors, relays etc. - Electrical symbols to be used in drawings - Record keeping and reporting Practical Activity: Control two loads connected with step down transformer using switching relay contactor. | Theory-2 Hrs. Practical-6 Hrs. Total- 8 Hrs | - Personal Protective Equipment (PPE) - Transformer - Relay contactor - Voltmeter - Switching relay - Ohmmeter - Ampere meters - Resistors (Assorted Range) - Screwdriver set - Combination Plier - Electrician Test Box - Electric Line Tester | Class Room and workshop |
| - Verify Kirchhoff’s Law | Trainee will be able to: - Draw a series-parallel circuit using resistors - Install voltmeters in the circuit. - Install ampere meters in the circuits at total input and individually with all the circuit resistors. - Connect circuit to the power source - Get readings of all meters and verify the Kirchhoff’s Law. - Verify that sum of all voltage drop in the circuit is equal to the total input voltage. - Verify that sum of all currents is equal to zero. | - Hazards that are most likely to cause harm - Identification and use of Personal Protective Equipment (PPE) - American Society of Heating, Refrigeration and Air Conditioning Engineers (ASHRAE) - Watts, ohms, volts, and amps - Ammeter, ohmmeter, voltmeter and wattmeter use - Electrical characteristics of both series and parallel circuits - Calculate resistance in a parallel and series circuit - Calculate capacitance in a parallel and series circuit - Electrical functioning of different machines and equipment - Inspection procedure for electrical equipment (e.g. motors, transformers, switch gears, valves and sensors) - Overloads relays, Current, Capacitor - Types of breakers, contactors, relays etc. - Electrical symbols to be used in drawings - Record keeping and reporting Practical Activity: - Make a circuit to prove Kirchhoff’s law. | Theory-2 Hrs. Practical-6 Hrs. Total- 8 Hrs | - Personal Protective Equipment (PPE) - Transformer - Relay contactor - Voltmeter - Switching relay - Ohmmeter - Ampere meters - Resistors (Assorted Range) - Screwdriver set - Combination Plier - Electrician Test Box - Electric Line Tester | Class Room and workshop |

## Draw Sectioning Drawing

Objective: This module covers the knowledge and  skills required to this learning module is designed to draw sectioning and pictorial drawings.

Duration:  30	Hours			                             Theory: 3	Hours				                  Practice: 	27 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Draw sectioning | Trainee will be able to: - Draw material symbols used in sectioning - Draw full section of an object - Draw half section of an object - Draw broken section of an object - Draw sectional view of machine components | - Material symbols used in engineering drawing - full section of an object - Half section of an object - sectional views of machine components Practical Activity: - Draw a view to show full and half section of a part | Theory-3 Hrs. Practical-12 Hrs. Total- 15 Hrs. | - T-square - Set square - Compass - Eraser - Pencil - Sharpener - Drawing sheet - Drawing board - Drafting machine - French Curves - Rulers - Compass - Templates | Class Room and Drawing Hall |
| - Draw pictorial Drawing | Trainee will be able to: - Draw isometric view of an object - Draw isometric view of arc - Draw isometric view of circle - Draw oblique view of a rectangular block - Draw isometric views of an object / components | - Oblique view of a rectangular block - isometric views of an object Practical Activity: - Draw isometric view of a given object | Theory-3 Hrs. Practical-12 Hrs. Total- 15 Hrs. | - T-square - Set square - Compass - Eraser - Pencil - Sharpener - Drawing sheet - Drawing board - Drafting machine - French Curves - Rulers - Compass - Templates | Class Room and Drawing Hall |

## Draw Auxiliary Drawing

Objective: This module covers the knowledge and  skills required to this learning module is designed to draw primary auxiliary and true length line drawings.

Duration:  30	Hours			                             Theory: 3	Hours				                  Practice: 	27 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Draw primary auxiliary view | Trainee will be able to: - Draw Primary auxiliary view of frontal projection - Draw primary auxiliary view of horizontal projection - Draw primary auxiliary view of profile projection | - Auxiliary views applications - Primary auxiliary views of frontal projection - Primary auxiliary view in horizontal projection - Primary auxiliary view in profile projection Practical Activity: - Draw primary auxiliary views of required object | Theory-3 Hrs. Practical-12 Hrs. Total- 15 Hrs. | - T-square - Set square - Compass - Eraser - Pencil - Sharpener - Drawing sheet - Drawing board - Drafting machine - French Curves - Rulers - Compass - Templates | Class Room and Drawing Hall |
| - Draw true length line | Trainee will be able to: - Draw true length line in auxiliary view of different objects - Draw auxiliary view in different objects - Draw auxiliary view of objects - Draw auxiliary view of component part | - True length line in the auxiliary view of different objects - secondary auxiliary view in different objects Practical Activity: - Draw secondary auxiliary views of required object | Theory-3 Hrs. Practical-12 Hrs. Total- 15 Hrs. | - T-square - Set square - Compass - Eraser - Pencil - Sharpener - Drawing sheet - Drawing board - Drafting machine - French Curves - Rulers - Compass - Templates | Class Room and Drawing Hall |

## Perform Threading with Tap & Die

Objective: This module cover the knowledge and skills required to  Plan and prepare for Thread work , Cut internal threads using Tap , Cut external threads using Die , Complete the work

Duration: 30 Hours						Theory:  09Hours					Practice: 21 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Plan and prepare for Thread work | Trainee will be able to: - Identify job material and tools required - Get the required job material and tools issued from main store - Wear proper safety dress - Plan sequence of procedural steps to complete the job | - Identification and use of Personal Protective Equipment (PPE) - Thread and their uses - Types of hazards that are most likely to cause harm Practical Activity: Demonstrate the use of PPE | Theory- 01Hrs Practical 03Hrs Total- 04Hrs | - Work bench - Thread gauge - Bench vice - Measuring tools | Classroom and Lab |
| LU2. Cut internal threads using Tap | Trainee will be able to: - Clamp the work piece in bench vice jaws - Prepare the work piece using file up to required sizes - Mark the location of central point of hole - Punch the center of hole - Drill the hole as per required tap drill size - Hold the tap in tap handle - Re-clamp the work piece in vice jaws for taping - Locate the tap in hole and rotate it clockwise direction carefully - Use tap no 1, 2 and 3 after one and another - Check the thread with thread plug gauge | - Thread and their uses - Pitch & lead of thread - Thread cutting methods - Cutting tools which are used in metal work - Cutting of internal threads by using tap - Cutting external threads by using die & die stock - Perform drilling operation Practical Activity: Make internal threads in job | Theory- 01Hrs Practical 03Hrs Total- 04Hrs | - Work bench - Thread gauge - Drill machine - Hand hacksaw | Classroom & Lab |
| LU3. Cut external threads using Die | Trainee will be able to: - Cut the job material in to required size - Chamfer the sharp edge of job by filing - Select the proper threading die as per requirement of work - Locate the threading die in the diestock - Clamp the work piece in V-block - Hold the V-block in vice - Cut threads up to required length - Check the threads with thread ring gauge | - Thread cutting methods - Cutting tools which are used in metal work - Cutting of internal threads by using tap - Cutting external threads by using die & die stock - Perform drilling operation - Layout tools & Marking tools - Perform regarding filing of metal jobs Practical Activity: Make external threads on job | Theory- 01Hrs Practical 03Hrs Total- 04Hrs | - Bench vice - Thread gauge - Thread gauge - Drill machine - Twist drill set (Assorted range) - Tap & Die set (Assorted range) | Class room & Lab |
| LU4. Complete the work | Trainee will be able to: - Complete the work in accordance with requirement - Clean and clear your work area - Return the tools and equipment to the main store Get you work checked by your instructor | - Record keeping and reporting Practical Activity: Perform threading with tap and die | Theory- 01Hrs Practical 03Hrs Total- 04Hrs | - Work bench - Bench vice - Measuring tools - Twist drill set (Assorted range - Tap & Die set (Assorted range) | Classroom & Lab |

## Perform Machining Operation

Objective: This module cover the knowledge and skills required to  Perform the centering of job , Perform facing operation, Perform simple turning, Perform step turning , Perform knurling operation.

Duration: 40 Hours					Theory: 07 Hours						Practice: 33 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Perform the centering of job | Trainee will be able to: - Identify job material and tools required. - Wear safety dress. - Clamp the job in chuck - Locate surface gauge at cross side - Check the concentricity of job - Adjust the work piece if required | - Identification and use of Personal Protective Equipment (PPE) - Types of hazards that are most likely to cause harm to health and safety with HVAC tools - Measuring tools - Work holding devices identification - Centering and facing process - Sharpening and clamping of facing tool Practical Activity: Demonstrate the use of PPE | Theory 02Hrs Practical 06Hrs Total-08 Hrs | - Power saw machine - Personal Protective Equipment - Measuring and marking tools (assorted range) - Work holding devices and attachments | Classroom and Lab |
| LU2. Perform facing operation | - Clamp the job in chuck extending 10mm length from chuck jaws - Clamp facing tool in tool post - Set suitable Revolution Per Minute (RPM) - Set the suitable depth 1mm for rough cut - Perform facing operation by moving the tool uniformly towards the center of job - Take finishing cut having 0.1mm depth | - Work holding devices identification - Centering and facing process - Cutting speed, feed and depth of cut - Simple turning, rough and finish turning process Practical Activity: Perform facing operation | Theory 02Hrs Practical 06Hrs Total- 08 Hrs | - Measuring and marking tools (assorted range) - Work holding devices and attachments - Pedestal grinder with tools, cutting angle support | Classroom and Lab |
| LU3.Perform simple turning | - Clamp the job in chuck extending suitable length - Support free end of job - Set proper depth of cut from cross slide dial for rough cut - Set suitable Revolution Per Minute (RPM) - Take rough cut up to specified length - Take finishing cut - Measure the diameter and length as per drawing | - Simple turning, rough and finish turning process - Define step turning - Grinding of turning tool - Clamping and positioning of knurling tools Practical Activity: Create a cylindrical object from rectangular cross-section by performing turning operation | Theory 01Hrs Practical 06Hrs Total- 07 Hrs | - Work holding devices and attachments | Classroom and Lab |
| LU4. Perform step turning | Trainee will be able to: - Mark the length of step - Set the turning tool in proper position - Turn the diameter & length of step as specified Check the sizes of step | - Simple turning, rough and finish turning process - Define step turning - Grinding of turning tool Practical Activity: Perform step turning on a job | Theory 01Hrs Practical 06Hrs Total- 07 Hrs | - Turning, parting, grooving and forming tools etc. (assorted range) - Measuring and marking tools (assorted range) - Lathe machine (with standard accessories) | Classroom and Lab |
| LU5.Perform knurling operation. | - Mark the length of knurling portion - Select proper knurling tool - Clamp the knurling tool in proper position - Set slow RPM for knurling Finish knurling operation | - Knurling, types and knurling tools - Clamping and positioning of knurling tools - Measuring tools Practical Activity: Perform knurling operation on job | Theory 01Hrs Practical 09Hrs Total- 10 Hrs | - Measuring and marking tools (assorted range) - Knurling tools (assorted range) | Classroom and Lab |

## Perform Taper Turning, Drilling and Thread Cutting by Lathe Machine

Objective: This module cover the knowledge and skills required to  Perform taper turning operation, Perform drilling, Perform Thread cutting on lathe machine

Duration: 40 Hours					Theory:  04Hours					Practice: 36 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Perform taper turning operation. | Trainee will be able to: - Wear personal protective equipment - Clean and oil the machine - Calculate the taper angle - Set the compound rest at required angle - Perform taper turning as per specification taking necessary steps | - Identification and use of Personal Protective Equipment (PPE) - Types of hazards that are most likely to cause harm to health and safety with HVAC tools - Marking tools - Taper turning operation - Different methods of taper turning - Calculation of taper angle - Practical Activity: Demonstrate the use of PPE | Theory- 02Hrs Practical-12Hrs Total- 14 Hrs | - Lathe machine (with standard accessories) - Personal protective equipment | Classroom and Lab |
| LU2.Perform drilling | - Select the suitable drill as per work requirement - Mark the center of hole - Clamp the drill in drill chuck - Locate drill chuck in machine spindle - Clamp the work piece in proper position - Set the suitable RPM for drilling - Perform drilling operation with proper feed | - Drilling and threading operation - Calculation of RPM required for drilling - Clamping and positioning of job for drilling Practical Activity: Perform drilling operation | Theory 01Hrs Practical 12Hrs Total 13 Hrs | - Twist drill bits and boring bars (assorted range) - Lathe machine (with standard accessories | Classroom and Lab |
| LU3.Perform Thread cutting on lathe machine. | Trainee will be able to: - Turn the job as per specification - Select proper threading tool - Clamp and position the threading tool - Select and set suitable RPM for thread cutting - Set the position of tumbler gear lever for required pitch of thread - Take trail cut by engaging half nut lever and measure the pitch of thread - By repeating necessary steps complete the required depth of thread | - Type of threads and methods of threads cutting - Pitch, lead and depth of thread and relation amongst them - Thread cutting mechanism of lath machine Practical Activity: Perform Thread cutting on lathe machine. | Theory-01 Hrs Practical-12 Hrs Total- 13 Hrs | - Lathe machine (with standard accessories - Threading tools (assorted range) | Classroom and Lab |

## Perform Welding Process

Objective: This module cover the knowledge and skills required to  identify and make Oxy-Acetylene Flames, Perform Flange joint, Make MS Butt joint by Oxy Acetylene flame, Perform MS Lap joint by Oxy Acetylene flame, Make brazing joints., Prepare soldering joint, Make Arc Welding joint.

Duration: 58 Hours						Theory: 07 Hours				Practice: 51 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Identify and make Oxy-Acetylene Flames | Trainee will be able to: - Wear personal protective equipment - Fix oxygen acetylene regulator - Open oxygen/acetylene cylinder valve - Check leakage of regulators - Open valve of acetylene from welding torch valve and light the torch and make neutral flame - Identify and make the harsh flame - Identify and make the carburizing flame - Identify and make the neutral flame - Identify and make the oxidizing flame | - Identification and use of Personal Protective Equipment (PPE) - Types of hazards that are most likely to cause harm to health and safety with HVAC tools - Carburizing flame add small quantity of oxygen gas - Inner core of carburizing flame - Neutral and Oxidizing flame Practical Activity: Demonstrate the use of PPE | Theory-01 Hrs Practical- 06Hrs Total- 07Hrs | - Personal protective equipment - Oxygen gas cylinder - Acetylene gas cylinder | Classroom and Lab |
| LU2.Perform Flange joint | Trainee will be able to: - Bend of MS sheet at 90o to make flange - Put both pieces on welding table without gap - Grip the pieces from flange - Open the pressure of both cylinders - Make flame and melt the edges and continue this process to complete joint | - Flange joint use to join the thin sheets without filler rod by neutral flame - Gap between both pieces of base metal for open square butt join Practical Activity: Make a flange joint | Theory- 01Hrs Practical- 06Hrs Total- 07Hrs | - Oxygen gas cylinder - Pressure regulators | Classroom and Lab |
| LU3. Make MS Butt joint by Oxy Acetylene flame | Trainee will be able to: - Clean and straight the both edges of base metal - Adjust both gases pressures - Set base metals with required gap - Make neutral flame - Melt the edge of base metal and fill the gap by fusing filler rod on both sides - Complete the bead after tacking continue the puddle making and filling of gap | - Neutral and Oxidizing flame - Flange joint use to join the thin sheets without filler rod by neutral flame - Gap between both pieces of base metal for open square butt join Practical Activity: Make MS Butt joint by Oxy Acetylene flame | Theory- 01Hrs Practical- 06Hrs Total- 07Hrs | - Acetylene gas cylinder | Classroom and Lab |
| LU4. Perform MS Lap joint by Oxy Acetylene flame | Trainee will be able to: - Clean and straight the both edges of base metal - Adjust both gases pressure - Set base metals in overlap position - Make neutral flame - Make puddle at edges and fill the gap by molten filler metal Complete the joint by using filler rod | - Carburizing flame add small quantity of oxygen gas - Neutral and Oxidizing flame Practical Activity: - Make different joint of metals use Oxy Acetylene Gas welding set | Theory 01 Hrs Practical- 06Hrs Total- 07Hrs | - Acetylene gas cylinder - Oxygen gas cylinder - Filler rod with filler rod holder | Classroom and Lab |
| LU5. Make brazing joints. | - Clean and straight the both edges of base metal - Put the both pieces of base metal on the welding table - Heat up the edges of base metal up to red hot condition - Use the brazing flux with cleaned nonferrous filler rod Complete the process of joint by using fore hand technique | - Brazing differ from fusion welding in which base metal is not melted and have no gape between base metal pieces Practical Activity: - Make a sample of brazing joint | Theory- 01Hrs Practical- 09Hrs Total- 10Hrs | - Welding machine (Welding transformer or welding rectifier or welding generator - Spark lighter - Welding table | Classroom and Lab |
| LU6.Prepare soldering joint | - Make permanent joint of different materials using nonferrous filler metal having melting point less than 800oF with the help of soldering iron. - Heat copper made soldering iron in furnace - Heat copper made soldering iron by electricity - Clean the surfaces to be joint - Apply soldering flux on the clean surfaces | - Neutral and Oxidizing flame - Flange joint use to join the thin sheets without filler rod by neutral flame - Gap between both pieces of metal for open square butt join base - Neutral flame for thin sheets an oxidizing flame for welding of thick sheet - Angle of welding torch be kept at 45O between fillet Practical Activity: - Make a soldering joint | Theory- 01Hrs Practical-09 Hrs Total- 10Hrs | - Filler rod with filler rod holder - Tip cleaner - Soldering iron along with soldering rod | Lab |
| LU7.Make Arc Welding joint | - Wear personal protective equipment - Clean and straight the edges of base metal - Set the both pieces of base metal with sufficient gap - Switch on the welding machine and set required current - Tack both ends of base metal - Clean the slag from both tacks - Start bead from one end of base metal with proper length of Arc and proper speed - Remove slag from bead | - Angle of welding torch be kept at 45O between fillet - Identification and use of Personal Protective Equipment (PPE) - Types of hazards that are most likely to cause harm to health and safety with HVAC tools - Gap between both pieces of metal for open square butt join base Practical Activity: - Make joint by Arc welding | Theory- 01Hrs Practical-09 Hrs Total- 10Hrs | - Spark lighter - Goggles - Welding table - Welding torch - Welding machine - welding screen or helmet - Personal protective equipment | Classroom & Lab |

- Joint Copper Tubes

Objective: This module covers the knowledge and  skills required to perform permanent copper Joints and perform temporary copper Joints.

Duration:  32	Hours			                             Theory: 08Hours			                Practice: 	24 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Perform Permanent Copper Joints | Trainee will be able to: - Measure and Cut the tubes according to drawing - Ream of tubes end inside and outside to clean debars. - Prepare the neutral flame - Apply flux at joints. - Assembly and support to join of copper tubes - Heat the joints by using neutral flame - Apply solder rod at joints - Cool and clean the joints - Leak testing the joints | - Torch types identification used for cutting and welding - Methods of permanent copper joints - Angles and measurements of copper tubes to grip in the yoke - Methods of leak testing - Record keeping and reporting Practical Activity - Perform silver soldering & brazing method to join tubes | Theory-04Hrs. Practical-12 Hrs. Total- 16 Hrs. | - Personal Protective Equipment - Basic Measuring tools - Basic Hand tools - Basic Cutting tools - Basic Marking tools - Copper tube cutter - Gas welding set | Classroom and Lab |
| - Perform Temporary Copper Joints | Trainee will be able to: - Measure and cut the tubes according to drawing - Cut the tubes squarely by using a tube cutter with sharp wheel. - Ream of tube ends inside and outside to clean burrs - Place the flare nut once the tubing is flared, the nut would have to be placed from the far end - Match the tube diameter to the hole in the block and insert the tubing into the flaring block - Tight the nearest nut first and then tight the far nut - Ensure that the block holds the tubing tightly - Slip the yoke on the flaring block, slots in the yoke engage the flaring block and center the anvil cone over the tubing - Tighten the mandrel screw, then loosen and retighten once or twice to fully seat and flare the copper - Hold the flared end on the fitting, and tighten the nut - Snug it but don’t over-tighten - Snug it up more if an air test reveals a leak | - Fittings or valve types identification for specific applications - Copper Tube cutting, Reaming, Bending, Swaging, Flaring, - Methods of leak testing - Record keeping and reporting Practical Activity Perform swaging method to join tubes | Theory-04 Hrs. Practical 12 Hrs. Total- 16 Hrs. | - Basic Power tools - Basic Marking tools - Flaring tool set - Swaging tool set - Copper tube bender - Tube Cutter | Classroom and Lab |

- Use of Pressure Gauges and Meters for Measuring Refrigerants Pressure

Objective: This module covers the knowledge and  skills required to perform apply compound pressure gauge ,apply high pressure gauge and apply gauge manifold

Duration:  30	Hours			                             Theory: 06Hours			                Practice: 	24 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Apply Compound Pressure Gauge | Trainee will be able to: - Identify the color of compound pressure gauge - Read gauge Pressure from 1 to 250 PSIG - Read vacuum reading from 1 inches of Hg to 30 inches of Hg. - Measure the suction pressure of different refrigerants. - Identify & use of different port for different purpose. | - Conversion of different pressure scale - Pressure and Temperature laws - Micron unit and Micron pressure - Inches of mercury absolute - Bourdon tubes construction and working - Working principles of pressure gauges and its types - Refrigerant recovery method - Record keeping and reporting Practical Activity - Measure the suction pressure of different refrigerants | Theory-02Hrs. Practical-06 Hrs. Total- 08 Hrs. | - Compound Pressure Gauge - Allen Key Set - Gauge manifold | Classroom and Lab |
| - Apply High Pressure Gauge | Trainee will be able to: - Identify the color of high-pressure gauge. - Read gauge pressure from 1 to 500 PSIG. - Measure the discharge pressure of different refrigerants. - Identify & use of different port for different purpose. | - Conversion of different pressure scale - Pressure and Temperature laws - Micron unit and Micron pressure - Inches of mercury absolute - Bourdon tubes construction and working - Working principles of pressure gauges and its types - Refrigerant recovery method - Record keeping and reporting Practical Activity Measure the discharge pressure of different refrigerants | Theory-02Hrs. Practical-09 Hrs. Total- 11 Hrs | - High Pressure Gauge - Allen Key Set - Gauge manifold | Classroom and Lab |
| - Apply Gauge Manifold | Trainee will be able to: - Differentiate between low pressure and high-pressure gauge. - Access port that will be used for vacuuming and charging of refrigerant. - Check a flow and condition of refrigerant during recovering and charging. | - Conversion of different pressure scale - Pressure and Temperature laws - Micron unit and Micron pressure - Inches of mercury absolute - Bourdon tubes construction and working - Working principles of pressure gauges and its types - Refrigerant recovery method - Record keeping and reporting Practical Activity Measure flow of refrigerant during recovering and charging. | Theory-02Hrs. Practical-09 Hrs. Total- 11 Hrs | - Basic Measuring tools - Basic Hand tools - Basic Marking tools - Gauge manifold - Compound Pressure Gauge - High Pressure Gauge - Refrigerant Recovery Unit | Classroom and Lab |

- Check and Test Compressors

Objective: This module covers the knowledge and  skills required to perform electrical test and perform mechanical test.

Duration:  36	Hours			                             Theory: 06Hours				                  Practice: 	30 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Perform Electrical Test | Trainee will be able to: - Prepare meter adjustment and series board - Identify electrical terminals of hermetic compressor - Check continuity and resistance of start & running winding of compressor according to its specifications - Compare Resistance between start & common, start & running and common & running winding terminals according to compressor specifications - Test & Diagnose fault in compressor windings according to manufacturer’s specifications. - Evaluate the problem and report to seniors | - Ozone Protection and Synthetic Greenhouse Gas Management Act 1989 Watts, ohms, volts, and amps - Proper use of ammeter, ohmmeter, voltmeter and wattmeter - Different types of compressors - Working principles of different types of compressors - Ohm meter / Series test lamp use - Record keeping and reporting Practical Activity Adjust AVO meter | Theory-03Hrs. Practical-15Hrs. Total- 18 Hrs. | - Basic Electric tools - Ampere meter - AVO meter - Watt meter | Classroom and Lab |
| - Perform Mechanical Test | Trainee will be able to: - Start the compressor - Check discharge pressure of air / refrigerant according to its specifications - Check suction / back pressure of compressor according to its specifications - Evaluate and diagnose fault according to manufacturer’s specifications. | - Ozone Protection and Synthetic Greenhouse Gas Management Act 1989 - Different types of compressors - Working principles of different types of compressors - Pressure and Temperature laws - Record keeping and reporting Practical Activity Measure suction pressure of compressor | Theory-03 Hrs. Practical-15 Hrs. Total- 18 Hrs. | - Compressor - Pressure gauge - Test Series lamp | Classroom and Lab |

- Check and Test Electrical Accessories

Objective: This module covers the knowledge and  skills required to prepare for test equipment , apply check and test methods and Check the Accessories

Duration:  40	Hours			                             Theory: 08Hours				                  Practice: 	32 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Prepare for Test Equipment | Trainee will be able to: - Calibrate test instruments and prepare test series board - Identify and clean the electric terminals / points - Select the meter to check the continuity & resistance between electric terminals | - Applications of magnetic principles to electrical theory - Principles of solid-state switching devices - Meters to check basic electrical components - Electrical characteristics of both series and parallel circuits - Calculate resistance in a parallel and series circuit - Different types of electric accessories - Working principles of different accessories - Repair / maintenance of electrical accessories - Practical Activity Select the meter to check the continuity & resistance between electric terminals | Theory-03Hrs. Practical-10Hrs. Total- 13 Hrs. | - Basic Electric tools - Ampere meter - AVO meter - Watt meter | Classroom and Lab |
| - Apply check and test methods | Trainee will be able to: - Apply pressure heat or relevant conditions according to its rating - Check results of such component according to manufacturer’s specifications - Diagnose fault and report to his supervisor | - Personal Protective Equipment (PPE) use - Meters to check basic electrical components - Working principles of different accessories - Pressure and Temperature laws - Record keeping and reporting Practical Activity Apply relevant conditions of pressure & temperature | Theory-03Hrs. Practical-11 Hrs. Total- 14 Hrs. | - Personal Protective Equipment - Basic Electric tools - Ampere meter - Ohm meter - Defrost timer - Thermal Disc with Fuse - Different type of relays and overloads - Defrost heater | Classroom and Lab |
| - Check the Accessories | Trainee will be able to: - Perform the method to check overloads - Perform the method to check different relays - Perform the method to check thermostats - Perform the method to check capacitors - Perform the method to check defrost heaters - Perform the method to check defrosting timer - Perform the method to check Thermal Disc with Fuse | - Personal Protective Equipment (PPE) use - American Society of Heating, Refrigeration and Air Conditioning Engineers (ASHRAE) - Applications of magnetic principles to electrical theory - Principles of solid-state switching devices - Calculate resistance in a parallel and series circuit - Working principles of different accessories - Repair / maintenance of - electrical accessories - Pressure and Temperature laws Practical Activity Perform the method to check Thermal Disc with Fuse | Theory-02Hrs. Practical-11 Hrs. Total- 13 Hrs | - Personal Protective Equipment - Basic Electric tools - Ampere meter - Ohm meter - Defrost timer - Thermal Disc with Fuse - Different type of relays and overloads Defrost heater | Classroom and Lab |

- Check and Test Electric Motors

Objective: This module covers the knowledge and  skills required to perform Test Single Phase Motors and Test Three Phase Motors

Duration:  20	Hours			                             Theory: 04Hours				                  Practice: 	16 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1:Test Single Phase Motors | Trainee will be able to: - Identify type of single-phase motors - Identify and clean single-phase motor electric terminals - Check continuity and resistance of windings according to its specifications - Make comparison of resistances with original one mentioned by the manufacturer. - Diagnose fault in the windings of single-phase motor | - Electric motor theory i.e., magnetism, electromotive force, etc. - Different types of electric motors - Working principles of different types of electric motors - Starting components associated with single-phase motors - Operation/replacement of electric motor protection devices demonstration - Significance of power factor - Electric motors and motor circuits troubleshooting - Replace motor controls - Single phase motors testing Practical Activity Operate Star delta connections to start single phase motors | Theory-02Hrs. Practical-08 Hrs. Total- 10 Hrs. | - Single Phase motors - Basic Electric tools - Ampere meter - AVO meter - Watt meter | Classroom and Lab |
| LU2:Test Three Phase Motors | - Identify types of three phase motor - Identify and clean three phase motor electric terminals - Check continuity and resistance of Windings according to its specifications - Make comparison of resistances with original one mentioned by the manufacturer. - Check Star delta connections to start three phase motors - Diagnose fault in the windings of three phase motor | - Electric motor theory i.e., magnetism, electromotive force, etc. - Different types of electric motors - Working principles of different types of electric motors - Starting components associated three phase motors - Operation/replacement of electric motor protection devices demonstration - Significance of power factor - Electric motors and motor circuits troubleshooting - Replace motor controls - Three phase motors testing Practical Activity Operate Star delta connections to start three phase motors | Theory-02 Hrs. Practical-08Hrs. Total- 10 Hrs. | - Personal Protective Equipment - three Phase motors - Basic Electric tools - Ampere meter - AVO meter - Watt meter | Classroom and Lab |

- Perform Threading with Tap & Die

Objective: This module cover the knowledge and skills required to  Plan and prepare for Thread work , Cut internal threads using Tap , Cut external threads using Die , Complete the work

Duration: 16 Hours						Theory:  04Hours					Practice: 12 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Plan and prepare for Thread work | Trainee will be able to: - Identify job material and tools required - Get the required job material and tools issued from main store - Wear proper safety dress - Plan sequence of procedural steps to complete the job | - Identification and use of Personal Protective Equipment (PPE) - Thread and their uses - Types of hazards that are most likely to cause harm Practical Activity: Demonstrate the use of PPE | Theory- 01Hrs Practical 03Hrs Total- 04Hrs | - Work bench - Thread gauge - Bench vice - Measuring tools | Classroom and Lab |
| LU2. Cut internal threads using Tap | Trainee will be able to: - Clamp the work piece in bench vice jaws - Prepare the work piece using file up to required sizes - Mark the location of central point of hole - Punch the center of hole - Drill the hole as per required tap drill size - Hold the tap in tap handle - Re-clamp the work piece in vice jaws for taping - Locate the tap in hole and rotate it clockwise direction carefully - Use tap no 1, 2 and 3 after one and another - Check the thread with thread plug gauge | - Thread and their uses - Pitch & lead of thread - Thread cutting methods - Cutting tools which are used in metal work - Cutting of internal threads by using tap - Cutting external threads by using die & die stock - Perform drilling operation Practical Activity: Make internal threads in job | Theory- 01Hrs Practical 03Hrs Total- 04Hrs | - Work bench - Thread gauge - Drill machine - Hand hacksaw | Classroom & Lab |
| LU3. Cut external threads using Die | Trainee will be able to: - Cut the job material in to required size - Chamfer the sharp edge of job by filing - Select the proper threading die as per requirement of work - Locate the threading die in the diestock - Clamp the work piece in V-block - Hold the V-block in vice - Cut threads up to required length - Check the threads with thread ring gauge | - Thread cutting methods - Cutting tools which are used in metal work - Cutting of internal threads by using tap - Cutting external threads by using die & die stock - Perform drilling operation - Layout tools & Marking tools - Perform regarding filing of metal jobs Practical Activity: Make external threads on job | Theory- 01Hrs Practical 03Hrs Total- 04Hrs | - Bench vice - Thread gauge - Thread gauge - Drill machine - Twist drill set (Assorted range) - Tap & Die set (Assorted range) | Class room & Lab |
| LU4. Complete the work | Trainee will be able to: - Complete the work in accordance with requirement - Clean and clear your work area - Return the tools and equipment to the main store Get you work checked by your instructor | - Record keeping and reporting Practical Activity: Perform threading with tap and die | Theory- 01Hrs Practical 03Hrs Total- 04Hrs | - Work bench - Bench vice - Measuring tools - Twist drill set (Assorted range - Tap & Die set (Assorted range) | Classroom & Lab |

- Perform Machining Operation

Objective: This module cover the knowledge and skills required to  Perform the centering of job , Perform facing operation, Perform simple turning, Perform step turning , Perform knurling operation.

Duration: 40 Hours					Theory: 07 Hours						Practice: 33 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Perform the centering of job | Trainee will be able to: - Identify job material and tools required. - Wear safety dress. - Clamp the job in chuck - Locate surface gauge at cross side - Check the concentricity of job - Adjust the work piece if required | - Identification and use of Personal Protective Equipment (PPE) - Types of hazards that are most likely to cause harm to health and safety with HVAC tools - Measuring tools - Work holding devices identification - Centering and facing process - Sharpening and clamping of facing tool Practical Activity: Demonstrate the use of PPE | Theory 02Hrs Practical 06Hrs Total-08 Hrs | - Power saw machine - Personal Protective Equipment - Measuring and marking tools (assorted range) - Work holding devices and attachments | Classroom and Lab |
| LU2. Perform facing operation | - Clamp the job in chuck extending 10mm length from chuck jaws - Clamp facing tool in tool post - Set suitable Revolution Per Minute (RPM) - Set the suitable depth 1mm for rough cut - Perform facing operation by moving the tool uniformly towards the center of job - Take finishing cut having 0.1mm depth | - Work holding devices identification - Centering and facing process - Cutting speed, feed and depth of cut - Simple turning, rough and finish turning process Practical Activity: Perform facing operation | Theory 02Hrs Practical 06Hrs Total- 08 Hrs | - Measuring and marking tools (assorted range) - Work holding devices and attachments - Pedestal grinder with tools, cutting angle support | Classroom and Lab |
| LU3.Perform simple turning | - Clamp the job in chuck extending suitable length - Support free end of job - Set proper depth of cut from cross slide dial for rough cut - Set suitable Revolution Per Minute (RPM) - Take rough cut up to specified length - Take finishing cut - Measure the diameter and length as per drawing | - Simple turning, rough and finish turning process - Define step turning - Grinding of turning tool - Clamping and positioning of knurling tools Practical Activity: Create a cylindrical object from rectangular cross-section by performing turning operation | Theory 01Hrs Practical 06Hrs Total- 07 Hrs | - Work holding devices and attachments | Classroom and Lab |
| LU4. Perform step turning | Trainee will be able to: - Mark the length of step - Set the turning tool in proper position - Turn the diameter & length of step as specified Check the sizes of step | - Simple turning, rough and finish turning process - Define step turning - Grinding of turning tool Practical Activity: Perform step turning on a job | Theory 01Hrs Practical 06Hrs Total- 07 Hrs | - Turning, parting, grooving and forming tools etc. (assorted range) - Measuring and marking tools (assorted range) - Lathe machine (with standard accessories) | Classroom and Lab |
| LU5.Perform knurling operation. | - Mark the length of knurling portion - Select proper knurling tool - Clamp the knurling tool in proper position - Set slow RPM for knurling Finish knurling operation | - Knurling, types and knurling tools - Clamping and positioning of knurling tools - Measuring tools Practical Activity: Perform knurling operation on job | Theory 01Hrs Practical 09Hrs Total- 10 Hrs | - Measuring and marking tools (assorted range) - Knurling tools (assorted range) | Classroom and Lab |

- Perform Taper Turning, Drilling and Thread Cutting by Lathe Machine

Objective: This module cover the knowledge and skills required to  Perform taper turning operation, Perform drilling, Perform Thread cutting on lathe machine

Duration: 40 Hours					Theory:  04Hours					Practice: 36 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Perform taper turning operation. | Trainee will be able to: - Wear personal protective equipment - Clean and oil the machine - Calculate the taper angle - Set the compound rest at required angle - Perform taper turning as per specification taking necessary steps | - Identification and use of Personal Protective Equipment (PPE) - Types of hazards that are most likely to cause harm to health and safety with HVAC tools - Marking tools - Taper turning operation - Different methods of taper turning - Calculation of taper angle - Practical Activity: Demonstrate the use of PPE | Theory- 02Hrs Practical-12Hrs Total- 14 Hrs | - Lathe machine (with standard accessories) - Personal protective equipment | Classroom and Lab |
| LU2.Perform drilling | - Select the suitable drill as per work requirement - Mark the center of hole - Clamp the drill in drill chuck - Locate drill chuck in machine spindle - Clamp the work piece in proper position - Set the suitable RPM for drilling - Perform drilling operation with proper feed | - Drilling and threading operation - Calculation of RPM required for drilling - Clamping and positioning of job for drilling Practical Activity: Perform drilling operation | Theory 01Hrs Practical 12Hrs Total 13 Hrs | - Twist drill bits and boring bars (assorted range) - Lathe machine (with standard accessories | Classroom and Lab |
| LU3.Perform Thread cutting on lathe machine. | Trainee will be able to: - Turn the job as per specification - Select proper threading tool - Clamp and position the threading tool - Select and set suitable RPM for thread cutting - Set the position of tumbler gear lever for required pitch of thread - Take trail cut by engaging half nut lever and measure the pitch of thread - By repeating necessary steps complete the required depth of thread | - Type of threads and methods of threads cutting - Pitch, lead and depth of thread and relation amongst them - Thread cutting mechanism of lath machine Practical Activity: Perform Thread cutting on lathe machine. | Theory-01 Hrs Practical-12 Hrs Total- 13 Hrs | - Lathe machine (with standard accessories - Threading tools (assorted range) | Classroom and Lab |

- Perform Welding Process

Objective: This module cover the knowledge and skills required to  identify and make Oxy-Acetylene Flames, Perform Flange joint, Make MS Butt joint by Oxy Acetylene flame, Perform MS Lap joint by Oxy Acetylene flame, Make brazing joints., Prepare soldering joint, Make Arc Welding joint.

Duration: 58 Hours						Theory: 07 Hours				Practice: 51 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Identify and make Oxy-Acetylene Flames | Trainee will be able to: - Wear personal protective equipment - Fix oxygen acetylene regulator - Open oxygen/acetylene cylinder valve - Check leakage of regulators - Open valve of acetylene from welding torch valve and light the torch and make neutral flame - Identify and make the harsh flame - Identify and make the carburizing flame - Identify and make the neutral flame - Identify and make the oxidizing flame | - Identification and use of Personal Protective Equipment (PPE) - Types of hazards that are most likely to cause harm to health and safety with HVAC tools - Carburizing flame add small quantity of oxygen gas - Inner core of carburizing flame - Neutral and Oxidizing flame Practical Activity: Demonstrate the use of PPE | Theory-01 Hrs Practical- 06Hrs Total- 07Hrs | - Personal protective equipment - Oxygen gas cylinder - Acetylene gas cylinder | Classroom and Lab |
| LU2.Perform Flange joint | Trainee will be able to: - Bend of MS sheet at 90o to make flange - Put both pieces on welding table without gap - Grip the pieces from flange - Open the pressure of both cylinders - Make flame and melt the edges and continue this process to complete joint | - Flange joint use to join the thin sheets without filler rod by neutral flame - Gap between both pieces of base metal for open square butt join Practical Activity: Make a flange joint | Theory- 01Hrs Practical- 06Hrs Total- 07Hrs | - Oxygen gas cylinder - Pressure regulators | Classroom and Lab |
| LU3. Make MS Butt joint by Oxy Acetylene flame | Trainee will be able to: - Clean and straight the both edges of base metal - Adjust both gases pressures - Set base metals with required gap - Make neutral flame - Melt the edge of base metal and fill the gap by fusing filler rod on both sides - Complete the bead after tacking continue the puddle making and filling of gap | - Neutral and Oxidizing flame - Flange joint use to join the thin sheets without filler rod by neutral flame - Gap between both pieces of base metal for open square butt join Practical Activity: Make MS Butt joint by Oxy Acetylene flame | Theory- 01Hrs Practical- 06Hrs Total- 07Hrs | - Acetylene gas cylinder | Classroom and Lab |
| LU4. Perform MS Lap joint by Oxy Acetylene flame | Trainee will be able to: - Clean and straight the both edges of base metal - Adjust both gases pressure - Set base metals in overlap position - Make neutral flame - Make puddle at edges and fill the gap by molten filler metal Complete the joint by using filler rod | - Carburizing flame add small quantity of oxygen gas - Neutral and Oxidizing flame Practical Activity: - Make different joint of metals use Oxy Acetylene Gas welding set | Theory 01 Hrs Practical- 06Hrs Total- 07Hrs | - Acetylene gas cylinder - Oxygen gas cylinder - Filler rod with filler rod holder | Classroom and Lab |
| LU5. Make brazing joints. | - Clean and straight the both edges of base metal - Put the both pieces of base metal on the welding table - Heat up the edges of base metal up to red hot condition - Use the brazing flux with cleaned nonferrous filler rod Complete the process of joint by using fore hand technique | - Brazing differ from fusion welding in which base metal is not melted and have no gape between base metal pieces Practical Activity: - Make a sample of brazing joint | Theory- 01Hrs Practical- 09Hrs Total- 10Hrs | - Welding machine (Welding transformer or welding rectifier or welding generator - Spark lighter - Welding table | Classroom and Lab |
| LU6.Prepare soldering joint | - Make permanent joint of different materials using nonferrous filler metal having melting point less than 800oF with the help of soldering iron. - Heat copper made soldering iron in furnace - Heat copper made soldering iron by electricity - Clean the surfaces to be joint - Apply soldering flux on the clean surfaces | - Neutral and Oxidizing flame - Flange joint use to join the thin sheets without filler rod by neutral flame - Gap between both pieces of metal for open square butt join base - Neutral flame for thin sheets an oxidizing flame for welding of thick sheet - Angle of welding torch be kept at 45O between fillet Practical Activity: - Make a soldering joint | Theory- 01Hrs Practical-09 Hrs Total- 10Hrs | - Filler rod with filler rod holder - Tip cleaner - Soldering iron along with soldering rod | Lab |
| LU7.Make Arc Welding joint | - Wear personal protective equipment - Clean and straight the edges of base metal - Set the both pieces of base metal with sufficient gap - Switch on the welding machine and set required current - Tack both ends of base metal - Clean the slag from both tacks - Start bead from one end of base metal with proper length of Arc and proper speed - Remove slag from bead | - Angle of welding torch be kept at 45O between fillet - Identification and use of Personal Protective Equipment (PPE) - Types of hazards that are most likely to cause harm to health and safety with HVAC tools - Gap between both pieces of metal for open square butt join base Practical Activity: - Make joint by Arc welding | Theory- 01Hrs Practical-09 Hrs Total- 10Hrs | - Spark lighter - Goggles - Welding table - Welding torch - Welding machine - welding screen or helmet - Personal protective equipment | Classroom & Lab |

- Members of Curriculum Development Committee

The following members participated in the Curriculum development Committee:

| S# | Name | Designation | Organization |
| --- | --- | --- | --- |
| 1 | Muhammad Adil | Instructor | University of Lahore |
| 2 | Amina Irfan | Instructor | University of Lahore |
| 3 | Ahsan Shahbaz | Manager | PSS, Lahore |
| 4 | Muhammad Imran | Lecturer | University of Lahore |
| 5 | Amir Amin | HoD | Polytechnic Institute, Lahore |
| 6 | Saifullah Khan | AD(Technical) | PITAC LAhore |
| 7 | Salman Khalid | AD(RAC) | PITAC LAhore |
| 8 | Muhammad Rizwan Zafar Ch | HoD Mechanical | Technology College Lahore |
| 9 | Shahid Saeed | Instructor | GATC LAhore |
| 10 | Ms Fahmee Maqsood | System Engineer | Power Zone Lahore |
| 11 | Fahmee Maqsood | Assistant Manager | ZOOM LAhore |
| 12 | Noor ul Haq | Instructor | GCT Mughalpura, Lahore |
| 13 | Syed Jamil Asghr Naqvi | Experimental Officer | Environmental Control System Plan, NPSL Islamabad |
| 14 | Danish Khan | DACUM, Facilitator | NPSL, PCSIR Islamabad |
| 15 | Mr. Muhammad Ishaq | Deputy Director TE | NAVTTC, Islamabad |