National Diploma Certificate Level-4, HVACR Technician (Industrial)

Curriculum

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

FOREWORD

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Diploma Qualification for Level-4, HAVCR Technician (Industrial). This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the experts of Industry, Academia and TVET experts of TEVTAs, BTEs and PVTC work diligently for making this qualification worthy and error free for which all credit goes to them. However, NAVTTC accepts the responsibility of all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards needs periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

Table of Contents

1.	Introduction	5

1.1. Date of Development	5

1.2. Date of Review and Validation	5

1.3. Entry Requirement	5

1.4. Minimum qualification for teachers	5

1.5. Medium of instruction	5

1.6. Duration of Course	5

2.	Scheme of Studies	6

3.	Overview of the Curriculum for Level-4 HAVCR Technician (Industrial)	7

4.	Detail of Modules.	10

0713A&R41	Operate Tools, Instruments and Equipment	10

0713A&R42	Install Industrial HVACR Systems	12

0713A&R43	Maintain and Service HVACR Systems	14

0713A&R44	Diagnose and Repair Faults	17

0713A&R45	Commission HVACR Systems	20

0713A&R46	Comply Safety, and Documentation	22

0713A&R47	Perform System Testing and Troubleshooting	25

0713A&R48	Install and Maintain Chillers and Cooling Tower	27

0713A&R49	Work on Heating Systems	30

0713A&R410	Install and Service Ventilation Systems	32

0713A&R411	Manage Refrigerants and Environmental Practices	34

0713A&R412	Supervise and Train Junior Technicians	36

0713A&R413	Manage Spare Parts and Inventory Overview 	38

0713A&R414	Apply Quality Assurance Practices	40

0713A&R415	Apply Workplace Communication and Reporting	42

5.	List of Tools and Equipment	46

6.	List of Consumables	47

7.	Members of Qualification Development Committee	49

# Introduction

HVACR is an acronym for Heating, Ventilation, Air Conditioning, and Refrigeration. It refers to the integrated systems and technologies used in residential, commercial, and industrial settings to control indoor temperature, humidity, and air quality for comfort, safety, and the preservation of perishables. The addition of "R" for refrigeration signifies the systems' capacity to handle applications beyond simple heating and cooling, such as commercial freezers and cold storage units.

| ## 1.1. Date of Development | Oct, 2025 |
| --- | --- |
| ## 1.2. Date of Review and Validation |  |
| ## 1.3. Entry Requirement | HVACR Technician (Commercial) Level-3 |
| ## 1.4. Minimum qualification for teachers | - BSc Engg. / B.E./ B-Tech (4 Years) (HVACR/Mechanical) with 3 years’ experience in the field of HVACR. OR - DAE Level 5 (HVACR/Mechanical) with 5 years’ experience in the field of HVACR. |
| ## 1.5. Medium of instruction | Urdu, local language, English |
| ## 1.6. Duration of Course | 1 Year |

# Scheme of Studies

| Module Code | Name of Competency | Comp. Level | Category | Credit Hours | Contact Hours |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Th. | Pr. | Total |
|  | Operate Tools, Instruments, and Equipment | 3 | Technical | 3 | 5 | 48 | 53 |
|  | Install Industrial HVACR Systems | 4 | Technical | 4 | 10 | 60 | 70 |
|  | Maintain and Service HVACR Systems | 4 | Technical | 3 | 5 | 54 | 59 |
|  | Diagnose and Repair Faults | 4 | Technical | 3 | 5 | 54 | 59 |
|  | Commission HVACR Systems | 4 | Technical | 3 | 5 | 48 | 53 |
|  | Comply Safety, and Documentation | 3 | Generic | 3 | 5 | 45 | 50 |
|  | Perform System Testing and Troubleshooting | 4 | Technical | 3 | 5 | 54 | 59 |
|  | Install and Maintain Chillers and Cooling Towers | 4 | Technical | 3 | 5 | 54 | 59 |
|  | Work on Heating Systems | 4 | Technical | 3 | 5 | 54 | 59 |
|  | Install and Service Ventilation Systems | 4 | Technical | 3 | 5 | 54 | 59 |
|  | Manage Refrigerants and Environmental Practices | 4 | Technical | 3 | 5 | 45 | 50 |
|  | Supervise and Train Junior Technicians | 4 | Technical | 3 | 5 | 45 | 50 |
|  | Manage Spare Parts and Inventory Overview | 3 | Technical | 3 | 5 | 45 | 50 |
|  | Apply Quality Assurance Practices | 4 | Generic | 2 | 5 | 30 | 35 |
|  | Apply Workplace Communication and Reporting | 3 | Generic | 2 | 5 | 30 | 35 |
|  | On Job Training (OJT) |  |  | 6 | 0 | 240 | 240 |
| Total |  |  |  | 50 | 80 | 960 | 1040 |

# Overview of the Curriculum for Level-4 HVACR Technician (Industrial)

| Module Title | Learning Units | Theory hours | Workplace hours | Timeframe of modules |
| --- | --- | --- | --- | --- |
| Operate Tools, Instruments and Equipment | - Operate hand and power tools - Operate electrical measuring instruments - Operate pressure gauges and manifolds - Operate vacuum pumps and recovery units - Calibrate instruments | 5 | 48 | 53 |
| Install Industrial HVACR Systems | - Interpret installation drawings and specifications - Assemble HVACR components - Install ducting systems - Install HVACR piping - Connect electrical wiring and controls | 10 | 60 | 70 |
| Maintain and Service HVACR Systems | - Perform routine inspection of systems - Clean and replace air filters - Service HVACR units - Lubricate moving parts - Test safety and control devices | 5 | 54 | 59 |
| Diagnose and Repair Faults | - Identify refrigeration system faults - Repair electrical faults - Rectify air distribution issues - Replace defective compressors - Repair leaks in HVACR system - Restore system after repair | 5 | 54 | 59 |
| Commission HVACR Systems | - Perform pre commissioning checks - Perform Visual and Mechanical Inspection - Adjust control systems - Conduct performance testing - Handover system to client | 5 | 48 | 53 |
| Comply Safety, and Documentation | - Follow occupational health and safety - Handle refrigerants safely - Maintain service records - Comply with industry codes - Participate in workplace audits | 5 | 45 | 50 |
| Perform System Testing and Troubleshooting | - Conduct pressure test - Perform vacuum and dehydration of system - Conduct electrical system tests - Test airflow and duct integrity - Verify system efficiency | 5 | 54 | 59 |
| Install and Maintain Chillers and Cooling Towers | - Install chiller systems - Install cooling tower - Service chiller units - Service cooling towers - Test water quality in cooling tower - Repair defective chiller components | 5 | 54 | 59 |
| Work on Heating Systems | - Install heaters for chiller system - Maintain water heater - Service heating exchanger - Test reverse cycle heating system - Repair defective heating equipment | 5 | 54 | 59 |
| Install and Service Ventilation Systems | - Install fans and blowers - Service air handling units (AHU) - Clean duct work systems - Install exhaust systems - Repair defective ventilation components | 5 | 54 | 59 |
| Manage Refrigerants and Environmental Practices | - Recover refrigerants - Perform Recycling of refrigerants - Dispose refrigerants safely - Perform Green- house practices | 5 | 45 | 50 |
| Supervise and Train Junior Technicians | - Assign daily tasks - Monitor performance of juniors - Provide on-the-job training - Maintain discipline at worksite - Report team performance to supervisors | 5 | 45 | 50 |
| Manage Spare Parts and Inventory Overview | - Identify spare part requirements - Maintain spare parts inventory - Issue spare parts - Receive spare parts - Dispose obsolete parts | 5 | 45 | 50 |
| Apply Quality Assurance Practices | - Follow quality procedures - Conduct internal inspections - Verify system performance - Participate in external audits - Implement continuous improvement | 5 | 30 | 35 |
| Apply Workplace Communication and Reporting | - Communicate with clients - Prepare technical reports - Implement digital communication tools - Coordinate with team members - Report emergencies and incidents | 5 | 30 | 35 |
|  | On Job Training (OJT) | 0 | 240 | 240 |
| Total |  | 80 | 960 | 1040 |

# Detail of Modules.

## Operate Tools, Instruments and Equipment

Objective: This Module covers the skills and knowledge required to operate hand and power tools operate electrical measuring instruments, operate pressure gauges and manifolds, operate vacuum pumps and recovery units and calibrate instruments

Theory:   05 Hours   				Practical: 48 Hours 						Duration: 53 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Material Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Operate hand and power tools | - Select Correct tools for the job. - Check Tools for safe condition. - Follow Proper techniques. - Clean Tools after use. - Store Tools properly | - Types of tools and their specific uses. - Identification of damage Tools - Safety procedures of hand and power tools. - Routine maintenance of cleaning tools. - Techniques to store tools Practical Activity Practice to select, inspect, clean, and store various hand and power tools safely | Theory-01Hrs Practical.09Hrs Total- 10Hrs | - Cleaning rags/cloths solvent (WD-40) - oil/lubricant - Gloves - Safety goggles - Markers/ labels | Class room Lab |
| Operate electrical measuring instruments | - Calibrate Multimeters before use - Take Readings safely. - Interpret Test results correctly. - Handle Instruments carefully. - Recorded Data clearly. | - Importance of calibrating - Safety procedures during electrical measurements. - Techniques to take readings on multimeter. - Safe handling and maintenance techniques of test instruments. - Maintaining accurate records of measurement data. Practical Activity Calibrate a multimeter, | Theory-01Hrs Practical.09Hrs Total- 10Hrs | - Multimeter test leads - Cleaning wipes or cloth - PPE - Test log sheets or recording forms | Class room Lab |
| Operate pressure gauges and manifolds | - Connect Gauges correctly. - Take Readings at proper intervals. - Verify Gauge accuracy. - Store Gauges properly. - Document the Results. | - Procedures for connecting pressure gauges. - Protocols to take readings at specified intervals. - Verification and calibration check to ensure gauge accuracy. - Handling and storage techniques to protect gauges. Practical Activity Connect pressure gauges, take readings, verify the accuracy of the gauges, | Theory-01Hrs Practical.09Hrs Total- 10Hrs | - cleaning cloths - Recording sheets or logbooks - Markers or labels | Classroom/Lab |
| Operate vacuum pumps and recovery units | - Set up Equipment as per procedure. - Check Connections for leaks. - Monitor Pumping for stability. - Clean Equipment after use. - Logg all the operations. | - Equipment setup procedures - Inspection Techniques to detect leakage. - Stable and efficient pumping. - Techniques of cleaning and maintenance of equipment. Practical Activity Connect pump and check leaks, | Theory-01Hrs Practical.09Hrs Total- 10Hrs | - Cleaning cloths - Soapy water solution - Lubricants or grease - Log sheets - Gloves |  |
| Calibrate instruments | - Follow Calibration schedules. - Adjust Instruments against standards. - Report Faulty instruments. - Updated Calibration stickers. - Maintain Records. | - Introduction to calibration schedules. - Instrument adjustments to meet calibration standards accurately. - Identification of faulty instruments. - Importance of calibration stickers - Maintaining records of calibration activities Practical Activity Adjust an instrument against standards, | Theory-01Hrs Practical.12Hrs Total- 13Hrs | - Calibration stickers - Calibration logs or record sheets - Calibration standards | Classroom/Lab |

## Install Industrial HVACR Systems

Objective: This Module covers the skills and knowledge required to Interpret installation drawings and specifications, assemble HVACR components, install ducting systems, install refrigeration piping and connect electrical wiring and controls.

Theory: 10 Hours						Practice: 60 Hours`	 				Duration: 70 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Interpret installation drawings and specifications | - Interpret Drawings, blueprints, layout and requirements. - Check Specifications against project scope and client needs. - Report Potential discrepancies to supervisors. - Identify Relevant tools and instruments before starting work. - Follow Work sequence according to site conditions. | - Types of symbols on drawings. - Introduction to scale and dimensions. - Introduction to drawing views and layouts. - Construction drawings standards. Practical Activity Read a drawing and mark the correct dimensions at the site. | Theory-02Hrs Practice-12Hrs Total- 14Hrs | - Drawing sheets - Pencil set - Erasers - Masking tape | Classroom / Lab/ Drawing Hall |
| Assemble HVACR components | - Assemble Components according to manufacturer’s guidelines. - Check Alignment and positioning before fastening. - Install Correct fittings and connectors. - Follow Safety procedures during assembly. - Complete Work within allotted timeframes. | - Introduction to HVACR components. - Basic safety procedures during handling and assembly. - Standard assembly steps and sequence of operations. - Installation techniques of HVACR components. - Effects of incorrect alignment, fastening and assembly Practical Activity Assemble HVACR components and follow safety procedures. | Theory-02Hrs Practice-12Hrs Total- 14Hrs | - Copper tubes and fittings - Brazing rod - Flux & solder wire - Teflon/PTFE tape - Pipe sealants & adhesives | Class Room / Lab |
| Install ducting systems | - Interpret ducting drawings. - Marke Duct layouts as per drawings. - Cut and joint Ducts without leaks. - fixe Supports and hangers securely. - Apply Insulation materials correctly. - Confirm final installation meets industry standards | - Introduction to ducting. - Importance of accuracy in layout. - Ducting tools and equipment. - Introduction to support and hangers. - Installation techniques of ducting. - Leak testing techniques for duct. - Introduction to insulation and types. - Insulation techniques of installation. Practical Activity - Install a component of duct by using drawing. | Theory-02Hrs Practice-12Hrs Total- 14Hrs | - Galvanized Iron (GI) sheets - Insulation materials - Nut and bolts | Class Room / Lab |
| Install HVACR Piping | - Plan Piping routes are as per system design. - Check Correct pipe sizes and materials. - Seal properly brazed Joints. - Test pressure Piping for leaks. - Comply safety codes during Installation. | - Introduction to HVACR piping and fittings. - Installation techniques for HVACR piping. - Introduction to pipe joints and techniques. - Leak testing techniques for piping. Practical Activity Install a piping component as per drawing. | Theory-02Hrs Practice-12Hrs Total- 14Hrs | - Copper pipes and fittings - Brass flared nuts & unions | Classroom / Lab |
| Connect electrical wiring and controls | - Identify Power supply requirements. - Select Correct wire gauges and circuit protection. - Complete Control wiring properly. - Confirm Earthing and grounding. - Test Electrical connections for continuity. | - Introduction to wire and cables. - Introduction to controls used in HVACR system. - Technique for selection of wires and cables. - Safety precautions during connections. - Electrical Connection techniques. - Importance of earthing and testing Practical Activity Connect electrical power with HVACR component. | Theory-02Hrs Practice-12Hrs Total- 14Hrs | - Power cables - Electrical components - PVC tape | Lab |

## Maintain and Service HVACR Systems

Objective: This Module covers the skills and knowledge required to Perform routine inspection of systems, Clean and replace air filters, Service refrigeration and cooling units, Lubricate moving parts, Test safety and control devices.

Theory:  5 Hours   				Practical: 54 Hours 						Duration: 59 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Material Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Perform routine inspection of systems | - Visual inspection covers all major components. - Filters, coils, and belts are checked for wear. - Abnormal sounds and vibrations are noted. - Inspection records are updated accurately. - Maintenance schedule is followed strictly. | - Introduction of inspection - Importance of inspection - Abnormal sounds and vibrations - Inspection data recording - Introduction to maintenance schedule. Practical Activity Inspect any component of HVACR System and prepare a report. | Theory-01Hrs Practical-06Hrs Total- 07Hrs | - Gloves - Masks |  |
| Clean and replace air filters | - Clean or replace air filter without any damage. - Select correct type of filter - Check air flow after replacement. - Follow safety procedure as per SOP - Dispose old filters as per environmental guidelines. | - Filters cleaning and replacing techniques - Selection of filters - HSE during cleaning filters - Disposing techniques of old filters Practical Activity Inspect air filter, Clean or Replace as per SOP | Theory-01Hrs Practical-12Hrs Total- 13Hrs | - Air filters - Detergent or cleaning solution gloves - Cleaning clothes |  |
| Service HVACR units | - Check refrigerant pressure as per specifications - Verify oil level in compressor - Clean and wash evaporator and condensing unit - Align all the moving parts - Check all the nuts and bolts - Record temperature and pressure reading. - Restore System performance to optimal levels. | - Refrigerant pressure gauges - Importance of Oil levels in compressors - Units of Temperature and pressure - Cleaning and washing techniques of evaporator and condenser Practical Activity Service HVACR unit | Theory-01Hrs Practical-12Hrs Total- 13Hrs | - Refrigerant - Lubricating oil - Cleaning solvents - Gloves - seals |  |
| Lubricate moving parts | - Select lubricants as per standard - Lubricate bearings, shafts and bushes. - Remove extra lubricant to prevent damage. - Check system operation after lubrication. - Update maintenance log. | - Introduction and importance to lubrication - Importance of removing extra lubricant - Techniques of lubrication method - Documentation and record keeping Practical Activity Lubricate moving parts and maintain records. | Theory-01Hrs Practical-12Hrs Total- 13Hrs | - Lubricating oil. - Grease - gloves |  |
| Test safety and control devices | - Adjust pressure and temperature (PT) devices. - Test safety ranges (cut-in & cut-outs) for desired load. - Adjust sensors as per standards. - Replace faulty control components. | - Types of pressure and temperature (PT) devices. - Importance of safety for controlling devices - Adjustment techniques - Replacement techniques of faulty controls - Importance of accurate documentation Practical Activity Inspect and adjust PT actuated devices | Theory-01Hrs Practical-12Hrs Total- 13Hrs | - gloves - Safety - Goggles - Cleaning cloths - Batteries |  |

## Diagnose and Repair Faults

Objective:  This Module covers the skills and knowledge required to Identify refrigeration system faults, Repair electrical faults, Rectify air distribution issues, Replace defective compressors, Repair leaks in HVACR system and Restore system after repair

Theory:  5 Hours   				Practical: 54 Hours 						Duration: 59 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Material Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Identify refrigeration system faults | - Match Fault symptoms with system behavior. - Compare Pressure and temperature readings with standards. - Detect Leak with correct tools. - Carried out Fault diagnosis systematically. - Prepare fault report. | - Common refrigeration system faults - Fault detection techniques - Diagnostic tools and equipment - Fault reporting, safety, and documentation Practical Activity Diagnose fault in Refrigeration System | Theory-0.5Hrs Practical-09Hrs Total- 9.5Hrs | - Refrigerant leak detector - Cleaning cloths - Markers - Gloves - masks, |  |
| Repair electrical faults | - Trace Faulty wiring with testing instruments. - Identify Defective switches, relays, or contactors. - Replace Faulty parts with correct ratings. - Follow Safety lockout procedures. - Retest System for proper operation | - Common electrical faults in HVACR system - Electric fault detection techniques - Electrical testing tools and their applications - Procedures for trouble shooting Practical Activity Diagnose and repair Electrical Fault in an HVACR unit | Theory-0.5Hrs Practical-09Hrs Total- 9.5Hrs | - Electrical fuses - Insulation tape, - Solder wire and flux gloves - masks |  |
| Rectify air distribution issues | - Take Airflow measurements at outlets. - Identify Blockages or leaks in ducting. - Adjust Dampers and diffusers correctly. - Check alignment of Fans and blowers. - Balance Air distribution as per design | - Introduction to air distribution in HVACR system - Air distribution issues - Tools for airflow measurement - Adjusting, repairing, or replacing faulty components in air distribution systems. Practical Activity Rectify Air Distribution in HVACR System | Theory-01Hrs Practical-09Hrs Total-10Hrs | - Air filters - Duct sealing tape - brushes - PPE (disposable gloves, dust masks). |  |
| Replace defective compressors | - Disconnect Faulty compressor safely. - Select Correct replacement unit. - Recover and stored Refrigerant safely. - Install and connect new compressor. - Test System for correct operation | - Introduction to compressors. - Causes and symptoms of compressor failure - Replacement techniques for compressor - Safe procedures for refrigerant recovery, evacuation, and recharging. Practical Activity Diagnose and replace Defective Compressor in HVACR System | Theory-01Hrs Practical-09Hrs Total-10Hrs | - Refrigerant - Brazing rods and flux - Insulation tape - O-rings |  |
| Repair leaks in HVACR system | - Arrange tools and equipment - Detect leak in HVACR system - Repair leak in HVACR system - Test leaks in HVACR system - Evacuate and charge refrigerant in HVACR system - Conduct performance test | - Safety measurements during leak repairing - Leaks detection techniques - Pump up and down techniques - Leak testing methods - Leak repairing techniques Practical Activity Detect and repair leak in HVACR system | Theory-01Hrs Practical-09Hrs Total-10Hrs | - Refrigerant - Brazing rods and flux - Insulation tape |  |
| Restore system after repair | - Recharge System with refrigerant. - Check Oil and lubrication levels. - Perform Test run for stable operation. - Record and compare Parameters with standards. - Submit Final report to supervisor. | - Procedures for reassembly, system evacuation, and recharging after repair. - Methods of system performance testing (temperature, pressure, current, airflow). - Safety practices for restoring HVAC systems, including use of PPE. - Workplace documentation and reporting requirements after system restoration Practical Activity Restoring an HVAC System After Repair | Theory-01Hrs Practical-09Hrs Total-10Hrs | - Refrigerant - Brazing rods, flux, |  |

## Commission HVACR Systems

Objective: This Module covers the skills and knowledge required to Perform pre commissioning checks, Visual and Mechanical Inspection, Adjust control systems, Conduct performance testing and Handover system to client

Theory: 05   Hours   				Practical:  48 Hours 						Duration: 53 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Material Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Perform pre commissioning checks | - Verify system installation is against drawings. - Inspect all connections and joints - Check electrical continuity - Perform pressurizing and leak testing - Complete Pre-commissioning checklist | - Introduction to Commissioning and pre commissioning - Techniques of commissioning - Inspection of HVACR unit for commissioning - Importance of record keeping for commissioning Practical Activity Prepare a pre commissioning check list for HVACR unit | Theory-01Hrs Practical-09Hrs Total-10Hrs | - Paper, Pen, Operation Manual, Pressure Temperature Check list | Classroom/ Workshop/ actual site |
| Perform Visual and Mechanical Inspection | - Inspect fan, blowers, compressors, pumps, for correct rotation and alignment - Inspect filters, stainers and air dampers - Confirm oil level ang Gas pressure - Check belt tension and pulley alignment - Inspect tightness of fasteners and supports | - Inspection of HVACR Units - Techniques for inspection of HVACR units - Importance of Visual inspection Practical Activity Inspect a HVACR unit and prepare report | Theory-01Hrs Practical-09Hrs Total-10Hrs | - Paper, Pen, Operation Manual, Pressure Temperature Check list | Class Room/ Workshop |
| Adjust control systems | - Set thermostats to correct parameters. - Adjust positioning of sensors required standard. - Configure control panels as per design. - Test alarms and cut-outs. - Update documentation of adjustment data | - Introduction to Control system - Importance of adjustment - Techniques for adjustment in controls system Practical Activity Identify different controls and adjust their ranges | Theory-01Hrs Practical-09Hrs Total-10Hrs | - Paper, Pen, Operation Manual, Pressure Temperature Check list | Class Room/ Workshop |
| Conduct performance test | - Measure Airflow and compared with design. - Verify cooling and heating loads - Record Energy consumption. - Assess Noise and vibration levels - Prepare System performance report. | - Techniques of initial startup of system - Testing & Balancing (TAB) in HVACR System - Importance of TAB - Techniques for TAB in HVACR Systems - Introduction to Safety measures of system operation Practical Activity Perform TAB for air and water system and prepare report | Theory-01Hrs Practical-12Hrs Total-13Hrs | - Paper, Pen, Operation Manual, Pressure Temperature Check list | Class Room/ Workshop |
| Handover system to client | - Provide Operating manual to client. - Interpret Safety procedures. - Brief Maintenance requirements - Communicate Warranty terms. - Fill, Sign and handover documents. | - Introduction to operation manual - Procedure for handing over HVACR system Practical Activity Record all parameters of pressure, temperature and fluids, prepare report and hand over system to the client | Theory-01Hrs Practical-09Hrs Total-10Hrs | - Paper, Pen, Operation Manual, Pressure Temperature Check list | Class Room/ Workshop |

## Comply Safety, and Documentation

Objective: This Module covers the skills and knowledge required to Ensure Safety, compliance and documentation, handle refrigerants safely, maintain service records, ensure compliance with industry codes and participate in workplace audits.

Theory: 05   Hours						Practical: 45 Hours 				Duration: 50 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Material Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Follow occupational health and safety | - Wear PPE at all times. - Identify and minimize Worksite hazards. - Handle Tools and equipment safely. - Follow Safety signage strictly. - Observe Emergency procedures. | - Introduction to occupational health and safety - Introduction of PPE’s, Purpose and correct use - workplace hazards (physical, chemical and biological - Safe handling, operation, and storage of tools and equipment. - Workplace emergency response technique. Practical Activity Conduct hazard survey of the site and report or minimize any risks found. | Theory-01Hrs Practical-09Hrs Total-10Hrs |  | Class room |
| Handle refrigerants safely | - Arrange tool and equipment - Confirm correct recovery units. - Store Refrigerants in approved containers. - Prevent Leakage during transfer. - Follow Environmental regulations. - Maintain Records of refrigerant usage. | - Types of refrigerants and their properties. - Recovery units and their application. - Safe transfer methods to prevent leakage and contamination. - National and international environmental regulations on refrigerants. - Introduction to record-keeping procedures for refrigerant usage, recovery, and disposal. Practical Activity - Perform a simulated refrigerant handling | Theory-01Hrs Practical-09Hrs Total-10Hrs |  | Class room |
| Maintain service records | - Fill Work orders accurately. - Updated Maintenance schedules. - Fill Spare parts usage is registered. - Submit Records to management. | - Types of service records and documentation used in the workplace. - Procedure to update and maintenance schedules. - Introduction to spare parts registers/logs and ability to record usage correctly. Practical Activity Record replaced parts in log/ register | Theory-01Hrs Practical-09Hrs Total-10Hrs |  | Class room |
| Comply with industry codes | - Comply ASHRAE/ISO standard during HVACR works. - Follow National safety codes during HVACR works. - Meet energy & efficiency conversation. - Perform System labeling properly. - Prepare compliance documentation. | - Introduction to ASHRAE/ISO standards. - National safety codes and workplace regulations. - System labeling procedures according to industry codes. - Documentation processes for compliance. Practical Activity Apply correct system labeling as per standards. | Theory-01Hrs Practical-09Hrs Total-10Hrs |  | Class room |
| Participate in workplace audits | - Present Relevant documents on request. - Support Safety inspections. - Take Corrective actions on time. - Document Audit findings for follow-up. | - Workplace audit procedures, objectives, and requirements. - Organize and present relevant documents during audits. - Types of non-conformities and procedures for reporting them promptly. - Corrective action processes and timelines for implementation. - Audit documentation methods and follow-up reporting requirements. Practical Activity Prepare and submit a written summary of audit findings for follow-up. | Theory-01Hrs Practical-09Hrs Total-10Hrs |  | Class room |

## Perform System Testing and Troubleshooting

Objective: This Module covers the skills and knowledge required to conduct pressure testing, perform vacuum and dehydration of system, conduct electrical system tests, test airflow and duct integrity and Verify system efficiency of HVACR.

Theory:   05 Hours   				Practical: 54 Hours 						Duration: 59 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Material Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Conduct pressure test | - Connect and Test equipment correctly. - Pressurized System gradually to the required level. - Monitor Pressure for stability. - Detect and rectify Leaks. - Record Test results. | - Connection procedures for testing equipment. - Procedures for pressure monitoring and leak detection - Common signs and causes of system leaks. - Technics to accurately record test results for future reference. Practical Activity Check the HVACR system for leaks and Strength by applying pressure | Theory-01Hrs Practical-06Hrs Total- 07Hrs | - Nitrogen gas - cylinder - Valve caps and protective plugs - Marker | Class Room And Lab |
| Perform vacuum and dehydration of system | - Set up Vacuum pump correctly. - Evacuate System to the required micron level. - Check Moisture levels. - Detain Vacuum to confirm tightness. - Document Dehydration results | - Purpose of vacuuming - Single stage and two stages vacuum pumps - Importance of micron gauge for vacuum - Confirmation of no leaks and moisture remain - Initial micron reading after pump shutdown Practical Activity. Perform vacuum and dehydration of system | Theory-01Hrs Practical-12Hrs Total- 13Hrs | - Nitrogen gas cylinder - Leak detection soap solution - O-rings |  |
| Conduct electrical system tests | - Check Continuity with a multimeter. - Measure Insulation resistance accurately. - Perform Load tests safely. - Compare Voltage and current readings with standards. - Record Results in test sheets. | - Continuity testing in electrical systems. - Load testing in electrical - Insulation resistance testing - Measuring voltage and current in HVACR system. - Importance of record keeping Practical Activity Conduct Electrical System Tests (Continuity Test, Voltage and Current Measurements) | Theory-01Hrs Practical-12Hrs Total- 13Hrs | - Wire connector / lugs - Fuse - Marker - Cleaning cloths |  |
| Test airflow and duct integrity | - Measure airflow by Anemometer. - Record Static and dynamic pressures. - Identify Leaks in ducts. - Confirm Air distribution balance. - Prepare Test report. | - airflow measurement in HVAC systems - types of anemometers - concepts of static pressure, dynamic pressure, and total pressure in HVAC systems. - duct leak testing - air distribution balancing in HVAC system - Importance of record keeping Practical Activity measure airflow in ducts, check leakages and confirm duct with required design | Theory-01Hrs Practical-12Hrs Total- 13Hrs | - Adhesive duct sealing tape - Mastic sealant - Plastic sheeting - Smoke tubes - Test sheets | Class Room And Lab |
| Verify system efficiency | - Calculate Coefficient of Performance (COP). - Measured Energy consumption. - Check Temperature differential across coils. - Compare Efficiency against design standards. - Provide Recommendations for improvement. | - Introduction to Coefficient of Performance (COP). - cooling/heating output and energy input to determine system efficiency. - Techniques to Measured Energy consumption - System efficiency with design standards - Recommendations for improving chiller performance Practical Activity Test and Evaluate Chiller Performance and Efficiency | Theory-01Hrs Practical-12Hrs Total- 13Hrs | - PTFE tape - O-rings - Test sheets - Cleaning cloths | Class Room And Lab |

## Install and Maintain Chillers and Cooling Tower

Objective: This Module covers the skill and knowledge required to Install chiller systems, Install cooling tower, Service chiller units, Service cooling towers, Test water quality in cooling tower and Repair defective chiller components

Theory:   05 Hours   				Practical: 54 Hours 						Duration: 59 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Material Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Install chiller systems | - Interpret layout drawing of chiller - Prepare Foundation as per specifications. - Position Chiller with lifting equipment safely. - Perform levelling and align - Perform piping connection. - Install compression tank. - Perform leak test in piping - Perform electrical/electronic connections. - Perform charging of refrigerant - Check performance of chiller as per design and standard. | - Introduction to chiller - Foundation and leveling for chiller system - Installation techniques for piping/electrical connection - Importance of compression tank. - Refrigerant charging techniques. - Performance standard of chiller. Practical Activity Interpret step by step installation process of water chiller | Theory-01Hrs Practical-09Hrs Total-10Hrs | - Cleaning clothes - Lubricants - Fastener - gloves - Waste bags |  |
| Install cooling tower | - Interpret layout drawing of cooling tower. - Prepare Foundation as per specifications. - Position cooling tower with lifting equipment safely. - Perform levelling and align - Perform leak test in piping. - Perform piping connection. - Perform electrical/electronic connections. - Check performance of cooling tower as per design. | - Introduction to cooling tower - Foundation and leveling for cooling system - introduction to positioning and alignment - Importance of connections and installation - Verification of design Practical Activity Interpret step by step installation process of cooling tower | Theory-01Hrs Practical-09Hrs Total-10Hrs | - Cleaning clothes - Lubricants - Fastener - gloves - Waste bags |  |
| Service chiller units | - Clean Condenser tubes. - Check Oil and refrigerant levels. - Lubricate moving parts of chiller. - Check all Safety controls. - Add chemicals to avoid scaling. - Inspect leakages. - Update Service log. | - Techniques for internal cleaning of tubes. - Introduction to lubrication. - Testing safety controls and maintaining service logs Practical Activity Interpret step by step service process of chiller and component. | Theory-01Hrs Practical-09Hrs Total-10Hrs | - Refrigerant - Lubricating oil - Cleaning solvents - Cleaning - gloves - filters - bags |  |
| Service cooling towers | - Clean Basin to prevent scale and algae. - Apply chemicals for Water treatment. - Inspect Fans and drives. - Service Drift eliminators. - Record Water flow and temperature. | - Basin cleaning and water treatment knowledge - Fan, drive, and drift eliminator inspection - Recording and monitoring water flow and temperature Practical Activity Interpret step by step service process of cooling tower component | Theory-0.5Hrs Practical-09Hrs Total- 9.5Hrs | - Water treatment chemicals - Cleaning brushes - gloves - masks |  |
| Test water quality in cooling tower | - Collect Water samples. - Measure pH and conductivity. - Identify Scaling and corrosion indicators. - Adjust Treatment dosage accordingly. - Document Test results. | - Water sample collection and measurement - Identification of water quality indicators - Importance of record keeping Practical Activity Test the water quality for cooling towers | Theory-0.5Hrs Practical-09Hrs Total- 9.5Hrs | - Water sample bottles - pH test strips or reagents - Conductivity test solutions - Cleaning cloths |  |
| Repair defective chiller components | - Disconnect Faulty chiller components - Select standard spare parts. - Carried out Repairs as per manufacturer’s instructions. - Test pressure of the System after repair. - Perform post-commissioning of Chiller | - Techniques of disconnecting faulty components - Identification of spare parts and repair procedures - Post-commissioning of Chiller Practical Activity Identify faulty components of chiller | Theory-01Hrs Practical-09Hrs Total-10Hrs | - Lubricating oil - Cleaning solvents - gloves - Cleaning clothes - Waste bags |  |

## Work on Heating Systems

Objective: This Module covers the skills and knowledge required to Install heaters for chiller system, Maintain water heater, Service heat exchanger, Test reverse cycle heating system and Repair defective heating components

Theory:   05 Hours   				Practical: 54 Hours 						Duration: 59 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Material Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Install heaters for chiller system | - Interpret drawings of heater. - Mount heater securely. - Make Water connections. - Install and test Safety valves. - Encounter Installation code requirements. | - Installation Drawings - Introduction to Heaters. - Water Connection as per standard. - Functions and Regulations of Safety Valves - Installation Codes for heaters Practical Activity Install heater in a chiller system | Theory-01Hrs Practical-06Hrs Total- 07Hrs | - Marking Chalk / Paint / Markers - Protective Sheets / Plastic Covers - Dust Masks - Disposable Gloves |  |
| Maintain water heater | - Check Water control level. - Clean water pipes - Test Safety Valves. - Monitor Ph level of water for efficiency. - Keep Maintenance record. | - Water Control in heater - Types of heater and Adjustment Techniques - Safety Valve Operation and Testing Procedures - Water intensity and Efficiency Indicators - Maintenance Record Keeping Practical Activity Test Ph level of water with litmus paper | Theory-01Hrs Practical-12Hrs Total- 13Hrs | - Cleaning Cloths / Rags - Water Treatment Chemicals - Seals / Gaskets - Lubricants for valve moving parts |  |
| Service heat exchanger | - Drain Air vents properly. - Clean Coils of heat exchanger. - Inspect Flow valves. - Monitor Pressure levels. - Keep Servicing Record. | - Introduction to Air Vents in heat ex-changer - Heat Transfer Principles and Coil Maintenance - Types and Operation of Flow Valves - Pressure Measurement and Monitoring Techniques Practical Activity Perform a scheduled service on a hydronic heating system. | Theory-01Hrs Practical-12Hrs Total- 13Hrs | - Rags - Disposable Gloves - Record Sheets or Logbooks - Writing Instruments (pens, marker |  |
| Test reverse cycle heating system | - Arrange tools and equipment for safe testing. - Inspect system components for correct installation and condition. - Operate the reverse cycle heating system in heating mode. - Measure and record pressures, temperatures, and electrical parameters. - Analyze results and report findings according to specifications. | - Tools, equipment, and workplace preparation - System components and connections inspection - System operation and performance parameters - Results analysis and documentation Practical Activity Test a Reverse Cycle Heating System | Theory-01Hrs Practical-12Hrs Total- 13Hrs |  |  |
| Repair defective heating components | - Identify Faulty heating components. - Apply Lockout/tag-out procedures. - Perform Repairs safely. - Retest System for reliability. - Maintain Repair records. | - Heating components - Faults in Pumps, coils and Valves - Safety Protocols during repairing - Techniques for System Reliability Testing Practical Activity Identify and repair faulty components | Theory-01Hrs Practical-12Hrs Total- 13Hrs | - Lockout/Tag-out Tags and Labels - Lockout Devices - Markers - Safety Gloves |  |

## Install and Service Ventilation Systems

Objective: This Module covers the skills and knowledge required to Install fans and blowers, Service air handling units (AHU), Clean ductwork systems, Install exhaust systems and Repair defective ventilation components.

Theory:   05 Hours   				Practical: 54 Hours 						Duration: 59 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Material Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Install fans and blowers | - Select Correct fan type. - Align and mount Fans securely. - Connect Electrical wiring properly. - Fit Vibration isolators. - Verify Fan performance. | - fan types and their applications. - balance and stability for safe operation. - Electrical safety procedures - installation techniques for isolators. - airflow and static pressure Practical Activity Check Performance of fan and blower as per standard | Theory-01Hrs Practical-06Hrs Total- 07Hrs | - Mounting bolts, nuts, and washers - Insulation / tape - Cable ties / clamps - PTFE tape (Teflon tape) | Class Room and Lab |
| Service air handling units (AHU/FCU) | - Clean/replace Filters. - Wash Coils with approved chemicals. - Check Drain pans for clogging. - Inspect Motors and belts. - Keep Balance Airflow. | - types of filters used in AHU/FCU systems - coil cleaning for efficiency, - types of approved cleaning chemicals - importance of keeping drain pans clean to avoid leakage - preventive maintenance requirements for motors and belts - principles of air distribution and system balancing Practical Activity Service the Air Handling Unit (AHU/FCU) by cleaning or replacing filters | Theory-01Hrs Practical-12Hrs Total- 13Hrs | - Air filters - Water / cleaning solution - Cleaning cloths / wipes - PTFE tape - O-rings / sealing washers - Electrical insulation tape - Marker / labeling stickers - sheets / logbook | Class Room and Lab |
| Clean duct work systems | - Open Access panels safely. - Remove Dust and debris thoroughly. - Brush HEPA vacuums. - Inspect Duct insulation. - Keep record for Cleaning. | - lockout/tagout (LOTO) safety procedures. - health and performance risks caused by dust buildup. - function of HEPA filters. - importance of proper insulation for energy efficiency. Practical Activity Inspect duct insulation | Theory-01Hrs Practical-12Hrs Total- 13Hrs | - Cleaning brushes - HEPA vacuum bags/filters - cleaning agents - Cleaning cloths / wipes - Disposable gloves | Class Room and Lab, site |
| Install exhaust systems | - Position Exhaust fans as per design. - Route Ducting with minimal bends. - Install Dampers where required. - Take measures to control Noise. - Verify Exhaust performance. | - Drawings and design specifications. - Support and alignment of ducts - Procedure for balancing airflow. - Noise and vibration in ducting systems. - Performance with design requirements. Practical Activity Check Performance of Exhaust System | Theory-01Hrs Practical-12Hrs Total- 13Hrs | - Fasteners - Duct insulation - Vibration pads / rubber mounts - Damper installation kits - Cable ties and clamps - Maintenance log sheets / record forms | Class Room and Lab, site |
| Repair defective ventilation components | - Identify Faulty motors or impellers. - Replace Bearings - Rectify Electrical faults. - Rebalance after repair. | - symptoms of faulty motors, noise, overheating, vibration, low speed. - Inspection techniques of impellers for cracks, imbalance. - Bearing types and their functions - Techniques for balancing shafts. - Importance of documentation for reliability and compliance. Practical Activity Replace faulty bearing | Theory-01Hrs Practical-12Hrs Total- 13Hrs | - Electrical wires, terminals, connectors, fuses) - Insulation tape and heat shrink tubing - gloves, masks, safety glasses | Class Room and Lab |

## Manage Refrigerants and Environmental Practices

Objective: This Module covers the skills and knowledge required to Recover refrigerants, Perform Recycling of refrigerant, dispose refrigerants safely, and Perform Greenhouse practices.

Theory:   05 Hours   				Practical: 45 Hours 						Duration: 50 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Material Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Recover refrigerants | - Set up Recovery units correctly. - Recover Refrigerant in approved cylinders. - Label refrigerant recovery cylinder - Confirm No leakage occurs during process. - Confirm Recovery is done as per regulations. - Updated the Record. | - Environmentally friendly techniques - Introduction to Refrigerant Recovery machine - Introduction to recovery methods - Refrigerant recovery techniques - Types of refrigerants and their properties. Practical Activity Recover and store refrigerant. | Theory-02Hrs Practical-12Hrs Total- 14Hrs | - Recovery cylinders - Leak detection spray or solution - Cleaning cloths | Class Room Lab |
| Perform Recycling of refrigerant | - Recover refrigerant form the unit - Reclaim refrigerant - Perform leak test - Charge refrigerant - Check performance | - Introduction to reclaiming process - Importance of reclaiming - Techniques for reclaiming - Techniques for recycling Practical Activity Reclaim recovered refrigerant and charge it in HVACR system | Theory-01Hrs Practical-12Hrs Total- 13Hrs | - Replacement filters - Approved coil cleaning chemicals - Cleaning cloths or brushes - Lubricants | Class Room Lab |
| Dispose refrigerants safely | - Transfer Refrigerants to destruction facility. - Confirm Handling of Refrigerants is as per environmental laws. - Avoid Spillage or leakage. - Prepare Documentation correctly. - Obtain Disposal certificates. | - Environmental laws and regulations governing refrigerant disposal. - Transportation of refrigerants for dispose - Prevent spillage or leakage - documentation for obtaining disposal certificates Practical Activity Prepare refrigerant cylinder for dispose off and maintain its record | Theory-01Hrs Practical-12Hrs Total- 13Hrs | - Approved refrigerant containers - Spill containment kits - Cleaning cloths | Class Room Lab |
| Perform Greenhouse practices | - Interpret refrigerant properties - Recover the refrigerant in cylinder - Perform flushing of HVACR unit - Charge refrigerant - Record performance of HVACR system | - introduction to greenhouse effect - importance of greenhouse effect - introduction to refrigerant and their groups - Introduction to ozone friendly refrigerant - Introduction to retro fitting - Techniques for retro fitting - Impact of HVACR unit after retro fitting - Record keeping and report writing about retro fit unit Practical Activity Retrofit a HVACR unit and record its performance | Theory-01Hrs Practical-09Hrs Total- 10Hrs | - Energy consumption meters or data loggers - Cleaning cloths - Forms or log sheets | Class Room Lab |

## Supervise and Train Junior Technicians

Objective: This Module covers the skills and knowledge required to assign daily tasks, monitor performance of juniors, provide on-the-job training, confirm discipline at worksite and report team performance to supervisors

Theory:   05 Hours   				Practical: 45 Hours 						Duration: 50 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Material Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Assign daily tasks | - Allocate Tasks as per skill level. - Give Clear instructions. - Monitor Work progress. - Highlight Safety procedures. - Provide Feedback. | - Introduction to tasks requirement - Work progress requirements - Instructions of safety procedures - Feedback procedure - Performance report of complete work of trainee and maintain its records Practical Activity Prepare a list of tasks performed on daily basis | Theory-01Hrs Practical-09Hrs Total-10Hrs | - Papers /Charts - Pens /Markers - Pencils - Rubber - Sharpener - OHS Rules catalog book | Class Room and workshop |
| Monitor performance of juniors | - Check Work quality regularly. - Correct Mistakes constructively. - Encourage Juniors for improvement. - Ensure Safety compliance. - Keep performance Records. | - Introduction to quality control assurance procedure - Importance of Teamwork - Introduction to communication skills - Introduction to OHS - report of performance and maintaining its records Practical Activity Maintain check list for monitor performance and prepare required documentation | Theory-01Hrs Practical-09Hrs Total-10Hrs | - Papers /Charts - Pens /Markers/ - Pencils - Rubber - Sharpener - OHS Rules catalog book | Class Room and workshop |
| Provide on-the-job training | - Identify Training needs. - Give Practical demonstration. - Supervise Junior trainees. - Perform Swat analysis - Evaluate Progress of Juniors - Maintain OJT book of trainee | - Training need analysis - industry requirements - demonstration skills - project management tools - importance of leadership skills Practical Activity Prepare list of OJT providers and prepare required documentation | Theory-01Hrs Practical-09Hrs Total-10Hrs | - Papers /Charts - Pens/ Markers - Pencils - Rubber - Sharpener - OHS Rules catalog book | Class Room and workshop |
| Maintain discipline at worksite | - Monitor Attendance. - Maintain Workplace behavior. - Encourage Team cooperation. - Report Misconduct. - Maintain Discipline records. | - Workplace Attendance and Discipline Management - Behavior and Team Cooperation in the Workplace - Reporting, Misconduct Handling, and Record Keeping Practical Activity Prepare check list for smooth working environment and maintain it as per SOP | Theory-01Hrs Practical-09Hrs Total-10Hrs | - Papers /Charts - Pens /Markers/ - Pencils - Rubber - Sharpener - OHS Rules catalog book | Class Room and workshop |
| Report team performance to supervisors | - Prepare Daily reports. - Summarize Work progress. - Highlight Issues and challenges. - Report Team achievements. - Give Recommendations | - Workplace Reporting and Documentation - Communication of Work Progress and Challenges - Professional Reporting and Recommendations Practical Activity Prepare check list for team performance and maintain it as per SOP | Theory-01Hrs Practical-09Hrs Total-10Hrs | - Papers/ Charts - Pens/ Markers/ - Pencils - Rubber - Sharpener - OHS Rules catalog book | Class Room |

## Manage Spare Parts and Inventory Overview

Objective: This Module covers the skills and knowledge required to Identify spare part requirements, Maintain spare parts inventory, Issue spare parts, Receive spare parts and dispose obsolete parts.

Theory:   05 Hours   				Practical: 45 Hours 						Duration: 50 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Material Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Identify spare part requirements | - Verify Part numbers. - Check Compatibility between parts. - Control Urgency of requirement. - Submit Requests formally. - Updated Records | - Introduction to machine parts - Importance of compatibility of parts - Maintain log book of parts replacement Practical Activity Identify faulty parts, select its compatible and record in log | Theory-01Hrs Practical-09Hrs Total-10Hrs | - Paper - Pencil - Pen | Class Room Work shop |
| Maintain spare parts inventory | - Labell Parts properly. - Improve Storage conditions to prevent damage. - Updated Inventory records. - Report Shortage Records | - Machine parts specifications - Importance of labeling of parts - Introduction to inventory system - software for inventory system Practical Activity Segregate parts with same specifications and make an inventory | Theory-01Hrs Practical-09Hrs Total-10Hrs | - Paper, - Pencil - Pen | Class Room Work shop |
| Issue spare parts | - Verify Requests. - Issue Parts as per requests. - Keep record of Issued parts. - Ensure Return of unused parts. - Update the Records. | - store requisition system - inventory system - stock management system Practical Activity Prepare a requisition. Collect parts from store and maintain its records | Theory-01Hrs Practical-09Hrs Total-10Hrs | - Paper, - Pencil/ - Pen | Class Room Work shop |
| Receive spare parts | - Check Delivery documents. - Inspect Part quality. - Verify Quantities. - Assign Storage location. - Updated Records | - Verification of parts specifications received from store - Store inventory system - Record maintenance in store system Practical Activity Prepare a requisition of parts, collect from store and maintain complete inventory | Theory-01Hrs Practical-09Hrs Total-10Hrs | - Paper, - Pencil - Pen | Class Room Work shop |
| Dispose obsolete parts | - Identify Obsolete parts. - Follow Disposal procedure. - Maintain Records of disposal. - Recover Reusable parts. - Submit Report to management. | - Introduction to obsolete parts - Techniques for dispose off obsolete pats - Recovery system of reuseable parts Practical Activity Identify obsolete parts, return to main store and prepare complete report | Theory-01Hrs Practical-09Hrs Total-10Hrs | - Paper, - Pencil - Pen | Class Room Work shop |

## Apply Quality Assurance Practices

Objective: This Module covers the skills and knowledge required to Follow quality procedures, conduct internal inspections, verify system performance, participate in external audit and implement continuous improvement

Theory:   05 Hours   				Practical: 30 Hours 						Duration: 35 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Material Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Follow quality procedures | - Perform Work as per SOPs. - Interpret Standards before starting work. - Report irregularities - Applied Corrective actions. - Keep Records | - Introduction to work performance - Importance of SOP - Techniques to Quality assurance procedures, standards and compliance requirements. - Report writing and record keeping Practical Activity Write a report of complete work and maintain its records | Theory-01Hrs Practical-06Hrs Total-07Hrs | Paper Pencil Pen | Class Room Work shop Actual Site |
| Conduct internal inspections | - Prepare Inspection checklist. - Note Non-compliance. - Report Defects. - Take Immediate corrective measures. - Submit Report | - Introduction to Inspection Method - Importance of Inspection - Methods for conducting internal inspections. Practical Activity Conduct an internal inspection and record its results | Theory-01Hrs Practical-06Hrs Total-07Hrs | Paper Pencil Pen | Class Room Work shop Actual Site |
| Verify system performance | - Compare Test results with standards. - Record Parameters accurately. - Identify Non-conformance. - Take Corrective steps. - Perform Document Verification. | - Introduction to System performance and system standards - Verification of system performance against standards. Practical Activity Collect results of a system performance compare with standards and write performance report | Theory-01Hrs Practical-06Hrs Total-07Hrs | Paper Pencil Pen | Class Room Work shop Actual Site |
| Participate in external audits | - Present Records to auditor - Answer Queries correctly. - Address non-compliances. - Follow Audit recommendations. - Update Reports | - Introduction to external audit - Importance of external audit - Factors involved in external audit - Audit report Practical Activity Participate in an external audit, prepare recommendations and report | Theory-01Hrs Practical-06Hrs Total-07Hrs | Paper Pencil Pen | Class Room Work shop Actual Site |
| Implement continuous improvement | - Collect Feedback. - Suggest Improvements. - Apply New techniques. - Encourage Team for innovation. - Monitor Results. | - Introduction and Importance of continuous improvement in performance - Continuous improvement practices. - Corrective action processes. Practical Activity Observe audit reports and prepare a plan for Continuous improvement | Theory-01Hrs Practical-06Hrs Total-07Hrs | Paper Pencil Pen | Class Room Work shop Actual Site |

## Apply Workplace Communication and Reporting

Objective: This Module covers the competencies required to Communicate with clients, use digital communication tools, Use digital communication tools, Coordinate with team members, Report emergencies and incidents

Theory:   05 Hours   				Practical: 30 Hours 						Duration: 35 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Material Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Communicate with clients | - Listen Client requirements carefully. - Interpret Technical information simply. - Provide Service updates. - Handle Complaints politely. - Keep Records of communication. | - Principles of effective communication (verbal, non-verbal, written, and digital). - Workplace protocols, ethics, and confidentiality in client interactions. - Techniques for handling client feedback, conflicts, and complaints. - Documentation and reporting methods for client communications. Practical Activity Conduct a simulated meeting with a client who requires HVACR maintenance service and prepare report | Theory-01Hrs Practical-06Hrs Total- 07Hrs | Notepads or writing sheets Pens, pencils, and markers Feedback/complaint forms (for simulation) Report templates Sticky notes | Class Room |
| Prepare technical reports | - Write Reports clearly. - Present Data accurately. - Highlight Faults and solutions. - Submit Reports on time. - Follow Reports on organizational format. | - Principles of technical writing, including clarity, accuracy, and objectivity. - Standard report formats, structures, and workplace documentation. - Methods of data collection, analysis, and presentation (tables, charts, graphs). - proofreading, reviewing, and distributing technical reports. Practical Activity Prepare a Technical Report | Theory-01Hrs Practical-06Hrs Total- 07Hrs | Paper (for drafts, printing reports, notes) Stationery (pens, pencils, markers, highlighters, erasers) Sticky notes or notepads Report covers, folders, or binders | Class Room |
| Implement digital communication tools | - Write Emails professionally. - Follow Online reporting systems. - Update Mobile apps for work orders. - Send Attachments correctly. - Keep backed up Records. | - Types and functions of digital communication tools - Workplace policies, ethics, and data security in digital communication. - Basic troubleshooting of digital communication tools. - Methods of maintaining digital records, files, and communication history. Practical Activity Perform Workplace Communication with Digital Tools | Theory-01Hrs Practical-06Hrs Total- 07Hrs | Internet data usage (Wi-Fi/ Ethernet/ mobile data). Printer paper and ink (if digital documents are printed for review). Stationery (pens, notepads for taking notes during the meeting). | Class Room |
| Coordinate with team members | - Convey Instructions clearly. - Exchange Feedback respectfully. - Attend Meetings regularly. - Resolve Work conflicts. - Document Coordination. | - Principles of teamwork, collaboration, and interpersonal communication. - Roles, responsibilities, and dynamics within workplace teams. - Methods for handling conflicts, giving feedback, and supporting team performance. - Workplace protocols, ethics, and reporting structures when coordinating tasks. Practical Activity Communicate a task with team members | Theory-01Hrs Practical-06Hrs Total- 07Hrs | Notepads or writing sheets (for notes and task division) Pens, markers, and sticky notes. Flip charts or whiteboard sheets (for team planning). Printed task sheets/job cards for simulation. | Class Room |
| Report emergencies and incidents | - Report Incidents immediately. - Follow Correct reporting channel. - Record Details accurately. - Follow Safety procedures. - Archive Reports. | - Types of workplace emergencies (fire, electrical faults, chemical spills, equipment failure, accidents). - Emergency reporting protocols, contact points, and communication channels. - Standard incident reporting formats and documentation requirements. - Importance of timely, accurate, and factual reporting in emergencies. Practical Activity Report an emergency to supervisor | Theory-01Hrs Practical-06Hrs Total- 07Hrs | Incident /accident report forms (printed). Pens, notepads, or writing sheets. Sticky notes Printed emergency contact Copies of workplace policies or manuals (for reference during simulation). | Class Room |

# List of Tools and Equipment (for 25 Trainees)

| Name of Trade |  | HVACR Technician (Industrial) Level-4 |  |
| --- | --- | --- | --- |
| Duration of Course |  | 1 Year |  |
| S # | Description |  | Quantity |
|  | Manifold gauge set (R-22, R-410A, R-134a) |  | 12 sets |
|  | Refrigerant recovery machine |  | 5 units |
|  | Refrigerant charging scale |  | 8 units |
|  | Leak detector (electronic/sniffer) |  | 10 units |
|  | Digital thermometer |  | 13 units |
|  | Psychrometer |  | 8 units |
|  | Combustion analyzer |  | 4 units |
|  | Anemometer |  | 10 units |
|  | Pressure testing kit |  | 8 kits |
|  | Core removal tool |  | 8 units |
|  | Valve depressor tool |  | 8 units |
|  | Multimeter (digital) |  | 15 units |
|  | Clamp meter |  | 10 units |
|  | Megohmmeter |  | 5 units |
|  | Voltage tester (non-contact) |  | 15 units |
|  | Continuity tester |  | 10 units |
|  | Phase rotation meter |  | 5 units |
|  | Measuring tape |  | 25 units |
|  | Spirit level |  | 10 units |
|  | Laser level |  | 5 units |
|  | Chalk line |  | 8 units |
|  | Calipers |  | 5 units |
|  | Thermocouple thermometer |  | 8 units |
|  | Micron gauge (for vacuum level) |  | 8 units |
|  | Ladder |  | 5 units |
|  | Work light / headlamp |  | 15 units |
|  | Extension cords |  | 10 units |
|  | Tool bag/toolbox |  | 25 units |
|  | Lockout/tag-out kit |  | 10 kits |

# List of Consumables (for 25 Trainees)

| Sr. No. | Consumable | Quantity |
| --- | --- | --- |
|  | Galvanized sheet metal (various gauges) | 25 sheets |
|  | Aluminum foil tape | 30 rolls |
|  | Duct insulation (foam or fiberglass) | 10 rolls |
|  | Cable ties (assorted sizes) | 200 pcs |
|  | Mastic sealant | 15 cans |
|  | Copper tubing (¼”, ⅜”, ½”, ⅝”) | 500 ft total |
|  | Flux and brazing rods | 100 rods each |
|  | Nitrogen gas cylinders | 3 cylinders |
|  | Leak detector spray | 10 bottles |
|  | Pipe insulation sleeves | 200 ft |
|  | Electrical wire (14 AWG, 12 AWG, etc.) | 4 rolls each |
|  | Wire nuts, terminals, lugs | 500 pcs total |
|  | Electrical tape | 25 rolls |
|  | Control fuses and relays | 50 pcs each |
|  | Air filters (disposable) | 50 pcs |
|  | Compressor oil (quart) | 10 quarts |
|  | Cleaning solvents (coil cleaner) | 15 bottles |
|  | Degreasers / Detergents | 10 bottles |
|  | Nitrile gloves | 1000 pcs |
|  | Safety goggles | 25 pcs |
|  | Face masks (dust/fume) | 100 pcs |
|  | Hearing plugs | 100 pairs |
|  | Refrigerant cylinders (R-134a / R-410A | 6 cylinders (mixture) |
|  | Vacuum pump oil | 5 liters |
|  | Calibration gases (for sensors) | 2 sets |
|  | Colored dye for leak detection | 10 bottles |
|  | Water treatment chemicals | 5 kits |
|  | pH test strips / water test kits | 10 kits |
|  | Burner cleaner / soot remover | 5 bottles |
|  | Gaskets and seals (misc.) | 50 pcs |
|  | Marker pens, chalks, pencils | 100 pcs |
|  | Sandpaper and emery cloth | 50 sheets |
|  | Fasteners (screws, bolts, rivets) | 1000 pcs |
|  | Anchors/hangers for ducting | 150 pcs |
|  | Heat shrinks tubing | 100 ft |
|  | Work order forms | 500 sheets |
|  | System checklists | 200 sheets |
|  | Maintenance logbooks | 25 books |
|  | Inspection/audit report templates | 100 sheets |

# Members of Qualification Development Committee

The Qualifications Development Committee consisted of following members:

| S. # | Name | Designation | Organization |
| --- | --- | --- | --- |
|  | Shamshad Ali Khan | Lecture HVACR | GTTC Peshawar |
|  | Zahid Razzaq | Mechanical Supervisor | HVACR (SOS) Multan |
|  | Syed Shahzaib | Instructor | Institute of Surgical Sailkot |
|  | Amanat Ali | Instructor HVACR | GTTTI Gulberg-2 Lahore |
|  | Waqas Aslam | Junior Instructor HVACR | (PVTC) VTI Gujranwala |
|  | Syed Umar Bukhari | Laboratory Engineer | HVACR at Khawaja Fareed UET Raheem Yar Khan |
|  | Muhammad Waqas | Instructor HVACR | GTVC Yar Hussain swabi |
|  | Hanif Khan | Trade instructor HVACR | GTVC B Gul Bahar Peshawar |
|  | Azhar Waheed | Instructor HVACR | (PVTC) VTI Rawalpindi |
|  | Muhammad Shahid Saeed | Senior Instructor HVACR | GATC Town Ship Lahore |
|  | Syed Kazim Ali | Asst. Manager (HVAC) | MS Technologies, Abbottabad |
|  | Engr. Inayat ur Rehman | DACUM Facilitator | Islamabad |
|  | Humza Nadeem | Assistant Director | NAVTTC HQ Islamabad |