| DACUM Panel Engr. Tauseef Hussain Qasmi, Water & Power Department Government of Gilgit-Baltistan Engr. Dr. Tauqeer Akhtar, Punjab Irrigation and Power Department, Government of Punjab Mr. Sheraz Ali, Environmental Protection Agency (EPA) GB Engr. Navid Ali, KP-TEVTA Engr. Danial Rahim, AAJSONS (Pvt.) Ltd Upper Chitral Mr. Umar Ali Shah, MHRSC Chitral Engr. Asif Hayat, AKRSP Mr. Asif Fareed, Independent Consultant Mr. Ejaz Ahmed, GVTTC Diamer GB Engr. Hayat Baig, Baig Hydro Designs Gilgit Engr. Arif Hussain, Karakoram International University Gilgit Engr. Abdul Rehman, P-TEVTA Engr. Muhammad Asad, P-TEVTA Mr. Muhammad Ishaq, P-TEVTA Coordinator: Muhammad Asim Assistant Director NAVTTC Islamabad Muhammad Ishaq Deputy Director NAVTTC Islamabad DACUM Facilitator: Abdul Basit, Pak PWD, Gujrawala Qurbat Zahra, Textile Engineer, Lahore (Co-DACU | Occupational Profile For National Diploma Level 4 In “Hydro Power Plant Generation Technician” |
| --- | --- |
|  | 03-07 March, 2025 |
|  | Lahore |
|  | National Vocational & Technical Training Commission |

1. Occupational Profiling

| Hydro Power Plant Technician Level-4 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Duties and Tasks |  |  |  |  |
| - Apply Entrepreneurial Skills |  |  |  |  |
| - Communicate effectively in a professional environment | - Prepare reports and documentation | - Develop customer relationship and service skills | - Understand business fundamentals in the energy sector |  |
| - Apply financial management skills | - Follow entrepreneurial best practices | - Implement safety and regulatory compliance | - Identify business opportunities in the Energy sector |  |
| - Develop structure of the new Energy business | - Develop strategy to attract customers |  | - Create portfolios on Facebook, Instagram and LinkedIn |  |
| - Operate Hydraulics Machines |  |  |  |  |
| - Categorize fluid mechanics | - Illustrate Hydro kinetics | - Measure flow of fluid through pipes | - Measure fluid pressure through impact of jet |  |
| - Operate water turbines | - Operate water pumps | - Operate hydraulic valves and seals | - Calculate the performance of hydraulic machines |  |
| - Operate hydraulic actuators |  | - Identify hydraulic circuits and accessories |  |  |
| - Calibrate Electrical Equipment |  |  |  |  |
| - Perform Pre calibration activity | - Calibrate Ammeter |  | - Calibrate Voltmeter |  |
| - Calibrate Ohmmeter |  | - Calibrate multi-meter |  |  |
| - Diagnose Electrical Fault in Generator |  |  |  |  |
| - Inspect service Ignition system | - Inspect service alternator |  | - Inspect service warning |  |
| - Inspect service charging system |  | - Inspect repair wiring |  |  |
| - Carryout Transmission of Electrical Power |  |  |  |  |
| - Select the Conductor for Transmission line | - Select the right insulator | - Perform stringing work and sag of Transmission lines | - Install lightning arrester in a transmission system |  |
| - Carryout Distribution of Electrical Power |  |  |  |  |
| - Select the conductor for distribution of power. | - Select the correct insulator | - Supervise construction of trenches, cable try and select appropriate cable | - Install grounding equipment of substation/Trans mission lines |
| - Carryout Protection of Distribution and Transmission System |  |  |  |  |
| - Rectify the symmetrical and asymmetrical faults |  | - Install circuit breaker in a distribution system (Substation/Grid station) |  |  |
| - Install an isolator at grid station/sub station |  | - Carry out Bus Bar Protection | - Supervise Protection of power transformer |  |
| - Install Turbine |  |  |  |  |
| - Verify foundation layout | - Assemble Hydro Turbine | - Make mechanical couplings |  |  |
| - Perform alignment and calibration of turbine |  | - Perform testing and commissioning | - Perform inspection and documentation |  |
| - Install Generator |  |  |  |  |
| - Verify foundation layout | - Assemble synchronous generator | - Perform alignment and calibration of generator |  |  |
| - Make electrical connections | - Perform retesting and commissioning |  | - Perform inspection and documentation |  |
| - Control HP plant shutdown for emergency standby electrical systems |  |  |  |  |
| - Prepare emergency standby electrical system | - Shut down and isolate emergency standby electrical system | - Service emergency standby electrical system | - Monitor emergency standby electrical system and stabilise transient condition |  |
| - Analyze faults in HP plant operation |  |  |  |  |
| - Prepare for fault diagnosis | - Test plant and auxiliary equipment operation | - Analyze plant and allied equipment faults | - Perform documentation of faults |  |
| - Carry out preventive maintenance procedures as part of MHP operations |  |  |  |  |
| - Plan and prepare for preventive maintenance | - Perform daily routine checks | - Perform preventive maintenance | - Perform documentation of preventive maintenance |  |