Trade Registration Form

- Description of Qualification

| ## Code & Title of Qualification | 0713E&E41– National Diploma Level 4 in Hydro Power Plant Technician Level-4 |
| --- | --- |
| ## Date of development | 19th May 2025 – 23rd May 2025 |
| ## Entry requirement | Middle or Equivalent |
| ## Minimum qualification for teachers / instructors | DAE (Civil/Mechanical/Electrical/Electronics) with 02 years of hands-on experience in Micro Hydro Power. OR Intermediate with relevant 06-month course with 03 years of hands-on experience in Micro Hydro Power. OR Bachelor in relevant field with 02 years of hands-on experience in Micro Hydro Power. |
| ## Medium of instruction | English, Urdu |
| ## Duration of course | Total. 40 hours. Theory. 79 hours Practical. 552 hours On Job Training. 240 hours |

- List of Competencies/Modules

| S. No. | Competency standard | NVQF Level | Category |
| --- | --- | --- | --- |
| 0713E&E4101 | Apply Entrepreneurial Skill | L-2 | Generic |
| 0713E&E4102 | Perform Advance Welding | L-4 | Technical |
| 0713E&E4103 | Operate Hydraulics Machines | L-4 | Technical |
| 0713E&E4104 | Perform Quantity Survey/Estimation | L-4 | Technical |
| 0713E&E4105 | Calibrate Electrical Equipment | L-4 | Technical |
| 0713E&E4106 | Diagnose Electrical Fault in Generator | L-4 | Technical |
| 0713E&E4107 | Carryout Protection of Distribution and Transmission System | L-4 | Technical |
| 0713E&E4108 | Install Turbine | L-4 | Technical |
| 0713E&E4109 | Install Generator | L-4 | Technical |
| 0713E&E4110 | Control MHP plant shutdown for emergency standby electrical systems | L-4 | Technical |
| 0713E&E4111 | Analyze faults in MHP plant operation | L-4 | Technical |
| 0713E&E4112 | Carry out preventive maintenance procedures as part of MHP operation | L-4 | Technical |
| 0713E&E4113 | On Job Training | L-4 | Technical |

- Class / Workshop Size/ Dimension (25 Trainees Capacity)

| Description | Requirement | Size/Dimensions |
| --- | --- | --- |
| Classroom | Yes | As prescribed by the respective provincial Qualification Awarding Body |
| Workshop/Laboratory | Yes |  |
| Any other Requirement | As prescribed by the respective provincial Qualification Awarding Body |  |

- Machinery / Lab Equipment (with quantity/25 Trainees)

| Sr. No. | Machinery / Lab Equipment | Quantity |
| --- | --- | --- |
| 1 | Directories of existing businesses | 25 |
| 2 | Examples of business plans | 25 |
| 3 | Sample of financial plans | 25 |
| 4 | Business planner templates | 25 |
| 5 | Start-up-costs estimator | 25 |
| 6 | Hydraulic Trainer Kit (with actuators, valves, circuit board) | 2 Sets |
| 7 | Flow Measuring Apparatus (Venturi meter / Orifice Meter) | 2 Sets |
| 8 | Pressure Gauge Set (with manometers) | 3 Sets |
| 9 | Impact of Jet Apparatus | 1 Set |
| 10 | Hydraulic Pump Test Rig (Centrifugal & Reciprocating) | 2 Sets |
| 11 | Water Turbine Test Rig (Pelton / Francis / Kaplan) | 2 Sets |
| 12 | Hydraulic Valve Test Bench | 1 Set |
| 13 | Measuring Cylinders / Flow Meter | 4 |
| 14 | Stop Watch | 5 |
| 15 | Transparent Pipes for Flow Visualization | 3 Sets |
| 16 | Hydraulic Seals & Valve Cut Section Models | 2 Sets |
| 17 | Hydraulic Motor Test Kit | 1 Set |
| 18 | Computer System with Simulation Software (Hydraulic Systems) | 2 PCs |
| 19 | Tool Kit (Spanner Set, Screwdrivers, Allen Keys, etc.) | 5 Sets |
| 20 | White Board & Markers for Circuit Drawing | 2 Boards |
| 21 | Calibration Bench Setup | 1 Unit |
| 22 | Standard Calibrated Ammeter (Digital) | 2 Units |
| 23 | Standard Calibrated Voltmeter (Digital) | 2 Units |
| 24 | Precision Ohmmeter | 2 Units |
| 25 | Calibrated Multi meter (Reference Standard) | 2 Units |
| 26 | Function Generator | 1 Unit |
| 27 | Variable Power Supply (0-30V, 5A) | 2 Units |
| 28 | Digital Oscilloscope | 1 Unit |
| 29 | Test Leads with Banana Plugs | 10 Sets |
| 30 | Tool Kit (Screwdrivers, Wire Cutter, etc.) | 5 Sets |
| 31 | Work Benches with Electrical Boards | 5 Units |
| 32 | Analog Multi meter | 3 Units |
| 33 | Clamp Meter | 3 Units |
| 34 | Battery Load Tester | 2 Units |
| 35 | Ignition System Tester | 2 Units |
| 36 | Timing Light | 2 Units |
| 37 | Alternator Test Bench | 1 Unit |
| 38 | Starter Motor Bench Tester | 1 Unit |
| 39 | Auto Electrical Diagnostic Tool | 1 Unit |
| 40 | Insulation Resistance Tester (Megger) | 2 Units |
| 41 | Basic Hand Tool Set (Pliers, Screwdrivers, etc.) | 5 Sets |
| 42 | Wire Stripper & Crimper Tool | 5 Sets |
| 43 | Workbenches with Electrical Panels | 5 Units |
| 44 | Lightning Arrester | 5 |
| 45 | Chain block | 25 |
| 46 | Temperature gage | 25 |
| 47 | Dipole | 25 |
| 48 | Conductors. (Different Types) | As Required |
| 49 | Insulators. (Different Types) | As Required |
| 50 | Poles | As Required |
| 51 | Power factor improvement panel | 25 |
| 52 | Voltmeter | 25 |
| 53 | Theodolite | 1 |
| 54 | Earthling equipment | 25 |
| 55 | Insulators | 25 |
| 56 | Protective Relay Test Set | 2 Units |
| 57 | Primary Injection Kit | 1 Unit |
| 58 | Secondary Injection Test Set | 1 Unit |
| 59 | CT/PT Analyzer | 1 Unit |
| 60 | Relay Calibration Bench | 1 Unit |
| 61 | Earth Resistance Tester | 2 Units |
| 62 | Safety Helmet and Gloves | 10 Sets |
| 63 | Tool Kit (Pliers, Wrenches, Screwdrivers) | 5 Sets |
| 64 | Portable Grounding and Shorting Equipment | 2 Sets |
| 65 | Substation Layout Board (Demo/Training) | 1 Unit |
| 66 | Bus Bar Assembly Demo Unit | 1 Unit |
| 67 | Hydraulic Turbine Model (Training Unit) | 1 Unit |
| 68 | Alignment Tools (Dial Gauge, Feeler Gauge) | 3 Sets |
| 69 | Mechanical Coupling Kit | 2 Sets |
| 70 | Torque Wrench | 3 Units |
| 71 | Foundation Layout Laser Level | 2 Units |
| 72 | Portable Crane / Chain Block | 2 Units |
| 73 | Vernier Calliper / Micro meter Set | 5 Sets |
| 74 | Vibration Analyzer | 1 Unit |
| 75 | Calibration Equipment Set | 1 Set |
| 76 | Testing & Commissioning Panel (Demo Type) | 1 Unit |
| 77 | Inspection Flashlight and Mirror Set | 3 Sets |
| 78 | Safety PPE (Helmet, Gloves, Goggles) | 15 Sets |
| 79 | Generator Installation Training Unit | 1 Unit |
| 80 | Mechanical Coupling Kit (for AC generator) | 2 Sets |
| 81 | Electrical Tool Kit (Crimper, Wire Stripper, etc.) | 5 Sets |
| 82 | Lifting Equipment (Chain Block or Hoist) | 2 Units |
| 83 | Emergency Standby Generator (Training Purpose) | 1 Unit |
| 84 | Circuit Breaker Testing Kit | 1 Set |
| 85 | Lockout/Tagout Kit | 3 Sets |
| 86 | Electrical Panel Simulator (for emergency system) | 1 Unit |
| 87 | Battery Bank with Inverter (for training use) | 1 Set |
| 88 | Electrical Tool Kit (Insulated) | 5 Sets |
| 89 | Phase Rotation Tester | 2 Units |
| 90 | Load Bank (for testing under load conditions) | 1 Unit |
| 91 | Safety PPE Kit (Helmet, Gloves, Boots, Goggles) | 15 Sets |
| 92 | Generator Shutdown Simulator Panel | 1 Unit |
| 93 | HP Plant Fault Simulation Kit | 1 Unit |
| 94 | Thermal Imaging Camera (for hot-spot detection) | 1 Unit |
| 95 | Vibration Analyzer (for mechanical fault detection) | 1 Unit |
| 96 | Laptop with Diagnostic Software | 2 Units |
| 97 | Whiteboard with Markers (for fault analysis sessions) | 1 Set |
| 98 | Fault Logging & Analysis Charts | 5 Sets |
| 99 | Preventive Maintenance Toolkit (spanners, pliers, etc.) | 5 Sets |
| 100 | Infrared Thermometer | 2 Units |
| 101 | Grease Gun | 3 Units |
| 102 | Portable Inspection Lamp | 3 Units |
| 103 | Lubrication System Test Kit | 1 Unit |
| 104 | Laptop/Tablet (for digital logs and checklists) | 2 Units |
| 105 | Safety Helmet with Face Shield | 10 Units |
| 106 | Lockout-Tagout (LOTO) Kit | 2 Sets |
| 107 | Breakers | 20 units |
| 108 | hydraulic benches | 4 units |
| 109 | Pipes and fittings | 20 units |
| 110 | Viscometers | 5 units |
| 111 | Stopwatch | 20 units |
| 112 | Computers/simulation software | 20 units |
| 113 | DC Power Supply | 5 units |
| 114 | Resistive load | 20 units |
| 115 | Connecting Leads | 100 units |
| 116 | Transmission line model | 2 units |
| 117 | Measuring tape | 20 units |
| 118 | WPADA/NTDCL clearance standards chart | 5 units |
| 119 | Temperature reference chart | 5 units |
| 120 | Safety Equipment’s | 20 units |
| 121 | lightning arrestors of different types | 50 units |
| 122 | Insulators. (Different Types) | 20 units |
| 123 | Disc insulator | 20 units |
| 124 | Tachometer | 5 units |
| 125 | Flow Meters | 5 units |
| 126 | Stopwatch | 5 units |
| 127 | Hydraulic Valve Test Bench | 5 units |
| 128 | Hydraulic Seals & Valve Cut Section Models | 2 Units |
| 129 | Hydraulic Motor Test Kit | 2 Units |
| 130 | tool Kit (Spanner Set, Screwdrivers, Allen Keys, etc.) | 5 units |
| 131 | Water Turbine Test Rig (Pelton / Francis / Kaplan) | 5 units |
| 132 | Alternator Test Bench | 5 units |
| 133 | Auto Electrical Diagnostic Tool | 5 units |
| 134 | Lockout/tagout kit | 5 units |
| 135 | Transparent Pipes for Flow Visualization | 20 units |
| 136 | Flow Measuring Apparatus (Venturi meter / Orifice Meter) | 5 units |
| 137 | Hydraulic Trainer Kit (with actuators, valves, circuit board) | 2 Units |
| 138 | Auto Electrical Diagnostic Tool | 5 units |
| 139 | Digital Multi meter (True RMS) | 5 units |
| 140 | Belt tension gauge | 5 units |
| 141 | Hydraulic Flow Apparatus | 2 Units |
| 142 | hydraulic benches | 2 Units |
| 143 | pressure gauges | 2 Units |
| 144 | Bernoulli’s apparatus | 2 Units |
| 145 | Pitot tube Flowmeters | 2 Units |
| 146 | Viscometer | 5 units |
| 147 | Spark plug tester | 20 units |
| 148 | Insulation resistance tester | 5 units |
| 149 | Franci’s turbine trainer | 2 Units |
| 150 | Pelton turbine trainer | 2 Units |
| 151 | Kaplan turbine demo models | 2 Units |
| 152 | Mini hydro power plant simulator | 2 Units |
| 153 | Synchronous generator trainer sets | 2 Units |
| 154 | Smart grid simulators | 2 Units |
| 155 | Battery management system trainers (BMS) | 2 Units |
| 156 | Inverter and power converter trainers | 2 Units |
| 157 | Ultrasonic flow meters | 5 units |
| 158 | Thermographic (IR) cameras for thermal analysis | 2 Units |
| 159 | Water level sensors and pressure transmitters | 2 Units |
| 160 | PLC training kits (e.g., Siemens, Allen-Bradley) | 1 Unit |
| 161 | HMI panels and SCADA simulation tools | 1 Unit |
| 162 | Smart sensors (temperature, pressure, flow) | 20 units |
| 163 | Vibration analysers (condition monitoring) | 2 Units |
| 164 | Pressure calibrators (digital) | 2 Units |
| 165 | Temperature calibrators (dry block and bath type) | 2 Units |
| 166 | Phase sequence testers | 5 units |
|  | Desktop / Laptop Computers | 5 No’s |
|  | Multimedia Projector with Screen | 1 No’s |
|  | Printer & Scanner Combo | 1 No’s |
|  | Flip Chart Stand with Paper | 1 No’s |
|  | Office Table and Chairs (Group Work Setup) | 5 Sets |
|  | Accounting Calculator / Financial Calculator | 5 No’s |
|  | Digital Camera or Webcam | 2 No’s |
|  | Wi-Fi Internet Connection (Shared) | 1 Setup |
|  | Microphone and Speaker System (for presentations) | 1 Set |
|  | Oxy-Acetylene Gas Welding Set (Torch, Hoses, Regulator, etc.) | 2 Sets |
|  | Oxygen Cylinder | 2 No’s |
|  | Acetylene Cylinder | 2 No’s |
|  | GMAW Welding Machine (MIG) | 2 No’s |
|  | SMAW Welding Machine (Arc) | 2 No’s |
|  | GTAW Welding Machine (TIG) | 2 No’s |
|  | Submerged Arc Welding (SAW) Machine | 1 No’s |
|  | Friction Welding Machine | 1 No’s |
|  | Welding Table with Clamps | 4 No’s |
|  | Angle Grinder | 5 No’s |
|  | Electrode Drying Oven | 1 No’s |
|  | Welding Helmet (Auto Darkening) | 10 No’s |
|  | Welding Aprons & Gloves (Leather) | 15 Sets |
|  | Face Shields & Safety Goggles | 25 No’s |
|  | Bench Vices | 5 No’s |
|  | Welding Curtain / Screen | 3 No’s |
|  | Digital Multi meter (for basic testing) | 3 No’s |
|  | Non-Destructive Test (NDT) Kit (Dye Penetrant, etc.) | 1 Set |
|  | Destructive Testing Kit (Basic Tensile/Hardness Tools) | 1 Set |
|  | Hydraulic Trainer Kit (with actuators, valves, circuit board) | 2 Sets |
|  | Flow Measuring Apparatus (Venturi meter / Orifice Meter) | 2 Sets |
|  | Pressure Gauge Set (with manometers) | 3 Sets |
|  | Hydraulic Pump Test Rig (Centrifugal & Reciprocating) | 2 Sets |
|  | Water Turbine Test Rig (Pelton / Francis / Kaplan) | 2 Sets |
|  | Hydraulic Valve Test Bench | 1 Set |
|  | Measuring Cylinders / Flow Meter | 4 No’s |
|  | Stop Watch | 5 No’s |
|  | Transparent Pipes for Flow Visualization | 3 Sets |
|  | Hydraulic Seals & Valve Cut Section Models | 2 Sets |
|  | Hydraulic Motor Test Kit | 1 Set |
|  | Tool Kit (Spanner Set, Screwdrivers, Allen Keys, etc.) | 5 Sets |
|  | AutoCAD Software License (or Drafting Software) | 5 Sets |
|  | Digital Plan Measuring Tool (Scale Master Pro or similar) | 2 Units |
|  | Scientific Calculators | 10 Units |
|  | Steel Tape Measures (30m) | 5 Units |
|  | Total Station or Theodolite (for earthwork estimation) | 1 Unit |
|  | Drawing Boards with T-Square (for manual drafting) | 10 Sets |
|  | Vernier Callipers (for checking samples) | 5 Units |
|  | UPS/Power Backup for computer systems | 1 Unit |
|  | Calibration Bench Setup | 1 Unit |
|  | Standard Calibrated Ammeter (Digital) | 2 Units |
|  | Standard Calibrated Voltmeter (Digital) | 2 Units |
|  | Precision Ohmmeter | 2 Units |
|  | Function Generator | 1 Unit |
|  | Variable Power Supply (0-30V, 5A) | 2 Units |
|  | Digital Oscilloscope | 1 Unit |
|  | Test Leads with Banana Plugs | 10 Sets |
|  | Tool Kit (Screwdrivers, Wire Cutter, etc.) | 5 Sets |
|  | Insulation Resistance Tester | 1 Unit |
|  | Work Benches with Electrical Boards | 5 Units |
|  | Clamp Meter | 3 Units |
|  | Battery Load Tester | 2 Units |
|  | Ignition System Tester | 2 Units |
|  | Timing Light | 2 Units |
|  | Alternator Test Bench | 1 Unit |
|  | Starter Motor Bench Tester | 1 Unit |
|  | Auto Electrical Diagnostic Tool | 1 Unit |
|  | Protective Relay Test Set | 2 Units |
|  | Primary Injection Kit | 1 Unit |
|  | Secondary Injection Test Set | 1 Unit |
|  | CT/PT Analyzer | 1 Unit |
|  | Relay Calibration Bench | 1 Unit |
|  | Earth Resistance Tester | 2 Units |
|  | Portable Grounding and Shorting Equipment | 2 Sets |
|  | Substation Layout Board (Demo/Training) | 1 Unit |
|  | Bus Bar Assembly Demo Unit | 1 Unit |
|  | Hydraulic Turbine Model (Training Unit) | 1 Unit |
|  | Alignment Tools (Dial Gauge, Feeler Gauge) | 3 Sets |
|  | Mechanical Coupling Kit | 2 Sets |
|  | Torque Wrench | 3 Units |
|  | Foundation Layout Laser Level | 2 Units |
|  | Portable Crane / Chain Block | 2 Units |
|  | Vibration Analyzer | 1 Unit |
|  | Calibration Equipment Set | 1 Set |
|  | Testing & Commissioning Panel (Demo Type) | 1 Unit |
|  | Inspection Flashlight and Mirror Set | 3 Sets |
|  | Generator Installation Training Unit | 1 Unit |
|  | Alignment Tools (Dial Gauge, Feeler Gauge) | 3 Sets |
|  | Mechanical Coupling Kit (for AC generator) | 2 Sets |
|  | Calibration Equipment Set | 1 Set |
|  | Lifting Equipment (Chain Block or Hoist) | 2 Units |
|  | Emergency Standby Generator (Training Purpose) | 1 Unit |
|  | Circuit Breaker Testing Kit | 1 Set |
|  | Lockout/Tagout Kit | 3 Sets |
|  | Electrical Panel Simulator (for emergency system) | 1 Unit |
|  | Battery Bank with Inverter (for training use) | 1 Set |
|  | Phase Rotation Tester | 2 Units |
|  | Load Bank (for testing under load conditions) | 1 Unit |
|  | Generator Shutdown Simulator Panel | 1 Unit |
|  | MHP Plant Fault Simulation Kit | 1 Unit |
|  | Thermal Imaging Camera (for hot-spot detection) | 1 Unit |
|  | Infrared Thermometer | 2 Units |
|  | Grease Gun | 3 Units |
|  | Portable Inspection Lamp | 3 Units |
|  | Lubrication System Test Kit | 1 Unit |
|  | Hydraulic Turbine Model (Training Unit) | 1 Unit |
|  | Mechanical Coupling Kit | 2 Sets |
|  | Foundation Layout Laser Level | 2 Units |
|  | Portable Crane / Chain Block | 2 Units |
|  | Inspection Flashlight and Mirror Set | 3 Sets |

- Consumable (with quantity/25 Trainees)

| Sr. No | Consumable | Quantity |
| --- | --- | --- |
| 1 | Hydraulic Oil (Standard Grade) | 40 Litres |
| 2 | Marking Chalk / Soapstone | 30 Pieces |
| 3 | Rubber Seals and Gaskets (Assorted sizes) | 50 Pieces |
| 4 | Teflon Tape | 20 Rolls |
| 5 | Transparent Tubing (for experiments) | 30 Meters |
| 6 | Lubricating Oil | 5 Litres |
| 7 | Thread Sealant | 10 Bottles |
| 8 | Clean Rags / Wiping Cloths | 100 Pieces |
| 9 | Hand Gloves (Rubber/Nitrile for fluid handling) | 25 Pairs |
| 10 | Washers and Small Fittings | 100 Pieces |
| 11 | Cleaning Spray / Degreaser | 5 Bottles |
| 12 | Fluid Sample Containers | 25 |
| 13 | Disposable Aprons | 25 |
| 14 | Lab Notebooks / Recording Sheets | 25 |
| 15 | Marker Pens and Labels | 25 Sets |
| 16 | Electrical Tapes | 10 Rolls |
| 17 | Fuses (Assorted Ratings) | 100 Units |
| 18 | Solder Wire | 500 Grams |
| 19 | Flux Paste | 5 Tins |
| 20 | Cleaning Alcohol (Isopropyl) | 5 Liters |
| 21 | Wiring Cables (Flexible, Multi-core) | 100 Meters |
| 22 | Notebooks and Calibration Log Sheets | 25 Units |
| 23 | Connector Terminals | 200 Pieces |
| 24 | Batteries for Multi meters (9V/AA) | 50 Units |
| 25 | Heat Shrink Sleeves | 50 Pieces |
| 26 | Wiring Harness Samples | 10 Sets |
| 27 | Terminal Lugs and Connectors | 200 Pieces |
| 28 | Battery Terminals | 50 Pieces |
| 29 | Cleaning Spray (Contact Cleaner) | 5 Cans |
| 30 | Zip Ties | 300 Pieces |
| 31 | Heat Shrink Tubing | 100 Pieces |
| 32 | Carbon Brushes (Assorted Sizes) | 30 Sets |
| 33 | Insulating Sleeves | 50 Meters |
| 34 | Marker Pens and Cable Tags | 25 Sets |
| 35 | Notebooks and Fault Logs | 25 Units |
| 36 | Insulating Tape (High Voltage) | 15 Rolls |
| 37 | Ferrules and Cable Tags | 250 Pieces |
| 38 | Grounding Rods (for training setup) | 5 Units |
| 39 | Solder Wire and Flux | 10 Sets |
| 40 | Cable Markers | 100 Pieces |
| 41 | Electrical Safety Posters/Charts | 5 Sets |
| 42 | Documentation Sheets and Relay Logs | 25 Books |
| 43 | Foundation Bolts and Anchors | 50 Pieces |
| 44 | Shims and Alignment Plates | 100 Pieces |
| 45 | Thread Lock and Grease | 10 Tubes |
| 46 | Cable Ties and Clamps | 200 Pieces |
| 47 | Foundation Bolts and Grouting Material | 40 Sets |
| 48 | Cable Marking Tags and Labels | 150 Pieces |
| 49 | Insulation Tape & Heat Shrink Tubes | 30 Rolls |
| 50 | Cleaning Rags and Degreaser | 100 Pieces |
| 51 | Marking Chalks / Paint | 10 Sets |
| 52 | Documentation Sheets and Logbooks | 25 Books |
| 53 | Grease / Thread Locker for Coupling | 10 Tubes |
| 54 | Gasket Material for Flange Joints | 5 Sheets |
| 55 | Electrical Cables (For Demo Connections) | 30 Meters |
| 56 | Fuses and Miniature Circuit Breakers (MCBs) | 40 Pcs |
| 57 | Cleaning Spray for Electrical Contacts | 10 Cans |
| 58 | Wiring Labels and Tags | 100 Pcs |
| 59 | Nuts, Bolts and Fasteners (Electrical) | 200 Pcs |
| 60 | Logbooks and Monitoring Sheets | 25 Books |
| 61 | Cable Ties and Mounting Clips | 200 Pcs |
| 62 | Safety Signs and Labels for Emergency System | 10 Sets |
| 63 | Spare Indicator Bulbs/LEDs for Control Panel | 50 Pcs |
| 64 | Fault Report Logbooks | 25 Books |
| 65 | Electrical Contact Cleaner Spray | 10 Cans |
| 66 | Fuses, MCBs and Relays (Assorted) | 50 Pcs |
| 67 | Tagging Labels for Fault Identification | 100 Pcs |
| 68 | Graph Paper and Analysis Sheets | 100 Sheets |
| 69 | Stickers for Fault Area Marking | 50 Pcs |
| 70 | Printouts of Fault Diagnosis Flowcharts | 25 Sets |
| 71 | Maintenance Checklist Sheets | 100 Sheets |
| 72 | Grease and Lubricants | 10 Litres |
| 73 | Dust Masks | 50 Pcs |
| 74 | Safety Gloves | 25 Pairs |
| 75 | Replacement Fuses and Nuts | 50 Pcs |
| 76 | Documentation Logbooks | 25 Books |
| 77 | Labels for Equipment Tagging | 100 Pcs |
| 78 | 3 wire types (copper, aluminium, steel – 1.5m each) | 100 Meters |
| 79 | Leak detection spray | 20 units |
| 80 | Hydraulic seals | 20 units |
| 81 | Thread seal tape | 20 units |
| 82 | Teflon tape | 20 units |
| 83 | Gaskets | 20 units |
| 84 | Pipe sealant | 20 units |
| 85 | Lab Notebooks / Recording Sheets | 20 units |

- Any other co-curricular activities

| Activity | Requirement |
| --- | --- |
| Field | Yes |
| Industry linkage | Yes |
| Teacher training | Yes |