Curriculum for National Diploma Level 4 in

Hydro Power Plant Technician

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

FOREWORD

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Qualification for Level - IV Hydro Power Plant Technician. This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the experts of Industry, Academia and TVET experts of TEVTAs, Energy Sector Experts Pakistan, work diligently for making this qualification worthy and error free for which all credit goes to them. However, NAVTTC accepts the responsibility of all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards need periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of energy sector. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

Table of Contents

1.	Introduction	3

1.1.	Date of Development	3

1.2.	Date of Review and Validation	3

1.3.	Entry Requirement	3

1.4.	Minimum qualification for teachers	3

1.5.	Medium of instruction	3

1.6.	Duration of Course	3

Overall objectives of training program	.

2.	Scheme of Studies	5

3.	Overview of the Curriculum for Hydro Power Plant Technician	.

4.	Details of Modules	1

0713E&E4101 Apply Entrepreneurial Skill	1

0713E&E4102 Operate Hydraulic Machines	5

0713E&E4103 Calibrate Electrical Equipment	11

0713E&E4104 Diagnose Electrical Fault in Generator	16

0713E&E4105 Carryout Transmission of Electrical Power	20

0713E&E4106 Carryout Distribution of Electrical Power	22

0713E&E4107 Carryout Protection of Distribution and Transmission System	25

0713E&E4008 Install Turbine	28

0713E&E4009 Install Generator	31

0713E&E4010 Control HP plant shutdown for emergency standby electrical systems	34

0713E&E4011 Analyze faults in HP plant operation	37

0713E&E4012 Carry out preventive maintenance procedures as part of HP operations	40

5.	List of Tools and Equipment	.

6.	Members of Qualification Development Committee	50

# Introduction

The National Vocational and Technical Training Commission (NAVTTC) acknowledge the vital role of vocational and technical education in equipping Pakistan's workforce with the skills and competencies necessary to thrive in emerging industries. To address the increasing demand for skilled professionals in dynamic and innovative sectors, NAVTTC has initiated the development of Competency Standards (CS) for the trade of Hydro Power Plant technician in Pakistan. This initiative underscores NAVTTC’s commitment to workforce development, enhancing employability, and driving Pakistan’s digital transformation while aligning with global industry trends.

Hydro Power Plant Technology is a rapidly growing sector with significant contributions to the global economy, spanning industries such as rural electrification, sustainable energy, agriculture, and industrial applications. This multidisciplinary field demands expertise in hydrodynamics, electrical engineering, turbine design, power generation, and system integration. With the accelerating adoption of renewable energy solutions, the hydro industry is witnessing a surge in demand for skilled professionals, creating substantial career opportunities both locally and internationally. By establishing these competency standards, NAVTTC ensures the development of a workforce prepared to meet industry requirements and contribute to Pakistan's economic advancement.

The qualification framework for Hydro Power Plant Technician focuses on equipping learners with essential skills and knowledge, ranging from entrepreneurial skills, Advance welding, Fluid Mechanics & Hydraulics Machines, Quantity Survey/Estimation, Electrical Equipment, Electrical Fault in Generator, Transmission of Electrical Power, Distribution of Electrical Power, Protection of Distribution and Transmission System, Install Turbine, Install Generator, Control HP plant shutdown for emergency standby electrical systems, Analyze faults in HP plant operation, preventive maintenance procedures as part of HP operations.

| ## Date of Development | 19th May 2025 – 23rd May 2025 |
| --- | --- |
| ## Date of Review and Validation | 23rd May 2025 |
| ## Entry Requirement | Must have Secondary School Certificate or Equivalent |
| ## Minimum qualification for teachers | Minimum DAE with 5 years of hands-on experience in Hydro Power Plant Technician OR Minimum Bachelor’s with 3 years of hands-on experience in Hydro Power Plant Technician |
| ## Medium of instruction | English |
| ## Codes of qualification (ISCED) | Code: 0713E&E41 Description: National Diploma Level 4 “Hydro Power Plant Technician” |
| ## Duration of Course | Total. 40 hours. Theory. 79 hours Practical. 552 hours On Job Training. 240 hours |

# Scheme of Studies

| Module Code | Name of Competency | NVQF Level | Category | Contact Hour |  |  | Credit |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th. | Pr. | Total |  |
| 0713E&E4101 | Apply Entrepreneurial Skill | 4 | Generic | 5 | 30 | 35 | 2 |
| 0713E&E4102 | Operate Hydraulics Machines | 4 | Technical | 9 | 42 | 51 | 3 |
| 0713E&E4103 | Calibrate Electrical Equipment | 4 | Technical | 3 | 24 | 27 | 1.5 |
| 0713E&E4104 | Diagnose Electrical Fault in Generator | 4 | Technical | 8 | 54 | 62 | 3.5 |
| 0713E&E4105 | Carryout Transmission of Electrical Power | 4 | Technical | 9 | 42 | 51 | 3 |
| 0713E&E4106 | Carryout Distribution of Electrical Power | 4 | Technical | 9 | 42 | 51 | 3 |
| 0713E&E4107 | Carryout Protection of Distribution and Transmission System | 4 | Technical | 7 | 36 | 43 | 2.5 |
| 0713E&E4108 | Install Turbine | 4 | Technical | 10 | 60 | 70 | 4 |
| 0713E&E4109 | Install Generator | 4 | Technical | 6 | 48 | 54 | 3 |
| 0713E&E4110 | Control HP plant shutdown for emergency standby electrical systems | 4 | Technical | 4 | 42 | 46 | 2.5 |
| 0713E&E4111 | Analyze faults in HP plant operation | 4 | Technical | 5 | 60 | 65 | 3.5 |
| 0713E&E4112 | Carry out preventive maintenance procedures as part of HP operation | 4 | Functional | 4 | 42 | 46 | 2.5 |
| 0713E&E4113 | On Job Training | 4 | Technical | - | - | 240 | 6 |
| Total |  |  |  | 79 | 552 | 841 | 40 |

# Daily Contact Hours

| Daily Contact Hours by Institute | Duration |
| --- | --- |
| 5 | 09 months |
| 4 | 12 months |
| 3 | 15 months |
| 2 | 18 months |
| Note: For Institute offering 6 days a week. The weekend institute may use formula: Credit hours / Daily hours = Months Duration |  |

# Details of Modules

## 4.1 0713E&E4101 Apply Entrepreneurial Skill

Objective:

This Module covers the underpinning knowledge and skills required for a trainee to be competent in developing entrepreneurial skills and business operations within the energy sector. After completing this Module, the student will be able to successfully perform all the tasks related to communication, business structuring, financial management, customer engagement, and regulatory compliance in accordance with the essence of the Competency-Based Training (CBT) System.

Duration: 8 Hours	Theory: 05 Hours	Practice: 30 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required |  | Learning Place |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| LU1. Communicate effectively in a professional environment | - Enlist technical terminology in energy sector - Deliver messages to team members & supervisors as per SOPs. - Demonstrate active listening skills in discussions | - Introduction to 7Cs - Fundamentals of effective oral and written communication in a technical environment. Practical Activity Energy Briefing Role-Play: Practice structured communication as per SOPs, and demonstrate active listening skills. | Theory: 1Hr Practical: 3Hrs Total: 4Hrs |  | - Notebook - Pen - Marker (erasable) - Multi media - Computer system |  | - Classroom |
| LU2. Prepare reports and documentation | - Prepare daily operation log as per procedures. - Prepare document for maintenance records as per SOPs. - Document troubleshooting reports as per SOPs. - Maintain organized record-keeping system as per procedures. | - Report writing techniques for documentation. Practical Activity Write sample daily operation log/technical report as per instructions. | Theory: 1Hr Practical: 0Hrs Total: 1Hrs |  | - Notebook - Pen - Marker (erasable) - Multi media - Computer system |  | - Classroom/workshop |
| LU3. Develop customer relationship and service skills | - Resolve customer concerns related to energy sector services as per procedures. - Educate consumers about energy efficiency and sustainable solutions as per instructions. - Maintain professionalism while interacting with clients and stakeholders. - Build long-term relationships by ensuring customer satisfaction and trust. | - Customer relationship management (CRM) for energy sector professionals. - Business ethics and professionalism in customer interactions and negotiations. Practical Activity Handle a simulated customer complaint resolution as per instructions. | Theory: 1Hr Practical: 3Hrs Total: 4Hrs |  | - Notebook - Pen |  | - Classroom/workshop |
| LU4. Demonstrate business fundamentals in the energy sector | - Identify the basics of energy business models and revenue generation. - Identify key stakeholders involved in energy projects. - Analyze cost and pricing structures for energy distribution. - Evaluate market trends and business opportunities within the energy sector. | - Energy sector regulations related to business operations and compliance. Practical Activity Energy Business Model Simulation: simulate developing a basic business model for a small-scale renewable energy distribution project Each group presents their model. | Theory: 0Hr Practical: 3Hrs Total 3Hrs |  | - Notebook - Pen |  | - Classroom/workshop |
| LU5. Apply financial management skills | - Prepare cost estimations for energy projects. - Track operational expenses and recommend cost-saving measures. - Identify basic financial terms related to energy businesses. - Develop budgeting strategies to enhance financial sustainability. | - Introduction to Financial management essentials (Trainer/instructor). Practical Activity: You are part of a team planning a small solar mini-grid project for a rural community. Your goal is to estimate a Project Costs that ensures sustainability. | Theory: 0Hr Practical: 3Hrs Total 3Hrs |  | - Notebook - Pen |  | - Classroom/workshop |
| LU6. Follow entrepreneurial best practices | - Identify market opportunities for energy services. - Develop strategies for business growth and customer acquisition. - Implement risk management techniques for sustainable business operations. - Enlist funding opportunities for energy projects. - Enlist investment opportunities for energy projects. | - Basic principles of entrepreneurship, - risk strategies Practical Activity: Create a mini business launch plan. | Theory: 0Hr Practical: 3Hrs Total 3Hrs |  | - Notebook - Pen |  | - Classroom/workshop |
| LU7. Implement safety and regulatory compliance | - Enlist to legal and safety requirements for energy operations. - Enlist government policies and licensing requirements. - Enlist occupational health and safety regulations. - Enlist environmental compliance and sustainable energy practices. | - Safety and environmental considerations in energy operations. Practical Activity Prepare safety assessment checklist for an energy facility. | Theory: 0Hr Practical: 3Hrs Total 3Hrs |  | - Notebook - Pen |  | - Classroom/workshop |
| LU8. Identify business opportunities in the Energy sector | - Conduct market research to identify potential energy business opportunities. - Analyze demand for decentralized energy solutions. - Evaluate the impact of renewable energy trends on energy businesses. - Develop a feasibility | - Introduction to Markit research techniques - Introduction to emerging technologies and trends Practical Activity: Develop a Feasibility Study for a Decentralized Energy Business | Theory: 1Hr Practical: 3Hrs Total 4Hrs |  | - Notebook - Pen |  | - Classroom/workshop |
| LU9. Develop structure of the new Energy business | - Identify different business models for an energy company. - Establish roles and responsibilities within the energy enterprise. - Design an operational workflow for energy distribution. - Demonstrate compliance with industry standards and regulations. | - Introduction to business plan Practical Activity: You are part of a team setting up a new energy distribution company Your task is to design a basic operational and organizational plan. | Theory: 0Hr Practical: 3Hrs Total 3Hrs |  | - Notebook - Pen |  | - Classroom/workshop |
| LU10. Develop strategy to attract customers | - Create marketing and outreach campaigns to promote energy services. - Engage with potential customers through digital platforms and local events. - Build partnerships with stakeholders and community leaders. - Develop customer incentives to enhance service adoption. | - Strategies for scaling energy businesses and identifying investment opportunities Practical Activity: Demonstrate professional behavior during role-play scenario as per instructions. | Theory: 1Hr Practical: 3Hrs Total 4Hrs |  | - Notebook - Pen |  | - Classroom/workshop |
| LU11. Create portfolios on Facebook, Instagram and LinkedIn | - Create a Facebook Page - Upload Portfolio Content on Facebook - Create a Facebook Group - Join already created Facebook groups for freelancers - Create Profile on Instagram - Upload Portfolio Content on Instagram - Create LinkedIn Profile, company page and showcase page - Create LinkedIn group - Join LinkedIn groups for freelancers | - Introduction to use of social media in the context of business. Practical Activity: Create a Facebook Group and Upload Portfolio Content on Facebook | Theory: 0Hr Practical: 3Hrs Total 3Hrs |  | - Notebook - Pen |  | - Classroom/workshop |

## 4.2 0713E&E4102 Operate Hydraulic Machines

Objective:

This Module covers the skills and knowledge required to Categorize fluid mechanics, Illustrate Hydro kinetics, Measure Flow of fluid Through Pipes, Measure fluid pressure through Impact of Jet, Identify and use of Water Turbines, illustrate water Pumps, Categorize Hydraulic Valves and Seals, Classify and use of Hydraulic machines, Illustrate Hydraulic Actuators, Identify Hydraulic Circuits and Accessories and Operate Pneumatic Simple Machines

Duration: 51 Hours	 Theory: 09Hours	Practice: 42 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Categorize fluid mechanics | - Classify fluids - List properties of fluids. - Illustrate application of fluid mechanics principles | - Fluid Properties - Pascal’s law, flow, and pressure concepts. - Introduction to hydraulic machines - Principles of fluid mechanics - Application of fluid mechanics - Fluid flow - Types of fluid flow. . Practical Activity 1: classify fluids, list their properties, and demonstrate the application of basic fluid mechanics principles Practical Activity 2: Perform surface tension. Practical Activity 3: Demonstrate variation density. | Theory: 1Hrs. Practical: 6Hrs. Total: 7Hrs. | - Lab Notebooks / Recording Sheets - Water or other test liquids - Dye or colored ink - cleaning cloths - Soap solution - Salt or sugar - Beakers - hydraulic benches - Pipes and fittings - Viscometers - Stopwatch - Computers/simulation software | - Class Room - Workshop |
| LU2. Illustrate Hydro kinetics | - List principles of hydrokinetics. - Calculate velocity and pressure distribution in fluid flow as per instructions. - Interpret impact of external forces on fluid | - Principles hydrokinetics - Velocity of fluid flow - Pressure of fluid flow Practical Activity 1: List hydrokinetics principles and Calculate velocity and pressure distribution in fluid flow Practical Activity 2: Demonstrate the following - hydraulic benches - pressure gauges - Bernoulli’s apparatus - Pitot tube Flowmeters - Viscometer - Measuring cylinders/ beakers | Theory: 1Hrs. Practical: 6Hrs. Total: 7Hrs. | - Notebook - Pen - Water (or working fluid - Dye or Tracer Fluid - Graph Paper/Printouts - Cleaning Cloths/Wipes - Hydraulic Flow Apparatus - hydraulic benches - pressure gauges - Bernoulli’s apparatus - Pitot tube Flowmeters - Viscometer - Computer with simulation software - Measuring cylinders/beakers | - Well-equipped classroom |
| LU3. Measure Flow of fluid Through Pipes | - Identify flow measurement devices. - Calibrate measurement device as per SOPs. - Measure flow rate of the given fluid as per instructions. | - Introduction to measuring instruments used hydraulics mechanics - Calibration of measuring instruments Practical Activity: Measure the flow rate of a given fluid accurately | Theory: 0Hrs. Practical: 6Hrs. Total: 6 Hrs | - Notebook - Pen - Various fluid - Transparent Pipes for Flow Visualization - Flow Measuring Apparatus (Venturi meter / Orifice Meter) - Hydraulic Trainer Kit (with actuators, valves, circuit board) - Measuring Cylinders / Flow Meter - Computer System with Simulation Software (Hydraulic Systems) - Tool Kit (Spanner Set, Screwdrivers, Allen Keys, etc. | - Well-equipped classroom |
| LU4. Measure fluid pressure through Impact of Jet | - Test jet impact apparatus as per SOPs. - Calibrate measurement instruments as per SOPs. - Record forces exerted by the jet as per procedures. - Calculate fluid pressure from the force readings | - Introduction to jet impact apparatus - Introduction to Jet impact theory - Relationship between force, pressure, and area. - Ability to perform calculations using formulas (Pressure = Force/Area). Practical Activity: Calculate fluid pressure from the force readings | Theory: 1Hr Practical: 6Hrs Total 7Hrs | - Lab Notebooks / Recording Sheets - Water or other test liquids - Dye or colored ink - cleaning cloths - Tool Kit (Spanner Set, Screwdrivers, Allen Keys, etc.) - Computer System with Simulation Software (Hydraulic Systems) | - Classroom - Workshop |
| LU5. Operate Water Turbines | - Categorize types of water turbines. - Select water turbine as per instructions. - Install water turbine system as per SOPs. - Operate water turbine as per SOPs | - Types of Water Turbines, - turbine type in respect to site condition - Turbine System Components Practical Activity: Operate a water turbine system as per standard procedures. | Theory: 1Hr Practical: 3Hrs Total 4Hrs | - Lab Notebooks / Recording Sheets - Teflon tape - Gaskets - Pipe sealant - Lubricant - Cleaning cloths - Hydraulic Trainer Kit (with actuators, valves, circuit board) - Computer System with Simulation Software (Hydraulic Systems) - Safety Goggles - Water Turbine Test Rig (Pelton / Francis / Kaplan) | - Classroom - Workshop |
| LU6. Operate water Pumps | - List types of water pumps. - Install given water pump as per instructions. - Calculate Suction head, Delivery head and Total lift of the given pump. | - types of water pumps - Calculate Suction head, Delivery head, and Total lift of the given pump Practical Activity: Select, install, and operate a water pump as per standard procedures | Theory: 1Hr Practical: 3Hrs Total 4Hrs | - Teflon tape - Gaskets - Pipe sealant - Lubricant - Cleaning cloths - Note Book - Hydraulic Motor Test Kit - Safety Goggles - tool Kit (Spanner Set, Screwdrivers, Allen Keys, etc.) - Hydraulic Motor Test Kit | - Classroom - Workshop |
| LU7. Operate Hydraulic Valves and Seals | - List types of hydraulic valves. - Operate given hydraulic valves as per SOPs. - List types of hydraulic seals. - Check leakage of Hydraulic Seals as per SOPs. | - Introduction to hydraulic valves - Types of hydraulic valves - Hydraulic seal - Types of hydraulic seals Practical Activity: Select, install, and operate a hydraulic valve and seal as per standard procedures | Theory: 1Hr Practical: 3Hrs Total 4Hrs | - Hydraulic oil - Hydraulic seals - Cleaning cloths - Thread seal tape - Leak detection spray - Grease - Hydraulic Valve Test Bench - Hydraulic Seals & Valve Cut Section Models - Computer System with Simulation Software (Hydraulic Systems) | - Classroom - Workshop |
| LU8. Calculate the performance of Hydraulic machines | - List types of hydraulic machines. - Operate hydraulic controls as per SOPs. - Calculate efficiency of given hydraulic machine as per instructions. | - Flow rate, pressure, power, and efficiency analysis - Efficiency of hydraulic Machines Practical Activity: calculate the efficiency of available hydraulic machine as per instruction | Theory: 1Hr Practical: 3Hrs Total 4Hrs | - Lab Notebooks / Recording Sheets - Hydraulic oil - Hydraulic seals - Cleaning cloths - Thread seal tape - Leak detection spray - Grease - White Board & Markers for Circuit Drawing - Standard Operating Procedures (SOPs) - Computer System with Simulation Software (Hydraulic Systems). | - Classroom - Workshop |
| LU9. Operate Hydraulic Actuators | - List types of hydraulic actuators. - Install given hydraulic actuators as per SOPs. - Calculate efficiency of given hydraulic actuator as per instructions. | - Introduction to hydraulic actuator and its types Practical Activity: Install given hydraulic actuator as per SOPs and calculate its efficiency as per instructions. | Theory: 1Hr Practical: 3Hrs Total 4Hrs | - Hydraulic Trainer Kit (with actuators, valves, circuit board - Computer system with simulation software. - Hand Gloves (Rubber/Nitrile for fluid handling) - Multimeter - Tachometer - Flow Meters - Stopwatch - Personal Protective Equipment (PPE) - Maintenance Manual |  |
| LU10. Identify Hydraulic Circuits and Accessories | - Draw hydraulic circuits as per instructions. - List components in given hydraulic circuit. - Analyse performance of given hydraulic circuit. | - Design and Analyse Hydraulic Circuits. - Hydraulic Components and Functions - Hydraulic Circuit Design Principles - Hydraulic Symbols and Standards - Understand Simple Fluid Mechanics Calculations. Practical Activity: Measure the following fluid properties - Density - Viscosity - Flow rates as per given instructions. | Theory: 1Hr Practical: 3Hrs Total 4Hrs | - Computer System with Simulation Software (Hydraulic Systems - Hydraulic Trainer Kit (with actuators, valves, circuit board) | - Classroom - Workshop |

## 4.3 0713E&E4103 Calibrate Electrical Equipment

Objective:

This Module covers the skills and knowledge required to calibrate ammeter, voltmeter, ohmmeter, multi-meter, capacitor, inductor and 2-wire/4-wire resistor by direct comparison method.

Duration: 27 Hours		Theory: 03 Hours		Practice: 24 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Perform Pre Calibration activity | - Perform functional and physical check of under test equipment/UUT (Unit under Test) as per SOPs. - Prepare equipment receipt with specifications and allot unique code. - Keep the equipment in controlled environment for thermal stabilization as per SOPs. - Turn ON the equipment for warm-up as per SOPs. - Record the under-test equipment specifications, environmental condition of laboratory as per procedures. | - Basic Electrical Measurement Principles - Calibration and technical procedure for the calibration of various instruments. - Difference between Reference Standard and (Unit under Test) UUT. - resolution, standard deviation, and uncertainty - . difference between precision and accuracy Practical Activity Inspect the UUT visually and functionally and report. | Theory: 1Hrs. Practical: 3 Hrs. Total: 4 Hrs. | - Pen - Notebook - Cleaning Cloths - Labels / Stickers / Barcode Tags - Under Test Equipment (UUT) - Calibration Bench Setup - Function generator - Variable Power Supply (0-30V, 5A) - Test Leads with Banana Plugs - Safety Gloves and Mats - Work Benches with Electrical Boards - Oscilloscope | - Classroom - Workshop |
| LU2. Calibrate Ammeter | - Select reference/Standard Current Source as per SOPs. - Connect cable on the basis of under test ammeter range as per SOPs. - Connect the under-test ammeter with Reference/Standard Current Source at current terminals as per SOPs. - Select calibration points on under test ammeter as per SOPs. - Perform zeroing on under test as per SOPs. - Verify the connections are as per connection diagram in the equipment manual before applying current. - Apply the Reference current and record the value displayed on the under-test ammeter and Reference. - Change the reference value and observe it on under test equipment. - Take at least three set of measurement on each calibration point. - Take values in ascending (zero to maximum) order then descending (max to zero) order and again ascending order. Run the setup of MS Office software - Follow all necessary steps - Click Done and Run the MS Office software - Troubleshoot and fix faults if any | - Types of Ammeters and Their Ranges - Connection Techniques and Safety Practice - Calibration and technical procedure for the calibration of ammeter Practical Activity: Calibrate an under-test ammeter using a reference/standard current source as per SOPs. | Theory: .5Hrs. Practical: 3 Hrs. Total: 4 Hrs. | - Pen - Notebook - Marker erasable - Calibration Bench Setup - Function generator - Variable Power Supply (0-30V, 5A) - Test Leads with Banana Plugs - Safety Gloves and Mats - Standard Calibrated Ammeter (Digital) - Work Benches with Electrical Boards | - Classroom - Workshop |
| LU3. Calibrate Voltmeter | - Select the Reference/Standard Voltage Source as per SOPs. - Connect the under-test voltmeter with Reference/Standard Voltage Source at voltage terminals. - Select calibration points on under test voltmeter as per procedures. - Perform zeroing on under test as per SOPs. - Verify the connections are as per connection diagram in the equipment manual before applying voltage - Apply the Reference voltage and record the value displayed on the under-test voltmeter and Reference. - Change the reference value and observe it on under test equipment. - Take at least three set of measurement on each calibration point. - Take values in ascending (zero to maximum) order then descending (max to zero) order and again ascending order. - Stop the voltage source and remove the connecting cables as per procedures. | - Calibration and technical procedure for the calibration of voltmeter, Practical Activity Calibrate an under-test volt meter using a reference/standard voltage source as per SOPs. | Theory: 0.5Hrs Practical: 6 Hrs. Total: 6.5 Hrs | - Pen - Notebook - Marker Pens and Labels - Standard Calibrated Voltmeter (Digital) - Calibration Bench Setup - Variable Power Supply (0-30V, 5A) - Test Leads with Banana Plugs - Work Benches with Electrical Boards - Variable Power Supply (0-30V, 5A) - Oscilloscope | - Classroom - Workshop |
| LU4. Calibrate Ohmmeter | - Select the Reference/Standard Resistance Source (Fixed/Discrete) as per SOPs. - Connect the under-test ohmmeter with Reference/Standard Resistance Source at resistance terminals as per SOPs. - Select calibration points on under test ohmmeter as per procedure. - Check zero error by shortening the probes and perform zeroing on under test as per SOPs. - Verify the connections are as per connection diagram in the equipment manual before applying resistance - Apply the Reference resistance and record the value displayed on the under-test ohmmeter and Reference. - Change the reference value and observe it on under test equipment. - Take at least three set of measurement on each calibration point. - Take values in ascending (zero to maximum) order then descending (max to zero) order and again ascending order. - Stop the resistance source and remove the connecting cables as per SOPs. | - Calibration and technical procedure for the calibration of Ohmmeter. Practical Activity Calibrate an under-test ohm meter using a reference/standard voltage source as per SOPs. | Theory: .5Hrs. Practical: 6 Hrs. Total: 6.5 Hrs. | - Pen - Notebook - Marker, and lables - UUT - Variable Power Supply (0-30V, 5A) - Precision Ohmmeter - Calibration Bench Setup - Variable Power Supply (0-30V, 5A) | - Classroom - Workshop |
| LU5. Calibrate multimeter | - Select the Reference/Standard according to the multi-meter specifications. - Connect the under test multi-meter with Reference/Standard as per selected parameter. - Select parameter (Voltage AC/DC, Current AC/DC, Resistance, Capacitance) on both Reference and under test equipment one by one as per SOPs. - Check zero error for each parameter and nullify as per SOPs. - Verify the connections are as per connection diagram in the equipment manual before applying Reference value for each parameter - Apply the Reference value of each parameter and record the value displayed on the under-test Multimeter and Reference. - Take at least three set of measurement on each calibration point. - Take values in ascending (zero to maximum) order then descending (max to zero) order and again ascending order. - Stop the Standard Reference and remove the connecting cables as per SOPs. | - Calibration and technical procedure for the calibration of - multi-meter, Practical Activities calibrate an under-test multi meter using a reference/standard parameter source as per SOPs | Theory: .5Hrs Practical: 6Hrs. Total: 6.5 Hrs | - Pen - Notebook - Variable Power Supply (0-30V, 5A) - Test Leads with Banana Plugs - Tool Kit (Screwdrivers, Wire Cutter, etc.) - Osciloscop | - Classroom - Workshop |

## 4.4 0713E&E4104 Diagnose Electrical Fault in Generator

Objective:

This Module covers the skills and knowledge required to inspect and service ignition system, inspect and service alternator, inspect and service display panel, inspect and service governor /Actuator System, inspect and service charging system, inspect and service warning system and to diagnose electric fault (s) in generator.

Duration: 62		                    Theory: 8		Practice: 54

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Inspect/service Ignition system | - Identify the tools and equipment as per job requirement. - Check DC power supply of ignition coil and distributor as per SOPs. - Check HT leads as per SOPs. - Check spark plugs as per SOPs. | - Introduction to Ignition coil and Distributor - Types and Functions of Ignition Components - High Tension (HT) Leads. - Introduction to spark plugs and its Functions. Practical activity Inspect and verify the proper functioning of the ignition system components as per standard operating procedures (SOPs). | Theory: 2Hrs. Practical: 9Hrs. Total: 9Hrs. | Electrical Tape (Insulated) - Cleaning spry - Note book and Fault logs - Spark Plugs - Contact Cleaner - Ignition Coil Tester - Hand Tools (Screwdrivers, Wrenches) - Digital Multimeter (True RMS) - Clamp Meter - Spark plug tester - Tool Kit - Goggles and Safety Gloves - Ignition system tester - Insulation resistance tester | - Classroom - Workshop |
| Inspect/service alternator | - Identify the tools and equipment as per job requirement. - Check DC output voltage as per SOPs. - Check belt as per SOPs. | - Introduction to alternator and its types - Introduction to Governor / Actuator. Practical activity Identify tools, measure alternator output, and assess belt condition according to SOPs. | Theory: 2 Hrs. Practical: 12 Hrs. Total: 11Hrs. | - Electrical Tape (Insulated) - Terminal Lugs and Connectors - Cleaning Spray (Contact Cleaner) - Marker Pens and Cable Tags - Notebooks and Fault Logs - Alternator Test Bench - Basic Hand Tool Set (Pliers, Screwdrivers, etc.) - Auto Electrical Diagnostic Tool - Digital Multimeter (True RMS) - Belt tension gauge - Safety gloves - Wrench set | - Classroom - Workshop |
| Inspect/service warning system | - Identify tools and equipment as per job requirement. - Check oil sensor as per SOPs. - Check temperature sensor as per SOPs. - Check fuel sensor as per SOPs. - Check over/under load module as per SOPs | - Warning system. - Display Panel. - Data Screen. - AVR - Sensors and its types Practical activity: Identify tools, locate sensors/modules, and verify their functionality following SOPs | Theory: 1 Hrs Practical:12 Hrs Total: 13Hrs | - Battery Terminals - Cleaning Spray (Contact Cleaner) - Zip Ties - Notebooks and Fault Logs - Marker Pens and Cable Tags - Digital multimeter - Scan tool or diagnostic tester (if applicable) - Screwdrivers and basic hand tools - Safety gloves and goggles | - Classroom - Workshop |
| Inspect/service charging system | - Identify the tools and equipment as per job requirement. - Check battery power leads as per SOPs. - Check charging circuit of alternator as per SOPs. | - Charging system. - Introduction to excitation transformer - Exciter and its types - Batteries and its types - AVR Practical activity Inspect battery power leads and the charging circuit of the alternator as per standard operating procedures (SOPs). | Theory: 1 Hrs. Practical:09 10 Hrs. Total: 11 Hrs. | - Digital multimeter - Wrench/spanner set - Battery terminal cleaner - Safety gloves and goggles | - Classroom - Workshop |
| Troubleshoot wiring | - Identify the tools and equipment for checking of supply. - Check the main supply as per SOPs. - Check the breakers as per SOPs. - Ensure the supply off as per SOPs. - Perform open circuit and short Circuit test with meter as per SOPs. - Identify the faults as per procedures. - Remove the fault as per SOPs. | - Open circuit test - Short circuit test - List the parts of fuse & M.C.B. - Advantages & disadvantages of fuse & M.C.B. - Classify cables with respect to insulation, core, voltage grade & current carrying capacity. - Types of circuit breakers / Relays - Fuse and miniature circuit breaker - Find size of cable for respective load. - Components use in earthling system. - Earth electrode, earth continuity conductor &earthling lead. - Fault current. - Find size of earth continuity conductor, earthling lead & earth electrodes Practical Activity: Perform diagnostic tests, and resolve faults in compliance with SOPs. | Theory: 1 Hrs. Practical: 12 13Hrs | - Electrical Tape (Insulated) - Fuses (Assorted Ratings) - Cleaning Spray - Battery Load Tester - Marker Pens and Cable Tags - Notebooks and Fault Logs - Digital Multimeter (True RMS) - Clamp Meter - Alternator Test Bench - Auto Electrical Diagnostic Tool - Insulation Resistance Tester (Megger) - Screw drivers and insulated tools - Lockout/tagout kit - Safety googles | - Class Room - Workshop |

## 4.5 0713E&E4105 Carryout Transmission of Electrical Power

Objective:

This Module deals with the skills and knowledge required to select the conductor for transmission line, sort different effects on Transmission lines during conduction, select the right insulator from different types according to the requirement, make foundation and erect poles and towers, perform stringing work and sag of transmission lines, install lightning arrester in a transmission system as per requirement.

Duration: 51 Hours	Theory: 9 Hours	Practice: 42 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required |  | Learning Place |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| LU1. Select the Conductor for Transmission line. | - Selected tools and equipment according to job equipment. - Select voltage level for transmission as per SOPs. - Select the conductor in accordance with current value as per procedures. | - Introduction to transmission line - Voltage Level Classification - Voltage level selection - Benefits of high voltage transmission - Types of Conductors - Current carrying capacity of conductors. - ACSR conductor - Cost of high voltage Transmission. Practical Activity Demonstrate how voltage levels, conductor types, and line conditions affect the efficiency and cost of electrical power transmission. | Theory: 02Hr Practical: 12 Hrs Total: 14 Hrs |  | - Notebook - Pen - 3 wire types (copper, aluminum, steel – 1.5m each) - Safety Equipment - DC Power Supply - Digital Multimeter - Resistive load - Connecting Leads |  | - Classroom |
| LU2. Select insulator | - Select insulator according to utility as per SOPs. - Separate healthy, punctured and broken disk as per procedures. - Calculate number of disks according to voltage level of transmission lines. | - Insulators - Types of insulators. - Creepage distance Practical Activity Separate healthy, punctured and broken disk and Calculate Number of Disks for different transmission Voltage Level to prepare insulator string. | Theory: 01Hr Practical: 06Hrs Total: 07Hrs |  | - Notebook - Pen - Insulators. (Different Types) - Disc insulator - Safety equipment |  | - Classroom |
| LU3. Perform stringing work and sag of Transmission lines | - Calculate sag and bring it in accordance with clearance standards of WPADA/NTDCL. - Remove effects of wind and ice on Transmission Line as per SOPs. - Adjust sag in line with existing temperature as per SOPs. | - String insulator - Clearance standards of transmission line - Introduction to Sag and Tension - Poles and Tower assembly - Hazards and safety codes Practical Activity Calculate sag and ensure it meets WPADA/NTDCL clearance requirements | Theory: 04Hrs Practical: 12Hrs Total: 16 Hrs |  | - Notebook - Pen - Transmission line model - Measuring tape - WPADA/NTDCL clearance standards chart - Temperature reference chart - Safety Equipment’s |  | - Classroom |
| LU4. Install lightning arrester in a transmission system as per requirement | - Select Lightening Arrestors for Substation/Grid station with respect to the current. - Install lightning arrestor as per SOPs. - Carryout connections for grounding as per SOPs | - Lightning arrester - Lightning arrester types - Lightning arrester Connection diagram - Usage of Lightning arrester Practical Activity Select and install the correct type of lightning arrestor based on current and system voltage. | Theory: 02Hr Practical: 12Hrs Total 4Hrs |  | - Notebook - Pen - lightning arrestors of different types - Earthing rods - grounding wire - clamps - Cable lugs |  | - Classroom |

## 4.6 0713E&E4106 Carryout Distribution of Electrical Power

Objective:

This Competency standard deals with the skills and knowledge required to select he conductor for distribution of power, Separate the correct insulator from different types according to the requirement, Make Foundation and Erect poles and structures, Supervise construction of Trenches Cable try and select appropriate cable, Measure performance of distribution lines and Install the equipment for grounding of Substation/Transmission lines, Install Lightning Arrester in a Distribution system as per requirement.

Duration: 51	                    Theory:9		Practice: 42

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Select the Conductor for Distribution of power. | - Select tools and equipment according to job requirement - Select the voltage level for Distribution as per SOPs. - Select the conductor in accordance with current (A) value. | - Current carrying capacity of conductors - Cable Gauge. - Weather impact on SAG Practical activity Select and Justify the Right Power Distribution Conductor for the given conditions. | Theory: 1Hrs. Practical: 6Hrs. Total: 7Hrs. | - Calculator or computer with spreadsheet software - Standard conductor datasheets (aluminum, ACSR conductors) - Sample load data (current, voltage, distance) - Voltage drop and current rating tables or software tools - Wiring diagrams or distribution line layout - Pen and paper or digital not taking device | - Classroom - workshop |
| Select the correct insulator | - Select appropriate insulator according to utility. - Separate healthy, broken and punctured disk as per SOPs. - Calculate number of disks according to voltage level of transmission lines as per procedures. | - Insulator types - Insulation material selection - Insulator assembly and SAG effect Practical activity Identification and Selection of Appropriate Electrical Insulators for Various Applications/voltage levels | Theory: 1 Hrs. Practical: 9Hrs. Total: 10Hrs. | - Insulators - Meggar | - Classroom - workshop |
| Supervise construction of Trenches, Cable tray and select appropriate cable | - Select cable among belted, screamed and pressure cable as per SOPs. - Supervise trench among direct laying and draw solid system as per SOPs. - Select cable tray as per procedures | - Trenches Standards. - Cable tray types - Cable Gauges. - Cabling WAPDA standards Practical activity Identification and selection of cable for given electrical distribution system | Theory: 4Hrs Practical: 15Hrs Total: 19 Hrs | - connectors) - Cable pulling tools (e.g., cable feeders, winches, pull ropes) - Wire strippers and cutters - Multimeter for testing continuity - Cables of different types (e.g., power cables, control cables, data cables, coaxial cables, fiber optic cables) - Ensure to have different sizes, insulation types (PVC, XLPE, rubber), and voltage ratings. - Cable trays (modular or simple metal trays) - Cable tray fittings (elbows, tees, - Documentation materials - Measuring tape and markers - Cable ties and cable clamps | - Classroom - workshop |
| Install the equipment for grounding of Substation/Trans mission lines | - Carryout grounding (Resistance, Reactance, solid) as per SOPs. - Supervise grounding in accordance with WAPDA as per SOPs. - Select copper conductor depending on the capacity of grid. - Test resistance of ground using Magger meter as per SOPs. - Carry out the jointing of copper conductor as per SOPs. | - Introduction to grounding - Grounding Types - Standard Grounding Resistance - WAPDA Grounding standards Practical activity Install a proper electrical grounding system and test its effectiveness to ensure safety and compliance with standards. | Theory: 3Hrs. Practical: 12Hrs. Total: 15 Hrs. | - Grounding rods (copper or galvanized steel) - Grounding conductors (copper or aluminum wire, braided or solid) - Grounding clamps (for securing conductors to rods or equipment) - Earthing plates or mesh - Cadweld or exothermic welding kits (for joining conductors) - Earth resistance meter - Shovel, auger, or digging tools (for preparing the ground for grounding rod installation) - Cable cutters and strippers - Torque wrench - Grounding test kit - Documentation forms - Measuring tape or laser distance measurer | - Classroom - Workshop |

## 4.7 0713E&E4107 Carryout Protection of Distribution and Transmission System

Objective:

This Competency standard deals with the skills and knowledge required to Install the equipment for grounding of Substation/Transmission lines, Categorize and rectify the symmetrical and asymmetrical faults, Install Circuit breaker in a distribution system (Substation/Grid station), install appropriate relays for the protection of power system, Carry out Bus Bar protection, Carry out time graded protection of feeder, Install a fuse in a circuit (Transformer and Distribution panels) &Supervise Protection of power transformer.

Duration: 43 Hours                                    	Theory: 7Hours           	                	Practice: 36 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Install relay for protection | - Select relay according to job requirement. - Make connections of relay according to given drawing. - Perform basic settings of relay as per specifications. | - Relay type - Relay purpose and need - Relay Selection criteria. Practical activity Install an overcurrent relay for a given system and set the parameters of relay | Theory: 1Hrs. Practical: 6Hrs. Total: 7Hrs. | - Contact Cleaner Spray - Documentation Sheets and Relay Logs - Protective Relay Test Set - Relay Calibration Bench - Tool Kit (Pliers, Wrenches, Screwdrivers) | - Classroom - workshop |
| Perform operations of relay | - Identify type of relay installed. - Interpret operation manual of relay. - Perform advanced setting of relay as per specifications. | - Relay working principle - Frame’s protection operation Practical activity Perform configuration of earth fault relay | Theory: 1Hrs. Practical: 6Hrs. Total: 07Hrs. | - Contact Cleaner Spray - Cable markers - Documentation Sheets and Relay Logs - Protective Relay Test Set - Relay Calibration Bench | - Classroom - workshop |
| Perform troubleshooting of relay | - Check connections of relay as per SOP's. - Reset functionality of relay as per SOPs. - Inject current to check healthiness of operation of relay as per SOPs. | - Short circuit problems - Power system types - Relay Working principle - Relay fault and correction Practical activity Perform troubleshooting of configured earth fault relay. | Theory: 2Hrs Practical: 09Hrs Total: 11Hrs | - Contact Cleaner Spray - Cable markers - Documentation Sheets and Relay Logs - Protective Relay Test Set - Relay Calibration Bench - Substation Layout Board (Demo/Training) - Tool Kit (Pliers, Wrenches, Screwdrivers) - CT/PT Analyzer | - Classroom - workshop |
| Carry out Bus Bar Protection | - Check connection of differential relay for bus bar as per SOPs. - Perform frame leakage protection as per SOPs. - Perform circuiting current protection as per SOPs. | - Time graded protection. - Bus Bar protection and selection criteria Practical activity Perform configuration of differential relay and use of overcurrent relay as backup protection | Theory: 1Hrs. Practical: 9Hrs. Total: 10Hrs. | - Contact Cleaner Spray - Cable markers - Bus Bar Assembly Demo Unit - Tool Kit (Pliers, Wrenches, Screwdrivers) - Safety Helmet and Gloves - Substation Layout Board (Demo/Training) | - Classroom - workshop |
| Carry out Protection of power transformer | - Select differential relay as per job requirement. - Make connections of CT with differential relay as per SOPs. - Perform setting of current transformer (CT) as per SOPs. | - Power transformer types - Power transformer Diagram - Power transformer protection - Power transformer applications Practical activity Configure a differential relay for given conditions and use CT with differential relay to measure entering and leaving current | Theory: 2Hrs Practical: 6Hrs Total: 8Hrs | - Contact Cleaner Spray - Cable markers - Insulating Tape (High Voltage) - Electrical Safety Posters/Charts - Protective Relay Test Set - Digital Multimeter (True RMS) - Clamp Meter - Megger (Insulation Resistance Tester) - Primary Injection Kit - Secondary Injection Test Set - CT/PT Analyzer - Relay Calibration Bench - Tool Kit (Pliers, Wrenches, Screwdrivers) - Substation Layout Board (Demo/Training) | - Classroom - workshop |

## 4.8 0713E&E4008 Install Turbine

Objective:

This Module covers the skills and knowledge required to verify foundation layout of turbines, assemble hydro turbine, make mechanical coupling, perform alignment and calibration of turbine, perform testing and commissioning, perform inspection and documentation.

Duration: 70 Hours			Theory: 10 Hours				Practice: 60 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Verify foundation layout | - Check Load-Bearing Capacity of foundation as per SOPs. - Check Soil Suitability of site as per procedures. - Check durability of material as per procedures. - Check Leveling of foundation as per procedures. | - Turbine Foundation Types - Foundation Defects - Surveying and leveling principles Practical Activity Perform verification of given foundation as per specifications given in layout | Theory: 1Hrs. Practical: 9Hrs. Total: 10Hrs. | - Marking charts - Paper - Foundation Layout Laser Level | - Well-equipped classroom - Workshop |
| LU2. Assemble hydro turbine | - Position turbine fix/stay vanes as per SOPs. - Position the turbine base onto the foundation as per procedures. - Install the main shaft onto the turbine base as per procedures. - Install and connect necessary systems as per procedures. | - Working principles of hydro turbines - Types of hydro turbines - Torque settings and tightening procedures for bolts and fasteners Practical Activity Assemble given hydro turbine as per given specification | Theory: 3Hrs. Practical: 15Hrs. Total: 18Hrs. | - Shims and Alignment Plates - Hydraulic Turbine Model (Training Unit) - Torque Wrench - Alignment Tools (Dial Gauge, Feeler Gauge) | - Well-equipped classroom - Workshop |
| LU3. Perform mechanical coupling | - Align the turbine shaft and generator as per SOPs. - Install the coupling between the turbine shaft and generator shaft as per procedures. - Tighten the coupling bolts and studs as per SOPs. - Perform a test run as per procedures. | - Hydro Turbine Operation - Types of Hydro Turbines - Turbine and Generator Shaft Configuration Practical Activity Perform coupling of hydro turbine with the generator as per given specification. | Theory: 2Hrs. Practical: 12Hrs. Total: 14 Hrs | - Thread Lock and Grease - Cable Ties and Clamps - Hydraulic Turbine Model (Training Unit) - Torque Wrench - Alignment Tools (Dial Gauge, Feeler Gauge) | - Well-equipped classroom - Workshop |
| LU4. Perform alignment and calibration of turbine | - Align the turbine components on the foundation as per SOPs. - Verify all components are within the manufacturer's specified tolerances for alignment. - Perform calibration of the control systems as per procedures. - Conduct operational tests of turbine as per procedures. | - Shaft Alignment Principles - Alignment Tools and Techniques - Types of Misalignment Practical activity Align and Calibrate given hydro turbine as per manufacturer specification | Theory: 2Hrs. Practical: 12Hrs. Total: 14Hrs | - Shims and Alignment Plates - Alignment Tools (Dial Gauge, Feeler Gauge) - Torque Wrench - Calibration Equipment Set - Tool Kit (Spanners, Screwdrivers, Allen Keys) | - Well-equipped classroom - Workshop |
| LU5. Perform testing and commissioning | - Perform Pre-Commissioning inspection of all turbine components as per SOPs. - Conduct a dry run test to check the mechanical systems as per procedures. - Control penstock gate of the turbine as per procedures. - Verify that the turbine meets design specifications as per procedures. - Calibrate control systems, and make any necessary adjustments as per procedures. | - Mechanical Installation Checks - Procedures for dry and wet commissioning - Use of test equipment - Data Documentation Practical activity Perform Tests in order to check performance of hydro turbine as per Manufacturer specification. | Theory: 1Hrs. Practical: 9Hrs. Total: 10Hrs | - Notebook - Pen - Vibration Analyzer - Testing & Commissioning Panel (Demo Type) | - Well-equipped classroom - Workshop |
| LU6. Perform inspection and documentation | - Conduct visual inspection of the turbine as per SOPs. - Measure key parameters using instruments as per procedures. - Record all inspection findings, test results, and any maintenance or adjustments made as per procedures. | - Inspection Procedures and Checklists - Documentation and Reporting Requirements - Record Keeping and Data Management Practical Activity Inspect turbine generator assembly and document findings as per given checklist | Theory: 1Hrs. Practical: 3Hrs. Total: 4Hrs | - Inspection forms and log sheets - Markers and tags - Thermal camera - Torque wrenches - Inspection tools (calipers, micrometers, borescopes) - Multimeters | - Well-equipped classroom - Workshop |

## 4.9 0713E&E4009 Install Generator

Objective:

This Module covers the skills and knowledge required to verify foundation layout, assemble synchronous generator, make, perform alignment and calibration of generator, make electrical connection, perform testing and commissioning, perform inspection and documentation.

Duration: 54 Hours			Theory: 6 Hours				Practice: 48 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required |  | Learning Place |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| LU 1. Verify foundation layout | - Inspect visible cracks, deformation, or signs of wear and tear on the foundation as per procedures. - Inspect the soil or ground around the foundation for any signs of erosion, waterlogging, or instability as per procedures. - Compile report of inspection as per SOPs. | - Foundation Types - Foundation Defects - Surveying and leveling principles Practical Activity Perform verification of given foundation as per specifications given in layout | Theory: 1Hr Practical: 9Hrs Total: 10Hrs |  | - Marking charts - Paper - Foundation Layout Laser Level |  | - Classroom - Workshop |
| LU2. Perform A.C Generator coupling | - Position the generator onto the foundation as per SOPs. - Couple generator and turbine shaft as per procedures. - Tighten the coupling bolts and studs as per SOPs. - Install and connect necessary systems as per SOPs. | - Working principles of A.C. generators. - Types of A.C. generators - Components of A.C. generators - Coupling methods Practical Activity Perform coupling of given generator and tighten all the bolts properly | Theory: 2Hr Practical: 9Hrs Total: 11Hrs |  | - Foundation Bolts and Anchors - Mechanical Coupling Kit (for AC generator) - Torque Wrench - Generator Installation Training Unit |  | - Classroom - Workshop |
| LU3. Perform alignment and calibration of generator | - Identify and select tools according to the job requirement. - Align the turbine shaft and generator as per SOPs. - Perform a test run to verify that the coupling functions correctly as per SOPs. | - Fundamentals of Generator Operation - Types of Generator Misalignment - Symptoms and Effects of Misalignment - Alignment Procedures Practical Activity Align and calibrate given generator as per given specification | Theory: 1Hrs Practical: 9Hrs Total: 10Hrs |  | - Shims and Alignment Plates - Alignment Tools (Dial Gauge, Feeler Gauge) - Calibration Equipment Set |  | - Classroom - Workshop |
| LU4. Make electrical connections | - Select tools according to the job requirement. - Connect power output terminals with transformer/panel board as per SOPs. - Connect current transformer (CT) and potential transformer (PT) as per SOPs. - Check grounding connections of generator as per SOPs. | - Types of electrical connections (series, parallel, star, delta) - Measuring Transformers - Transformer Tests Practical Activity Make connections of Transformer and panel board along with CT and PT as per given diagram. | Theory: 1Hr Practical: 12Hrs Total 13 Hrs |  | - Electrical Connectors (Lugs, Terminals) - Cable Marking Tags and Labels - Cable Ties and Clamps - Insulation Tape & Heat Shrink Tubes - Electrical Tool Kit (Crimper, Wire Stripper, etc.) |  | - Classroom - Workshop |
| LU5. Perform testing and commissioning | - Select tools according to job requirement. - Check speed and frequency of generator as per SOPs. - Check voltage and current of generator as per SOPs. - Check vibrations produced by generator as per SOPs. | - Polarity and Phase Sequence - No-Load Testing Procedures - Data Documentation Practical Activity Perform Tests in order to check performance of generator as per datasheet. | Theory: 1Hr Practical: 9Hrs Total: 10Hrs |  | - Notebook - Pen - Electrical Testing Kit (Multimeter, Clamp Meter) - Insulation Resistance Tester (Megger) - Vibration Analyzer |  | - Classroom - Workshop |

## 4.10 0713E&E4010 Control HP plant shutdown for emergency standby electrical systems

Objective:

This Module is intended for people in a senior position who are responsible for controlling HP plant shutdown for emergency standby electrical systems. People holding credit for this competency standard are able to: Prepare emergency standby electrical system; shut down and isolate emergency standby electrical system; service emergency standby electrical system; monitor emergency standby electrical system and stabilize transient condition.

Duration: 46 Hours                                   	Theory: 4 Hours    	                                	Practice: 42 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare emergency standby electrical system | - Carry out pre-condition’s preparation for plant as per SOPs. - Prepare plant for service as per SOPs. - Document preparation for plant shut-down as per SOPs. | - Check fuel, oil, and coolant levels in the standby generator. - Inspect battery voltage and electrolyte levels to ensure reliable starting. - Verify all control switches (Auto/Manual/Off) are in the correct standby position. - Inspect all electrical connections for tightness, corrosion, or damage.. - Verify grounding and earthling connections are secure and intact. - Make sure fuel storage tanks are filled as per operating standards. Practical activity Perform a complete pre-operation check and preparation of the emergency standby generator to ensure it is ready for automatic or manual startup during a power outage. | Theory: 1Hr. Practical: 9 Hrs. Total: 10Hrs. | - Wiring Labels and Tags - Marking Chalks and Stickers - Logbooks and Monitoring Sheets - Lockout/Tagout Kit | - Classroom - Workshop |
| LU2. Shut down and isolate emergency standby electrical system | - Carry out pre-condition for shutdown as per SOPs. - Isolate emergency standby electrical system as per SOPs. - Document plant shutdown and isolation as per SOPs. | - Know system layout and shutdown procedure. - Disconnect load before shutdown. - Turn off fuel supply safely. - Isolate system using switches and breakers. - Check for leaks, loose parts, or faults. Practical activity Perform safely shut down and isolate the emergency standby generator after use. | Theory: 1 Hr. Practical: 9Hrs. Total: 10 Hrs. | - Tags/labels - Insulation tape - Generator Shutdown Simulator Panel - Multimeter - Screwdrivers and spanners - Safety gloves and PPE | - Classroom - Workshop |
| LU3. Service emergency standby electrical system | - Apply hazard and risk identification as per SOPs. - Perform servicing of electrical system as per SOPs. - Document servicing activity as per SOPs. | - Check fuel, oil, coolant, and battery levels. - Inspect and clean air filters and connections. - Test alarms, indicators, and control switches. - Ensure proper grounding during maintenance. Practical Activity Perform routine service and maintenance on an emergency standby generator to ensure reliable operation. | Theory: 1 Hr. Practical: 12Hrs. Total: 13Hrs. | - Tags/labels - Insulation tape - Cable Ties and Mounting Clips - Cleaning Spray for Electrical Contacts - Generator Shutdown Simulator Panel - Battery Bank with Inverter - Screwdrivers and spanners - Safety gloves and PPE | - Classroom - Workshop |
| LU4. Monitor emergency stand by electrical system and stabilize transient condition | - Monitor plant operating conditions per SOPs. - Identify and react upon out of normal conditions as per SOPs. - Compare actual output values against expected requirements as per procedures. - Document transient conditions, actions and results. | - Know how to read and interpret system meters, indicators, and alarms. - Ability to respond quickly to abnormal readings and alarms. - Understand procedures to stabilize voltage and frequency during load changes. - Know how to adjust load distribution and control switches. - Awareness of safety hazards during abnormal operating conditions. Practical activity Students ensure safely monitor the operation of an emergency standby generator and stabilize transient conditions during load changes. | Theory: 1 Hr. Practical: 12Hrs. Total: 13Hrs. | - Logbook - Indicator Bulbs/LEDs for Control Panel - Multimeter - Clamp Meter - Load tester - Control panel instruments - Phase Rotation Tester | - Classroom - Workshop |

## 4.11 0713E&E4011 Analyze faults in HP plant operation

Objective:

This module is intended for people in a senior position who analyses faults in HP plant operations. People holding credit for this competency standard are able to: Plan and prepare for fault analysis; test plant and auxiliary equipment operation; analyse plant and auxiliary equipment faults; and record findings.

Duration: 65 Hours			Theory: 05 Hours				Practice: 60 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Diagnose faults in HP Plant | - Select tools and equipment according to job requirement. - Adopt safety practices as per SOPs. - Interpret specifications and drawings regarding civil structure. - Diagnose faults in HP plant as per SOPs. | - Identify common electrical and mechanical faults. - Recognize fault symptoms - Use diagnostic tools and testing instruments. - Follow safety and isolation procedures. - Interpret control panel alarms and indicators. Practical activity - Students safely diagnose an operational fault in the HP plant generator system. | Theory: 1Hr. Practical: 15Hrs. Total: 16Hrs. | - Fault Report Logbooks - Graph Paper and Analysis Sheets - Tagging Labels for Fault Identification - Stickers for Fault Area Marking - Digital Multimeter - Clamp Meter - Insulation Resistance Tester (Megger) - Thermal Imaging Camera (for hot-spot detection) | - Classroom - Workshop |
| LU2. Test plant and auxiliary equipment operation | - Perform tests according to SOPs. - Observe plant and equipment for correct operational response as per procedures. - Take corrective action when response is not in accordance with documentation as per SOPs. - Return plant and equipment to required operation status on completion of test as per procedures. | - Operate control panels and monitoring instruments. - Perform pre-test inspections and equipment checks. - Identify normal and abnormal operating conditions. - Conduct functional tests on pumps, valves, and electrical components. Bottom of Form Practical activity Perform operational testing of auxiliary equipment pumps, valves, and control systems in a plant to verify proper functioning. | Theory: 2Hr. Practical: 15Hrs. Total: 16Hrs. | - Printouts of Fault Diagnosis Flowcharts - Fuses, MCBs and Relays - HP Plant Fault Simulation Kit - Oscilloscope - Laptop with Diagnostic Software | - Classroom - Workshop |
| LU3. Analyze plant and allied equipment faults | - Analyze technical and operational information. - Determine necessary actions to rectify fault as per SOPs. - Maintain plant integrity and personnel safety as per procedures. - Take action to rectify the fault as per procedures. | - Identify common faults and failure symptoms. - Use diagnostic tools and testing methods. - Interpret readings from meters and alarms. - Record fault analysis and corrective actions. Practical activity Identify and analyze faults in plant and allied equipment using systematic troubleshooting. | Theory: 1Hr. Practical: 15Hrs. Total: 16Hrs. | - Cable Lugs and Connectors - Vibration Analyzer - Electrical Tool Kit - HP Plant Fault Simulation Kit | - Classroom - Workshop |
| LU4. Prepare documentation of faults diagnosis | - Mention the fault occurred in the logbook as per SOPs. - Prepare final report with findings and recommendations. - Submit report to supervisor as per SOPs. | - Know the types of information to record symptoms, tests, causes and actions. - Use standard forms and templates accurately. - Write clear, concise, and factual reports. - Maintain chronological and organized records. Practical activity Students make accurately document the diagnosis of a fault in plant equipment following inspection and testing. | Theory: 1Hr. Practical: 15Hrs. Total: 16Hrs. | - Pens - Pencils - Erasers - Rulers - Printouts of Fault Diagnosis Flowcharts - Fault Logging & Analysis Charts - Laptop with Diagnostic Software | - Classroom - Workshop |

## 4.12 0713E&E4012 Carry out preventive maintenance procedures as part of HP operations

Objective:

This Module is intended for those who carry out preventive maintenance as part of HP operations. ‘Preventive maintenance’ in this context refers to the systematic care and servicing of machinery, equipment and infrastructure by inspection, detection, and correction of early failures either before they occur or before they develop into major defects. People holding credit for this competency standard are able to: Plan and prepare for preventive maintenance; perform daily routine checks; perform preventive maintenance; and complete work.

Duration: 46 Hours			Theory: 4 Hours				Practice: 42 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Plan for preventive maintenance | - Select tools and equipment as per job requirements. - Adopt safety and regulatory practices as per SOPs. - Interpret drawings as per SOPs. | - Identify maintenance requirement - Develop maintenance schedule - Select tools, materials & manpower Prepare documentation Practical activity Preventive maintenance plan for a selected machine and preparing documentation. | Theory: 1Hr. Practical: 9Hrs. Total: 10Hrs. | - Maintenance Checklist Sheets - Dust Masks - Labels for Equipment Tagging - Preventive Maintenance Toolkit (spanners, pliers) | - Classroom - Workshop |
| LU2. Perform daily routine checks | - Check for suspended trash or material at screens as per SOPs. - Check for water leakage or overflow as per SOPs. - Check for sand sedimentation as per SOPs. - Check for deformation or crack as per SOPs. - Check for mechanical malfunction as per SOPs. | - Interpret daily checklists and instructions - Perform visual and operational checks - Record and report findings - Take immediate corrective actions if required. Practical activity Perform daily routine checks on assigned equipment using a standard checklist, record their observations, and report any issues. | Theory: 1Hrs Practical: 12Hrs Total: 13Hrs | - Cable Ties - Dust Masks - Safety Gloves - Digital Multimeter - Infrared Thermometer - Vibration Analyzer - Portable Inspection Lamp | - Classroom - Workshop |
| LU3. Perform preventive maintenance | - Remove debris as per SOPs. - Flush out sand sedimentation as per procedures. - Remove sand and rocks as per procedures. - Reduce water intake as per SOPs. - Remove/Replace worn or faulty components as per SOPs. - Record maintenance procedures, and report subsequent actions. | - Prepare for preventive maintenance - Preventive maintenance procedures - Inspect and service components - Test equipment after maintenance - Complete maintenance records Practical activity Perform preventive maintenance on a selected piece of equipment, following procedures and safety protocols. | Theory: 1Hrs Practical: 12Hrs Total: 13Hrs | - Replacement Fuses and Nuts - Insulation Tape - Grease Gun - Lubrication System Test Kit - Laptop/Tablet (for digital logs and checklists) - Lockout-Tagout (LOTO) Kit | - Classroom - Workshop |
| LU4. Perform documentation of preventive maintenance | - Complete work-related documents as per SOPs. - Perform final quality inspection as per procedures. - Clean up and store tools, equipment and materials as per SOPs. | - Identify required maintenance records - Record maintenance activities accurately. - Complete equipment status reports - File and store maintenance documents Practical activity Accurately fill out preventive maintenance records after completing maintenance tasks on assigned equipment. | Theory: 1Hrs Practical: 9Hrs Total: 10Hrs | - Documentation Logbooks - Fault Logging & Analysis Charts | - Classroom - Workshop |

- List of Consumables, Tools, Machinery & Equipment

| 5A. List of Consolidated Consumables |  |  |  |
| --- | --- | --- | --- |
| S. No | Item | Specifications | Quantity |
| 1 | Hydraulic Oil (Standard Grade) |  | 40 Litres |
| 2 | Marking Chalk / Soapstone |  | 30 Pieces |
| 3 | Rubber Seals and Gaskets (Assorted sizes) |  | 50 Pieces |
| 4 | Teflon Tape |  | 20 Rolls |
| 5 | Transparent Tubing (for experiments) |  | 30 Meters |
| 6 | Lubricating Oil |  | 5 Litres |
| 7 | Thread Sealant |  | 10 Bottles |
| 8 | Clean Rags / Wiping Cloths |  | 100 Pieces |
| 9 | Hand Gloves (Rubber/Nitrile for fluid handling) |  | 25 Pairs |
| 10 | Washers and Small Fittings |  | 100 Pieces |
| 11 | Cleaning Spray / Degreaser |  | 5 Bottles |
| 12 | Fluid Sample Containers |  | 25 |
| 13 | Disposable Aprons |  | 25 |
| 14 | Lab Notebooks / Recording Sheets |  | 25 |
| 15 | Marker Pens and Labels |  | 25 Sets |
| 16 | Electrical Tapes |  | 10 Rolls |
| 17 | Fuses (Assorted Ratings) |  | 100 Units |
| 18 | Solder Wire |  | 500 Grams |
| 19 | Flux Paste |  | 5 Tins |
| 20 | Cleaning Alcohol (Isopropyl) |  | 5 Liters |
| 21 | Wiring Cables (Flexible, Multi-core) |  | 100 Meters |
| 22 | Notebooks and Calibration Log Sheets |  | 25 Units |
| 23 | Connector Terminals |  | 200 Pieces |
| 24 | Batteries for Multimeters (9V/AA) |  | 50 Units |
| 25 | Heat Shrink Sleeves |  | 50 Pieces |
| 26 | Wiring Harness Samples |  | 10 Sets |
| 27 | Terminal Lugs and Connectors |  | 200 Pieces |
| 28 | Battery Terminals |  | 50 Pieces |
| 29 | Cleaning Spray (Contact Cleaner) |  | 5 Cans |
| 30 | Zip Ties |  | 300 Pieces |
| 31 | Heat Shrink Tubing |  | 100 Pieces |
| 32 | Carbon Brushes (Assorted Sizes) |  | 30 Sets |
| 33 | Insulating Sleeves |  | 50 Meters |
| 34 | Marker Pens and Cable Tags |  | 25 Sets |
| 35 | Notebooks and Fault Logs |  | 25 Units |
| 36 | Insulating Tape (High Voltage) |  | 15 Rolls |
| 37 | Ferrules and Cable Tags |  | 250 Pieces |
| 38 | Grounding Rods (for training setup) |  | 5 Units |
| 39 | Solder Wire and Flux |  | 10 Sets |
| 40 | Cable Markers |  | 100 Pieces |
| 41 | Electrical Safety Posters/Charts |  | 5 Sets |
| 42 | Documentation Sheets and Relay Logs |  | 25 Books |
| 43 | Foundation Bolts and Anchors |  | 50 Pieces |
| 44 | Shims and Alignment Plates |  | 100 Pieces |
| 45 | Thread Lock and Grease |  | 10 Tubes |
| 46 | Cable Ties and Clamps |  | 200 Pieces |
| 47 | Foundation Bolts and Grouting Material |  | 40 Sets |
| 48 | Cable Marking Tags and Labels |  | 150 Pieces |
| 49 | Insulation Tape & Heat Shrink Tubes |  | 30 Rolls |
| 50 | Cleaning Rags and Degreaser |  | 100 Pieces |
| 51 | Marking Chalks / Paint |  | 10 Sets |
| 52 | Documentation Sheets and Logbooks |  | 25 Books |
| 53 | Grease / Thread Locker for Coupling |  | 10 Tubes |
| 54 | Gasket Material for Flange Joints |  | 5 Sheets |
| 55 | Electrical Cables (For Demo Connections) |  | 30 Meters |
| 56 | Fuses and Miniature Circuit Breakers (MCBs) |  | 40 Pcs |
| 57 | Cleaning Spray for Electrical Contacts |  | 10 Cans |
| 58 | Wiring Labels and Tags |  | 100 Pcs |
| 59 | Nuts, Bolts and Fasteners (Electrical) |  | 200 Pcs |
| 60 | Logbooks and Monitoring Sheets |  | 25 Books |
| 61 | Cable Ties and Mounting Clips |  | 200 Pcs |
| 62 | Safety Signs and Labels for Emergency System |  | 10 Sets |
| 63 | Spare Indicator Bulbs/LEDs for Control Panel |  | 50 Pcs |
| 64 | Fault Report Logbooks |  | 25 Books |
| 65 | Electrical Contact Cleaner Spray |  | 10 Cans |
| 66 | Fuses, MCBs and Relays (Assorted) |  | 50 Pcs |
| 67 | Tagging Labels for Fault Identification |  | 100 Pcs |
| 68 | Graph Paper and Analysis Sheets |  | 100 Sheets |
| 69 | Stickers for Fault Area Marking |  | 50 Pcs |
| 70 | Printouts of Fault Diagnosis Flowcharts |  | 25 Sets |
| 71 | Maintenance Checklist Sheets |  | 100 Sheets |
| 72 | Grease and Lubricants |  | 10 Litres |
| 73 | Dust Masks |  | 50 Pcs |
| 74 | Safety Gloves |  | 25 Pairs |
| 75 | Replacement Fuses and Nuts |  | 50 Pcs |
| 76 | Documentation Logbooks |  | 25 Books |
| 77 | Labels for Equipment Tagging |  | 100 Pcs |
| 78 | 3 wire types (copper, aluminum, steel – 1.5m each) |  | 100 Meters |
| 79 | Leak detection spray |  | 20 units |
| 80 | Hydraulic seals |  | 20 units |
| 81 | Thread seal tape |  | 20 units |
| 82 | Teflon tape |  | 20 units |
| 83 | Gaskets |  | 20 units |
| 84 | Pipe sealant |  | 20 units |
| 85 | Lab Notebooks / Recording Sheets |  | 20 units |

| 5B. Consolidated List of Tools, Machinery & Equipment |  |  |  |
| --- | --- | --- | --- |
| Sr. No | Item | Specifications | Quantity |
| 1 | Directories of existing businesses |  | 25 |
| 2 | Examples of business plans |  | 25 |
| 3 | Sample of financial plans |  | 25 |
| 4 | Business planner templates |  | 25 |
| 5 | Start-up-costs estimator |  | 25 |
| 6 | Hydraulic Trainer Kit (with actuators, valves, circuit board) |  | 2 Sets |
| 7 | Flow Measuring Apparatus (Venturimeter / Orifice Meter) |  | 2 Sets |
| 8 | Pressure Gauge Set (with manometers) |  | 3 Sets |
| 9 | Impact of Jet Apparatus |  | 1 Set |
| 10 | Hydraulic Pump Test Rig (Centrifugal & Reciprocating) |  | 2 Sets |
| 11 | Water Turbine Test Rig (Pelton / Francis / Kaplan) |  | 2 Sets |
| 12 | Hydraulic Valve Test Bench |  | 1 Set |
| 13 | Measuring Cylinders / Flow Meter |  | 4 |
| 14 | Stop Watch |  | 5 |
| 15 | Transparent Pipes for Flow Visualization |  | 3 Sets |
| 16 | Hydraulic Seals & Valve Cut Section Models |  | 2 Sets |
| 17 | Hydraulic Motor Test Kit |  | 1 Set |
| 18 | Computer System with Simulation Software (Hydraulic Systems) |  | 2 PCs |
| 19 | Tool Kit (Spanner Set, Screwdrivers, Allen Keys, etc.) |  | 5 Sets |
| 20 | White Board & Markers for Circuit Drawing |  | 2 Boards |
| 21 | Calibration Bench Setup |  | 1 Unit |
| 22 | Standard Calibrated Ammeter (Digital) |  | 2 Units |
| 23 | Standard Calibrated Voltmeter (Digital) |  | 2 Units |
| 24 | Precision Ohmmeter |  | 2 Units |
| 25 | Calibrated Multimeter (Reference Standard) |  | 2 Units |
| 26 | Function Generator |  | 1 Unit |
| 27 | Variable Power Supply (0-30V, 5A) |  | 2 Units |
| 28 | Digital Oscilloscope |  | 1 Unit |
| 29 | Test Leads with Banana Plugs |  | 10 Sets |
| 30 | Tool Kit (Screwdrivers, Wire Cutter, etc.) |  | 5 Sets |
| 31 | Work Benches with Electrical Boards |  | 5 Units |
| 32 | Analog Multimeter |  | 3 Units |
| 33 | Clamp Meter |  | 3 Units |
| 34 | Battery Load Tester |  | 2 Units |
| 35 | Ignition System Tester |  | 2 Units |
| 36 | Timing Light |  | 2 Units |
| 37 | Alternator Test Bench |  | 1 Unit |
| 38 | Starter Motor Bench Tester |  | 1 Unit |
| 39 | Auto Electrical Diagnostic Tool |  | 1 Unit |
| 40 | Insulation Resistance Tester (Megger) |  | 2 Units |
| 41 | Basic Hand Tool Set (Pliers, Screwdrivers, etc.) |  | 5 Sets |
| 42 | Wire Stripper & Crimper Tool |  | 5 Sets |
| 43 | Workbenches with Electrical Panels |  | 5 Units |
| 44 | Lightning Arrester |  | 5 |
| 45 | Chain block |  | 25 |
| 46 | Temperature gage |  | 25 |
| 47 | Dipole |  | 25 |
| 48 | Conductors. (Different Types) |  | As Required |
| 49 | Insulators. (Different Types) |  | As Required |
| 50 | Poles |  | As Required |
| 51 | Power factor improvement panel |  | 25 |
| 52 | Voltmeter |  | 25 |
| 53 | Theodolite |  | 1 |
| 54 | Earthling equipment |  | 25 |
| 55 | Insulators |  | 25 |
| 56 | Protective Relay Test Set |  | 2 Units |
| 57 | Primary Injection Kit |  | 1 Unit |
| 58 | Secondary Injection Test Set |  | 1 Unit |
| 59 | CT/PT Analyzer |  | 1 Unit |
| 60 | Relay Calibration Bench |  | 1 Unit |
| 61 | Earth Resistance Tester |  | 2 Units |
| 62 | Safety Helmet and Gloves |  | 10 Sets |
| 63 | Tool Kit (Pliers, Wrenches, Screwdrivers) |  | 5 Sets |
| 64 | Portable Grounding and Shorting Equipment |  | 2 Sets |
| 65 | Substation Layout Board (Demo/Training) |  | 1 Unit |
| 66 | Bus Bar Assembly Demo Unit |  | 1 Unit |
| 67 | Hydraulic Turbine Model (Training Unit) |  | 1 Unit |
| 68 | Alignment Tools (Dial Gauge, Feeler Gauge) |  | 3 Sets |
| 69 | Mechanical Coupling Kit |  | 2 Sets |
| 70 | Torque Wrench |  | 3 Units |
| 71 | Foundation Layout Laser Level |  | 2 Units |
| 72 | Portable Crane / Chain Block |  | 2 Units |
| 73 | Vernier Caliper / Micrometer Set |  | 5 Sets |
| 74 | Vibration Analyzer |  | 1 Unit |
| 75 | Calibration Equipment Set |  | 1 Set |
| 76 | Testing & Commissioning Panel (Demo Type) |  | 1 Unit |
| 77 | Inspection Flashlight and Mirror Set |  | 3 Sets |
| 78 | Safety PPE (Helmet, Gloves, Goggles) |  | 15 Sets |
| 79 | Generator Installation Training Unit |  | 1 Unit |
| 80 | Mechanical Coupling Kit (for AC generator) |  | 2 Sets |
| 81 | Electrical Tool Kit (Crimper, Wire Stripper, etc.) |  | 5 Sets |
| 82 | Lifting Equipment (Chain Block or Hoist) |  | 2 Units |
| 83 | Emergency Standby Generator (Training Purpose) |  | 1 Unit |
| 84 | Circuit Breaker Testing Kit |  | 1 Set |
| 85 | Lockout/Tagout Kit |  | 3 Sets |
| 86 | Electrical Panel Simulator (for emergency system) |  | 1 Unit |
| 87 | Battery Bank with Inverter (for training use) |  | 1 Set |
| 88 | Electrical Tool Kit (Insulated) |  | 5 Sets |
| 89 | Phase Rotation Tester |  | 2 Units |
| 90 | Load Bank (for testing under load conditions) |  | 1 Unit |
| 91 | Safety PPE Kit (Helmet, Gloves, Boots, Goggles) |  | 15 Sets |
| 92 | Generator Shutdown Simulator Panel |  | 1 Unit |
| 93 | HP Plant Fault Simulation Kit |  | 1 Unit |
| 94 | Thermal Imaging Camera (for hot-spot detection) |  | 1 Unit |
| 95 | Vibration Analyzer (for mechanical fault detection) |  | 1 Unit |
| 96 | Laptop with Diagnostic Software |  | 2 Units |
| 97 | Whiteboard with Markers (for fault analysis sessions) |  | 1 Set |
| 98 | Fault Logging & Analysis Charts |  | 5 Sets |
| 99 | Preventive Maintenance Toolkit (spanners, pliers, etc.) |  | 5 Sets |
| 100 | Infrared Thermometer |  | 2 Units |
| 101 | Grease Gun |  | 3 Units |
| 102 | Portable Inspection Lamp |  | 3 Units |
| 103 | Lubrication System Test Kit |  | 1 Unit |
| 104 | Laptop/Tablet (for digital logs and checklists) |  | 2 Units |
| 105 | Safety Helmet with Face Shield |  | 10 Units |
| 106 | Lockout-Tagout (LOTO) Kit |  | 2 Sets |
| 107 | Breakers |  | 20 units |
| 108 | hydraulic benches |  | 4 units |
| 109 | Pipes and fittings |  | 20 units |
| 110 | Viscometers |  | 5 units |
| 111 | Stopwatch |  | 20 units |
| 112 | Computers/simulation software |  | 20 units |
| 113 | DC Power Supply |  | 5 units |
| 114 | Resistive load |  | 20 units |
| 115 | Connecting Leads |  | 100 units |
| 116 | Transmission line model |  | 2 units |
| 117 | Measuring tape |  | 20 units |
| 118 | WPADA/NTDCL clearance standards chart |  | 5 units |
| 119 | Temperature reference chart |  | 5 units |
| 120 | Safety Equipment’s |  | 20 units |
| 121 | lightning arrestors of different types |  | 50 units |
| 122 | Insulators. (Different Types) |  | 20 units |
| 123 | Disc insulator |  | 20 units |
| 124 | Tachometer |  | 5 units |
| 125 | Flow Meters |  | 5 units |
| 126 | Stopwatch |  | 5 units |
| 127 | Hydraulic Valve Test Bench |  | 5 units |
| 128 | Hydraulic Seals & Valve Cut Section Models |  | 2 Units |
| 129 | Hydraulic Motor Test Kit |  | 2 Units |
| 130 | tool Kit (Spanner Set, Screwdrivers, Allen Keys, etc.) |  | 5 units |
| 131 | Water Turbine Test Rig (Pelton / Francis / Kaplan) |  | 5 units |
| 132 | Alternator Test Bench |  | 5 units |
| 133 | Auto Electrical Diagnostic Tool |  | 5 units |
| 134 | Lockout/tagout kit |  | 5 units |
| 135 | Transparent Pipes for Flow Visualization |  | 20 units |
| 136 | Flow Measuring Apparatus (Venturi meter / Orifice Meter) |  | 5 units |
| 137 | Hydraulic Trainer Kit (with actuators, valves, circuit board) |  | 2 Units |
| 138 | Auto Electrical Diagnostic Tool |  | 5 units |
| 139 | Digital Multimeter (True RMS) |  | 5 units |
| 140 | Belt tension gauge |  | 5 units |
| 141 | Hydraulic Flow Apparatus |  | 2 Units |
| 142 | hydraulic benches |  | 2 Units |
| 143 | pressure gauges |  | 2 Units |
| 144 | Bernoulli’s apparatus |  | 2 Units |
| 145 | Pitot tube Flowmeters |  | 2 Units |
| 146 | Viscometer |  | 5 units |
| 147 | Spark plug tester |  | 20 units |
| 148 | Insulation resistance tester |  | 5 units |
| 149 | Francis turbine trainer |  | 2 Units |
| 150 | Pelton turbine trainer |  | 2 Units |
| 151 | Kaplan turbine demo models |  | 2 Units |
| 152 | Mini hydro power plant simulator |  | 2 Units |
| 153 | Synchronous generator trainer sets |  | 2 Units |
| 154 | Smart grid simulators |  | 2 Units |
| 155 | Battery management system trainers (BMS) |  | 2 Units |
| 156 | Inverter and power converter trainers |  | 2 Units |
| 157 | Ultrasonic flow meters |  | 5 units |
| 158 | Thermographic (IR) cameras for thermal analysis |  | 2 Units |
| 159 | Water level sensors and pressure transmitters |  | 2 Units |
| 160 | PLC training kits (e.g., Siemens, Allen-Bradley) |  | 1 Unit |
| 161 | HMI panels and SCADA simulation tools |  | 1 Unit |
| 162 | Smart sensors (temperature, pressure, flow) |  | 20 units |
| 163 | Vibration analyzers (condition monitoring) |  | 2 Units |
| 164 | Pressure calibrators (digital) |  | 2 Units |
| 165 | Temperature calibrators (dry block and bath type) |  | 2 Units |
| 166 | Phase sequence testers |  | 5 units |

# Members of Qualification Development Committee

The Qualifications Development Committee consisted of the following members:

| Sr. # | Name | Designation | Organization |
| --- | --- | --- | --- |
|  | Mr. Zia ur Rehman | Assistant Professor | KP-TEVTA |
|  | Engr. Mateeullah | Lecturer | KP-TEVTA |
|  | Mr. Mubeen Akbar | Assistant Director | PSEB Islamabad |
|  | Engr. Tanveer Ahmad | Lecturer | KP-TEVTA |
|  | Engr. Hafiz Abdul Ghaffar | Instructor Electrical | P-TEVTA |
|  | Engr. Waqas Anjum Khan | Assistant Director | P-TEVTA |
|  | Mr. Muhammad Ali | Instructor Electrical | P-TEVTA |
|  | Engr. Ali Anwaar | Instructor | P-TEVTA |
|  | Engr. Abdur Rehman | HOD | GSTC- Faisalabad |
|  | Mr. Mubashar Hamid | Instructor Electrical | P-TEVTA |
|  | Engr. Mohsin Jahanzeb | Instructor | P-TEVTA |
|  | Engr. Haziq Waheed | Design Engineer | NESPAK |
|  | Mr. Israr Ahmad | Assistant Professor | KP-TEVTA |
|  | Mr. Abdul Basit | DACUM Facilitator | Gujranwala |
|  | Engr. Qurbat Zahra | Co DACCUM Facilitator | Lahore |
|  | Engr. Navid Ali | Assistant Professor | KP-TEVTA |