Instruction Sheet for the Candidate

| Qualification | ICT - (Level 5) |
| --- | --- |
| Competency Standard | Perform CCTV/IPinstallation and maintenance |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. Time frame (for practical demonstration & assessment): - Install and configure CCTV/IP - Build CCTV/IP System - Establish networking in CCTV/IP |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |

| Minimum Evidence Required | Install and configure CCTV/IP - Configure Video Signals e.g. H 264, Mpeg 2 - Identify Cabling and connectors - Crimpe BNC, CAT6 and keystone connectors - Assemble a CCTV/IP system - Install CCTV/IP cameras with RG59 and CAT6 - Install CCTV/IP power supply Build CCTV/IPSystem - Calculate recording resolution, digital CCTV/IP storage and lighting - Set-up connection of PTZ Cameras - Install PTZ camera - Run shot gun cable - Install junction boxes - Configure HRDP DVR/NVR to FVMS software Establish networking in CCTV - Assign a local area IP addressing a DVR/NVR and an IP camera - Set TCP and IP on all relevant cameras - Set domain name servers through cameras - Configure port forwarding for CCTV/IP Systems - Set up for mobile view for CCTV/IP systems - Install drivers as appropriate and check functionality - Test trouble shooting using CCTV/IP tester |
| --- | --- |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | ICT - (Level 5) |
| Competency Standard | Perform CCTV/IPinstallation and maintenance |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Install and configure CCTV/IP - Build CCTV/IPSystem - Establish networking in CCTV/IP |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Configure Video Signals e.g. H 264, Mpeg 2 |  |  |
| - Identify Cabling and connectors |  |  |
| - Crimpe BNC, CAT6 and keystone connectors |  |  |
| - Assemble a CCTV/IP system |  |  |
| - Install CCTV/IP cameras with RG59 and CAT6 |  |  |
| - Install CCTV/IP power supply |  |  |
| - Calculate recording resolution, digital CCTV/IP storage and lighting |  |  |
| - Set-up connection of PTZ Cameras |  |  |
| - Install PTZ camera |  |  |
| - Run shot gun cable |  |  |
| - Install junction boxes |  |  |
| - Configure HRDP DVR/NVR to FVMS software |  |  |
| - Assign a local area IP addressing a DVR/NVR and an IP camera |  |  |
| - Set TCP and IP on all relevant cameras |  |  |
| - Set domain name servers through cameras |  |  |
| - Configure port forwarding for CCTV/IP Systems |  |  |
| - Set up for mobile view for CCTV/IP systems |  |  |
| - Install drivers as appropriate and check functionality |  |  |
| - Test trouble shooting using CCTV/IP tester |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | ICT - (Level 5) |
| --- | --- |
| Competency Standard | Perform CCTV/IP installation and maintenance |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Install and configure CCTV - Build CCTV/IPSystem - Establish networking in CCTV |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Configure Video Signals e.g. H 264, Mpeg 2 |  |  |  |  |  |
|  | Identify Cabling and connectors |  |  |  |  |  |
|  | Crimpe BNC, CAT6 and keystone connectors |  |  |  |  |  |
|  | Assemble a CCTV/IP system |  |  |  |  |  |
|  | Install CCTV/IP cameras with RG59 and CAT6 |  |  |  |  |  |
|  | Install CCTV/IP power supply |  |  |  |  |  |
|  | Calculate recording resolution, digital CCTV/IP storage and lighting |  |  |  |  |  |
|  | Set-up connection of PTZ Cameras |  |  |  |  |  |
|  | Install PTZ camera |  |  |  |  |  |
|  | Run shot gun cable |  |  |  |  |  |
|  | Install junction boxes |  |  |  |  |  |
|  | Configure HRDP DVR/NVR to FVMS software |  |  |  |  |  |
|  | Assign a local area IP addressing a DVR/NVR and an IP camera |  |  |  |  |  |
|  | Set TCP and IP on all relevant cameras |  |  |  |  |  |
|  | Set domain name servers through cameras |  |  |  |  |  |
|  | Configure port forwarding for CCTV/IP Systems |  |  |  |  |  |
|  | Set up for mobile view for CCTV/IP systems |  |  |  |  |  |
|  | Install drivers as appropriate and check functionality |  |  |  |  |  |
|  | Test trouble shooting using CCTV/IP tester |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | ICT - (Level 5) |
| --- | --- |
| Competency Standard | Perform CCTV/IP installation and maintenance |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What's The Difference Between Hardware Compression And Software Compression? |  |  |
|  | What are the major components of CCTV? |  |  |
|  | Name the cable used for IP camera? |  |  |
|  | Name the cable used for CCTV camera? |  |  |
|  | What is the purpose of DVR? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________