Instruction Sheet for the Candidate

| Qualification | # National Vocational Certificate Level 2 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Install Different types of Transformers |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Use transformer with diode - Make Star and Delta connection of three phase transformer |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Use transformer with diode - Design a circuit which can perform the half wave rectification with the help of diode and transformer. - Design a circuit which can perform the full wave rectification with the help of bridge rectifier and transformer. - Record their waveforms on digital oscilloscope - Make Star and Delta connection of three phase transformer - Perform a task with AC loads (resistive, capacitive and inductive). - Calculate the AC parameters (Impedance, Phase Difference, and Phase Angle). - Perform a task for measuring RLC Series and Parallel circuits with AC source. - Perform a task for demonstration of Resonance in series and parallel circuits. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | # National Vocational Certificate Level 2 in Instrumentation Technology |
| Competency Standard | Install Different types of Transformers |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Use transformer with diode - Make Star and Delta connection of three phase transformer |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Design a circuit which can perform the half wave rectification with the help of diode and transformer. |  |  |
| - Design a circuit which can perform the full wave rectification with the help of bridge rectifier and transformer. |  |  |
| - Record their waveforms on digital oscilloscope |  |  |
| - Perform a task with AC loads (resistive, capacitive andinductive). |  |  |
| - Calculate the AC parameters (Impedance, Phase Difference, and Phase Angle). |  |  |
| - Perform a task for measuring RLC Series and Parallel circuits with AC source |  |  |
| - Perform a task for demonstration of Resonance in series and parallel circuits. |  |  |

..

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | # National Vocational Certificate Level 2 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Install Different types of Transformers |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

`Observation Checklist

| Assessment Task |  | - Use transformer with diode - Make Star and Delta connection of three phase transformer |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Designed a circuit which can perform the half wave rectification with the help of diode and transformer. |  |  |  |  |  |
|  | Designed a circuit which can perform the full wave rectification with the help of bridge rectifier and transformer. |  |  |  |  |  |
|  | Recorded their waveforms on digital oscilloscope |  |  |  |  |  |
|  | Performed a task with AC loads (resistive, capacitive and inductive). |  |  |  |  |  |
|  | Calculated the AC parameters (Impedance, Phase Difference, and Phase Angle). |  |  |  |  |  |
|  | Performed a task for measuring RLC Series and Parallel circuits with AC source |  |  |  |  |  |
|  | Performed a task for demonstration of Resonance in series and parallel circuits. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | # National Vocational Certificate Level 2 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Install Different types of Transformers |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Name different types of diodes. |  |  |
|  | Draw the Half wave rectifier circuit with center tap transformer. |  |  |
|  | Draw the connection diagram of Full wave rectifier with center tap transformer. |  |  |
|  | Differentiate between Primary and secondary winding of a transformer |  |  |
|  | Transformer can be connected with DC circuits.(T/F) |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________