Instruction Sheet for the Candidate

| Qualification | # National Vocational Certificate Level 2 in Instrumentation Technology. |
| --- | --- |
| Competency Standard | Connect Tubing and Fittings |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Measure the parameters using Vernier Caliper & Micrometer - Use the Hand & Power Tools ( Tube cutter, Tube bender) - Prepare the tubes for operations - Attach Fittings to the tubing |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Measure the parameters using Vernier Caliper & Micrometer - Determine measurement requirements from specifications. - Select appropriate instrument for the measurement - Apply correct measuring techniques as required. - Record the measurements as per requirements. - Generate an output report. Use the Hand & Power Tools (Tube Cutter ,Tube Bender) - Select the appropriate hand/power tool. - Use hand/power tools to achieve desired outcome. - Identify the unsafe & faulty tools and forward them for repair. - Store hand tools safely in appropriate location as per organizational SOPs. - Perform adjustment/ alignments over a range of Hand/ power tools. - Sharpen the hand/power tools using appropriate techniques. Prepare the tubes for operations - Gather materials, required for the work. - Select tools, equipment and testing devices required for operation. - Check the workability of tools. - Perform calculations for bends and radius. Attach Fittings to the tubing - Perform following operations to prepare the tube for installation. - Cut, flare, swage, bend, braze - Attach the tubing as per the circuit diagram. - Perform the Test Run on Equipment - Check for leakages & rectify where applicable. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 2 in Instrumentation Technology |
| Competency Standard | Connect Tubing and Fittings |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Measure the parameters using Vernier Caliper & Micrometer - Use the Hand & Power Tools ( Tube cutter, Tube bender) - Prepare the tubes for operations - Attach Fittings to the tubing |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Determine measurement, &specifications fromdrawing. |  |  |
| - Perform calculations. (For bends and radius.) |  |  |
| - Select tools, equipment and testing devices required for operation. |  |  |
| - Gather materials, required for the work |  |  |
| - Record the measurements as per requirements. |  |  |
| - Apply correct measuring techniques as required. |  |  |
| - Identify the unsafe & faulty tools and forward them for repair |  |  |
| - Sharpen the hand/power tools using appropriate techniques |  |  |
| - Perform adjustment/ alignments over a range of Hand/ power tools. |  |  |
| - Use hand/power tools to achieve desired outcome |  |  |
| - Cut, flare, swage, bend, braze |  |  |
| - Attach the tubing as per the circuit diagram. |  |  |
| - Perform the Test Run on Equipment |  |  |
| - Check for leakages & rectify where applicable. |  |  |
| - Store hand tools safely in appropriate location as per organizational SOPs |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 2 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Connect Tubing and Fittings |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Measure the parameters using Vernier Caliper & Micrometer - Use the Hand & Power Tools ( Tube cutter, Tube bender) - Prepare the tubes for operations - Attach Fittings to the tubing |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Determined measurement, & specifications from drawing. |  |  |  |  |  |
|  | Performed calculations. (For bends and radius.) |  |  |  |  |  |
|  | Selected tools, equipment and testing devices required for operation. |  |  |  |  |  |
|  | Gathered materials, required for the work |  |  |  |  |  |
|  | Recorded the measurements as per requirements. |  |  |  |  |  |
|  | Applied correct measuring techniques as required. |  |  |  |  |  |
|  | Identified the unsafe & faulty tools and forward them for repair |  |  |  |  |  |
|  | Sharpened the hand/power tools using appropriate techniques |  |  |  |  |  |
|  | Performed adjustment/ alignments over a range of Hand/ power tools. |  |  |  |  |  |
|  | Used hand/power tools to achieve desired outcome |  |  |  |  |  |
|  | Cut, flared, swaged, bent, brazed. |  |  |  |  |  |
|  | Attached the tubing as per the circuit diagram. |  |  |  |  |  |
|  | Performed the Test Run on Equipment |  |  |  |  |  |
|  | Checked for leakages & rectify where applicable. |  |  |  |  |  |
|  | Stored hand tools safely in appropriate location as per organizational SOPs |  |  |  |  |  |
|  | Check for leakages & rectify where applicable. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 2 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Connect Tubing and Fittings |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Name five clamping tools? |  |  |
|  | Differentiate between Soldering and Brazing? |  |  |
|  | State six common faults in power tools? |  |  |
|  | State the important steps for setting gas mixture and brazing? |  |  |
|  | What precautions should be observed for using measuring instruments? |  |  |
|  | Explain steps for tube Cutting & Bending copper tubes ? |  |  |
|  | Why the analog instruments need zeroing? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________