Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 2 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Carryout Basic Electrical Installation for Single phase |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs.time frame (for practical demonstration & assessment): - Lay cables - Perform single-phase Connection - Perform three phase Connection - Perform Basic Electrical wiring - Conduct wiring Test |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Lay cables - Interpret electrical drawing/ document - Identify cables - Lay cables - Perform earthling Perform single-phase Connection - Select cable gauge - Select cables colors - Connect cables - Insulate Joints Perform three phase Connection - Select cable Gauge - Select cables colors - Connect cables - Insulate Joints Perform Basic Electrical wiring - Measure cables as perrequirement - Connect cables - Perform joints - Insulate Joints Conduct wiring Test - Operate multi-meter for voltage and current - Perform continuity test - Perform polarity test - Perform earthling test - Perform insulation test - Record test results |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 2 in Instrumentation Technology |
| Competency Standard | Carryout Basic Electrical Installation for Single phase |
| Purpose of Assessment | Formative Assessment |
| Assessment Task |  |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Interpret electrical drawing/ document |  |  |
| - Identify cables |  |  |
| - Lay cables |  |  |
| - Perform earthling |  |  |
| - Select cable gauge |  |  |
| - Select cables colors |  |  |
| - Connect cables |  |  |
| - Insulate Joints |  |  |
| - Select cable Gauge |  |  |
| - Select cables colors |  |  |
| - Connect cables |  |  |
| - Insulate Joints |  |  |
| - Measure cables as per requirement |  |  |
| - Connect cables |  |  |
| - Perform joints |  |  |
| - Insulate Joints |  |  |
| - Operate multi-meter for voltage and current |  |  |
| - Perform continuity test |  |  |
| - Perform polarity test |  |  |
| - Perform earthling test |  |  |
| - Perform insulation test |  |  |
| - Record test results |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 2 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Carryout Basic Electrical Installation for Single phase |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Interpret electrical drawing/ document |  |  |  |  |  |
|  | Identify cables |  |  |  |  |  |
|  | Lay cables |  |  |  |  |  |
|  | Perform earthling |  |  |  |  |  |
|  | Select cable gauge |  |  |  |  |  |
|  | Select cables colors |  |  |  |  |  |
|  | Connect cables |  |  |  |  |  |
|  | Insulate Joints |  |  |  |  |  |
|  | Select cable Gauge |  |  |  |  |  |
|  | Select cables colors |  |  |  |  |  |
|  | Connect cables |  |  |  |  |  |
|  | Insulate Joints |  |  |  |  |  |
|  | Measure cables as per requirement |  |  |  |  |  |
|  | Connect cables |  |  |  |  |  |
|  | Perform joints |  |  |  |  |  |
|  | Insulate Joints |  |  |  |  |  |
|  | Operate multi-meter for voltage and current |  |  |  |  |  |
|  | Perform continuity test |  |  |  |  |  |
|  | Perform polarity test |  |  |  |  |  |
|  | Perform earthling test |  |  |  |  |  |
|  | Perform insulation test |  |  |  |  |  |
|  | Record test results |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 2 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Carryout Basic Electrical Installation for Single phase |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What are different types of electrical wiring? |  |  |
|  | What do mean by wiring tests? |  |  |
|  | Enlist the names of tests, performed on electrical wiring. |  |  |
|  | What is continuity test? |  |  |
|  | What is open circuit test? |  |  |
|  | What is insulation of leakage test? |  |  |
|  | Define short circuit test. |  |  |
|  | What is the purpose of polarity test? |  |  |
|  | Differentiate between single core, two core and three core cable. |  |  |
|  | What is the basic purpose of earthing? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________