Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 2 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Repair/ Maintenance of Electrical Installations in Single Phase (Level 2) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within time frame (for practical demonstration & assessment): - Analyze Fault in Electrical Installations & Troubleshooting of electrical equipment’s - Carry out Preventive Maintenance |
| Time: 03 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Analyze Fault in Electrical Installations & Troubleshooting of electrical equipment’s - Inspect visually the electrical wiring, fixtures, equipment, soldering, connection, appliances and machinery for discovering the faults and defects - Check the installation for consistency with the electrical drawing - Draw the layout of equipment’s before disassembling of electrical components - Check the faulty components with scope or meter - Re assembled the components as per drawing and the installation - Check the fault indication at relay for HT installation - Test electrical equipment as specified in the manufacturer’s manual and record the results - Prepare a list of items/material(s) required for repair /replacement as per specifications - Draw circuit diagram of electrical equipment be disassembling - Make necessary adjustments in the control and protective switchgear - Replace defective control & protective switch gear, cables and accessories with standard items - Replace defective earth electrode & faulty/damaged earthling conductors - Test installed electrical equipment for safe and optimum performance according to standards & regulations - Record the results of the test performed on a standard format Carry out Preventive Maintenance - Perform Preventive maintenance as specified by the manufacturers or SOP - Perform check for loose connection, insulation, wiring heat up, spark marks, dust etc. - Check out the equipment logging sheet and updates logging - Update Maintenance/service records as per requirement |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Vocational Certificate Level 2 in Instrumentation Technology |
| Competency Standard | Repair/ Maintenance of Electrical Installations in Single Phase (Level 2) |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Analyze Fault in Electrical Installations & Troubleshooting of electrical equipment’s - Carry out Preventive Maintenance |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Inspect visually the electrical wiring, fixtures, equipment, soldering, connection, appliances and machinery for discovering the faults and defects |  |  |
| - Check the installation for consistency with the electrical drawing |  |  |
| - Draw the layout of equipment’s before disassembling of electrical components |  |  |
| - Check the faulty components with scope or meter |  |  |
| - Re assembled the components as per drawing and the installation |  |  |
| - Check the fault indication at relay for HT installation |  |  |
| - Test electrical equipment as specified in the manufacturer’s manual and record the results |  |  |
| - Prepare a list of items/material(s) required for repair /replacement as per specifications |  |  |
| - Draw circuit diagram of electrical equipment be disassembling |  |  |
| - Make necessary adjustments in the control and protective switchgear |  |  |
| - Replace defective control & protective switch gear, cables and accessories with standard items |  |  |
| - Replace defective earth electrode & faulty/damaged earthling conductors |  |  |
| - Test installed electrical equipment for safe and optimum performance according to standards & regulations |  |  |
| - Record the results of the test performed on a standard format |  |  |
| - Perform Preventive maintenance as specified by the manufacturers or SOP |  |  |
| - Perform check for loose connection, insulation, wiring heat up, spark marks, dust etc. |  |  |
| - Check out the equipment logging sheet and updates logging |  |  |
| - Update Maintenance/service records as per requirement |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 2 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Repair/ Maintenance of Electrical Installations in Single Phase (Level 2) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code:____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Analyze Fault in Electrical Installations & Troubleshooting of electrical equipment’s - Carry out Preventive Maintenance |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Inspected visually the electrical wiring, fixtures, equipment, soldering, connection, appliances and machinery for discovering the faults and defects |  |  |  |  |  |
|  | Checked the installation for consistency with the electrical drawing |  |  |  |  |  |
|  | Drew the layout of equipment’s before disassembling of electrical components |  |  |  |  |  |
|  | Checked the faulty components with scope or meter |  |  |  |  |  |
|  | Re assembled the components as per drawing and the installation |  |  |  |  |  |
|  | Checked the fault indication at relay for HT installation |  |  |  |  |  |
|  | Tested electrical equipment as specified in the manufacturer’s manual and record the results |  |  |  |  |  |
|  | Prepared a list of items/material(s) required for repair /replacement as per specifications |  |  |  |  |  |
|  | Drew circuit diagram of electrical equipment be disassembling |  |  |  |  |  |
|  | Made necessary adjustments in the control and protective switchgear |  |  |  |  |  |
|  | Replaced defective control & protective switch gear, cables and accessories with standard items |  |  |  |  |  |
|  | Replaced defective earth electrode & faulty/damaged earthling conductors |  |  |  |  |  |
|  | Tested installed electrical equipment for safe and optimum performance according to standards & regulations |  |  |  |  |  |
|  | Recorded the results of the test performed on a standard format |  |  |  |  |  |
|  | Perform Preventive maintenance as specified by the manufacturers or SOP |  |  |  |  |  |
|  | Perform check for loose connection, insulation, wiring heat up, spark marks, dust etc. |  |  |  |  |  |
|  | Check out the equipment logging sheet and updates logging |  |  |  |  |  |
|  | Update Maintenance/service records as per requirement |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Vocational Certificate Level 2 in Instrumentation Technology |
| --- | --- |
| Competency Standard | Repair/ Maintenance of Electrical Installations in Single Phase (Level 2) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name:______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature:___________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor:________________________________________________ Assessor’s code:____________________________________________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Explain the Importance of corrective & preventive maintenance |  |  |
|  | Ammeter is installed in Parallel with the Loads. |  |  |
|  | - TRUE - FALSE |  |  |
|  | Machines manual and installation wiring diagram can help in fault diagnoses |  |  |
|  | - TRUE - FALSE |  |  |
|  | Define the protective Switch gear. |  |  |
|  | In HT systems relays are not used for fault indications |  |  |
|  | - TRUE - FALSE |  |  |
|  | Describe the importance of Checklist for maintenance work |  |  |
|  | Describe Importance of testing electrical installations |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________